| Table 4. Broth microdilution and gradient diffusion tests (Etest strip stacking and MICStrip) MIC distributions of ATM in presence of AVI or of CAZ-AVI to assess the efficacy of the ATM-AVI combination. Errors are numbers indicated by colors (blue: minor error, green: major error, red: very major error). Breakpoints are represented by red lines. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Enterobacterales |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | BMD ATM-AVI MIC (mg/L) |  |  |  |  |  |  |  |  |  |  |
|  |  | ≤0,03 | 0,06 | 0,12 | 0,25 | 0,5 | 1 | 2 | 4 | 8 | 16 | Total général |
| SS METHOD CAZ-AVI-AZT | ≤0,032 | 2 |  |  |  |  |  |  |  |  |  | 2 |
|  | 0,064 | 1 | 7 |  |  | 1 |  | 1 |  |  |  | 10 |
|  | 0,125 |  | 3 | 3 | 2 |  |  |  |  |  |  | 8 |
|  | 0,25 |  | 1 | 12 | 2 |  |  |  |  |  |  | 15 |
|  | 0,5 |  | 1 | 4 | 11 | 3 |  | 1 |  |  |  | 20 |
|  | 1 |  |  | 1 | 2 | 4 | 1 |  |  |  |  | 8 |
|  | 2 |  |  |  |  | 2 | 2 | 1 | 1 |  |  | 6 |
|  | 4 |  |  |  |  |  | 1 | 1 | 1 | 1 |  | 4 |
|  | 8 |  |  |  |  |  |  |  | 2 | 1 |  | 3 |
|  | 16 |  |  |  |  |  |  |  |  | 1 | 1 | 2 |
|  | 32 |  |  |  |  |  |  |  |  |  | 2 | 2 |
|  | Total général | 3 | 12 | 20 | 17 | 10 | 4 | 4 | 4 | 3 | 3 | 80 |
| Enterobacterales |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | BMD ATM-AVI MIC (mg/L) |  |  |  |  |  |  |  |  |  |  |
|  |  | ≤0,03 | 0,06 | 0,12 | 0,25 | 0,5 | 1 | 2 | 4 | 8 | 16 | Total général |
| MTS AZT-AVI MIC (mg/L) | ≤0,016 | 2 | 1 |  |  |  |  |  |  |  |  | 3 |
|  | 0,032 | 1 | 6 |  |  |  |  |  |  |  |  | 7 |
|  | 0,064 |  | 4 |  |  | 1 |  | 1 |  |  |  | 6 |
|  | 0,125 |  | 1 | 15 | 3 | 1 |  |  |  |  |  | 20 |
|  | 0,25 |  |  | 5 | 13 | 3 |  | 1 |  |  |  | 22 |
|  | 0,5 |  |  |  |  | 3 | 3 |  |  |  |  | 6 |
|  | 1 |  |  |  | 1 | 2 |  | 2 |  |  |  | 5 |
|  | 2 |  |  |  |  |  | 1 |  |  | 1 |  | 2 |
|  | 4 |  |  |  |  |  |  |  | 3 | 2 |  | 5 |
|  | 8 |  |  |  |  |  |  |  | 1 |  |  | 1 |
|  | 16 |  |  |  |  |  |  |  |  |  | 2 | 2 |
|  | 32 |  |  |  |  |  |  |  |  |  | 1 | 1 |
|  | Total général | 3 | 12 | 20 | 17 | 10 | 4 | 4 | 4 | 3 | 3 | 80 |

| Pseudomonas aeruginosa |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | BMD ATM-AVI MIC (mg/L) |  |  |  |  |  |  |
| SS METHOD CAZ-AVI-ATM |  | 4 | 8 | 16 | 32 | 64 | Total général |
|  | 2 | 1 |  |  |  |  | 1 |
|  | 4 |  | 1 | 1 |  |  | 2 |
|  | 8 |  | 1 | 2 |  |  | 3 |
|  | 16 |  | 1 | 3 |  | 2 | 6 |
|  | 32 |  |  | 1 |  | 2 | 3 |
|  | 64 |  |  |  |  |  | 0 |
|  | 128 |  |  |  |  | 1 | 1 |
|  | Total général | 1 | 3 | 7 | 0 | 5 | 16 |
| Pseudomonas aeruginosa MIC STRIP |  |  |  |  |  |  |  |
|  | BMD ATM-AVI MIC (mg/L) |  |  |  |  |  |  |
| MTS ATM-AVI MIC (mg/L) |  | 4 | 8 | 16 | 32 | 64 | Total général |
|  | 4 | 1 |  | 1 |  |  | 2 |
|  | 8 |  | 3 | 2 |  |  | 5 |
|  | 16 |  |  | 3 |  |  | 3 |
|  | 32 |  |  | 1 |  | 4 | 5 |
|  | 64 |  |  |  |  | 1 | 1 |
|  | Total général | 1 | 3 | 7 | 0 | 5 | 16 |