Supplementary Information

Investigation of the Myopic Outcomes of the Newer Intraocular Lens Power Calculation Formulas in Korean Patients with Long Eyes

Jinchul Kim, Joonsung Park, Yoonjung Jo

Supplementary Table S1. Coefficients of determination (R2 values) between formulas (data from Reference 17)

| Formula | HSAL | HSCL |
| --- | --- | --- |
| PEARL | 0.6894 | 0.8503 |
| Barrett | 0.7027 | 0.7638 |
| EVO 2.0 | 0.7095 | 0.8076 |
| Kane | 0.7159 | 0.8157 |
| Hoffer QST | 0.8263 | 0.8272 |
| PEARL-rCMAL | 0.8429 | 0.81 |

| Formula | PEARL | PEARL-rCMAL |
| --- | --- | --- |
| Barrett | 0.8527 | 0.8501 |
| EVO 2.0 | 0.9503 | 0.9106 |
| Kane | 0.9435 | 0.9031 |
| Hoffer QST | 0.7582 | 0.8152 |

AL, axial length; CMAL, Cooke-modified axial length; HSAL, Haigis formula, single-optimized and AL-applied; HSCL, Haigis formula, single-optimized and CMAL-applied; PEARL-rCMAL = PEARL-DGS formula with reversed CMAL (= ([AL + 0.05467 × lens thickness – 1.28353] / 0.95855); R, Pearson correlation coefficient; EVO, Emmetropia Verifying Optical formula; Hoffer QST, Hoffer Q/Savini/Taroni formula; PEARL–DGS, Prediction Enhanced by Artificial Intelligence and output Linearization–Debellemanière, Gatinel, and Saad.

Supplementary Table S2. Refractive results of the patient population (data from Reference 17)

- Refractive Results of the whole group (n = 3,100)

| Formula | ME | SD | MedAE | MAE |
| --- | --- | --- | --- | --- |
| PEARL | -2.0E-06 | 0.3175 | 0.2040 | 0.2481 |
| HTCL | -0.0015 | 0.3133 | 0.2011 | 0.2457 |
| Kane | 0.0001 | 0.3168 | 0.2031 | 0.2480 |
| EVO 2.0 | -1.2E-05 | 0.3171 | 0.2042 | 0.2483 |
| HTAL | -0.0019 | 0.3221 | 0.2133 | 0.2532 |
| HSAL | 0.0006 | 0.3226 | 0.2115 | 0.2542 |
| HSCL | 2.4E-05 | 0.3260 | 0.2109 | 0.2561 |
| Barrett | 0.0002 | 0.3282 | 0.2125 | 0.2577 |
| Hoffer QST | -0.0001 | 0.3358 | 0.2230 | 0.2660 |
| Holladay 1 | -3.4E-06 | 0.3505 | 0.2360 | 0.2782 |
| Hoffer Q | -5.8E-06 | 0.3534 | 0.2375 | 0.2805 |
| SRK/T | -0.0004 | 0.3902 | 0.2556 | 0.3091 |

b) Refractive results in the long eyes (>26 mm, n = 133)

| Formula | ME | P-value | SD | RMSE | MedAE | MAE |
| --- | --- | --- | --- | --- | --- | --- |
| PEARL | -0.2933 | 1.3E-15* | 0.3410 | 0.4471 | 0.2914 | 0.3581 |
| HTCL | -0.0585 | 0.4668 | 0.3344 | 0.3383 | 0.2158 | 0.2608 |
| Kane | -0.2245 | 5.6E-11* | 0.3347 | 0.4019 | 0.2669 | 0.3212 |
| EVO 2.0 | -0.2707 | 6.1E-14* | 0.3409 | 0.4343 | 0.2958 | 0.3484 |
| HTAL | -0.0273 | 0.0731 | 0.3385 | 0.3383 | 0.2061 | 0.2585 |
| HSAL | -0.0062 | 0.9356 | 0.3400 | 0.3388 | 0.1991 | 0.2586 |
| HSCL | -0.2323 | 2.9E-11* | 0.3433 | 0.4135 | 0.2652 | 0.3274 |
| Barrett | -0.2420 | 1.3E-13* | 0.3377 | 0.4144 | 0.2738 | 0.3327 |
| Hoffer QST | -0.2702 | 9.5E-14* | 0.3513 | 0.4421 | 0.3130 | 0.3596 |
| Holladay 1 | 0.0987 | 0.0077* | 0.3909 | 0.4018 | 0.2824 | 0.3271 |
| Hoffer Q | 0.1150 | 0.0005* | 0.3913 | 0.4065 | 0.2490 | 0.3199 |
| SRK/T | -0.1222 | 0.0010* | 0.3923 | 0.4095 | 0.3033 | 0.3372 |

AL, axial length; CMAL, Cooke-modified axial length; HSAL, Haigis formula, single-optimized and AL-applied; HSCL, Haigis formula, single-optimized and CMAL-applied; HTAL, Haigis formula, triple-optimized and AL-applied; HTCL, Haigis formula, triple-optimized and CMAL-applied; MAE, mean absolute error; ME, mean numerical prediction error; MedAE, median absolute error; RMSE, root mean square numerical error; SD, standard deviation; EVO, Emmetropia Verifying Optical formula; Hoffer QST, Hoffer Q/Savini/Taroni formula; MAE, mean absolute error; ME, mean numerical prediction error; MedAE, median absolute error; PEARL–DGS, Prediction Enhanced by Artificial Intelligence and output Linearization–Debellemanière, Gatinel, and Saad; RMSE, root mean square numerical error; SD, standard deviation.

The optimized constants for the formulas are: Hoffer Q pACD: 5.71, Holladay 1 SF: 1.859, SRK/T A constant: 119.076. For the Haigis formula, HSAL a0: 0.523, a1: 0.4, a2: 0.1, HTAL a0: 1.304, a1: 0.442, a2: 0.104, HSCL a0: 1.556, a1: 0.4, a2: 0.1, HTCL a0: 3.526, a1: 0.523, a2: 0, PEARL, A constant: 119.27; Kane, A constant: 119.16; EVO 2.0, A constant: 119.15; Barrett, A constant: 119.18; and Hoffer QST, pACD: 5.664.

The bolded numbers with asterisks (*) in P-value column represent significant differences of

the ME of each formula from 0.

Supplementary Fig S1. Mean prediction error changes of each formula according to axial length (AL) (figure from Reference 17)

- Optimized ewer formulas and single-optimized, Cooke-modified AL (CMAL)-applied Haigis formula.

- Haigis formulas and reversed CMAL-applied prediction enhanced by artificial intelligence and output linearization–Debellemanière, Gatinel, and Saad (PEARL–DGS) formula.

- Haigis formula single-optimized, AL-applied; single-optimized, CMAL-applied; triple-optimized, AL-applied; and triple-optimized, CMAL-applied.

- PEARL–DGS formulas: conventional AL-applied, and reversed CMAL-applied

AL: axial length; CMAL: Cooke-modified axial length; EVO: Emmetropia Verifying Optical formula; HSAL: Haigis formula, single-optimized and AL-applied; Hoffer QST: Hoffer Q/Savini/Taroni formula; HSCL: Haigis formula, single-optimized and CMAL-applied; HTAL: Haigis formula, triple-optimized and AL-applied; HTCL: Haigis formula, triple-optimized and CMAL-applied; PEARL–DGS: Prediction Enhanced by Artificial Intelligence and output Linearization–Debellemanière, Gatinel, and Saad; PEARL-rCMAL: PEARL–DGS formula with reversed CMAL (AL + 0.05467  lens thickness [LT] – 1.23853) / 0.95855)-applied.

Supplementary Fig S2. Back-calculated effective lens position (ELP) of conventional AL-applied Haigis formula (blue dots) versus back-calculated ELP of CMAL-applied Haigis formula (red dots). The mean ELP values are plotted against conventional AL values rounded to 0.5 mm.

Supplementary Fig S3. Mean prediction error changes of each older formula according to axial length (AL).

a) Formulas with conventional AL application.

b) Formulas with CMAL application.

AL: axial length; CMAL: Cooke-modified axial length

Supplementary Fig S4. Theoretical simulation of ELP difference (ΔELP) of -0.35 mm to induce a specific variation in refraction (ΔR) with an IOL power (Di) of 11.5 D and a corneal power of 43 D (figure derived from Reference 23, and modified to enhance visual clarity)

The intersection of red horizontal and vertical lines corresponds to approximately -0.25 D refraction change.

D: Diopters; ELP: Effective lens position; IOL: intraocular lens

Supplementary Fig S5. The postoperative refraction prediction results and assigned intraocular lens (IOL) powers of the newer IOL calculation formulas (figure from the European Society of Cataract and Refractive Surgeons online calculator: https://iolcalculator.escrs.org/, accessed December 5, 2023)

A: A constant; ACD: anterior chamber depth; AL: axial length; CCT: central corneal thickness; CD: corneal diameter; EVO: Emmetropia Verifying Optical formula; Hoffer QST: Hoffer Q/Savini/Taroni formula; IOL: intraocular lens; K1: keratometry of flat meridian; K2: keratometry of steep meridian; LT: lens thickness; pACD: personalized ACD. PEARL–DGS: Prediction Enhanced by Artificial Intelligence and output Linearization–Debellemanière, Gatinel, and Saad; WTW: white to white

Supplementary Fig S6. Mean prediction error changes of each formula according to AL (figure derived from Reference 32, and modified to enhance visual clarity)

EVO: Emmetropia Verifying Optical formula; Hoffer QST: Hoffer Q/Savini/Taroni formula; RBF: Hill Radial Basis Function formula.