Supplementary Data & Figures

Exploring multiple bioprocess monitoring modalities for Large-scale 3D Bioprinted Tissue Cultivation

Laura Chastagnier 1, Sarah Pragnere 1,2 , Yilbert Gimenez1,3 , Celine Loubière 4 , Naima El Kholti 5, Kleanthis Mazarakis 6 , Timo Schmidberger 7 , Eric Olmos 3 , Simon Auguste Lambert 2 , Christophe Marquette 1 , Emma Petiot 1.

Supplementary Figure 1 _ Design of the two macroporous geometries and their associated 3D printed model in PLA.

Supplementary Figure 2_ Set-up for 3D Imaging of the nutritive fluid path and velocities thanks to 7-Tesla MRI. Pictures on the left-hand side and in the centre present the antenna integrating the multi-flow bioreactor and connected with a peristaltic pump and its fluid feeding reservoir; the image on the right-hand side shows the two selected 3D geometries (Design A: 12 x 12 and Design B: 6 x 6 pores).

Supplementary Figure 3_Fluid flow structure through the bioprinted tissue built by CAO and operating conditions used for CFD simulations. Vectors represent an example of fluid flow direction for a fluid flow rate of 19.6 mL/min.

Supplementary Figure 4_Distribution of Velocities according to the volume occupied as a function of geometries inlet flow rate and architecture:  two geometries (Design A: 12 x 12 pores & Design B: 6 x 6 pores) at two inlet flow rates (2 and 20 ml/min).

Supplementary Data _ Image processing treatment _  Velocity maps by Magnetic Resonance Imaging).

The raw data captured in the binary file format owned by BRUKER, namely, 2D sequence data (.2dseqs) and then it was decoded, using the BRUKER’s Application Programming Interface (API) installed in the programming language Python and converted from a four-dimensional array to segregated images in text file format. The 92 images corresponding to the 23 cuts were loaded in a MATLAB to be post-processed. The Euclidean norm of the vector velocity was calculated by combining the vector components in the three directions and scaling the result to obtain a value in meters per second. All the images were inspected to spot the bubbles' cross-sections, characterized by a region of high heterogeneity of color (spatial noise). Each image was treated individually to take the values in the bubble region to 0 m/s. The morphological images were used to create a binary mask to remove the noise from the periphery of the liquid chamber.

The 3-dimensional representation of the velocity norm in all the volume was obtained by upsampling the images in the Z direction using the interpolation protocol defined in [10.1038/srep29936] to even out the resolution to 195μm/slide and keep the real proportions. The new set of 110 images was stacked and rendered in the software 3D slicer using a smoked appearance to maximize the overall view in one shot.