Supplemental materials

Table S1 Components, retention time and their quantitative ions and qualitative ions

| Number | Compound name | Retention time (min) | Quantitative ion (m/z) | Qualitative ion (m/z) |
| --- | --- | --- | --- | --- |
| 1 | Acetone | 2.43 | 43 | 58 |
| 2 | Dichloromethane | 3.035 | 49 | 84.00-86.00 |
| 3 | trans-1,2-Dichloroethylene | 3.315 | 61 | 96.00-98.00 |
| 4 | Hexane | 3.42 | 57 | 41.00-86.00 |
| 5 | 1,1, -dichloroethane | 3.755 | 63 | 65.00-83.00 |
| 6 | cis-1,2-Dichloroethylene | 4.37 | 61 | 96.00-98.00 |
| 7 | Chlorform | 4.745 | 83 | 85 |
| 8 | 1,1,1-trichloroethane | 4.935 | 97 | 99.00-61.00 |
| 9 | Carbon tetrachloride | 5.11 | 117 | 119.00-121.00 |
| 10 | 1,2-dichloroethane | 5.435 | 62 | 98 |
| 11 | Benzene | 5.38 | 78 | 77 |
| 12 | Trichloroethylene | 6.235 | 95 | 132.00-130.00 |
| 13 | 1,2-dichloropropane | 6.565 | 63 | 62.00-41.00 |
| 14 | Bromodichloromethane | 6.95 | 83 | 85.00-127.00 |
| 15 | Toluene | 8.06 | 91 | 92 |
| 16 | 1,1,2-trichloroethane | 8.765 | 97 | 83.00-85.00 |
| 17 | Tetrachloroethylene | 8.875 | 166 | 129.00-164.00 |
| 18 | Dibromochloromethane | 9.445 | 129 | 127 |
| 19 | 1,2-dibromoethane | 9.635 | 107 | 109.00-188.00 |
| 20 | N, N-dimethylformamide | 10.3 | 73 | 44.00-58.00 |
| 21 | Chlorobenzene | 10.775 | 112 | 77.00-114.00 |
| 22 | 1,1,1,2-tetrachloroethane | 11.045 | 131 | 133.00-119.00 |
| 23 | Ethylbenzene | 11.08 | 91 | 106 |
| 24 | m,p-xylene | 11.48 | 91 | 106 |
| 25 | o-xylene | 12.64 | 91 | 106 |
| 26 | Styrene | 12.72 | 104 | 78 |
| 27 | Bromoform | 13.205 | 173 | 254.00-175.00 |
| 28 | N, N-dimethylacetamide | 13.68 | 87 | 72.00-44.00 |
| 29 | 1,1,2,2-Tetrachloroethylene | 14.96 | 83 | 85.00-131.00 |
| 30 | 1,2,3-trichloropropane | 15.04 | 75 | 77 |
| 31 | 1,3,5-trimethylbenzene | 15.83 | 105 | 120 |
| 32 | 1,2,4-Trimethylbenzene | 16.915 | 105 | 120 |
| 33 | 1,3-dichlorobenzene | 17.585 | 146 | 148.00-111.00 |
| 34 | 1,4-dichlorobenzene | 17.945 | 146 | 148.00-111.00 |
| 35 | 1,2-dichlorobenzene | 18.91 | 146 | 148.00-111.00 |
| 36 | 1,2,4-Trichlorobenzene | 23.545 | 182 | 180.00-145.00 |
| 37 | Hexachlorobutadiene | 24.055 | 225 | 227.00-223.00 |

Figure S1  Infrared red spectra of different RO membranes

Figure S2  Example of the concentration of various VOCs in effluent water as a function of inflow volume, a) acetone, b) dichloromethane, c) hexane, d) chloroform, e) 1,2-dichloroeyhane, f) benzene, g) toluene, h) N,N- dimethylformamide, i) chlorobenzene, j) ethyl benzene, k) xylene, l) styrene. Total flow rate = 0.5 L/min, ratio of purified water and waste water = 0.9 – 1.2.

Figure S3  Liner fitting equations and correlation coefficients of a) DCM, b) TCM, c) DCA and d) Tol. Results in effluent with VOC concentrations lower than their maximum detection limits were not showed.