Supporting Information

Acidic hydrolytic stability of the Lifitegrast: Degradation, Method development, Validation, Synthesis, LC-MS/NMR Characterization, In silico and In vitro cytotoxicity

Kandula Jony Susanna1, Mahendar Gantala2, Ankita Nishad3, Sujithra Shankar4, Shivam Kumar Vyas3, Vaibhav Anil Dixit3, Vivek Singh4, P. Radhakrishnanand *1

1Department of Pharmaceutical Analysis, National Institute of Pharmaceutical Education and Research, Guwahati, SilaKatamur (Halugurisuk), P.O.: Changsari, District: Kamrup, Assam, India-781101

2Daicel Chiral Technologies (India) Private Limited, Turkapally, Shamirpet Mandal, Medchal-Malkajgiri District, Hyderabad, Telangana, India-500101

3Department of Medicinal Chemistry, National Institute of Pharmaceutical Education and Research, Guwahati, SilaKatamur (Halugurisuk), P.O.: Changsari, District: Kamrup, Assam, India-781101

4Prof. Brien Holden Eye Research Center, L.V. Prasad Eye Institute, Kallam Anji Reddy Campus, L V Prasad Marg, Hyderabad – 500 034

*Corresponding author

P. Radhakrishnanand, Ph.D.

Professor

Department of Pharmaceutical Analysis

National Institute of Pharmaceutical Education and Research

(NIPER)-Guwahati, Assam - 781101

Phone: +91- 9866072232

Email: radha.krishnanand@niperguwahati.ac.in

Table of contents

| S.No. | Figures | Pg. no. |
| --- | --- | --- |
| 1 | Schematic representation of forced degradation procedure followed in the current study. | 3 |
| 2 | Representative chromatogram of separation of Lifitegrast and its degradation products | 3 |
| 3 | HPLC chromatograms of various degradation samples | 4 |
| 4 | Calibration curve and control chart representation for the Linearity and accuracy results of the LFT as a part of the method validation | 5 |
| 5 | High resolution LC-ESI-MS spectra of the lifitegrast (LFT) and its two acidic thermolytic degradants DP1 and DP2 in ESI positive and negative ionization modes | 6 |
| 6 | One dimensional 13C spectrum of the synthesized LFT DP1, dissolved in DMSO-d6 with TMS as an internal reference | 7 |
| 7 | Expanded portions of different regions of the 13C NMR spectrum of LFT DP1 | 7-8 |
| 8 | One dimensional 1H spectrum of synthesized LFT DP1 dissolved in DMSO-d6 with TMS as an internal reference. (*) indicates solvent peak | 9 |
| 9 | Expanded portions of different regions of the one-dimensional proton NMR spectrum of DP1 | 9-10 |
| 10 | One dimensional 13C spectrum of the LFT DP2 dissolved in DMSO-d6 with TMS as an internal reference | 10 |
| 11 | Expanded portion of the 13C NMR spectrum of LFT-DP2 | 11 |
| 12 | One dimensional 1H spectrum of synthesized LFT DP2 dissolved in DMSO-d6 with TMS as an internal reference. | 11 |
| 13 | Expanded portions of the one-dimensional proton NMR spectrum of LFT-DP2 | 12 |
| 14 | IR spectra of the (a) LFT-DP1 and (b) LFT-DP2 using FT-IR | 12 |
| 15 | Representative chromatograms of the synthesized DP1 and commercial DP2, under validated chromatographic method conditions. | 13 |
| 16 | Swiss ADME prediction tool revealed the Structural representation of the DP1 and DP2 matched with query compound N-Phenethylbenzamide Furan respectively | 13 |
| 17 | Figure 17. Preliminary data charts representing viability of HCE cells treated LFT DP 1 and DP 2 at 5-300 µg/mL for 48 h by MTT assay. | 14 |
| Tables |  |  |
| 1 | Assay parameters for the determination of LFT under the optimized RP-HPLC method | 15 |
| 2 | Accuracy and precision results of the optimized method for the determination of LFT | 15 |
| 3 | Robustness results of the optimized method for the determination of LFT | 16 |
| 4 | Solution stability testing of the LFT under various temperature conditions using the optimized method | 16 |
| 5 | Mass accuracy data of LFT, DP1 and DP2 | 17 |

Figure S1. Schematic representation of forced degradation procedure followed in the current study.

Figure S2. Representative chromatogram of separation of Lifitegrast and its degradation products using reverse-phase Hypersil GOLDTM C18 stationary phase (150 mm, 4.6 mm, 3µm) in combination with 0.1% aqueous formic acid and acetonitrile; Lifitegrast at RT 5.6 minutes; Two major degradation products (DP1 and DP2) of Lifitegrast under acidic conditions (3N HCl, at 80 °C) were eluted at RT 1.7, 4.2 minutes.

Figure S3. HPLC chromatograms of LFT degradation samples (a). Degradation peak was formed in 5% H2O2 at 80 °C and eluted at 1.7 minutes which is one of the RT of acidic degradants; (b). No degradation peak was identified in alkaline degradation sample without neutralization; (c). No degradation peaks were observed in LFT neutral hydrolytic sample; (d). No degradation peaks were observed in LFT after exposure to UV radiation; (e). No degradation peaks were observed in LFT after exposure to Photo degradation conditions.

Figure S4. Calibration curve and control chart representation for the Linearity and accuracy results of the LFT as a part of the method validation.

Figure S5. High resolution LC-ESI-MS spectra of the lifitegrast (LFT) and its two acidic thermolytic degradants DP1 and DP2 in ESI positive and negative ionization mode.

Figure S6. One dimensional 13C spectrum of the synthesized LFT DP1, dissolved in DMSO-d6 with TMS as an internal reference.

Figure S 2: One-dimensional 13C spectrum of synthesized compound dissolved in DMSO-d6 with TMS as an internal reference

Figure S7. Expanded portions of different regions of the 13C NMR spectrum of LFT DP1.

Figure S8. One dimensional 1H spectrum of synthesized LFT DP1 dissolved in DMSO-d6 with TMS as an internal reference. (*) indicates solvent peak.

Figure S9. Expanded portions of different regions of the one-dimensional proton NMR spectrum of LFT DP1

Figure S10. One dimensional 13C spectrum of the LFT DP2 dissolved in DMSO-d6 with TMS as an internal reference.

Figure S11. Expanded portion of the 13C NMR spectrum of LFT-DP2.

Figure S12. One dimensional 1H spectrum of synthesized LFT DP2 dissolved in DMSO-d6 with TMS as an internal reference.

Figure S13. Expanded portions of the one-dimensional proton NMR spectrum of LFT-DP2.

Figure S 4: Expanded portions of different regions of the one-dimensional proton NMR spectrum

Figure S14. IR spectra of the (a) LFT-DP1 and (b) LFT-DP2 using FT-IR.

e

d

c

Figure S15. Representative chromatograms of the synthesized DP1 and procured DP2 under validated chromatographic method conditions.

Figure S16. Swiss ADME prediction tool revealed the structural representation of the DP1 and DP2 matched with query compound N-Phenethylbenzamide and Furan respectively.

Figure 17. Preliminary data charts representing viability of HCE cells treated LFT DP 1 and DP 2 at 5-300 µg/mL for 48 h by MTT assay.

Table S1. Assay parameters for the determination of LFT under the optimized RP-HPLC method

| Parameter | Result |
| --- | --- |
| Range | 30 - 500 µg/mL |
| Slope | 45.45 |
| Coefficient of intercept | 650.01 |
| Correlation coefficient (R2) | 0.999 |
| Standard error of intercept | 137.50 |
| System suitability testing |  |
| RSD% a (mean ± SD) | 0.04 (5.53 ± 0.002) min |
| RSD% b (mean ± SD) | 0.23 (5169.25 ± 12.14) |
| RSD% c (mean ± SD) | 1.46 (0.97 ± 0.01) |
| RSD% d (mean ± SD) | 1.82 (17315 ± 316.54) |
| Note: RSD% a: Retention time, RSD% b: peak area, RSD% c: tailing factor, RSD% d: theoretical plates, SD: standard deviation, RSD: relative standard deviation |  |

Table S2. Accuracy and precision results of the optimized method for the determination of LFT

| Accuracy level | % Recovery (mean ±SD) | Intraday precision % RSD (mean ± SD) | Inter-day precision % RSD (mean ± SD) |
| --- | --- | --- | --- |
| 80% | 91.97 ± 1.33 | 0.99 (4705.28 ± 26.92) | 1.17 (4707.59 ± 31.80) |
| 100% | 100.76 ± 0.23 | 0.14 (5197.66 ± 7.59) | 0.42 (5210.71 ± 22.08) |
| 120% | 103.67 ± 1.41 | 1.138 (6703.32 ± 87.66) | 1.08 (6712.17 ± 83.89) |

Table S3. Robustness results of the optimized method for the determination of LFT

| Altered condition | Variation | Retention time (min) | Peak area |
| --- | --- | --- | --- |
| Optimized method | - | 5.53 | 5190.49 |
| Flow rate (ml/min) | 1.1 | 5.17 | 5207.54 |
|  | 0.9 | 5.95 | 5087.84 |
| Acetonitrile (%) | + 2 % | 5.18 | 5365.22 |
|  | - 2 % | 5.88 | 5043.32 |
| Temperature (°C) | 32.0 | 5.50 | 5180.49 |
|  | 28.0 | 5.51 | 5156.55 |
| Formic acid (%) | 0.11 | 5.561 | 5250.49 |
|  | 0.09 | 5.566 | 5136.43 |

Table S4. Solution stability testing of the LFT under various temperature conditions using the optimized method

| Temperature conditions | Area | Retention time (min) |
| --- | --- | --- |
| Standard | 5102.96 | 5.538 |
| 25 ºC ± 2 ºC (post 24 h) | 5172.00 | 5.535 |
| 4 ºC ± 2 ºC (post 24 h) | 5113.41 | 5.533 |
| -20 ºC (post 48 h) | 5124.12 | 5.534 |
| -80 ºC (post 48 h) | 5025.88 | 5.532 |
| % RSD (mean ± SD) | 1.03 (5107.67 ± 52.80) | 0.041 (5.534 ± 0.002) |

Table S5. Mass accuracy data of LFT, DP1 and DP2

|  | LFT/DP1/DP2 | Proposed molecular formula | Theoretical m/z | Practical m/z | Mass Error (ppm) |
| --- | --- | --- | --- | --- | --- |
| LFT |  | C29H24Cl2N2O7S | 615.0759 | 615.0745 | -2.27 |
| DP1 |  | C20H20Cl2N2O5S | 471.0548 | 471.0539 | -1.91 |
| DP2 |  | C9H6O3 | 161.0242 | 161.0243 | -0.62 |
| LFT | D1 | C19H12Cl2NO3 | 372.0189 | 372.0187 | 0.53 |
|  | D2 | C10H8Cl2NO | 227.9977 | 227.9988 | -4.82 |
|  | D3 | C9H5O2 | 145.0284 | 145.0289 | -3.44 |
| DP1 | D1 | C10H8Cl2NO | 227.9977 | 227.9979 | -0.87 |
|  | D2 | C9H8Cl2N | 200.0028 | 200.0024 | 1.99 |
|  | D3 | C9H8ClN | 165.0340 | 165.0341 | -0.60 |
| DP2 | DP2 D1 | C8H5O. | 117.0340 | 117.0344 | -3.41 |
| Notes: LFT: Lifitegrast; DP1 and DP2: Degradation product 1 and 2, D1, D2, D3: Daughter ions 1, 2, 3 |  |  |  |  |  |