## Pre-Mon_2011
Table 1. Water chemsitry results for Pre-monsoon 2011 along with water quality assessment
based on BIS drinking water specifications and WQI values.
Sl. No. | Village | pH | EC | TDS | TH | Ca2+ | Mg2+ | Na+ | K+ | HCO3- (as CaCO3) | Cl- | SO42- | NO3- | F- | WQI (Asit and Surajit 2015)
|  |  | m S/cm |  | mg/l
| BIS DWS-IS 10500 : 2012 - Permissible Limit in the Absence of Alternate Source. | <6.5->8.5 |  | 2000 | 600 | 200 | 100 | NS | NS | 600 | 1000 | 400 | 45 | 1.5
Surface water
1 | Irlagutta Tank | 7.7 | 17640 | 11289.6 | 1440 | 56.112 | 315.952 | 2127.5 | 2150.5 | 5368 | 1949.75 | 4.8 | 2000 | 1.3 | 912.2651
2 | Haridaspalli Tank | 7.7 | 12220 | 7820.8 | 1400 | 256.512 | 184.7104 | 1840 | 860.2 | 2104.5 | 1999.38 | 1440 | 500 | 2.1 | 384.866
3 | Dammaiguda cheruvu (Tank) | 7.6 | 2970 | 1900.8 | 420 | 56.112 | 68.0512 | 437 | 195.5 | 469.7 | 815.35 | 16.8 | 50 | 1.1 | 87.3593
4 | Cherial cheruvu (Tank) | 7.6 | 7094 | 4540.16 | 660 | 120.24 | 87.4944 | 943 | 860.2 | 1403 | 1772.5 | 19.2 | 150 | 1.6 | 169.5268
5 | Kundanpalli vagu (Stream) | 7.6 | 4620 | 2956.8 | 600 | 160.32 | 48.608 | 678.5 | 351.9 | 988.2 | 1134.4 | 9.6 | 100 | 1.4 | 127.3545
Groundwater
1 | JNNURM Buildings | 7.9 | 1491 | 954.24 | 470 | 156.312 | 19.4432 | 119.6 | 0.782 | 542.9 | 141.8 | 76.8 | 8 | 1.1 | 65.868
2 | Haridaspalli village | 7.5 | 2310 | 1478.4 | 530 | 180.36 | 19.4432 | 287.5 | 2.346 | 524.6 | 482.12 | 4.8 | 4 | 0.75 | 65.5228
3 | Santhi nagar | 7.3 | 3014 | 1928.96 | 730 | 156.312 | 82.6336 | 340.4 | 19.55 | 457.5 | 652.28 | 58.56 | 120 | 0.93 | 115.3876
4 | Nandamui nagar | 7.5 | 1101 | 704.64 | 410 | 144.288 | 12.152 | 46 | 0.782 | 183 | 145.345 | 24 | 160 | 0.92 | 104.3297
5 | Army college | 7.6 | 824 | 527.36 | 270 | 104.208 | 2.4304 | 63.25 | 1.564 | 317.2 | 60.265 | 40.56 | 20 | 1.7 | 61.2932
6 | Malkaram cross | 7.4 | 1685 | 1078.4 | 460 | 164.328 | 12.152 | 170.2 | 0.782 | 323.3 | 311.96 | 93.12 | 30 | 1.2 | 71.6047
7 | Ahmedguda substation | 7.5 | 756 | 483.84 | 260 | 96.192 | 4.8608 | 58.65 | 0.782 | 372.1 | 31.905 | 19.2 | 20 | 1.3 | 57.1981
8 | Ahmedguda(GP)/ temple | 7.4 | 1835 | 1174.4 | 610 | 108.216 | 82.6336 | 156.4 | 3.91 | 475.8 | 241.06 | 115.2 | 130 | 0.77 | 108.8034
9 | Cherial village | 7 | 3680 | 2355.2 | 660 | 208.416 | 34.0256 | 563.5 | 3.128 | 597.8 | 921.7 | 9.6 | 100 | 0.36 | 106.6609
10 | Venkateswara nagar | 7.4 | 1434 | 917.76 | 410 | 152.304 | 7.2912 | 140.3 | 0.782 | 347.7 | 184.34 | 84.48 | 100 | 0.56 | 86.8122
11 | NTR nagar | 7.4 | 1570 | 1004.8 | 570 | 116.232 | 68.0512 | 115 | 0.782 | 414.8 | 241.06 | 93.12 | 50 | 1.1 | 80.8679
12 | Rajiv Gandhi karmik nagar | 6.5 | 10540 | 6745.6 | 1660 | 505.008 | 97.216 | 1725 | 8.602 | 1232.2 | 3048.7 | 19.2 | 100 | 0.27 | 183.0544
13 | Bandlaguda-Ahmedguda | 7.5 | 1037 | 663.68 | 290 | 78.156 | 23.0888 | 119.6 | 0.391 | 451.4 | 63.81 | 36 | 60 | 0.76 | 70.2543
14 | Keesara-Bandlaguda | 7.4 | 2362 | 1511.68 | 660 | 104.208 | 97.216 | 280.6 | 16.422 | 652.7 | 340.32 | 86.4 | 200 | 1.6 | 145.1009
15 | Ahmedguda grave yard | 7.37 | 2082 | 1332.48 | 780 | 136.272 | 106.9376 | 117.3 | 1.173 | 518.5 | 326.14 | 129.6 | 14.26 | NA | 70.3679
16 | Bhagyanagar colony | 7.17 | 576 | 368.64 | 220 | 68.136 | 12.152 | 27.6 | 0.391 | 201.3 | 31.905 | 35.424 | 34.72 | 1.5 | 59.0778
17 | Gabbilalapet | 6.9 | 917 | 586.88 | 320 | 98.196 | 18.228 | 62.1 | 1.564 | 183 | 138.255 | 38.88 | 50 | 1.5 | 67.7402
Mean of Groundwater samples |  | 7.3376 | 2189.0588 | 1400.9976 | 547.6471 | 151.5967 | 41.1738 | 258.4118 | 3.749 | 458.5765 | 433.1156 | 56.7614 | 70.6459 | 1.02 | 89.4085
| NS: Not specified; | NA: Not analysed; |  |  |  | 104.208 | Paramater content =>AL; |  |  |  | 660 | Paramater content =>PL.
| 3680: Highly contaminated |  |  |  |  | 86.8122 | WQI - Good water |  |  |  | 384.866 | WQI -Poor water