Supplementary information for:

Automated radiosynthesis of two 18F-labeled tracers containing 3-fluoro-2-hydroxypropyl moiety, [18F]FMISO and [18F]PM-PBB3, via [18F]epifluorohydrin

Takayuki Ohkubo1,2, Yusuke Kurihara1,2, Masanao Ogawa1,2, Nobuki Nengaki1,2, Masayuki Fujinaga1, Wakana Mori1, Katsushi Kumata1, Masayuki Hanyu1, Kenji Furutsuka2, Hiroki Hashimoto1, Kazunori Kawamura1*, and Ming-Rong Zhang1

1Department of Advanced Nuclear Medicine Sciences, Institute for Quantum Medical Science, National Institutes for Quantum and Radiological Science and Technology, Chiba 263-8555, Japan

2SHI Accelerator Service Ltd., Tokyo 141-0032, Japan

*Correspondence: kawamura.kazunori@qst.go.jp

Department of Advanced Nuclear Medicine Sciences, Institute for Quantum Medical Science, National Institutes for Quantum and Radiological Science and Technology, 4-9-1 Anagawa, Inage-ku, Chiba 263-8555, Japan

1. The semipreparative HPLC chromatogram of [18F]FMISO by [18F]fluorination

Figure S1. The semipreparative HPLC chromatogram of [18F]FMISO synthesized by [18F]fluorination using 1 and [18F]F-, followed by the removal of the protecting group in [18F]3. The semipreparative HPLC conditions were as follows: XBridge C18 column (5 μm, 10 mm i.d. × 250 mm length; Waters), with a mixture of ethanol and water (2:98, vol./vol.) as the mobile phase, a flow rate of 5.0 mL/min, and UV detection at 325 nm.

2. The semipreparative HPLC chromatogram of [18F]PM-PBB3 by [18F]fluorination

Figure S2. The semipreparative HPLC chromatograms of [18F]PM-PBB3 synthesized by [18F]fluorination using 2 and [18F]F-, followed by the removal of the protecting group in [18F]4. The HPLC conditions were as follows: Capcell Pak C18 column (5 μm, 10 mm i.d. × 250 mm length; Shiseido, Tokyo, Japan), the mixture of acetonitrile, water and triethylamine (40:60:0.1, v/v/v) as the mobile phase, 5.0 mL/min flow rate, and UV detection at 365 nm.