Appendix

Appendix I:

Table I: Parameters of the CT

| Name | Value |
| --- | --- |
| Tube voltage | 120 k Vp |
| Automatic Tube Current Modulation（tube current） | 150-200 m A |
| Screw pitch | 0.984:1 |
| Frame rotation speed | 0.5 s/r |
| Scan matrix settings | 512×512 |
| Reconstructed layer thickness | 0.5 -1.25mm |
| Lung window | Window width1500 HU，slice thickness-500 HU |
| Mediastinum window | Window width 350 HU，slice thickness 50 HU |

Table II: The features of tumors

| First Order Statistics（19 features） | Energy, entropy, minimum, maximum, mean and median, interquartile range, range of intensity values, mean absolute deviation, robust mean absolute deviation, root mean square, standard deviation, skewness, kurtosis, variance, evenness |
| --- | --- |
| Shape-based（3D）（16 features） | Grid volume, voxel volume, surface area, surface area to volume ratio, sphericity, compactness 1, 2, spherical asymmetry, maximum 2D diameter (slice/row), major axis length, short axis length, minimum axis length, elongation, flatness |
| Shape-based（2D）（10 features） | Mesh surface, pixel surface, perimeter, perimeter ratio, sphericity, spherical inhomogeneity, maximum 2D diameter, spindle length, short axis length, elongation |
| GLCM： Gray Level Cooccurrence Matrix（24 features） | Get Autocorrelation, Joint Average, Cluster Prominence, Cluster Shade, Cluster Tendency, Contrast, Correlation, Difference Average, Difference Entropy, Difference Variance, Dissimilarity, Joint Energy, Joint Entropy, Homogeneity1, Homogeneity2, Imc1, Imc2, Idm, MCC, Idmn, Id, Idn, Inverse Variance, Maximum Probability, Sum Average, Sum Variance, Sum Entropy, Sum Squares Feature Value |
| GLRLM： Gray Level Run Length Matrix（16 features） | Get Short Run Emphasis, Long Run Emphasis, Gray Level Non Uniformity, Gray Level Non Uniformity Normalized, Run Length Non Uniformity, Run Length Non Uniformity Normalized, Run Percentage, Gray Level Variance, Run Variance, Run Entropy, Low Gray Level Run Emphasis, High Gray Level Run Emphasis, Short Run Low Gray Level Emphasis, Short Run High Gray Level Emphasis, Long Run Low Gray Level Emphasis, Long Run High Gray Level Emphasis Feature Value |
| GLSZM： Gray Level Size Zone Matrix（16 features） | Get Small Area Emphasis, Large Area Emphasis, Gray Level Non Uniformity, Gray Level Non Uniformity Normalized, Size Zone Non Uniformity, Size Zone Non Uniformity Normalized, Zone Percentage, Gray Level Variance, Zone Variance, Zone Entropy, Low Gray Level Zone Emphasis, High Gray Level Zone Emphasis, Small Area Low Gray Level Emphasis, Small Area High Gray Level Emphasis, Large Area Low Gray Level Emphasis, Large Area High Gray Level Emphasis Feature Value |
| GLDM： Gray Level Dependence Matrix（14 features） | Get Small Dependence Emphasis, Large Dependence Emphasis, Gray Level Non Uniformity, Gray Level Non Uniformity Normalized, Dependence Non Uniformity, Dependence Non Uniformity Normalized, Gray Level Variance, Dependence Variance, Dependence Entropy, Dependence Percentage, Low Gray Level Emphasis, High Gray Level Emphasis, Small Dependence Low Gray Level Emphasis, Small Dependence High Gray Level Emphasis, Large Dependence Low Gray Level Emphasis, Large Dependence High Gray Level Emphasis Feature Value |
| NGTDM： Neighbouring Gray Tone Difference Matrix（5 features） | Get Coarseness, Contrast, Busyness, Complexity, Strength Feature Value |