Supporting Online Material

1. Methods for luminescence dating

1.1 Sample preparation and analytical facilities

All samples were prepared using routine optical dating procedures (Wintle, 1997). Samples were first treated with HCl acid and H2O2 solution to remove carbonates and organic matter, respectively. The remaining sediment was then dried and sieved to obtain the 180–212 µm in diameter grain-size fraction. Quartz grains were separated from other mineral grains using sodium polytungstate solutions of densities 2.70 and 2.62 g/cm3. Quartz grains were etched using 40% hydrofluoric (HF) acid for 45 min to remove the alpha-irradiated layer around the surface of each grain. Grains were then rinsed in HCl acid to remove any precipitated fluorides and sieved again.

Single-grain OSL measurements of De were made for all samples. The OSL measurements were made on the same automated Risø TL-DA-20 luminescence reader equipped with a focused green (532 nm) laser for single-grain stimulation and infrared (870 nm) light-emitting diodes (LEDs) (Bøtter-Jensen et al., 2003). Luminescence emissions were detected using an Electron Tubes Ltd 9235QA photomultiplier tube, and the OSL signals detected through Hoya U-340 filters. The single-grain measurements were made using aluminium discs drilled with 100 holes, each 300 µm in diameter and 300 µm deep (Bøtter-Jensen et al., 2003). Irradiations were carried out inside the luminescence reader using a 90Sr/90Y beta source that has been calibrated using a range of known gamma-irradiated quartz standards for both multi-grain aliquots and individual grain positions. Spatial variations in beta dose rate to individual grain positions were taken into account for De determination, based on measurements made using the same gamma-irradiated quartz standards (Ballarini et al., 2006). A systematic check of the beta dose calibrations and an inter-machine calibration check were conducted in 2022.

1.2 Measurement and analysis of OSL signals for De determination

All single-grain measurements were made using the single-aliquot regenerative-dose (SAR) procedure (Galbraith et al., 1999; Murray and Wintle, 2000). The SAR procedure involves measuring the OSL signals from the natural (burial) dose (Ln) and from a series of regenerative doses to adequately bracket Ln and define the shape of individual dose response curves. Grains were preheated at 260°C for 10 s prior to optical stimulation by an intense, green (532 nm) laser beam for 2 s at 125°C. A fixed test dose (~10 Gy, preheated at 160°C for 5 s) was given after each natural and regenerative dose, and the induced OSL signals (Tn and Tx) were used to correct for any sensitivity changes during the SAR sequence. A duplicate regenerative dose was included in the sequence to check on the adequacy of this sensitivity correction, and a ‘zero regenerative dose’ measurement cycle was included to monitor the extent of any ‘recuperation’ induced by the preheat treatment. We also applied the OSL IR depletion ratio test (Duller, 2001) to each grain or aliquot at the end of the SAR sequence, using an infrared exposure of 40 s at 50°C. Aberrant grains were rejected using the following quality-assurance criteria:

- The initial Tn signal is less than 3σ above the corresponding background count, or the relative error on Tn is >25%.

- The recuperation ratio (i.e., the ratio of the Lx/Tx values for the 0 Gy and maximum regenerative doses) is >5%.

- The recycling ratio (i.e., the ratio of Lx/Tx values for the duplicate regenerative doses) is not consistent with unity at 2σ.

- The OSL IR depletion ratio is more than 2σ less than unity.

- The Lx/Tx ratios are too scattered to be reliably fitted with a curve defined as having a large figure-of-merit (FOM) or reduced chi-squared (rcs) value. We set an upper limit of 10% for the FOM value and 5 for the rcs value, which has been demonstrated to select satisfactory dose-response curves (DRCs).

- The Ln/Tn ratio is statistically consistent with, or higher than, the saturation level of the corresponding DRC, so that a finite De value and error estimate could not be obtained, or the De value is obtained by extrapolation of the fitted DRC, rather than interpolation among the regenerative-dose signals.

Table S1 lists the numbers of individual grains measured, rejected and accepted for De determination for the sample, and the reasons for their rejection.

Table S1: Number of individual quartz grains measured, rejected and accepted for each sample, together with the reasons for their rejection (see text for reference to numbers).

| Sample | No. of measured grains | Rejection criteria (see text) |  |  |  |  |  |  | Sum of rejected grains | No. of accepted grains |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 | 2 | 3 | 4 | 5 | 6 |  |  |  |
| MRS17-8 | 1000 | 473 | 200 | 2 | 44 | 79 | 5 |  | 803 | 197 |
| MRS6 | 1000 | 449 | 190 | 1 | 81 | 81 | 7 |  | 809 | 191 |
| MRS5 | 1000 | 345 | 215 | 1 | 62 | 129 | 22 |  | 774 | 226 |
| MRS17-1 | 1000 | 487 | 154 | 4 | 44 | 74 | 20 |  | 783 | 217 |
| MRS7 | 1000 | 602 | 101 | 2 | 54 | 64 | 23 |  | 846 | 154 |
| MRS8 | 1000 | 565 | 141 | 2 | 50 | 75 | 26 |  | 859 | 141 |
| MRS9 | 900 | 473 | 110 | 0 | 67 | 84 | 35 |  | 769 | 131 |

For the grains that passed criteria 1–5 (Table S1), a further number of grains then failed because their Ln/Tn ratios lay at or above the asymptote (so-called dose saturation level) of the dose response curve, so a De value could not be obtained (criteria 6). The proportion of such grains ranges from 2.5% (MRS17-8) to 21% (MRS9) and increase with stratigraphic depth. Samples from LGS, LRS and DGS all have >10% saturated grains. These likely represent grains with OSL signals that reach dose saturation much earlier than others with the same depositional and burial history; it is well known that different quartz grains from the same sample exhibit a range of different dose response curve shapes and characteristic saturation dose (D0) values (e.g., Roberts et al., 1999; Duller, 2000; Jacobs et al., 2006). If this is the case then rejection of these grains will not impact on the weighted mean De value of the sample. If saturated grains, however, represent older grains and their rejection result in the truncation of the true distribution of De values in the sample, then the weighted mean De value will be underestimated to an unknown extent. We explicitly tested this by analysing the samples in two different ways: (1) conventional and (2) LnTn.

In both approaches, Ln, Lx, Tn and Tx values are estimated from the first 0.22 s of OSL decay, with the mean count recorded over the last 0.3 s subtracted as background. Using the conventional way, individual sensitivity-corrected (Lx/Tx) ratios are then fitted with a general order kinetic (GOK) function to create a dose response curve (DRC) for each accepted grain. The sensitivity-corrected natural signal (Ln/Tn) is then projected onto the fitted DRC to estimate De by interpolation. This results in a distribution of De values for a sample of which the patterns, when plotted as radial plots, are examined for any evidence of partial bleaching, post-depositional mixing and other factors that can give rise to spread in De estimates (Galbraith et al., 2005; Galbraith and Roberts, 2012). A final De estimate is then calculated by using an appropriate statistical model to combine the pool of De values for a single De estimate using for age determination (Galbraith et al., 1999; Galbraith and Roberts, 2012). The radial plots for all samples are shown in Figure X. We used two different statistical approaches to obtain the final weighted mean De values.

- The central age model (CAM) (MRS5, MRS6, MRS8, MRS9) which is representative of sediment that was well-bleached prior to deposition and that remained undisturbed since burial. The CAM assumes that the De values for all grains are centred on some average value of De (similar to the median) and the estimated standard error takes account of any De overdispersion; hence, the greater the OD, the larger the error (Galbraith and Roberts, 2012).

- The nMAD CAM (MRS7, MRS17-7, MRS17-8). CAM is used to combined all De values after rejection of statistically significant outliers using the normalised median absolute deviation (nMAD) (Rousseeuw and Croux, 1993; Rousseeuw et al., 2006) method and 1.4826 as the appropriate correction factor for a normal distribution; log De values with nMADs of >2.5 were considered outliers (Powell et al., 2002; Storey et al., 2012; Wood et al., 2016). These distributions are also consistent with sediment that were well-bleached prior to deposition and that remained relatively undisturbed since burial. We assume that the statistical outliers that make up a very small percentage of grains (4–9%) are intrusive.

Table S2 give the CAM and nMAD CAM De values for all samples. The two approaches gave statistically consistent De estimates for all samples, except MRS17-8 that had a larger number of much smaller De values (including 8 grains with negative De values) that appear to be modern contamination and that are clearly different from the majority of grains (Figure X).

Table S2: Comparison of De values derived using different approaches, but the same dataset. Values in bold are those used for final age determination.

| Sample | Layer | CAM De (Gy) | nMAD CAM De (Gy) | LnTn De (Gy) |
| --- | --- | --- | --- | --- |
| MRS17-8 | RGBS | 42.8 ± 1.9 | 47.1 ± 1.1 | 46.5 ± 2.0 |
| MRS6 | VDGS | 44.8 ± 1.2 | 45.1 ± 1.2 | 46.4 ± 1.8 |
| MRS5 | CWGS | 75.1 ± 1.7 | 74.1 ± 1.5 | 74.5 ± 1.8 |
| MRS17-1 | CWGS | 68.6 ± 2.3 | 72.6 ± 2.0 | 70.8 ± 2.5 |
| MRS7 | LGS | 69.0 ± 2.4 | 69.3 ± 2.2 | 70.6 ± 3.3 |
| MRS8 | LRS | 83.9 ± 2.7 | 84.9 ± 2.6 | 88.3 ± 3.2 |
| MRS9 | DGS | 85.6 ± 2.8 | 86.4 ± 2.8 | 85.5 ± 2.3 |

To test whether the saturated grains that failed criterion 6 significant affect the final De value, we ued the LnTn method of Li et al. (2017, 2020). This method does not reject any ‘saturated’ grains, so a full and untruncated distribution of Ln/Tn ratios is included in the final De value (Li et al., 2020). In this method, the distribution of re-normalised Ln/Tn ratios, rather than De values, of all accepted grains (including those identified as saturated) are analysed and then interpreted and combined in the same way as for the conventional SAR method. This method is reliant on all grains having the same DRC (a so-called standardised growth curve or SGC), but a single reliable SGC for quartz grains, even from the same sample, is not achievable (Li et al., 2016), because individual quartz grains have significantly different DRC shapes and D0 values, the characteristic saturation dose (e.g., Roberts et al., 1999; Adamiec, 2000; Duller et al., 2000; Yoshida et al., 2000). Instead, all accepted grains can be sorted into groups according to their DRC shape by comparing the ratio between Lx/Tx values of two different regenerative doses (Li et al., 2016); in this study 200 and 50 Gy were used where 200 Gy is much greater than the expected De value of the samples, and 50 Gy fall within the part of the DRC where most grains have a similar shape (e.g., Fu et al., 2017). The finite mixture model (FMM) Is then used to statistically determine the number of groups of grains with similar DRC shapes and the probability of a grain falling into a specific group that share a similar ratio. The least-squares (LS-) normalisation procedure of Li et al. (2017) is then applied to each group and group-specific SGCs constructed by fitting the normalised values with a GOK function (Guralnik et al., 2015). The weighted mean re-normalised Ln/Tn ratio for each group determined using an appropriate statistical model is then projected onto its group-specific SGC to estimate group-specific De values. The number of groups is sample specific. The SGCs are validated by comparing SGC-derived De values against De values obtained for the same non-saturated grains using their individual full SAR DRCs; >90% of values should be consistent at 2σ. Once validated, group-specific De values can then be combined to calculate a final weighted mean De value for age determination. Table S2 provides the weighted mean LnTn De value for each sample; all samples give statistically consistent De values and for those samples where there were >10% of saturated grains these grains were all identified as early saturating grains (i.e., they have low D0 values), rather than grains with older burial ages.

All data analyses were achieved using the functions implemented in two R packages numOSL (Peng et al., 2013; Peng and Li, 2017) and Luminescence (Kreutzer et al., 2012).

1.3 Environmental dose rate determination

The environmental dose rate consists of the external beta, gamma and cosmic-ray dose rates and internal alpha dose rate. The individual components of dose rate were determined separately, and their uncertainties accounted for. The total dose rate is the sum of these different components and the individual errors that is made up of all known random and systematic errors were combined in quadrature.

We estimated beta dose rates for all samples directly by low-level beta counting of dried, homogenised, and powdered sediment samples in the laboratory, using the same Risø GM-25-5 multi-counter system (Bøtter-Jensen and Mejdahl, 1988). We prepared and measured samples, analysed the resulting data, and calculated the beta dose rates and their uncertainties following procedures described and tested previously (Jacobs and Roberts, 2012); at least three sub-samples were measured for each sample. For all samples, allowance was made for the effect of sample moisture content (Nathan and Mauz, 2008), grain size (Brennan, 2003) and HF acid etching (Bell and Zimmerman, 1978).

Gamma dose rates for 3 samples (MRS5, MRS6 and MRS8) were measured directly by in situ gamma spectrometry for most samples to consider any spatial heterogeneity in the gamma radiation field within ~30 cm of each sample. Counts were collected for 30 or 60 minutes with a 1-inch diameter NaI(Tl) detector. The detectors were calibrated using the concrete blocks at Oxford University (Rhodes and Schwenninger, 2007) and the gamma dose rates were determined using the ‘threshold’ technique (Mercier and Falgueres, 2007). The performance of the instruments is monitored in the laboratory for any drift before and after every field season. The gamma dose rates for 2 samples that were not measured directly, were calculated from the in situ measurements of two bracketing samples (MRS7 and MRS9), or indirectly from a combination of TSAC (U and Th) and ICP-MS (K) (MRS17-1 and MRS17-8). The U, Th and K values were converted to gamma dose rates using the dose conversion factors of Guérin et al. (2011).

Account was also taken of the cosmic-ray contribution to the total dose rate (Prescott and Hutton, 1994), adjusting for site altitude (~420 m), geomagnetic latitude (-31.0°), and the density and thickness of rock (2.6 g/cm3) and sediment (1.8 g/cm3) overburden. The site morphology is complex, so the angular distribution of cosmic rays was taken into account (Smith et al., 1997) using modern-day estimates of rock and sediment thickness at different angles as a guide (Fisher et al., 2015).

An internal alpha dose rate of 0.03 ± 0.01 Gy/ka was assumed for all samples.

The external beta and gamma dose rates were corrected for long-term water content (Nathan and Mauz, 2008). The field moisture content prevailing at the time of sample collection were measured for every sample. These values ranged between 2.4% and 5.3. We assumed that the field measured water contents are representative of the long-term water content, so used 5 ± 2% (i.e., relative error of ±20% at 1σ) to accommodate any likely variations over the period of sample burial.