PRM analysis

In detail, first, each sample of above was mixed with an equal amount to construct a protein Mix, which was subjected to mass spectrometry DDA detection. After Maxquant (v1.5.2.8) database search, they were imported into Skyline software to establish a spectral library, and screen peptides of target proteins for method establishment. Design a PRM detection method, add the target peptide m/z and Retention time to the inclusion list to establish a mass spectrometry collection method. Then use this mass spectrometry collection method to collect PRM data form protein Mix to adjust and optimize the PRM collection method, and to form the final PRM method for sample data collection, which contains 14 proteins.

Each peptide sample was dissolved using liquid chromatography mobile phase A (0.1% FA, 2% ACN). After centrifugation, the supernatant was taken into the injection vial. The liquid phase method for separation was performed using the EASY-nLC 1000 ultra-high performance liquid system. Samples were loaded onto a chromatographic analysis column (C18 analysis column: 1.9 μm, 100 μm×250 μm) for gradient separation. Mobile phase B is an aqueous solution containing 0.1% FA and 90% ACN. Liquid gradient setting: 0~16 min, 6%-25% B; 16~22 min, 25%-35% B; 22~26 min, 35%-80% B; 26~30 min, 80% B, Flow rate maintained at 500 nL/min.

After separation by ultra-high performance liquid phase system, the peptides were injected into the NSI ion source for ionization, and then subjected to Q ExactiveTM Plus mass spectrometry for PRM verification analysis. The analysis time is 30 minutes, and the detection method: positive ions, the ion source voltage is set to 2.0 kV, and the peptide precursor ions and their secondary fragments are detected and analyzed using high-resolution Orbitrap. The scan range of the first-level mass spectrometer is set to 340-950 m/z, and the scan resolution is set to 70,000, the AGC target: 3e6, Maximun IT: 50ms; the scan resolution of the second-level mass spectrometer Orbitrap is set to 17,500, and the data acquisition mode uses data-independent Scanning (DIA) program, the fragmentation energy of HCD collision cell is set to 27, AGC target: 1E5, Maximum IT: 110 ms, isolation window is set to 1.6 m/z.

The raw data of mass spectrometry analysis is RAW file, and use Maxquant (v1.5.2.8) software to search library for identification and quantitative analysis. When searching the library, the protease was set to Trypsin[KR/P], the maximum number of missed cleavage sites was set to 0, the length of the peptide was set to 7-25 amino acid residues, and the alkylation of cysteine was set as a fixed modification. Transition parameters: the parent ion charge is set to 2, 3, the product ion charge is set to 1, and the ion type is set to b, y. The fragment ion selection starts from the third to the last, and the mass error tolerance of ion matching is set to 0.02 Da. Use Skyline software to analyze the data of PRM original RAW files.