Highlights of the study:

- Comprehensive exploration of ground motions induced by geothermal power plants (GPP) in Southern Germany, starting with a statistical analysis of seismic data from Insheim and extending to the Greater Munich Area.

- Proposal of Ground Motion Prediction Equations (GMPE): New region-specific GMPEs are proposed to better predict ground motions associated with GPP-induced events. These equations consider peak quantities, spectral accelerations, and velocities in both horizontal and vertical directions.

- Alignment with Recorded and Simulated Data: Regression curves derived from the proposed GMPEs closely align with both recorded seismic data from Insheim, Poing, Unterhaching, and simulated data from Munich, demonstrating their reliability within an acceptable range.

- Identification of Key Characteristics: The study highlights higher spectral quantities at shorter periods (<0.1 s), emphasizing the importance of this characteristic in seismic assessment for GPP-induced events.

- Serviceability Assessment: An exemplary application for a low-rise residential building located 3 km from the epicenter reveals that the building meets serviceability standards for seismic events up to MW 2.5.

- Practical Implications: The findings offer practical implications for serviceability verifications and aid informed decision-making in geothermal energy projects, contributing to a better understanding of ground motions associated with GPP-induced events.