Additional File 1

Additional Table 1. Summary of the CSF biomarkers in SST person

1a. Summary of CSF biomarkers in person with sporadic human prion disease

| Sex | 14-3-3 protein by western blotting | generation QuIC assay | generation QuIC assay | T-tau protein by ELISA (pg/) | T-tau protein by CLEIA (pg/) |
| --- | --- | --- | --- | --- | --- |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | 1,910 | 1586 |
|  | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | 1,967 | 1,727 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | 2180 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | negative | positive | positive | 1,870 | 1585 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | 2,163 | 1,866 |
| male | positive | positive | positive | >2,200 | >2,000 |
| male | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | 1,966 | 1,307 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | 2,101 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | 2,117 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |
| female | positive | positive | positive | >2,200 | >2,000 |

1b. Summary of CSF biomarkers in without sporadic human prion disease

| Sex | 14-3-3 protein by western blotting | generation QuIC assay | generation QuIC assay | T-tau protein by ELISA (pg/ml) | T-tau protein by CLEIA (pg/ml) | Disease |
| --- | --- | --- | --- | --- | --- | --- |
| male | negative | negative | negative | 1142.5 | 676 | primary malignant lymphoma |
| male | negative | negative | negative | 82.5 | 182 | drug toxic encephalopathy |
| male | negative | negative | negative | 174 | 169 | autoimmune encephalopathy |
| male | negative | negative | negative | 201.7 | 233 | alcohol-dependent LCCA |
| male | negative | negative | negative | 145 | 142 | hypoxic encephalopathy |
| male | negative | negative | negative | 693 | 480 | hypoxic encephalopathy |
| male | negative | negative | negative | 342 | 370 | epilepsy |
| male | negative | negative | negative | 157 | 208 | DLB |
| male | negative | negative | negative | 169 | 173 | epilepsy |
| male | negative | negative | negative | 356 | 450 | epilepsy |
| male | negative | negative | negative | 155 | 127 | hypoxic encephalopathy |
| male | negative | negative | negative | 155 | 215 | MSA-C |
| male | negative | negative | negative | 276.5 | 209 | alcohol-dependent LCCA |
| male | negative | negative | negative | 257 | 180 | metabolic encephalopathy |
| male | negative | negative | negative | 184 | 243 | DLB |
| male | negative | negative | negative | 187 | 228 | epilepsy |
| male | negative | negative | negative | 95 | 151 | autoimmune encephalopathy |
| male | negative | negative | negative | 578 | 605 | alcohol-dependent LCCA |
| male | negative | negative | negative | 394 | 602 | Alzheimer's disease |
| male | negative | negative | negative | 221 | 281 | COVID-19 syndrome |
| male | negative | negative | negative | 141 | 210 | SCA |
| male | negative | negative | negative | 423 | 381 | steroid-responsive encephalopathy |
| female | negative | negative | negative | 370 | 313 | epilepsy |
| female | negative | negative | negative | 402 | 430 | epilepsy |
| female | negative | negative | negative | 852 | 737 | epilepsy |
| female | negative | negative | negative | 186 | 213 | epilepsy |
| female | negative | negative | negative | 181 | 194 | epilepsy |
| female | negative | negative | negative | 109 | 104 | epilepsy |
| female | negative | negative | negative | 189 | 196 | epilepsy |
| female | negative | negative | negative | 820 | 585 | epilepsy |
| female | negative | negative | negative | 624.5 | 391 | epilepsy |
| female | negative | negative | negative | 132.1 | 207 | epilepsy |
| female | negative | negative | negative | 320.2 | 264 | epilepsy |
| female | negative | negative | negative | 1003.1 | 645 | epilepsy |
| female | negative | negative | negative | 801.4 | 535 | epilepsy |
| female | negative | negative | negative | 283 | 319 | epilepsy |
| female | negative | negative | negative | 202 | 307 | steroid-responsive encephalopathy |
| female | negative | negative | negative | 766 | 636 | epilepsy |
| female | negative | negative | negative | 1205 | 907 | steroid-responsive encephalopathy |
| female | negative | negative | negative | 198 | 325 | epilepsy |
| female | negative | negative | negative | 132 | 181 | epilepsy |
| female | negative | negative | negative | 469 | 490 | steroid-responsive encephalopathy |
| female | negative | negative | negative | 1237 | 1011 | steroid-responsive encephalopathy |
| female | negative | negative | negative | 507 | 479 | steroid-responsive encephalopathy |
| female | negative | negative | negative | 172 | 135 | steroid-responsive encephalopathy |

Abbreviations: RT-QuIC, real-time quaking-induced conversion; ELISA, enzyme-linked immunosorbent assay; CLEIA, chemiluminescent enzyme immunoassays; LCCA left common carotid artery; DLB Lewy Body Dementia; MSA-C multiple system atrophy c type; SCA Spinocerebellar ataxia; COVID-19 Coronavirus disease 2019；

Additional Table 2. Relationship between t-tau protein levels measured ELISA and CLEIA

| ANOVA |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Sum of squares | DF | Meansquare | F | Sig |
| t0 | MSB | 96644.917 | 3 | 32214.972 | 0.257 | 0.855 |
|  | MSE | 1003824.000 | 8 | 125478.000 |  |  |
|  | SST | 1100468.917 | 11 |  |  |  |
| t1 | MSB | 136660.667 | 3 | 45553.556 | 0.344 | 0.794 |
|  | MSE | 1058743.333 | 8 | 132342.917 |  |  |
|  | SST | 1195404.000 | 11 |  |  |  |
| t2 | MSB | 94452.667 | 3 | 31484.222 | 0.251 | 0.859 |
|  | MSE | 1003686.000 | 8 | 125460.750 |  |  |
|  | SST | 1098138.667 | 11 |  |  |  |
| t3 | MSB | 8214.000 | 1 | 8214.000 | 0.085 | 0.785 |
|  | MSE | 386602.000 | 4 | 96650.500 |  |  |
|  | SST | 394816.000 | 5 |  |  |  |

Abbreviations: ELISA, enzyme-linked immunosorbent assay; CLEIA, chemiluminescent enzyme immunoassays; t-tau, total tau protein; ANOVA Analysis of Variance; MSD Mean Square Displacement; MSEmean-square error; SST Sum of squares for total

Additional Table 3a. Mauchly's sphericity test conditional validation

| Intrinsic effect | DF | Approximate square | DF | P | Epsilonb |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Greenhouse- Geissler | Xin-ferdt | Lower-bound |
| time | 0.000 |  | 14 |  | 0.399 | 0.992 | 0.200 |

3b. Levin equivalence test for error variance

|  |  | F | DF 1 | DF 2 | sig P |
| --- | --- | --- | --- | --- | --- |
| t0 | mean value | 0.676 | 1 | 4 | 0.457 |
|  | median | 0.144 | 1 | 4 | 0.723 |
|  | median and adjustment for degrees of freedom | 0.144 | 1 | 3.201 | 0.728 |
|  | mean after shear | 0.622 | 1 | 4 | 0.474 |
| t1 | mean value | 0.566 | 1 | 4 | 0.494 |
|  | median | 0.183 | 1 | 4 | 0.691 |
|  | median and adjustment for degrees of freedom | 0.183 | 1 | 3.386 | 0.695 |
|  | mean after shear | 0.532 | 1 | 4 | 0.506 |
| t2 | mean value | 0.831 | 1 | 4 | 0.414 |
|  | median | 0.244 | 1 | 4 | 0.648 |
|  | median and adjustment for degrees of freedom | 0.244 | 1 | 3.158 | 0.654 |
|  | mean after shear | 0.777 | 1 | 4 | 0.428 |
| t3 | mean value | 1.103 | 1 | 4 | 0.353 |
|  | median | 0.251 | 1 | 4 | 0.642 |
|  | median and adjustment for degrees of freedom | 0.251 | 1 | 2.980 | 0.651 |
|  | mean after shear | 1.016 | 1 | 4 | 0.371 |
| t4 | mean value | 0.658 | 1 | 4 | 0.463 |
|  | median | 0.189 | 1 | 4 | 0.686 |
|  | median and adjustment for degrees of freedom | 0.189 | 1 | 3.352 | 0.690 |
|  | mean after shear | 0.613 | 1 | 4 | 0.477 |
| t5 | mean value | 0.652 | 1 | 4 | 0.465 |
|  | median | 0.186 | 1 | 4 | 0.688 |
|  | median and adjustment for degrees of freedom | 0.186 | 1 | 3.374 | 0.692 |
|  | mean after shear | 0.607 | 1 | 4 | 0.480 |
| t6 | mean value | 0.672 | 1 | 4 | 0.458 |
|  | median | 0.235 | 1 | 4 | 0.653 |
|  | median and adjustment for degrees of freedom | 0.235 | 1 | 3.282 | 0.658 |
|  | mean after shear | 0.635 | 1 | 4 | 0.470 |
| t7 | mean value | 0.457 | 1 | 4 | 0.536 |
|  | median | 0.112 | 1 | 4 | 0.754 |
|  | median and adjustment for degrees of freedom | 0.112 | 1 | 3.425 | 0.757 |
|  | mean after shear | 0.423 | 1 | 4 | 0.551 |
| t8 | mean value | 0.870 | 1 | 4 | 0.404 |
|  | median | 0.251 | 1 | 4 | 0.643 |
|  | median and adjustment for degrees of freedom | 0.251 | 1 | 3.103 | 0.650 |
|  | mean after shear | 0.814 | 1 | 4 | 0.418 |
| t9 | mean value | 0.758 | 1 | 4 | 0.433 |
|  | median | 0.287 | 1 | 4 | 0.621 |
|  | median and adjustment for degrees of freedom | 0.287 | 1 | 3.237 | 0.627 |
|  | mean after shear | 0.719 | 1 | 4 | 0.444 |

We tested the null hypothesis that the error covariance matrix of the dependent variable after an orthogonal transformation would be proportional to the identity matrix.

a Design: [: cutoff:

Abbreviations: DF, degree of freedom

Additional Table 4. Within-subject effect test

|  |  | Sum of the squares III | DF | Mean square | F | P | Eta2 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Time | spherical degree | 2562.556 | 5 | 512.511 | 2.123 | 0.105 | 0.347 |
|  | Greenhouse | 2562.556 | 1.992 | 1286.191 | 2.123 | 0.182 | 0.347 |
|  | Xin-ferdt | 2562.556 | 4.958 | 516.838 | 2.123 | 0.105 | 0.347 |
|  | lower-bound | 2562.556 | 1 | 2562.556 | 2.123 | 0.219 | 0.347 |
| Time * group | spherical degree | 1457.222 | 5 | 291.444 | 1.208 | 0.342 | 0.232 |
|  | Greenhouse | 1457.222 | 1.992 | 731.405 | 1.208 | 0.348 | 0.232 |
|  | Xin-ferdt | 1457.222 | 4.958 | 293.905 | 1.208 | 0.342 | 0.232 |
|  | lower-bound | 1457.222 | 1 | 1457.222 | 1.208 | 0.334 | 0.232 |
| Deviation (time) | spherical degree | 4827.222 | 20 | 241.361 |  |  |  |
|  | Greenhouse | 4827.222 | 7.969 | 605.717 |  |  |  |
|  | Xin-ferdt | 4827.222 | 19.833 | 243.399 |  |  |  |
|  | lower-bound | 4827.222 | 4 | 1206.806 |  |  |  |

Abbreviations: DF, degree of freedom

Additional Table 5. Verification of the normal distribution of diurnal reproducibility (normality test)

| 0 |  | Kolmogorov–Smirnova |  |  | Shapiro–Wilk |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Value | DF | P | Value | DF | P |
| t0 | 1 | 0.212 | 3 | . | 0.990 | 3 | 0.810 |
|  | 2 | 0.286 | 3 | . | 0.930 | 3 | 0.490 |
| t1 | 1 | 0.228 | 3 | . | 0.982 | 3 | 0.742 |
|  | 2 | 0.262 | 3 | . | 0.956 | 3 | 0.596 |
| t2 | 1 | 0.215 | 3 | . | 0.989 | 3 | 0.797 |
|  | 2 | 0.269 | 3 | . | 0.949 | 3 | 0.565 |
| t3 | 1 | 0.213 | 3 | . | 0.990 | 3 | 0.807 |
|  | 2 | 0.287 | 3 | . | 0.930 | 3 | 0.487 |
| t4 | 1 | 0.241 | 3 | . | 0.973 | 3 | 0.687 |
|  | 2 | 0.272 | 3 | . | 0.947 | 3 | 0.556 |
| t5 | 1 | 0.246 | 3 | . | 0.970 | 3 | 0.668 |
|  | 2 | 0.272 | 3 | . | 0.946 | 3 | 0.553 |
| t6 | 1 | 0.216 | 3 | . | 0.988 | 3 | 0.794 |
|  | 2 | 0.257 | 3 | . | 0.961 | 3 | 0.620 |
| t7 | 1 | 0.226 | 3 | . | 0.983 | 3 | 0.752 |
|  | 2 | 0.276 | 3 | . | 0.942 | 3 | 0.535 |
| t8 | 1 | 0.201 | 3 | . | 0.995 | 3 | 0.858 |
|  | 2 | 0.270 | 3 | . | 0.949 | 3 | 0.565 |
| t9 | 1 | 0.219 | 3 | . | 0.987 | 3 | 0.782 |
|  | 2 | 0.253 | 3 | . | 0.965 | 3 | 0.639 |

a Rilley's significance correction

Abbreviations: DF, degree of freedom

Additional Table 6. Mauchly's sphericity test

| Intrinsic effect | DF | Approximate square | DF | P | Epsilonb |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Greenhouse- Geissler | Xin-ferdt | lower-bound |
| Time | 0.000 |  | 44 | . | 0.294 | 1 | 0.111 |

We test the null hypothesis that the error covariance matrix of the dependent variable after an orthogonal transformation would be proportional to the identity matrix.

- Design: [: cutoff:

- Degree of freedom that can be used to adjust the mean significance test. The correction test is displayed in the within-subject effect test table.

Abbreviations: DF, degree of freedom

Additional Table 7. Within-subject effect test

|  |  | Sum of the squares III | DF | Mean square | F | P | Eta2 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Time | spherical degree | 11686.933 | 9 | 512.511 | 1298.548 | 5.627 | 0 |
|  | Greenhouse | 11686.933 | 2.648 | 1286.191 | 4414.264 | 5.627 | 0.017 |
|  | Xin-ferdt | 11686.933 | 9 | 516.838 | 1298.548 | 5.627 | 0 |
|  | lower-bound | 11686.933 | 1 | 2562.556 | 11686.93 | 5.627 | 0.077 |
| Time * group | spherical degree | 3859.267 | 9 | 291.444 | 428.807 | 1.858 | 0.091 |
|  | Greenhouse | 3859.267 | 2.648 | 731.405 | 1457.681 | 1.858 | 0.2 |
|  | Xin-ferdt | 3859.267 | 9 | 293.905 | 428.807 | 1.858 | 0.091 |
|  | lower-bound | 3859.267 | 1 | 1457.222 | 3859.267 | 1.858 | 0.245 |
| Deviation (time) | spherical degree | 8307.6 | 36 | 241.361 | 230.767 |  |  |
|  | Greenhouse | 8307.6 | 10.59 | 605.717 | 784.465 |  |  |
|  | Xin-ferdt | 8307.6 | 36 | 243.399 | 230.767 |  |  |
|  | lower-bound | 8307.6 | 4 | 1206.806 | 2076.9 |  |  |

degree of freedom

Additional Table 8. Pair comparison

| Time | (I) Group | (J) Group | (I-J) | SD | P | 95% CI |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | C1 | C2 |
| 1 | 1 | 2 | -218.667 | 261.978 | 0.451 | -946.033 | 508.7 |
|  | 2 | 1 | 218.667 | 261.978 | 0.451 | -508.7 | 946.033 |
| 2 | 1 | 2 | -267 | 275.068 | 0.387 | -1030.713 | 496.713 |
|  | 2 | 1 | 267 | 275.068 | 0.387 | -496.713 | 1030.713 |
| 3 | 1 | 2 | -230.333 | 270.391 | 0.442 | -981.06 | 520.393 |
|  | 2 | 1 | 230.333 | 270.391 | 0.442 | -520.393 | 981.06 |
| 4 | 1 | 2 | -236 | 261.894 | 0.418 | -963.133 | 491.133 |
|  | 2 | 1 | 236 | 261.894 | 0.418 | -491.133 | 963.133 |
| 5 | 1 | 2 | -221.667 | 257.495 | 0.438 | -936.588 | 493.255 |
|  | 2 | 1 | 221.667 | 257.495 | 0.438 | -493.255 | 936.588 |
| 6 | 1 | 2 | -244 | 262.79 | 0.406 | -973.622 | 485.622 |
|  | 2 | 1 | 244 | 262.79 | 0.406 | -485.622 | 973.622 |
| 7 | 1 | 2 | -221.667 | 263.575 | 0.448 | -953.468 | 510.135 |
|  | 2 | 1 | 221.667 | 263.575 | 0.448 | -510.135 | 953.468 |
| 8 | 1 | 2 | -209.333 | 266.905 | 0.477 | -950.381 | 531.715 |
|  | 2 | 1 | 209.333 | 266.905 | 0.477 | -531.715 | 950.381 |
| 9 | 1 | 2 | -248.667 | 280.726 | 0.426 | -1028.087 | 530.754 |
|  | 2 | 1 | 248.667 | 280.726 | 0.426 | -530.754 | 1028.087 |
| 10 | 1 | 2 | -236.667 | 276.041 | 0.44 | -1003.081 | 529.747 |
|  | 2 | 1 | 236.667 | 276.041 | 0.44 | -529.747 | 1003.081 |

a) Multiple comparison regulation: Bonferroni method.

Abbreviations: SD, standard deviation; CI, confidence interval

Additional Figure 1. Simultaneous reproducibility of t-tau protein CLEIA measurements same aliquots of the control and test samples (% CV)

Abbreviations: CSF, cerebrospinal fluid; t-tau, total tau; CLEIA, chemiluminescent enzyme immunoassay; CV, coefficient of variation

Additional Figure 2. Estimation of the marginal mean

Additional Figure 3. Diurnal reproducibility of t-tau protein CLEIA measurements in the same aliquots of the control and test samples

Abbreviations: CSF, cerebrospinal fluid; t-tau, total tau; CLEIA, chemiluminescent enzyme immunoassay; CV, coefficient of variation

Additional Figure 4a. Repeatability of t-tau dilution results in cerebrospinal fluid samples under different dilution conditions (3 samples were randomly selected without dilution, 1/2 PBS dilution,1/2 pure water dilution, 1/2 total protein solution dilution)

Abbreviations: CSF, cerebrospinal fluid; t-tau, total tau

Additional Figure 4b. Reproducibility of t-tau pure water dilution results in cerebrospinal fluid samples (No pure water dilution, 1/2 times pure water dilution, 1/4 times pure water dilution, 1/8 times pure water dilution from three random samples)

Abbreviations: CSF, cerebrospinal fluid; t-tau, total tau