The extraction method determines the chemical differences between the stem and leaf of Melissa officinalis L.

Vitor P. Frazão a, Mariana T. Hufnagela, Fabiane Dörrb, Ana Flavia M. Pessoac, and Daniel P. Demarquea*

aLaboratory of Pharmacognosy, School of Pharmaceutical Sciences, University of São Paulo, São Paulo, Brazil;

bMulti-User Mass Spectrometry Laboratory, School of Pharmaceutical Sciences, University of São Paulo, São Paulo, Brazil;

cLaboratory of Natural Products and Derivatives, Department of Surgery, University of São Paulo School of Medicine, São Paulo, Brazil

*Corresponding author: Daniel Pecoraro Demarque; danieldemarque@usp.br

Laboratório de Farmacognosia, Departamento de Farmácia, Faculdade de Ciências Farmacêuticas da Universidade de São Paulo. Av. Prof. Lineu Prestes, 580. 05508-900. São Paulo, SP, Brazil. +55 11 3091 2351. E-mail: danieldemarque@usp.br

Abstract: In this contribution, we investigate the impact of different extraction methods on the chemical profile of stems and leaves of Melissa officinalis L. Extemporaneous preparations (infusions) were performed and revealed a significant disparity in the chemical profiles of the leaves and stems, with key constituents like rosmarinic acid being notably absent in stem infusions. Subsequent analyses employing sequential maceration with ultrasound and solvents such as hexane, ethyl acetate, and ethanol, however, demonstrated an equivalency of chemical profiles across both plant parts, including the presence of rosmarinic acid. These findings underscore the critical role of extraction methodology in determining the chemical profile of plant-based medicinal preparations.

Keywords: Infusion, leaves and stems comparison, Melissa

Table 1: Parameters used for data pre-treatment in MzMine®

| Mass detection |  |
| --- | --- |
| Retention time | 0.0 - 43 min |
| Polarity | + |
| Spectrum type | Any |
| MS level filter | MS1, level=1 |
| Mass detector | Centroid |
| Noise level | 2.0E3 |
| Chromatogram builder |  |
| MS level filter | MS1, level=1 |
| Polarity | + |
| Spectrum type | Any |
| Minimum consecutive scans | 2 |
| Minimum intensity for consecutive scans | 1.0E3 |
| m/z tolerance (scan-to-scan) | 0,0 m/z or 500 ppm |
| Local minimum resolver |  |
| Dimension | Retention time |
| Chromatographic threshold | 85% |
| Minimum search range RT/Mobility(absolute) | 0.050 |
| Minimum relative height | 0% |
| Minimum absolute height | 5.0E3 |
| Min ratio of peak top/edge | 1.70 |
| 13C isotope filter |  |
| m/z tolerance (intra-sample) | 0.0 mz or 500 ppm |
| Retention time tolerance | 0.050 / absolute (min) |
| Monotonic charge | Check |
| Maximum charge | 5 |
| Representative isotope | Most intense |
| Join aligner |  |
| m/z tolerance (sample-to-sample) | 0 m/z or 500 ppm |
| Weight for m/z | 1 |
| Retention time | 0.500 absolute (min) |
| Weight for RT | 3 |
| Mobility weight | 1.000 |
| Feature list blank subtraction |  |
| Minimum # of detection in blanks | 1 |
| Quantification | Area |
| Ratio type | MAXIMUM |
| Gap filing (Peak finder) |  |
| Intensity tolerance | 20.0 % |
| m/z tolerance (sample-to-sample) | 0 m/z or 500 ppm |
| Retention time | 0.500 absolute (min) |
| Minimum scans (data points) | 3 |

Figure 1: Based peak chromatograms of infusions in both positive and negative modes, and chromatogram at 270 nm. The green color represents the chromatograms of the leaves and red for the stems.