ORIGINAL ARTICLE

Colorimetric Evaluation of Cortisol Hormone and Stress Levels with Artificial Intelligence Assisted Image Processing

AI-Assisted Colorimetric Evaluation of Cortisol Hormone

Muhammed Ertuğrul ÇAPAN*1, Ebru CİNGÖZ ÇAPAN2, Hasan Uğur ÖNCEL3, Ercan ARICAN4, Faruk BULUT5

1,3 Istanbul Gedik University, Faculty of Health Sciences, Department of Occupational Health and Safety, 34913, Istanbul, Turkey

1(ORCID: https://orcid.org/ 0000-0001-9398-7171) 3(ORCID: https://orcid.org/ 0000-0002-6900-1955)

2,4 Istanbul University, Faculty of Arts and Sciences, Department of Molecular Biology and Genetics, 34134, Istanbul, Turkey

2(ORCID: https://orcid.org/0000-0002-5296-0009) 4(ORCID: https://orcid.org/0000-0002-1676-5919)

5 Istanbul Esenyurt University, Faculty of Engineering and Architecture, Department of Computer Engineering,34510, Istanbul, Turkey

5(ORCID: https://orcid.org/0000-0003-2960-8725)

Corresponding Author: Cumhuriyet Neighborhood, İlkbahar Street No: 1-3-5, Yakacık 34876 Kartal Istanbul

+90555 009 7283 ertugrulcapann@gmail.com

Abstract

A novel approach utilizing Convolutional Neural Networks (CNN), Decision Trees, and Vector Regression methods, along with image processing techniques, has been developed to measure cortisol hormone levels through color change, one of the stress biomarkers. Visible color change of sweat samples obtained from users was achieved using the blue tetrazolium method, followed by analytical evaluation of this color change with the proposed system. Validated with ELISA references and a colorimeter device, the system reached a success rate of 98% in determining main reference values and 84.2% in determining users' cortisol values.

Additionally, participants (n=20) underwent the Copenhagen Psychosocial Risk Assessment and Perceived Stress Scale tests, and the correlation between evaluated cortisol levels and stress was examined. Emphasizing the importance of cortisol in stress assessment, an effective tool for rapid cortisol and stress level assessment is proposed.

Keywords: Occupational Stress, Cortisol Hormone, Color Analysis Computer Vision, Convolutional Neural Networks

Abbreviations

BVP: Blood Volume Pulse

CLIA: Chemiluminescent Immuno Assays

CNN: Convolutional Neural Networks

COPSOQ: Copenhagen Psychosocial Risk Assessment Scale

CSV: Comma-Separated Values

EDA: Electrodermal Activity

ELISA: Enzyme-Linked Immuno Sorbent Assay

GSR: galvanic skin response

HPA: hypothalamic-pituitary-adrenal

IA's: Immunoassays

LFIA: Lateral Flow Immuno Assay

LSTM: Long Short-Term Memory

MAE: the mean absolute error

NaSCN: Sodium Thiocyanate

PoC: Point-of-Care

PPG: photoplethysmograph

PSS-ASS- ASÖ: Perceived Stress Scale

RGB: R (red), G (green) and B (blue) channel intensity Values

RMSE: root mean square error

Word Count: 136

Engineering, Other Fields