Appendix 1

The relationship of the margin volume and the projection area of the target

The total projection areas (SYOZ) of the target volume in a beam direction from 0 to 359 were calculated. In this research, CTV is the target. The margin volume of the convention PTV margin recipe will be:

(A1)

where m is the length of the margin, VPTV is the volume of PTV.

The margin volume of the BSPTV margin recipe will be:

(A2)

where m is the length of the margin, VBSPTV is the volume of BSPTV.

The volume differences between the two margin recipes are as following:

(A3)

V is the volume differences between the two margin recipes.

If we need to spare more normal tissues, the V needs to be the maximum. Hence,  needs to be the maximum. Since the  is in direct proportion to SYOZ, the beam angle for the maximum of SYOZ might be chose as the best beam angle to sparing the surrounding normal tissues.

Without loss of generality, we took the target as an ellipsoid with the lengths of axis (a (X axis) > b (Y axis) > c (Z axis)) as shown in Fig. 4 for example. The margin volume of the ellipsoid using the convention PTV margin recipe will be:

(A4)

where m is the length of the margin, VPTV-ellipsoid is the margin volume of the ellipsoid using the convention PTV margin recipe.

(A5)

where m is the length of the margin, VBSPTV-ellipsoid is the margin volume of the ellipsoid using the BSPTV margin recipe. The maximum of VBSPTV-ellipsoid is with the beam angle paraell to the X axis. The minimum of VBSPTV-ellipsoid is with the beam angle paraell to the Y axis.

The volume differences between the two margin recipes are as following:

(A6)

Vellipsoid is the volume differences between the two margin recipes.

In order to obtain the maximum Vellipsoid, the SYOZ needs to be the maximum as following:

(A7)

(A8)

Where the beam angle for the maximum of SYOZ is parallel to the Y axis and perpendicular to the X axis, the Vellipsoid is maximum and the VBSellipsoid is the smallest. As shown in Fig. 4(c), the beam angle for the maximum of SYOZ is 90 in this ellipsoid case, and the beam angle for the mimmum of SYOZ is 0 in this ellipsoid case.

Generalize to the general case, the value of SYOZ is calculated as the product of the average length of target in the Z axis and the average length of target in the XOY plane. Since the beam is irradiated perpendicular to the Z axis, the average length of target in the Z axis is relatively a constant. Hence, the average length of target in the XOY plane will determine the value of SYOZ. The smallest volume of BSPTV is obtained with the beam irradiated perpendicular to the maximum average length of the target in the XOY plane.