Supplemental Methods:

Sample preparation for GeoMx spatial profiling and Protein nCounter sequencing:

The GeoMx DSP analysis was performed following the manufacturer’s protocols. Formalin-fixed paraffin embedding (FFPE) tissue sections (5 μm) were cut and mounted on a positively charged histology slide. After baking at 60°C for 3 hr for paraffin removal, the tissue sections went through rehydration and antigen retrieval (15 minutes at high pressure and high temperature in a pressure cooker). The tissue sections were then blocked and hybridized with seven Nanostring protein modules (core module, IO drug target, immune activation status, immune cell typing, MAPK signaling, cell death, and P13K/AKT signaling), together with three morphology markers (CD31, Collagen VI, and Troponin I) in a humidity chamber overnight at 4°C. Following fixation with 4% PFA at room temperature for 30 minutes, slides were stained with SYTO82 for 15 mins at room temperature before loading onto the GeoMx DSP and scanned.

The regions of interest (ROIs) were selected using the polygon tool guided by the morphology staining. Oligos from the hybridized probes in the ROIs were released by photo-cleaving UV light and collected into a 96-well plate. After drying overnight, the samples were resuspended in nuclease-free water, then hybridized with probes at 67°C overnight. Hybridized samples were pooled based on the total illuminated segment area per column according to the manufacturer’s instructions for nCounter readout. Pooled samples were sequenced and counted on a NanoString nCounter Pro.