Aneurysmal Subarachnoid Hemorrhage Outcomes Assessment Using Automated Hemorrhage Volume Quantification

Sebastian Sanchez MD,1 Jacob M Miller BS, 2 Matthew T Jones, 2 Rishi R Patel, 2 Elena Sagues MD, 2 Carlos Dier MD, 2 Andres Gudino MD, 2 Ariel Vargas-Sanchez MD, 2 and Edgar A Samaniego MD MS2,3,4

- Yale University, Department of Neurology

- The University of Iowa Hospitals and Clinics, Department of Neurology

- The University of Iowa Hospitals and Clinics, Department of Radiology

- The University of Iowa Hospitals and Clinics, Department of Neurosurgery

Supplemental material: 2 figures and 4 tables.

Supplementary material

Supplementary methods

Hemorrhage Quantification

A software was developed to identify and quantify aneurysmal subarachnoid hemorrhage (aSAH) using MATLAB (MATLAB and Image Processing Toolbox, release 2020b; MathWorks, Inc.). DICOM files containing non-contrast computed tomography (CT) scans were loaded into MATLAB. To avoid contamination, air and bone were excluded. The software mapped the Hounsfield Unit (HU) values below zero were identified as background/air. Similarly, HU values above 160 as considered bone.12 The maximum voxel area of each slice was calculated using HU values from zero to 160, which approximated brain area. A modified version of a previously made function was used to perform two-dimensional region growing on CT slices.27 The highest brain area was chosen as a mask to perform elementwise multiplication which allowed the software to focus on the brain in all slices, remove artifact, and avoid missing voxels from region growing. The bone pixel percentages were computed by summing the total bone voxels (HU>160) and dividing by the total voxels greater than zero.

The foramen magnum served as the lower limit for analysis. To consistently identify this structure, the most superior slice in the inferior half of the skull with more than 28% bone was selected and designated as the foramen magnum. The center of the brain was determined by computing the centroid of a morphological dilation of the skull voxels (HU>160), 12 which was then used to identify the presence of the foramen magnum by forming an extended area around the center. A senior researcher evaluated 20 scans and confirmed its consistent correspondence to the foramen magnum. Conversely, the upper limit was set as 20 mm (four slices) below the first slice with more than 28% bone in the superior portion of the skull. Various thresholds were assessed, and the threshold of 28% consistently proved effective in capturing the CT slices containing intracranial hemorrhage in the aforementioned 20 scans.

3D k-means clustering with k=4 was utilized to isolate different tissues (blood, white matter, gray matter, and CSF). Subsequently, aneurysmal subarachnoid hemorrhage (aSAH) was identified as the cluster with the highest average voxel HU between 0-160. MATLAB’s bwmorph3 function facilitated morphological operations on the aSAH binary volume. The ‘majority’ operation retained blood voxels if more than half of the voxels in its 3-by-3-by-3, 26-connected neighborhood were also blood, while the ‘clean’ operation removed isolated blood voxels. Additional steps were taken to enhance hemorrhage segmentation, including adding voxels to increase continuity if specific HU thresholds were met in the x and y dimensions and removing voxels along the skull. These operations iterated until no further change in the number of hemorrhage voxels occurred.

The binary 2D images were overlayed on the original scan slices to visualize the identified blood voxels (Figure 1). The calculation of aSAH volume was computed by summing the binary 3D matrix and multiplying the total by the volume of one voxel, which was calculated with the DICOM metadata. The resulting mm3 was divided by 1000 to report the volume in milliliters.

Figures caption

Supplementary figure 1. Bland-Altman Analysis of the manual raters’ averages and the automatic quantifications of hemorrhage volume. The mean difference was -3.14mL.

Supplemental figure 2. Hemorrhage volume and severity scales at presentation. The prevalence of adverse outcomes increased with severity of each score (A, C, E). The volume of hemorrhage was also increased with each level of the severity scores (B, D, F).

Supplementary tables

Supplementary table 1. Imaging modality used for aneurysmal size measurements

| Modality used for aneurysmal measurements N (%) |  |
| --- | --- |
| 3DRA | 99 (20.6%) |
| DSA | 305 (63.5%) |
| CTA | 74 (15.4%) |
| MRA | 2 (0.4%) |

3DRA = Three-Dimensional Rotational Angiography; DSA = Digital Subtraction Angiography; CTA = Computed Tomography Angiography; MRA = Magnetic Resonance Angiography

Supplementary table 2. Aneurysm location

| Aneurysmal characteristics |  |
| --- | --- |
| Location N (%) |  |
| AComm Complex | 199 (39.8%) |
| ICA | 65 (13.0%) |
| MCA | 72 (14.4%) |
| PComm | 72 (14.4%) |
| Basilar, SCA, PCA | 50 (10.0%) |
| Vertebral, PICA, AICA | 42 (8.4%) |

ICA = Internal Cerebral Artery; PComm = Posterior Communicating artery; MCA = Middle Cerebral Artery; AComm complex = Anterior Communicating artery complex; PCA = Posterior Cerebral Artery; SCA = Superior Cerebellar Artery; PICA = Posterior Inferior Cerebellar Artery; AICA = Anterior Inferior Cerebellar Artery

Supplementary Table 3. Aneurysm location, hemorrhage volume, and aneurysm size

| Clinical Presentation | Volume of Hemorrhage mL Median [IQR] | Aneurysm Diameter mm Median [IQR] |
| --- | --- | --- |
| Position |  |  |
| Anterior | 19.8 [7.3, 39.2] | 5.1 [3.7, 7.4] |
| Posterior | 13.1 [4.7, 34.8] | 6.0 [4.5, 8.5] |
| p value | 0.011 | 0.008 |

IQR= Interquartile range

Supplementary table 4. Complications arising from aSAH.

| Complications | Volume of Hemorrhage mL Median [IQR] |
| --- | --- |
| Vasospasm |  |
| Present | 21.7 [10.9, 41.4] |
| Absent | 10.7 [4.2, 26.9] |
| p value | <0.001 |
| Acute hydrocephalus |  |
| Present | 22.7 [9.2, 41.8] |
| Absent | 5.1 [2.1, 13.5] |
| p value | <0.001 |
| Shunt dependent hydrocephalus |  |
| Present | 23.8 [11.3, 40.7] |
| Absent | 11.7 [4.1, 28.2] |
| p value | <0.001 |
| Death < 7 days |  |
| Yes | 52.8 [34.6, 90.6] |
| No | 14.8 [5.0, 32.4] |
| p value | <0.001 |