Supplementary Table 1. LC-MS/MS parameters of selected phenolic compounds

| Compound | Parent ion | Daughter ion | Collision energy (V) |
| --- | --- | --- | --- |
| Myricetin | 318.2 | 315,0 | 10 (negative) |
| Quercetin | 302.2 | 301.0 | 10 (positive) |
| Cinnamic acid | 148.2 | 131.0 | 10 (negative) |
| Rutin | 610.5 | 609.0 | 10 (negative) |
| Gallic acid | 170.1 | 169.1 | 10 (negative) |
| Caffeic acid | 180.2 | 163.0 | 10 (positive) |
| Flavone | 222.2 | 121.0 | 35 (positive) |
| Kaempferol | 286.2 | 165.0 | 20 (positive) |
| Chlorogenic acid | 354.3 | 191.1 | 20 (negative) |
| Epicatechin | 290.3 | 289.1 | 10 (negative) |
| Ascorbic acid | 176.1 | 87.0 | 20 (negative) |
| Succinic acid D3* | 118.7 | 73.9 | 16 (negative) |
| Adipic acid D3* | 150.8 | 105.0 | 18 (negative) |

*These compounds were used as internal standards

Supplementary Table 2. Validation and uncertainty parameters

| No | Compounds | Linear regression equation | r2 | LOD (mg/L) | LOQ (mg/L) | RSD (%) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Myricetin | y = 0.0013x + 0.0231 | 0.9987 | 0.0027 | 0.5 | 2.99 |
| 2 | Quercetin | y = 0.1517x + 0.0518 | 0.9962 | 0.0016 | 0.9 | 5.92 |
| 3 | Cinnamic acid | y = 0.0056x - 0.0533 | 0.9897 | 0.0015 | 0.5 | 9.46 |
| 4 | Rutin | y = 0.0341x + 0.0008 | 0.9999 | 0.0013 | 1.2 | 0.08 |
| 5 | Gallic acid | y = 2.4662x - 0.0140 | 0.9995 | 0.0042 | 3.2 | 1.87 |
| 6 | Caffeic acid | y = 0.2237x + 0.0676 | 0.9957 | 0.0076 | 9,5 | 7.20 |
| 7 | Flavone | y = 1.0378x + 0.0970 | 0.9929 | 0.0017 | 0.1 | 9.93 |
| 8 | Kaempferol | y = 0.0094x - 0.0473 | 0.9944 | 0.0014 | 1.4 | 12.8 |
| 9 | Chlorogenic acid | y = 0.0022x - 0.0835 | 0.9742 | 0.0010 | 0.9 | 13.8 |
| 10 | Epicatechin | y = 0.2023x - 0.0013 | 0.9999 | 0.0043 | 2.4 | 0.38 |
| 11 | Ascorbic acid | y = 0.0704x - 0.0176 | 0.9994 | 0.0367 | 87.5 | 6.05 |