Supplementary material of Manuscript

[Discover Water]

Surface Water Quality Assessment in the Federal District, Brazil: Application of Multivariate Statistical Analysis and Water Quality Indices for Human Consumption and Irrigation

Muniz, DHF*, Malaquias JV, Oliveira-Filho EC

*Corresponding author (Daphne Muniz): daphne.muniz@embrapa.br. Authors’ affiliation: Brazilian Agricultural Research Corporation, Embrapa Cerrados, 73310-970, Planaltina, FD, Brazil

Supplementary Tables

Table S1 Recommendations for each WQICETESB class for human consumption uses (CETESB, 2017).

| WQICETESB | Classes | Recommendations |
| --- | --- | --- |
| 80 - 100 | Excellent | Water suitable for conventional treatment for public supply |
| 52 – 79 | Good | Water suitable for conventional treatment for public supply |
| 37 – 51 | Reasonable | Water suitable for conventional treatment for public supply |
| 20 – 36 | Bad | Water unsuitable for conventional treatment for public supply, requiring more advanced treatments |
| 0 – 19 | Very Bad | Water unsuitable for conventional treatment for public supply, requiring more advanced treatments |

Table S2 Recommendations for each IWQIDF class for water use in irrigation (Muniz et al 2020).

| IWQIDF | Usage Restrictions (Classes) | Recommendations |  |
| --- | --- | --- | --- |
|  |  | Soil | Plant |
| 86 - 100 | Very Good | Unlikely to cause salinity and sodicity problems. | No risk of toxicity to most plants. No risk of E. coli contamination. |
| 71 - 85 | Good | Recommended for soils with light or moderate permeability texture. Avoid its use in soils with high levels of 2: 1 clay. | Avoid in plants sensitive to salinity, unsuitable for vegetables that are eaten raw and fruits that develop close to the soil and that are eaten raw without peel removal. |
| 56 - 70 | Average | Can be used on soils with moderate to high permeability values. | Plants with moderate salt tolerance can be grown, not suitable for raw vegetables and fruits that grow on the ground and are eaten raw without peel removal and for general vegetables and fruiting plants. |
| 41 - 55 | Bad | It can be used in high permeability soils with no compact layers. | It should be used for irrigation of plants with moderate to high salt tolerance. Inappropriate for vegetables that are eaten raw and fruits that develop close to the soil and that are eaten raw without peel removal, for general vegetables and fruiting plants, crops, cereals and fodder crops. |
| 0 - 40 | Very Bad | Irrigation should be avoided under normal conditions. For waters with high salinity, the soil must have high permeability. | Only for irrigation of plants with high salt tolerance. High risk of E. coli contamination. |

References

CETESB (2017) Apêndice D – Índices de Qualidade da Água. Disponible at https://cetesb.sp.gov.br/wp-content/uploads/sites/12/2017/11/Apendice-D-Indices-de-Qualidade-das-Aguas.pdf

Muniz DHF, Malaquias JV, Lima JEFW, Oliveira-Filho, EC (2020) Proposal of an irrigation water quality index (IWQI) for regional use in the Federal District, Brazil. Environ Monit Assess. https://doi.org/10.1007/s10661-020-08573-y

Table S3 Mean, median, standard deviation, maximum and minimum of water quality variables from points P1 to P9.

| Point | n=12 |  | TEMP |  | DO |  | BOD |  | pH |  |  | EC |  | TDS |  | TA |  |  | TH |  |  | TURB |  |  | TR |  | COLOR |  | TN |  |  | TP |  |  | TC |  |  | ECOLI |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P1R | Mean |  | 23.1 |  | 6.56 |  | 0.21 |  | 5.14 |  |  | 5.75 |  | 2.2 |  | 2.28 |  |  | 3.44 |  |  | 15.81 |  |  | 35.13 |  | 25.1 |  | 0.872 |  |  | 0.005 |  |  | 2.318 |  |  | 7.5 |
|  | Median |  | 23.2 |  | 6.49 |  | 0.14 |  | 5.02 |  |  | 5.74 |  | 2.3 |  | 1.92 |  |  | 2.14 |  |  | 0.66 |  |  | 21.77 |  | 0.5 |  | 0.662 |  |  | 0.004 |  |  | 1.779 |  |  | 1.0 |
|  | SD |  | 0.6 |  | 0.21 |  | 0.19 |  | 0.55 |  |  | 0.36 |  | 0.2 |  | 1.17 |  |  | 2.65 |  |  | 52.37 |  |  | 47.52 |  | 85.0 |  | 0.937 |  |  | 0.004 |  |  | 1.809 |  |  | 22.6 |
|  | Max |  | 23.9 |  | 7.10 |  | 0.58 |  | 6.43 |  |  | 6.36 |  | 2.5 |  | 5.38 |  |  | 10.20 |  |  | 182.1 |  |  | 172.7 |  | 295.0 |  | 3.600 |  |  | 0.013 |  |  | 7.350 |  |  | 79.3 |
|  | Min |  | 21.5 |  | 6.35 |  | 0.04 |  | 4.64 |  |  | 5.19 |  | 2.0 |  | 1.28 |  |  | 1.60 |  |  | 0.41 |  |  | 3.91 |  | 0.2 |  | 0.150 |  |  | 0.002 |  |  | 0.490 |  |  | 1.0 |
| P2R | Mean |  | 21.7 |  | 7.15 |  | 0.54 |  | 6.46 |  |  | 20.13 |  | 9.1 |  | 9.46 |  |  | 9.87 |  |  | 23.59 |  |  | 70.77 |  | 71.4 |  | 0.676 |  |  | 0.005 |  |  | 4.105 |  |  | 1315.9 |
|  | Median |  | 22.4 |  | 7.09 |  | 0.55 |  | 6.51 |  |  | 18.55 |  | 8.4 |  | 8.73 |  |  | 9.20 |  |  | 9.12 |  |  | 68.07 |  | 47.5 |  | 0.662 |  |  | 0.004 |  |  | 4.127 |  |  | 1009.9 |
|  | SD |  | 2.2 |  | 0.59 |  | 0.27 |  | 0.39 |  |  | 5.64 |  | 2.7 |  | 4.07 |  |  | 3.48 |  |  | 32.23 |  |  | 41.48 |  | 73.9 |  | 0.257 |  |  | 0.005 |  |  | 1.351 |  |  | 960.3 |
|  | Max |  | 24.3 |  | 7.94 |  | 0.91 |  | 7.04 |  |  | 30.40 |  | 14.1 |  | 16.52 |  |  | 18.80 |  |  | 109.0 |  |  | 166.4 |  | 230.0 |  | 1.256 |  |  | 0.019 |  |  | 6.179 |  |  | 2419.60 |
|  | Min |  | 17.5 |  | 6.36 |  | 0.02 |  | 5.62 |  |  | 11.96 |  | 5.2 |  | 1.52 |  |  | 5.70 |  |  | 3.05 |  |  | 12.62 |  | 2.0 |  | 0.399 |  |  | 0.002 |  |  | 1.081 |  |  | 52.7 |
| P3R | Mean |  | 23.6 |  | 5.00 |  | 0.64 |  | 5.03 |  |  | 6.29 |  | 2.5 |  | 2.40 |  |  | 3.06 |  |  | 2.33 |  |  | 31.47 |  | 4.3 |  | 0.642 |  |  | 0.006 |  |  | 1.647 |  |  | 495.5 |
|  | Median |  | 23.6 |  | 4.92 |  | 0.32 |  | 5.04 |  |  | 5.95 |  | 2.3 |  | 2.21 |  |  | 2.98 |  |  | 1.61 |  |  | 26.70 |  | 0.8 |  | 0.585 |  |  | 0.003 |  |  | 1.576 |  |  | 177.1 |
|  | SD |  | 0.4 |  | 0.35 |  | 0.72 |  | 0.27 |  |  | 0.83 |  | 0.4 |  | 0.88 |  |  | 1.31 |  |  | 1.62 |  |  | 23.89 |  | 5.7 |  | 0.295 |  |  | 0.009 |  |  | 0.543 |  |  | 769.6 |
|  | Max |  | 24.1 |  | 5.43 |  | 2.58 |  | 5.43 |  |  | 8.05 |  | 3.3 |  | 4.08 |  |  | 5.34 |  |  | 6.5 |  |  | 77.8 |  | 15.0 |  | 1.165 |  |  | 0.032 |  |  | 2.667 |  |  | 2419.600.0 |
|  | Min |  | 22.9 |  | 4.30 |  | 0.12 |  | 4.48 |  |  | 5.53 |  | 2.1 |  | 1.32 |  |  | 1.38 |  |  | 0.95 |  |  | 3.93 |  | 0.3 |  | 0.192 |  |  | 0.002 |  |  | 0.993 |  |  | 13.2 |
| P4R | Mean |  | 22.7 |  | 7.45 |  | 0.68 |  | 5.75 |  |  | 4.83 |  | 1.8 |  | 3.17 |  |  | 4.33 |  |  | 14.91 |  |  | 43.69 |  | 46.8 |  | 0.615 |  |  | 0.003 |  |  | 1.665 |  |  | 559.2 |
|  | Median |  | 22.9 |  | 7.32 |  | 0.62 |  | 5.68 |  |  | 4.29 |  | 1.5 |  | 2.73 |  |  | 4.28 |  |  | 11.97 |  |  | 41.37 |  | 36.0 |  | 0.686 |  |  | 0.003 |  |  | 1.470 |  |  | 251.1 |
|  | SD |  | 1.1 |  | 0.31 |  | 0.45 |  | 0.33 |  |  | 1.89 |  | 0.9 |  | 1.06 |  |  | 2.66 |  |  | 10.86 |  |  | 30.59 |  | 35.3 |  | 0.257 |  |  | 0.004 |  |  | 0.614 |  |  | 676.4 |
|  | Max |  | 24.2 |  | 7.96 |  | 1.42 |  | 6.16 |  |  | 10.33 |  | 4.4 |  | 5.36 |  |  | 11.84 |  |  | 43.0 |  |  | 93.1 |  | 120.0 |  | 1.000 |  |  | 0.014 |  |  | 3.025 |  |  | 2419.6 |
|  | Min |  | 20.6 |  | 6.99 |  | 0.13 |  | 5.17 |  |  | 3.37 |  | 1.1 |  | 2.16 |  |  | 1.70 |  |  | 4.79 |  |  | 9.78 |  | 10.0 |  | 0.114 |  |  | 0.001 |  |  | 0.923 |  |  | 97.9 |
| P5R | Mean |  | 23.7 |  | 4.82 |  | 0.59 |  | 5.20 |  |  | 9.15 |  | 3.8 |  | 3.10 |  |  | 3.41 |  |  | 1.44 |  |  | 21.97 |  | 7.5 |  | 0.703 |  |  | 0.003 |  |  | 1.794 |  |  | 508.5 |
|  | Median |  | 23.5 |  | 4.72 |  | 0.40 |  | 5.10 |  |  | 8.74 |  | 3.7 |  | 2.69 |  |  | 3.11 |  |  | 1.18 |  |  | 15.68 |  | 3.5 |  | 0.645 |  |  | 0.002 |  |  | 1.779 |  |  | 152.7 |
|  | SD |  | 0.7 |  | 0.48 |  | 0.69 |  | 0.45 |  |  | 2.05 |  | 1.0 |  | 1.24 |  |  | 1.42 |  |  | 0.77 |  |  | 13.26 |  | 10.4 |  | 0.319 |  |  | 0.003 |  |  | 0.430 |  |  | 809.3 |
|  | Max |  | 25.0 |  | 5.92 |  | 2.55 |  | 6.47 |  |  | 13.03 |  | 5.7 |  | 6.38 |  |  | 6.30 |  |  | 3.4 |  |  | 45.2 |  | 30.0 |  | 1.314 |  |  | 0.009 |  |  | 2.849 |  |  | 2419.6 |
|  | Min |  | 22.9 |  | 4.19 |  | 0.02 |  | 4.65 |  |  | 5.58 |  | 2.1 |  | 2.03 |  |  | 1.52 |  |  | 0.81 |  |  | 3.95 |  | 0.2 |  | 0.164 |  |  | 0.001 |  |  | 1.175 |  |  | 13.4 |
| P6R | Mean |  | 23.4 |  | 6.83 |  | 0.59 |  | 5.85 |  |  | 6.06 |  | 2.4 |  | 3.66 |  |  | 4.13 |  |  | 10.40 |  |  | 33.40 |  | 35.9 |  | 0.799 |  |  | 0.005 |  |  | 2.082 |  |  | 248.2 |
|  | Median |  | 23.5 |  | 6.78 |  | 0.58 |  | 5.90 |  |  | 6.50 |  | 2.6 |  | 3.38 |  |  | 3.80 |  |  | 4.38 |  |  | 33.37 |  | 20.0 |  | 0.812 |  |  | 0.003 |  |  | 2.015 |  |  | 255.6 |
|  | SD |  | 1.0 |  | 0.28 |  | 0.38 |  | 0.36 |  |  | 1.66 |  | 0.8 |  | 1.18 |  |  | 1.38 |  |  | 19.03 |  |  | 15.77 |  | 60.6 |  | 0.531 |  |  | 0.004 |  |  | 0.458 |  |  | 123.1 |
|  | Max |  | 25.1 |  | 7.28 |  | 1.49 |  | 6.32 |  |  | 8.41 |  | 3.5 |  | 6.71 |  |  | 6.50 |  |  | 70.1 |  |  | 55.5 |  | 225.0 |  | 2.235 |  |  | 0.012 |  |  | 2.818 |  |  | 461.1 |
|  | Min |  | 21.7 |  | 6.49 |  | 0.12 |  | 5.08 |  |  | 3.15 |  | 1.0 |  | 2.43 |  |  | 2.42 |  |  | 2.37 |  |  | 1.98 |  | 0.5 |  | 0.187 |  |  | 0.001 |  |  | 1.363 |  |  | 71.2 |
| P7R | Mean |  | 21.6 |  | 7.31 |  | 0.80 |  | 6.22 |  |  | 5.65 |  | 2.2 |  | 4.20 |  |  | 5.00 |  |  | 5.29 |  |  | 36.40 |  | 14.9 |  | 0.699 |  |  | 0.008 |  |  | 2.118 |  |  | 449.3 |
|  | Median |  | 22.0 |  | 7.31 |  | 0.63 |  | 6.30 |  |  | 5.43 |  | 2.1 |  | 3.52 |  |  | 3.24 |  |  | 4.33 |  |  | 33.26 |  | 10.0 |  | 0.603 |  |  | 0.007 |  |  | 2.180 |  |  | 269.5 |
|  | SD |  | 2.3 |  | 0.44 |  | 0.61 |  | 0.36 |  |  | 1.57 |  | 0.7 |  | 1.56 |  |  | 3.25 |  |  | 3.20 |  |  | 28.74 |  | 16.7 |  | 0.297 |  |  | 0.007 |  |  | 0.541 |  |  | 462.3 |
|  | Max |  | 25.3 |  | 7.93 |  | 1.89 |  | 6.59 |  |  | 8.69 |  | 3.6 |  | 6.73 |  |  | 12.25 |  |  | 11.6 |  |  | 89.2 |  | 55.0 |  | 1.358 |  |  | 0.023 |  |  | 2.990 |  |  | 1553.1 |
|  | Min |  | 18.2 |  | 6.52 |  | 0.05 |  | 5.34 |  |  | 3.65 |  | 1.2 |  | 2.51 |  |  | 2.20 |  |  | 1.55 |  |  | 3.91 |  | 0.8 |  | 0.396 |  |  | 0.001 |  |  | 1.145 |  |  | 43.9 |
| P8R |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean |  | 22.2 |  | 7.39 |  | 0.36 |  | 6.32 |  |  | 6.86 |  | 2.8 |  | 4.44 |  |  | 4.62 |  |  | 26.76 |  |  | 65.83 |  | 82.7 |  | 0.532 |  |  | 0.006 |  |  | 2.054 |  |  | 686.7 |
|  | Median |  | 22.6 |  | 7.35 |  | 0.17 |  | 6.35 |  |  | 7.17 |  | 2.9 |  | 4.07 |  |  | 3.83 |  |  | 6.43 |  |  | 35.44 |  | 32.5 |  | 0.521 |  |  | 0.004 |  |  | 1.982 |  |  | 518.0 |
|  | SD |  | 1.5 |  | 0.30 |  | 0.36 |  | 0.30 |  |  | 1.30 |  | 0.6 |  | 1.46 |  |  | 2.05 |  |  | 63.01 |  |  | 72.15 |  | 170.1 |  | 0.234 |  |  | 0.008 |  |  | 0.609 |  |  | 602.3 |
|  | Max |  | 24.1 |  | 7.94 |  | 1.21 |  | 7.01 |  |  | 8.27 |  | 3.4 |  | 7.04 |  |  | 9.44 |  |  | 226.0 |  |  | 257.1 |  | 620.0 |  | 0.887 |  |  | 0.029 |  |  | 3.084 |  |  | 1986.3 |
|  | Min |  | 19.6 |  | 6.97 |  | 0.06 |  | 5.86 |  |  | 4.94 |  | 1.8 |  | 2.56 |  |  | 2.62 |  |  | 3.30 |  |  | 15.66 |  | 10.0 |  | 0.194 |  |  | 0.002 |  |  | 1.078 |  |  | 26.2 |
| P9U |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean |  | 22.4 |  | 5.34 |  | 0.45 |  | 5.05 |  |  | 6.25 |  | 2.5 |  | 1.95 |  |  | 2.19 |  |  | 3.52 |  |  | 25.63 |  | 3.9 |  | 0.531 |  |  | 0.002 |  |  | 1.286 |  |  | 6.8 |
|  | Median |  | 22.9 |  | 4.91 |  | 0.25 |  | 4.98 |  |  | 6.42 |  | 2.5 |  | 1.95 |  |  | 2.16 |  |  | 1.07 |  |  | 23.58 |  | 0.9 |  | 0.518 |  |  | 0.002 |  |  | 1.186 |  |  | 3.0 |
|  | SD |  | 1.6 |  | 0.99 |  | 0.71 |  | 0.18 |  |  | 1.36 |  | 0.6 |  | 0.63 |  |  | 0.62 |  |  | 5.01 |  |  | 16.45 |  | 6.6 |  | 0.298 |  |  | 0.002 |  |  | 0.509 |  |  | 10.3 |
|  | Max |  | 23.1 |  | 7.55 |  | 2.57 |  | 5.39 |  |  | 7.82 |  | 3.2 |  | 3.46 |  |  | 3.42 |  |  | 15.1 |  |  | 61.0 |  | 20.0 |  | 1.073 |  |  | 0.006 |  |  | 2.327 |  |  | 35.5 |
|  | Min |  | 17.5 |  | 4.45 |  | 0.02 |  | 4.85 |  |  | 3.54 |  | 1.2 |  | 0.98 |  |  | 1.30 |  |  | 0.44 |  |  | 3.93 |  | 0.1 |  | 0.080 |  |  | 0.001 |  |  | 0.478 |  |  | 1.0 |

R = Rural /U = Urban

Table S4 Mean, median, standard deviation, maximum and minimum of water quality variables from points P1 to P9 (continuation).

| Point | n=12 | SAR | HCO3- | F- | Cl- | Br- | NO2- | NO3- | PO43- | SO42- | Na+ | NH4+ | K+ | Ca2+ | Mg2+ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P1R | Mean | 0.179 | 2.787 | 0.016 | 0.130 | < DL |  | 0.151 | 0.002 | 0.029 | 0.584 | 0.002 | 0.219 | 1.369 | 0.240 |
|  | Median | 0.209 | 2.342 | 0.007 | 0.071 |  |  | 0.112 | 0.002 | 0.008 | 0.438 | 0.002 | 0.076 | 0.643 | 0.105 |
|  | SD | 0.087 | 1.426 | 0.018 | 0.165 |  | < DL | 0.177 | 0.001 | 0.038 | 0.415 | 0.002 | 0.291 | 1.517 | 0.330 |
|  | Max | 0.293 | 6.564 | 0.050 | 0.591 |  |  | 0.697 | 0.005 | 0.117 | 1.777 | 0.006 | 0.951 | 4.303 | 1.165 |
|  | Min | 0.047 | 1.562 | 0.001 | 0.010 |  |  | 0.009 | 0.001 | 0.001 | 0.336 | 0.001 | 0.020 | 0.078 | 0.005 |
| P2R | Mean | 1.242 | 11.542 | 0.019 | 0.485 | < DL |  | 0.082 | 0.002 | 0.078 | 1.774 | 0.002 | 0.754 | 3.278 | 0.764 |
|  | Median | 1.430 | 10.651 | 0.019 | 0.427 |  |  | 0.070 | 0.001 | 0.070 | 1.839 | 0.002 | 0.758 | 3.141 | 0.679 |
|  | SD | 0.384 | 4.961 | 0.010 | 0.268 |  | < DL | 0.056 | 0.001 | 0.041 | 0.515 | 0.001 | 0.403 | 1.516 | 0.354 |
|  | Max | 3.378 | 20.154 | 0.032 | 1.268 |  |  | 0.210 | 0.006 | 0.153 | 6.285 | 0.005 | 1.769 | 8.992 | 3.421 |
|  | Min | 0.903 | 1.854 | 0.001 | 0.231 |  |  | 0.025 | 0.001 | 0.003 | 0.608 | 0.001 | 0.173 | 1.522 | 0.120 |
| P3R | Mean | 0.091 | 2.928 | 0.010 | 0.191 |  |  | 0.059 | 0.002 | 0.011 | 0.473 | 0.002 | 0.333 | 1.731 | 0.255 |
|  | Median | 0.088 | 2.696 | 0.002 | 0.148 |  |  | 0.043 | 0.002 | 0.006 | 0.448 | 0.002 | 0.409 | 1.636 | 0.254 |
|  | SD | 0.022 | 1.068 | 0.015 | 0.135 | < DL | < DL | 0.045 | 0.001 | 0.016 | 0.130 | 0.001 | 0.282 | 0.777 | 0.074 |
|  | Max | 0.135 | 4.978 | 0.043 | 0.507 |  |  | 0.149 | 0.005 | 0.058 | 0.721 | 0.004 | 0.705 | 3.221 | 0.360 |
|  | Min | 0.060 | 1.610 | 0.001 | 0.025 |  |  | 0.004 | 0.001 | 0.002 | 0.335 | 0.001 | 0.002 | 0.953 | 0.111 |
| P4R | Mean | 0.222 | 3.866 | 0.007 | 0.274 |  |  | 0.279 | 0.002 | 0.029 | 1.038 | 0.002 | 0.511 | 1.568 | 0.263 |
|  | Median | 0.212 | 3.331 | 0.002 | 0.209 |  |  | 0.210 | 0.002 | 0.009 | 0.997 | 0.002 | 0.402 | 1.518 | 0.209 |
|  | SD | 0.081 | 1.295 | 0.010 | 0.187 | < DL | < DL | 0.217 | 0.001 | 0.035 | 0.382 | 0.002 | 0.410 | 0.928 | 0.175 |
|  | Max | 0.395 | 6.539 | 0.034 | 0.789 |  |  | 0.962 | 0.004 | 0.092 | 2.080 | 0.006 | 1.227 | 3.876 | 0.771 |
|  | Min | 0.071 | 2.635 | 0.001 | 0.121 |  |  | 0.184 | 0.001 | 0.002 | 0.586 | 0.001 | 0.040 | 0.526 | 0.121 |
| P5R | Mean | 0.452 | 3.785 | 0.010 | 0.420 |  |  | 0.380 | 0.002 | 0.021 | 1.828 | 0.002 | 0.270 | 1.359 | 0.202 |
|  | Median | 0.378 | 3.282 | 0.004 | 0.460 |  |  | 0.367 | 0.002 | 0.011 | 1.915 | 0.002 | 0.250 | 1.250 | 0.204 |
|  | SD | 0.199 | 1.510 | 0.017 | 0.164 | < DL | < DL | 0.232 | 0.002 | 0.043 | 0.389 | 0.001 | 0.120 | 0.735 | 0.111 |
|  | Max | 0.751 | 7.784 | 0.060 | 0.708 |  |  | 0.866 | 0.006 | 0.156 | 2.252 | 0.004 | 0.598 | 2.334 | 0.332 |
|  | Min | 0.127 | 2.477 | 0.001 | 0.071 |  |  | 0.076 | 0.001 | 0.001 | 0.781 | 0.001 | 0.145 | 0.419 | 0.053 |
|  | Mean | 0.184 | 4.468 | 0.008 | 0.215 |  |  | 0.208 | 0.002 | 0.072 | 0.853 | 0.003 | 0.407 | 1.381 | 0.274 |
|  | Median | 0.183 | 4.124 | 0.006 | 0.218 |  |  | 0.229 | 0.002 | 0.063 | 0.869 | 0.002 | 0.391 | 1.094 | 0.300 |
|  | SD | 0.033 | 1.444 | 0.010 | 0.087 | < DL | < DL | 0.160 | 0.001 | 0.054 | 0.149 | 0.002 | 0.196 | 0.756 | 0.113 |
| P6R | Max | 0.260 | 8.186 | 0.037 | 0.367 |  |  | 0.524 | 0.005 | 0.204 | 1.184 | 0.006 | 0.677 | 2.729 | 0.418 |
|  | Min | 0.145 | 2.965 | 0.001 | 0.035 |  |  | 0.002 | 0.001 | 0.006 | 0.632 | 0.001 | 0.158 | 0.477 | 0.116 |
|  | Mean | 0.227 | 5.127 | 0.004 | 0.415 |  |  | 0.051 | 0.002 | 0.063 | 1.409 | 0.002 | 0.452 | 2.680 | 0.320 |
|  | Median | 0.225 | 4.294 | 0.002 | 0.386 |  |  | 0.052 | 0.002 | 0.068 | 1.526 | 0.002 | 0.415 | 2.737 | 0.305 |
| P7R | SD | 0.062 | 1.900 | 0.007 | 0.225 | < DL | < DL | 0.036 | 0.001 | 0.048 | 0.348 | 0.001 | 0.347 | 1.061 | 0.181 |
|  | Max | 0.348 | 8.211 | 0.025 | 0.834 |  |  | 0.119 | 0.004 | 0.144 | 1.859 | 0.003 | 1.039 | 3.993 | 0.821 |
|  | Min | 0.103 | 3.062 | 0.001 | 0.104 |  |  | 0.007 | 0.001 | 0.002 | 0.831 | 0.001 | 0.063 | 1.095 | 0.149 |
| P8R | Mean | 1.245 | 5.422 | 0.004 | 0.533 |  |  | 0.078 | 0.003 | 0.094 | 1.312 | 0.002 | 0.293 | 1.921 | 0.287 |
|  | Median | 1.555 | 4.965 | 0.002 | 0.547 |  |  | 0.053 | 0.002 | 0.062 | 1.297 | 0.002 | 0.211 | 1.923 | 0.304 |  |
|  | SD | 0.374 | 1.778 | 0.005 | 0.134 | < DL | < DL | 0.072 | 0.004 | 0.089 | 0.323 | 0.001 | 0.211 | 0.751 | 0.071 |
|  | Max | 3.462 | 8.589 | 0.016 | 0.769 |  |  | 0.260 | 0.014 | 0.354 | 1.665 | 0.004 | 0.654 | 3.036 | 0.394 |
|  | Min | 0.115 | 3.123 | 0.001 | 0.275 |  |  | 0.001 | 0.001 | 0.024 | 0.740 | 0.001 | 0.022 | 0.873 | 0.188 |
|  | Mean | 0.157 | 2.383 | 0.093 | 0.258 |  |  | 0.076 | 0.003 | 0.029 | 0.649 | 0.002 | 0.255 | 1.110 | 0.157 |
|  | Median | 0.142 | 2.379 | 0.004 | 0.208 |  |  | 0.072 | 0.002 | 0.018 | 0.632 | 0.002 | 0.162 | 1.208 | 0.137 |  |  |  |
| P9U | SD | 0.049 | 0.766 | 0.288 | 0.201 | < DL | < DL | 0.035 | 0.002 | 0.030 | 0.236 | 0.001 | 0.195 | 0.497 | 0.067 |
|  | Max | 0.261 | 4.221 | 1.006 | 0.832 |  |  | 0.152 | 0.007 | 0.083 | 1.131 | 0.006 | 0.622 | 1.845 | 0.297 |
|  | Min | 0.089 | 1.196 | 0.001 | 0.095 |  |  | 0.023 | 0.001 | 0.001 | 0.361 | 0.001 | 0.047 | 0.417 | 0.082 |
| < DL = below detection limit of the method / R = Rural / U = Urban. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Table S5 Mean, median, standard deviation, maximum and minimum of water quality variables from points P10 to P18.

| Point | n=12 |  | TEMP |  | DO |  | BOD |  | pH |  |  | EC |  | TDS |  | TA |  |  | TH |  |  | TURB |  |  | TR |  | COLOR |  | TN |  |  | TP |  |  | TC |  |  | ECOLI |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P10U | Mean |  | 21.0 |  | 4.33 |  | 2.35 |  | 6.55 |  |  | 123.31 |  | 58.7 |  | 17.89 |  |  | 21.61 |  |  | 24.09 |  |  | 115.84 |  | 71.4 |  | 10.216 |  |  | 0.079 |  |  | 6.627 |  |  | 2634.8 |
|  | Median |  | 21.6 |  | 3.92 |  | 2.22 |  | 6.60 |  |  | 117.85 |  | 56.1 |  | 16.69 |  |  | 21.94 |  |  | 9.03 |  |  | 98.89 |  | 58.4 |  | 7.691 |  |  | 0.075 |  |  | 6.019 |  |  | 2419.6 |
|  | SD |  | 1.5 |  | 1.38 |  | 0.66 |  | 0.14 |  |  | 50.86 |  | 24.5 |  | 10.87 |  |  | 5.24 |  |  | 40.35 |  |  | 63.90 |  | 52.2 |  | 9.226 |  |  | 0.069 |  |  | 2.510 |  |  | 3129.7 |
|  | Max |  | 22.6 |  | 7.73 |  | 3.87 |  | 6.74 |  |  | 196.50 |  | 93.8 |  | 40.38 |  |  | 32.00 |  |  | 150.0 |  |  | 233.4 |  | 230.0 |  | 35.843 |  |  | 0.242 |  |  | 12.083 |  |  | 12200.0 |
|  | Min |  | 18.5 |  | 2.92 |  | 1.39 |  | 6.29 |  |  | 39.40 |  | 18.3 |  | 1.70 |  |  | 14.10 |  |  | 6.80 |  |  | 13.81 |  | 35.0 |  | 1.695 |  |  | 0.016 |  |  | 3.473 |  |  | 344.8 |
| P11U | Mean |  | 22.1 |  | 5.66 |  | 0.54 |  | 5.85 |  |  | 6.81 |  | 2.7 |  | 3.84 |  |  | 2.90 |  |  | 6.30 |  |  | 36.47 |  | 16.6 |  | 0.589 |  |  | 0.008 |  |  | 2.168 |  |  | 105.1 |
|  | Median |  | 22.6 |  | 5.54 |  | 0.42 |  | 5.90 |  |  | 6.19 |  | 2.4 |  | 3.84 |  |  | 2.12 |  |  | 1.46 |  |  | 25.64 |  | 0.9 |  | 0.527 |  |  | 0.007 |  |  | 2.212 |  |  | 28.2 |
|  | SD |  | 1.5 |  | 0.97 |  | 0.55 |  | 0.37 |  |  | 2.26 |  | 1.1 |  | 0.96 |  |  | 2.00 |  |  | 15.13 |  |  | 24.46 |  | 53.0 |  | 0.268 |  |  | 0.006 |  |  | 0.431 |  |  | 220.8 |
|  | Max |  | 24.5 |  | 7.22 |  | 2.10 |  | 6.47 |  |  | 11.96 |  | 5.2 |  | 5.22 |  |  | 8.10 |  |  | 54.2 |  |  | 83.4 |  | 185.0 |  | 1.331 |  |  | 0.023 |  |  | 2.733 |  |  | 770.1 |
|  | Min |  | 19.9 |  | 3.85 |  | 0.11 |  | 5.10 |  |  | 4.45 |  | 1.6 |  | 2.02 |  |  | 1.48 |  |  | 0.76 |  |  | 5.89 |  | 0.2 |  | 0.334 |  |  | 0.001 |  |  | 1.501 |  |  | 1.0 |
| P12U | Mean |  | 23.4 |  | 7.14 |  | 4.97 |  | 7.06 |  |  | 208.73 |  | 100.0 |  | 35.76 |  |  | 28.37 |  |  | 20.18 |  |  | 139.27 |  | 71.9 |  | 15.082 |  |  | 0.081 |  |  | 7.414 |  |  | 8669.3 |
|  | Median |  | 23.5 |  | 7.14 |  | 5.58 |  | 7.09 |  |  | 184.95 |  | 88.5 |  | 27.96 |  |  | 21.00 |  |  | 6.79 |  |  | 106.20 |  | 40.0 |  | 10.336 |  |  | 0.057 |  |  | 6.257 |  |  | 3566.2 |
|  | SD |  | 1.6 |  | 0.31 |  | 1.46 |  | 0.37 |  |  | 112.09 |  | 54.3 |  | 26.96 |  |  | 19.74 |  |  | 33.76 |  |  | 114.23 |  | 94.2 |  | 10.554 |  |  | 0.075 |  |  | 6.476 |  |  | 13477.7 |
|  | Max |  | 25.9 |  | 7.64 |  | 6.42 |  | 7.54 |  |  | 448.00 |  | 216.0 |  | 76.62 |  |  | 85.32 |  |  | 124.0 |  |  | 450.9 |  | 355.0 |  | 41.396 |  |  | 0.282 |  |  | 26.600 |  |  | 48392.0 |
|  | Min |  | 20.9 |  | 6.61 |  | 2.38 |  | 6.16 |  |  | 88.60 |  | 41.9 |  | 0.42 |  |  | 15.04 |  |  | 2.56 |  |  | 52.80 |  | 12.6 |  | 3.113 |  |  | 0.013 |  |  | 1.681 |  |  | 686.7 |
| P13N | Mean |  | 22.5 |  | 5.58 |  | 0.31 |  | 5.28 |  |  | 4.27 |  | 1.5 |  | 2.20 |  |  | 3.55 |  |  | 1.85 |  |  | 28.53 |  | 6.7 |  | 0.463 |  |  | 0.003 |  |  | 1.733 |  |  | 73.6 |
|  | Median |  | 22.4 |  | 6.10 |  | 0.21 |  | 5.24 |  |  | 3.65 |  | 1.2 |  | 2.05 |  |  | 1.96 |  |  | 1.11 |  |  | 19.70 |  | 0.7 |  | 0.458 |  |  | 0.002 |  |  | 1.565 |  |  | 8.6 |
|  | SD |  | 0.6 |  | 1.33 |  | 0.26 |  | 0.13 |  |  | 1.50 |  | 0.7 |  | 0.99 |  |  | 3.33 |  |  | 1.98 |  |  | 29.58 |  | 15.5 |  | 0.222 |  |  | 0.004 |  |  | 0.556 |  |  | 189.3 |
|  | Max |  | 24.0 |  | 6.57 |  | 0.98 |  | 5.47 |  |  | 8.13 |  | 3.4 |  | 5.08 |  |  | 12.20 |  |  | 7.6 |  |  | 102.5 |  | 55.0 |  | 0.838 |  |  | 0.013 |  |  | 2.808 |  |  | 665.3 |
|  | Min |  | 21.7 |  | 1.83 |  | 0.02 |  | 5.13 |  |  | 3.28 |  | 1.0 |  | 1.24 |  |  | 1.02 |  |  | 0.66 |  |  | 3.94 |  | 0.3 |  | 0.150 |  |  | 0.002 |  |  | 1.115 |  |  | 1.0 |
| P14N | Mean |  | 21.4 |  | 7.21 |  | 0.49 |  | 6.47 |  |  | 21.97 |  | 10.0 |  | 11.40 |  |  | 11.97 |  |  | 5.33 |  |  | 35.13 |  | 20.5 |  | 0.584 |  |  | 0.005 |  |  | 3.830 |  |  | 244.3 |
|  | Median |  | 22.1 |  | 7.04 |  | 0.45 |  | 6.49 |  |  | 19.71 |  | 8.9 |  | 10.39 |  |  | 12.06 |  |  | 3.34 |  |  | 33.52 |  | 15.2 |  | 0.633 |  |  | 0.003 |  |  | 3.800 |  |  | 243.6 |
|  | SD |  | 2.0 |  | 0.53 |  | 0.31 |  | 0.25 |  |  | 8.40 |  | 4.0 |  | 4.81 |  |  | 3.58 |  |  | 4.80 |  |  | 17.04 |  | 11.6 |  | 0.250 |  |  | 0.005 |  |  | 1.180 |  |  | 162.0 |
|  | Max |  | 23.6 |  | 8.08 |  | 1.20 |  | 6.81 |  |  | 39.40 |  | 18.3 |  | 19.88 |  |  | 19.72 |  |  | 16.8 |  |  | 72.4 |  | 40.0 |  | 0.898 |  |  | 0.015 |  |  | 5.980 |  |  | 517.2 |
|  | Min |  | 18.0 |  | 6.45 |  | 0.08 |  | 6.01 |  |  | 7.90 |  | 3.3 |  | 5.27 |  |  | 7.36 |  |  | 0.80 |  |  | 9.81 |  | 8.0 |  | 0.061 |  |  | 0.001 |  |  | 2.582 |  |  | 7.5 |
| P15N | Mean |  | 23.1 |  | 5.22 |  | 0.56 |  | 7.02 |  |  | 206.01 |  | 98.7 |  | 100.60 |  |  | 103.19 |  |  | 6.57 |  |  | 132.57 |  | 18.7 |  | 0.609 |  |  | 0.005 |  |  | 23.145 |  |  | 428.0 |
|  | Median |  | 23.0 |  | 5.18 |  | 0.26 |  | 7.02 |  |  | 233.00 |  | 111.6 |  | 100.64 |  |  | 107.40 |  |  | 4.37 |  |  | 133.14 |  | 12.5 |  | 0.594 |  |  | 0.003 |  |  | 23.925 |  |  | 149.8 |
|  | SD |  | 0.7 |  | 0.59 |  | 0.64 |  | 0.13 |  |  | 40.25 |  | 19.5 |  | 23.15 |  |  | 22.15 |  |  | 6.67 |  |  | 41.40 |  | 21.9 |  | 0.266 |  |  | 0.005 |  |  | 4.998 |  |  | 538.9 |
|  | Max |  | 24.2 |  | 6.05 |  | 1.87 |  | 7.28 |  |  | 238.00 |  | 114.1 |  | 137.40 |  |  | 136.42 |  |  | 22.6 |  |  | 212.6 |  | 65.0 |  | 1.044 |  |  | 0.016 |  |  | 29.306 |  |  | 1413.6 |
|  | Min |  | 21.9 |  | 4.18 |  | 0.09 |  | 6.79 |  |  | 131.30 |  | 62.5 |  | 67.90 |  |  | 65.44 |  |  | 0.90 |  |  | 80.31 |  | 0.2 |  | 0.221 |  |  | 0.001 |  |  | 14.920 |  |  | 24.6 |
| P16N | Mean |  | 22.6 |  | 6.65 |  | 0.36 |  | 7.55 |  |  | 212.31 |  | 101.6 |  | 104.96 |  |  | 107.06 |  |  | 10.71 |  |  | 145.67 |  | 64.1 |  | 0.743 |  |  | 0.005 |  |  | 23.027 |  |  | 1171.9 |
|  | Median |  | 22.7 |  | 6.98 |  | 0.33 |  | 7.55 |  |  | 230.50 |  | 110.4 |  | 101.41 |  |  | 111.03 |  |  | 3.77 |  |  | 149.66 |  | 22.5 |  | 0.536 |  |  | 0.003 |  |  | 24.430 |  |  | 833.6 |
|  | SD |  | 1.9 |  | 0.92 |  | 0.24 |  | 0.25 |  |  | 38.80 |  | 18.8 |  | 23.18 |  |  | 22.88 |  |  | 15.94 |  |  | 39.07 |  | 106.6 |  | 0.549 |  |  | 0.006 |  |  | 6.311 |  |  | 925.8 |
|  | Max |  | 24.7 |  | 7.77 |  | 0.74 |  | 7.95 |  |  | 251.00 |  | 120.5 |  | 139.60 |  |  | 140.51 |  |  | 53.2 |  |  | 209.1 |  | 375.0 |  | 2.310 |  |  | 0.022 |  |  | 32.514 |  |  | 2419.6 |
|  | Min |  | 19.4 |  | 4.81 |  | 0.07 |  | 7.03 |  |  | 154.50 |  | 73.7 |  | 65.56 |  |  | 67.72 |  |  | 1.30 |  |  | 82.75 |  | 0.7 |  | 0.231 |  |  | 0.001 |  |  | 13.558 |  |  | 172.6 |
| P17N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean |  | 21.2 |  | 6.83 |  | 0.34 |  | 6.78 |  |  | 34.30 |  | 16.2 |  | 15.06 |  |  | 14.89 |  |  | 2.98 |  |  | 39.64 |  | 28.6 |  | 0.752 |  |  | 0.007 |  |  | 4.788 |  |  | 1204.2 |
|  | Median |  | 21.6 |  | 7.43 |  | 0.27 |  | 6.85 |  |  | 21.85 |  | 9.9 |  | 10.13 |  |  | 7.96 |  |  | 2.15 |  |  | 23.67 |  | 12.5 |  | 0.761 |  |  | 0.002 |  |  | 3.314 |  |  | 1046.2 |
|  | SD |  | 2.6 |  | 1.97 |  | 0.28 |  | 0.29 |  |  | 55.38 |  | 26.6 |  | 20.05 |  |  | 20.65 |  |  | 3.05 |  |  | 55.54 |  | 56.7 |  | 0.333 |  |  | 0.015 |  |  | 5.408 |  |  | 708.5 |
|  | Max |  | 25.4 |  | 7.85 |  | 1.10 |  | 7.10 |  |  | 208.00 |  | 99.6 |  | 78.04 |  |  | 78.18 |  |  | 12.3 |  |  | 201.9 |  | 204.0 |  | 1.335 |  |  | 0.055 |  |  | 21.639 |  |  | 2419.6 |
|  | Min |  | 17.1 |  | 0.67 |  | 0.04 |  | 6.27 |  |  | 3.83 |  | 1.3 |  | 2.59 |  |  | 2.15 |  |  | 1.04 |  |  | 1.96 |  | 0.3 |  | 0.210 |  |  | 0.002 |  |  | 1.119 |  |  | 190.4 |
| P18N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean |  | 22.9 |  | 7.48 |  | 1.23 |  | 7.63 |  |  | 190.35 |  | 91.0 |  | 86.53 |  |  | 88.63 |  |  | 17.70 |  |  | 132.92 |  | 31.8 |  | 1.387 |  |  | 0.006 |  |  | 19.715 |  |  | 1779.6 |
|  | Median |  | 22.5 |  | 7.45 |  | 1.15 |  | 7.65 |  |  | 189.85 |  | 90.8 |  | 91.23 |  |  | 91.68 |  |  | 6.63 |  |  | 135.17 |  | 17.5 |  | 1.172 |  |  | 0.003 |  |  | 19.318 |  |  | 1811.5 |
|  | SD |  | 1.7 |  | 0.40 |  | 1.07 |  | 0.23 |  |  | 13.11 |  | 6.4 |  | 12.29 |  |  | 12.13 |  |  | 28.30 |  |  | 32.07 |  | 41.4 |  | 0.657 |  |  | 0.006 |  |  | 3.798 |  |  | 743.1 |
|  | Max |  | 25.9 |  | 8.11 |  | 4.37 |  | 7.98 |  |  | 212.00 |  | 101.4 |  | 100.56 |  |  | 103.48 |  |  | 99.0 |  |  | 190.8 |  | 145.0 |  | 2.560 |  |  | 0.019 |  |  | 26.726 |  |  | 2419.6 |
|  | Min |  | 20.9 |  | 6.75 |  | 0.32 |  | 7.19 |  |  | 171.80 |  | 82.0 |  | 61.42 |  |  | 64.58 |  |  | 1.32 |  |  | 90.63 |  | 0.5 |  | 0.490 |  |  | 0.001 |  |  | 14.804 |  |  | 866.4 |

U = Urban / N = Natural.

Table S6 Mean, median, standard deviation, maximum and minimum of water quality variables from points P10 to P18 (continuation).

| Point | n=12 | RAS | HCO3- | F- | Cl- | Br- | NO2- | NO3- | PO43- | SO42- | Na+ | NH4+ | K+ | Ca2+ | Mg2+ |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P10U | Mean | 1.060 | 21.827 | 0.047 | 7.008 |  | 4.018 | 4.104 | 0.103 | 8.523 | 12.004 | 6.756 | 2.674 | 8.721 | 1.044 |
|  | Median | 0.989 | 20.362 | 0.055 | 6.842 |  | 0.569 | 2.648 | 0.043 | 5.174 | 11.331 | 5.666 | 2.137 | 9.327 | 1.017 |
|  | SD | 0.340 | 13.257 | 0.023 | 4.135 | < DL | 8.245 | 4.948 | 0.169 | 7.408 | 3.439 | 4.310 | 1.631 | 3.083 | 0.217 |
|  | Max | 1.577 | 49.264 | 0.077 | 12.644 |  | 28.195 | 18.342 | 0.602 | 21.637 | 19.027 | 16.014 | 6.339 | 13.008 | 1.423 |
|  | Min | 0.485 | 2.074 | 0.002 | 0.262 |  | 0.005 | 0.138 | 0.001 | 0.425 | 4.984 | 2.008 | 0.986 | 4.183 | 0.727 |
| P11U | Mean | 0.516 | 4.682 | 0.009 | 0.440 |  |  | 0.095 | 0.002 | 0.021 | 2.844 | 0.002 | 0.756 | 2.330 | 0.214 |
|  | Median | 0.504 | 4.685 | 0.004 | 0.343 |  |  | 0.072 | 0.002 | 0.011 | 3.040 | 0.002 | 0.822 | 2.300 | 0.204 |
|  | SD | 0.254 | 1.168 | 0.014 | 0.448 | < DL | < DL | 0.078 | 0.002 | 0.025 | 1.090 | 0.001 | 0.221 | 0.800 | 0.072 |
|  | Max | 0.874 | 6.368 | 0.044 | 1.775 |  |  | 0.280 | 0.007 | 0.078 | 4.389 | 0.003 | 1.013 | 3.342 | 0.312 |
|  | Min | 0.244 | 2.464 | 0.001 | 0.032 |  |  | 0.003 | 0.001 | 0.002 | 1.564 | 0.001 | 0.340 | 0.846 | 0.098 |
| P12U | Mean | 0.888 | 43.628 | 0.093 | 10.293 |  | 7.393 | 3.855 | 0.086 | 20.866 | 11.139 | 6.740 | 2.492 | 10.444 | 1.003 |
|  | Median | 0.663 | 34.105 | 0.072 | 8.441 |  | 4.550 | 2.543 | 0.054 | 18.435 | 9.207 | 5.158 | 1.565 | 10.279 | 0.909 |
|  | SD | 0.461 | 32.894 | 0.060 | 6.883 | < DL | 10.165 | 4.402 | 0.109 | 13.937 | 6.230 | 4.464 | 1.726 | 3.073 | 0.287 |
|  | Max | 1.533 | 93.476 | 0.204 | 24.441 |  | 36.564 | 16.857 | 0.347 | 46.375 | 21.241 | 15.896 | 6.770 | 15.987 | 1.625 |
|  | Min | 0.409 | 0.512 | 0.021 | 3.389 |  | 0.486 | 0.782 | 0.001 | 5.856 | 5.217 | 2.123 | 0.995 | 3.932 | 0.710 |
| P13N | Mean | 0.037 | 2.678 | 0.004 | 0.141 |  |  | 0.012 | 0.002 | 0.017 | 0.281 | 0.002 | 0.105 | 3.487 | 0.426 |
|  | Median | 0.032 | 2.501 | 0.002 | 0.084 |  |  | 0.010 | 0.002 | 0.007 | 0.199 | 0.002 | 0.061 | 3.596 | 0.410 |
|  | SD | 0.020 | 1.204 | 0.007 | 0.141 | < DL | < DL | 0.012 | 0.001 | 0.024 | 0.181 | 0.001 | 0.145 | 1.285 | 0.086 |
|  | Max | 0.069 | 6.198 | 0.025 | 0.426 |  |  | 0.042 | 0.004 | 0.067 | 0.598 | 0.003 | 0.498 | 5.173 | 0.611 |
|  | Min | 0.009 | 1.513 | 0.001 | 0.016 |  |  | 0.001 | 0.001 | 0.001 | 0.076 | 0.001 | 0.002 | 1.856 | 0.321 |
| P14N | Mean | 0.144 | 13.909 | 0.010 | 0.573 |  |  | 0.202 | 0.002 | 0.425 | 1.270 | 0.002 | 0.380 | 5.536 | 0.487 |
|  | Median | 0.148 | 12.676 | 0.003 | 0.565 |  |  | 0.169 | 0.002 | 0.391 | 1.273 | 0.002 | 0.407 | 5.040 | 0.472 |
|  | SD | 0.025 | 5.869 | 0.013 | 0.174 | < DL | < DL | 0.172 | 0.001 | 0.185 | 0.147 | 0.001 | 0.275 | 1.972 | 0.126 |
|  | Max | 0.179 | 24.254 | 0.035 | 0.940 |  |  | 0.616 | 0.003 | 0.760 | 1.653 | 0.004 | 0.771 | 10.158 | 0.711 |
|  | Min | 0.097 | 6.429 | 0.001 | 0.305 |  |  | 0.011 | 0.001 | 0.127 | 1.065 | 0.001 | 0.024 | 3.303 | 0.314 |
| P15N | Mean | 0.068 | 122.733 | 0.100 | 1.257 |  |  | 0.181 | 0.003 | 0.237 | 1.391 | 0.002 | 4.498 | 17.997 | 9.653 |
|  | Median | 0.068 | 122.781 | 0.099 | 1.252 |  |  | 0.198 | 0.002 | 0.238 | 1.366 | 0.002 | 4.291 | 16.324 | 9.362 |
|  | SD | 0.023 | 28.248 | 0.018 | 0.409 | < DL | < DL | 0.090 | 0.001 | 0.057 | 0.430 | 0.001 | 1.398 | 4.804 | 2.238 |
|  | Max | 0.101 | 167.628 | 0.130 | 2.141 |  |  | 0.321 | 0.004 | 0.341 | 2.025 | 0.003 | 7.108 | 27.187 | 13.611 |
|  | Min | 0.031 | 82.838 | 0.073 | 0.649 |  |  | 0.002 | 0.001 | 0.162 | 0.760 | 0.001 | 2.969 | 12.396 | 6.115 |
| P16N | Mean | 0.076 | 128.046 | 0.101 | 1.007 |  |  | 0.137 | 0.002 | 0.315 | 1.583 | 0.002 | 5.312 | 18.997 | 9.795 |
|  | Median | 0.079 | 123.720 | 0.101 | 0.971 |  |  | 0.133 | 0.002 | 0.308 | 1.548 | 0.002 | 5.310 | 17.096 | 9.054 |
|  | SD | 0.015 | 28.276 | 0.021 | 0.200 | < DL | < DL | 0.079 | 0.002 | 0.096 | 0.176 | 0.001 | 1.605 | 5.995 | 1.971 |
|  | Max | 0.099 | 170.312 | 0.134 | 1.562 |  |  | 0.246 | 0.006 | 0.467 | 1.889 | 0.004 | 7.981 | 29.415 | 13.522 |
|  | Min | 0.051 | 79.983 | 0.072 | 0.733 |  |  | 0.003 | 0.001 | 0.165 | 1.321 | 0.001 | 2.735 | 11.564 | 7.251 |
| P17N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean | 0.632 | 18.373 | 0.007 | 1.951 |  |  | 0.389 | 0.002 | 0.641 | 6.560 | 0.003 | 1.830 | 6.028 | 1.210 |
|  | Median | 0.558 | 12.359 | 0.003 | 1.100 |  |  | 0.406 | 0.002 | 0.228 | 5.549 | 0.003 | 0.399 | 4.481 | 0.986 |
|  | SD | 0.519 | 24.466 | 0.009 | 3.316 | < DL | < DL | 0.326 | 0.001 | 1.405 | 6.031 | 0.001 | 3.542 | 6.785 | 1.035 |
|  | Max | 2.063 | 95.209 | 0.030 | 12.320 |  |  | 1.036 | 0.005 | 5.075 | 20.442 | 0.004 | 11.637 | 26.426 | 4.084 |
|  | Min | 0.127 | 3.160 | 0.001 | 0.239 |  |  | 0.028 | 0.001 | 0.001 | 0.611 | 0.001 | 0.020 | 1.280 | 0.116 |
| P18N |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mean | 0.350 | 105.564 | 0.086 | 2.126 |  |  | 0.957 | 0.002 | 2.384 | 6.675 | 0.002 | 3.749 | 20.323 | 4.706 |
|  | Median | 0.348 | 111.301 | 0.088 | 2.057 |  |  | 0.919 | 0.002 | 2.279 | 7.075 | 0.002 | 4.044 | 20.940 | 4.965 |
|  | SD | 0.032 | 14.993 | 0.018 | 0.403 | < DL | < DL | 0.210 | 0.001 | 0.892 | 1.142 | 0.001 | 1.393 | 6.448 | 0.963 |
|  | Max | 0.397 | 122.683 | 0.111 | 2.765 |  |  | 1.442 | 0.004 | 3.717 | 8.147 | 0.003 | 5.480 | 31.355 | 6.090 |
|  | Min | 0.284 | 74.932 | 0.055 | 1.331 |  |  | 0.705 | 0.001 | 0.916 | 4.998 | 0.001 | 1.858 | 11.578 | 3.068 |

< DL = below detection limit of the method / U = Urban / N = Natural.