Table S1 MIQE checklist for RT-qPCR experiments

| Experimental design |  |
| --- | --- |
| Definition of experimental and control groups | ND |
| Number within each group | 62 symptomatic peony leaves |
| Assay carried out by the core or investigator’s laboratory? | Investigator laboratory |
| Sample |  |
| Description | Fresh leaves |
| Volume/mass of sample processed | 50 mg |
| Microdissection or macrodissection | N/A |
| Processing procedure | Refrigerated at 4 ℃ upon arrival to laboratory usually in less than 6 hours |
| If frozen, how and how quickly? | N/A |
| If fixed, with what and how quickly? | N/A |
| Sample storage conditions and duration | Refrigerated at 4 ℃ until RNA isolation (usually less than 3 days), then frozen at -70 ℃ |
| Nucleic acid extraction |  |
| Procedure and/or instrumentation | (see Materials and methods) |
| Name of kit and details of any modifications | Plant RNA Mini Kit (Onsol, South Korea) |
| Source of additional reagents used | None |
| Details of DNase or RNase treatment | On-column DNase treatment (DNase I, Onsol) |
| Contamination assessment | ND |
| Nucleic acid quantification | Spectrophotometric measurement |
| Instrument and method | Epoch Microplate Spectrophotometer (BioTek, United States) |
| Purity (A260/A280) | Average: 2.225 |
| Yield | Average: 63.413 |
| RNA integrity: method/instrument | ND |
| RIN/RQI or Cq of 3’ and 5’ transcripts | ND |
| Electrophoresis traces | ND |
| Inhibition testing | ND |
| Reverse transcription |  |
| Complete reaction conditions | RT-qPCR (see Materials and methods) |
| Amount of RNA and reaction volume | Varies (serially diluted RNA of 1 ng/µl stock) |
| Priming oligonucleotide and concentration | CNSV (F): CAAAGTGTGGGAGAGGAGCTAC CNSV (R): GGGCAAGAACAAGTCCAAATC LycMoV (F): TGCGTGCGTTACTTCAACC LycMoV (R): AGGATAGCCAGAGGAATACCC |
| Reverse transcriptase and concentration | TOPscript reverse transcriptase |
| Temperature and time | 50 ℃ for 30 minutes |
| Manufacturer of reagents and catalogue numbers | Enzynomics, South Korea / Cat. RT002 |
| Cqs with and without reverse transcription | ND |
| Storage conditions of cDNA | N/A |
| qPCR target information |  |
| Gene symbol | CP for CNSV and Pro-C for LycMoV |
| Sequence accession number | CNSV: LC785683 LycMoV: LC785521 |
| Location of amplicon | CNSV: 461 – 562 (LC785683) LycMoV: 137 – 248 (LC785521) |
| Amplicon length | CNSV: 102 bp LycMoV: 112 bp |
| In silico specificity screen | ND |
| Pseudogenes, retropseudogenes, or homologs? | ND |
| Sequence alignment | Supplementary figure SF1 |
| Secondary structure analysis of amplicon | ND |
| Location of each primer by exon or intron | ND |
| What splice variants are targeted? | ND |
| qPCR oligonucleotides |  |
| Primer sequences | CNSV (F): CAAAGTGTGGGAGAGGAGCTAC CNSV (R): GGGCAAGAACAAGTCCAAATC LycMoV (F): TGCGTGCGTTACTTCAACC LycMoV (R): AGGATAGCCAGAGGAATACCC |
| RTPrimer DB identification number | N/A |
| Probe sequences | CNSV (P): FAM-ACCAAGTCCAGTTCTCTCGTATCCCT-BHQ1 LycMoV (P): Cy5-TGCTCCACAATTGCCTTCAATCCC-BHQ3 |
| Location and identity of any modifications | CNSV (P): FAM at 5’ end, BHQ1 at 3’ end LycMoV (P): Cy5 at 5’ end, BHQ3 at 3’ end |
| Manufacturer of oligonucleotides | Cosmogenetech (Seoul, South Korea) (http://www.cosmogenetech.com/) |
| Purification method | Probe: HPLC Primer: OPC |
| qPCR protocol |  |
| Complete reaction conditions | RT-qPCR (see Materials and methods) |
| Reaction volume and amount of cDNA/DNA | Reaction volume: 20 µl Amount of RNA: Varies (serially diluted RNA of 1 ng/µl stock) |
| Primer, probe, Mg2+, and dNTP concentrations | Primer: 5 pmol/µl Probe: 4 pmol/µl Mg2+: Kit dNTP: Kit |
| Polymerase identity and concentration | Chemically modified HOT-start taq polymerase |
| Buffer/kit identity and manufacturer | TOPreal™ Multi-Probe RT-qPCR kit, Cat. RT431S, Enzynomics, South Korea |
| Exact chemical composition of the buffer | N/A |
| Additives | No |
| Manufacturer of plates/tubes and catalog number | Plate: Bio-Rad, United States, MLL9601 Tube: Bio-Rad, United States, TCS0803 Cap: Bio-Rad, United States, TLS0801 |
| Complete thermocycling parameters | 50 ℃ for 30 minutes, 40 cycles of 95 ℃ for 5 sec and 57 ℃ for 30 sec |
| Reaction setup | Manual |
| Manufacturer of qPCR instrument | Bio-Rad, United States |
| qPCR validation |  |
| Evidence of optimization | Supplementary table ST2 and ST3 |
| Specificity | Supplementary figure SF2 |
| For SYBR Green I, Cq of the NTC | N/A |
| Calibration curves with slope and y intercept | Fig. 4 (See Results: Application of duplex probe-based RT-qPCR) CNSV: y-int = 27.514 LycMoV: y-int = 28.622 |
| PCR efficiency calculated from slope | N/A |
| CIs for PCR efficiency or SE | ND |
| r2 of calibration curve | CNSV: r2 = 0.996 LycMoV: r2 = 1 |
| Linear dynamic range | ND |
| Cq variation at LOD | ND |
| CIs throughout range | ND |
| Evidence for LOD | Fig. 4 (See Results: Application of duplex probe-based RT-qPCR) |
| If multiplex, efficiency and LOD of each assay | CNSV: efficiency = 91.5%, LOD = 10-3 ng/µl LycMoV: efficiency = 91.7%, LOD = 10-3 ng/µl |
| Data analysis |  |
| qPCR analysis program | Bio-Rad CFX Maestro |
| Method of Cq determination | Single threshold |
| Outlier identification and disposition | ND |
| Results for NTCs | >40 cycles |
| Justification of number and choice of reference genes | N/A |
| Description of normalization method | N/A |
| Number and concordance of biological replicates | ND |
| Number and stage of technical replicates | ND |
| Repeatability | ND |
| Reproducibility | ND |
| Power analysis | ND |
| Statistical methods for results significance | ND |
| Software | Bio-Rad CFX Maestro 2.3 (Ver: 5.3.022.1030) |
| Cq or raw data submission with RDML | ND |

N/A = Not available

ND = Not done

Table S2 Optimization of the primer concentration for the duplex probe-based qPCR for the detection of cycas necrotic stunt virus and lychnis mottle virus

The tested primer concentrations were 10 pmol/µl, 5 pmol/µl, and 1 pmol/µl. The tested probe concentrations were 4 pmol/µl, 2 pmol/µl, and 1 pmol/µl. The standard curve had 5 magnitudes ranging from 1 ng/µl to 10-4 ng/ µl. These experiments were conducted in the CFX Opus 96 Real-Time PCR systems (Bio-Rad, United States).

| Primer conc. (pmol/µl) | Probe conc. (pmol/µl) | Ct value |  |  |  |  |  |  |  |  |  | Highest RFU |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 ng/µl |  | 10-1 ng/µl |  | 10-2 ng/µl |  | 10-3 ng/µl |  | 10-4 ng/µl |  |  |  |
|  |  | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV |
| 10 | 4 | 12.60 | 17.35 | 16.66 | 20.76 | 21.50 | 25.30 | 26.84 | 30.45 | 30.69 | 34.07 | 674 | 960 |
|  | 2 | 13.34 | 16.14 | 17.17 | 19.83 | 22.19 | 24.54 | 27.53 | 29.70 | 31.09 | 32.98 | 562 | 643 |
|  | 1 | 12.18 | 14.16 | 16.32 | 18.20 | 21.24 | 23.03 | 26.61 | 27.99 | 30.00 | 31.88 | 362 | 157 |
| 5 | 4 | 13.37 | 16.34 | 17.22 | 19.86 | 22.05 | 24.50 | 27.53 | 29.75 | 31.12 | 32.98 | 804 | 956 |
|  | 2 | 12.99 | 16.11 | 17.10 | 19.81 | 22.07 | 24.42 | 27.35 | 29.19 | 31.01 | 32.44 | 534 | 621 |
|  | 1 | 12.40 | 15.44 | 16.46 | 19.10 | 21.38 | 24.10 | 25.71 | 28.24 | 30.45 | 32.17 | 214 | 171 |
| 1 | 1 | 11.98 | 14.47 | 16.69 | 19.16 | 21.87 | 23.43 | 27.46 | 27.10 | 31.73 | 32.34 | 207 | 151 |

Table S3 Optimization of the annealing temperature for the duplex probe-based qPCR for the detection of cycas necrotic stunt virus and lychnis mottle virus

| Primer : probe concentration (pmol/µl) | Temperature | Ct value |  |  |  |  |  |  |  |  |  | Highest RFU |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1 ng/µl |  | 10-1 ng/µl |  | 10-2 ng/µl |  | 10-3 ng/µl |  | 10-4 ng/µl |  |  |  |
|  |  | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV | CNSV | LycMoV |
| 5 : 4 | 63 ℃ | 11.20 | 15.14 | 15.70 | 18.50 | 21.14 | 23.96 | 26.19 | 29.24 | 28.50 | 31.33 | 682 | 650 |
|  | 61 ℃ | 12.11 | 15.83 | 16.18 | 19.23 | 22.35 | 24.88 | 26.64 | 29.27 | 29.64 | 32.20 | 770 | 760 |
|  | 59 ℃ | 13.31 | 16.06 | 17.22 | 19.75 | 23.08 | 25.36 | 27.96 | 30.21 | 31.16 | 33.00 | 884 | 895 |
|  | 57 ℃ | 12.86 | 16.59 | 17.01 | 20.21 | 22.72 | 25.74 | 27.98 | 30.69 | 31.09 | 33.21 | 965 | 1042 |
|  | 55 ℃ | 13.37 | 16.34 | 17.22 | 19.86 | 22.05 | 24.50 | 27.53 | 29.75 | 31.12 | 32.98 | 804 | 956 |
|  | 53 ℃ | 13.19 | 18.29 | 18.32 | 21.18 | 24.26 | 26.93 | 29.41 | 31.96 | 32.49 | 34.50 | 922 | 1113 |

The tested annealing temperature were 63 ℃, 61 ℃, 59 ℃, 57 ℃, 55 ℃, and 53 ℃. The standard curve has 5 magnitudes ranging from 1 ng/µl to 10-4 ng/ µl. These experiments were conducted in the CFX Opus 96 Real-Time PCR systems (Bio-Rad, United States).

Table S4 Detection limit of the duplex probe-based qPCR for the detection of cycas necrotic stunt virus and lychnis mottle virus

| Optimized conditions | Quantity (ng/µl) | Target | Ct value | RFU |
| --- | --- | --- | --- | --- |
| Primer conc. = 5 pmol/µl Probe conc. = 4 pmol/µl Temperature = 57 ℃ | 1 | CNSV | 12.45 | 454 |
|  |  | LycMoV | 13.49 | 175 |
|  | 10-1 | CNSV | 15.91 | 634 |
|  |  | LycMoV | 16.74 | 218 |
|  | 10-2 | CNSV | 20.76 | 703 |
|  |  | LycMoV | 20.87 | 260 |
|  | 10-3 | CNSV | 25.28 | 667 |
|  |  | LycMoV | 24.20 | 237 |
|  | 10-4 | CNSV | 30.32 | 692 |
|  |  | LycMoV | 28.59 | 246 |
|  | 10-5 | CNSV | 34.60 | 443 |
|  |  | LycMoV | 32.23 | 224 |
|  | 10-6 | CNSV | 39.86 | 55.0 |
|  |  | LycMoV | 38.30 | 26.0 |
|  | 10-7 | CNSV | N/A | 48.7 |
|  |  | LycMoV | N/A | 0.290 |

The optimized primer concentration was 5 pmol/µl and the optimized probe concentration was 4 pmol/µl for both target viruses. The optimized annealing temperature was 57 ℃. The lowest detectable concentration for this optimized condition was 10-6 ng/µl. These experiments were conducted in the CFX Opus 96 Real-Time PCR systems (Bio-Rad, United States).

a

b

Fig S1 qPCR Primer and probe location for the detection of CNSV (a) and LycMoV (b)

Fig S2 Primer and probe specificity of RT-qPCR primers and probes for probe-based RT-qPCR experiments. (a) CNSV primers and probe were used to amplify artificially made mixture of CNSV and LycMoV plasmid DNA. (b) LycMoV primers and probe were used to amplify artificially made mixture of CNSV and LycMoV plasmid DNA. The primer concentration was 10 pmol/µl, the probe concentration was 4 pmol/µl, and the annealing and elongation temperature was 55 ℃. These experiments were conducted in CFX Opus 96 Real-Time PCR systems (Bio-Rad, United States)

a

b