Supporting Information

Flexible, Ultrasensitive and High-practical Paper/f-TiO2/Ag             SERS Chips for On-site, Rapid and Accurate Detection of                   Tricyclazole Pesticide in Agricultural Products

Anh-Tuan Phamb,c,1, Hanh Nhung Buib,1, Nguyen Trung Thanhb,                                                  Quan-Doan Maia,1,*, Anh-Tuan Lea,b,**

aPhenikaa University Nano Institute (PHENA), Phenikaa University, Hanoi 12116, Vietnam

bFaculty of Materials Science and Engineering, Phenikaa University, Hanoi 12116, Vietnam

cFaculty of Biotechnology, Chemistry and Environmental Engineering, Phenikaa University, Hanoi 12116, Vietnam

Corresponding authors:

*doan.maiquan@phenikaa-uni.edu.vn (Q.D. Mai)

**tuan.leanh@phenikaa-uni.edu.vn (A.T. Le)

Calculation of limit of detection (LOD)

The standard curve of linear detecting range was given as:

Y=A+B  Log(X)  					                                                                  (1)

where A and B are intercept and slope of regression equation obtained through the plot of the logarithmic SERS intensity (Y) – logarithmic concentration (X).

The LOD is calculated using the following equation1:

LOD=10(Yblank + 3SD/Yblank-A]/B 			                                                                   (2)

where Yblank and SD are the SERS signal and the standard deviation of blank sample, respectively.

SD is calculated via the well-known formula:

SD=1n-1  in(xi- xaverage)2  			                                                                   (3)

where xi if the “i” sample of the series of measurements, xaverage is the average value of SERS signal obtained from the blank sample repeated n times.

Calculation of relative standard deviation (RSD)

The RSD value of repeatability and reproducibility is calculated via the well-known formula:

RSD = SD × 100 xaverage                                                                                                                                (4)

where SD is the standard deviation that calculates using equation 4 and xaverage is the average value of SERS signal obtained from each measurement.

References

1.	Chen, R.;  Shi, H.;  Meng, X.;  Su, Y.;  Wang, H.; He, Y., Dual-amplification strategy-based SERS chip for sensitive and reproducible detection of DNA methyltransferase activity in human serum. Analytical chemistry 2019, 91 (5), 3597-3603.