1.  Ultrasound-guided radial artery puncture has been proven to be safe and effective, but ultrasound technology still has shortcomings. Whether it is in-plane or out-of-plane technology, it cannot accurately and reliably judge the relative position of the puncture needle and the artery.

2.  It is not only necessary to judge the positional relationship between the puncture needle and the arterial vessel during the puncture process, but also the catheterization process. In addition, Generally, ultrasound techniques are not used during radial artery cannulation, and it is completely dependent on the operator experience. A more convenient technology is urgently needed to assist Intubation process.

3.  Continuous arterial blood pressure monitoring can well understand the changes in the position of the puncture needle and blood vessels. It can not only help the positioning of the puncture needle during ultrasound-guided puncture, but also provide effective positioning during catheterization without ultrasound guidance.

4.  This study makes full use of the characteristics of the pressure sensor to increase the clinical application scenarios of the pressure sensor.