Supplementary information

Table S1. Risk score for physicochemical and microbiological parameters to calculate IRCA

| Parameter | Risk score |
| --- | --- |
| Apparent color | 6 |
| Turbidity | 15 |
| pH | 1.5 |
| Free residual chlorine | 15 |
| Total alkalinity | 1 |
| Calcium | 1 |
| Phosphates | 1 |
| Manganese | 1 |
| Molybdenum | 1 |
| Magnesium | 1 |
| Zinc | 1 |
| Hardness | 1 |
| Sulfates | 1 |
| Total iron | 1.5 |
| Chlorides | 1 |
| Nitrates | 1 |
| Nitrites | 3 |
| Aluminium | 3 |
| Fluorides | 1 |
| Total Organic Carbon | 3 |
| Total coliforms | 15 |
| Escherichia coli | 15 |
| Sum of assigned scores | 100 |
| Source: Resolution 2115 of 2007(MPST & MAVD, 2007) |  |

Table S2. Risk level according to IRCA value

| IRCA | Risk level |
| --- | --- |
| 0-5 | Not risk |
| 5.1-14 | Low risk |
| 14.1-35 | Medium risk |
| 35.1-80 | High risk |
| 80.1-100 | Unsanitary |
| Source: Resolution 2115 of 2007 (MPST & MAVD, 2007) |  |