| Specimens | Absorbance | Average absorbance | SD | RSD |
| --- | --- | --- | --- | --- |
| 6.1 | 0.881 | 0.88133 | 0.00516 | 0.000585 |
| 6.2 | 0.881 |  |  |  |
| 6.3 | 0.882 |  |  |  |
| 6.4 | 0.881 |  |  |  |
| 6.5 | 0.882 |  |  |  |
| 6.6 | 0.881 |  |  |  |

Table 1.  Results of the Coomassie Brilliant Blue method precision test.

| Time | Absorbance | Average absorbance | SD | RSD |
| --- | --- | --- | --- | --- |
| 0 min | 0.881 | 0.88133 | 0.00516 | 0.000585 |
| 5 min | 0.881 |  |  |  |
| 10 min | 0.882 |  |  |  |

Table 2. Coomassie Brilliant Blue method stability test results.

| Samples (mg) | Control substance (mg) | Measured content (mg) | Recovery rate | Average recovery rate |
| --- | --- | --- | --- | --- |
| 0.15245 | 1.2200 | 1.4500 | 1.063565 | 1.01115 |
| 0.15245 | 1.5250 | 1.601 | 0.949868 |  |
| 0.15245 | 1.8250 | 2.014 | 1.020037 |  |
| 0.15245 | 1.2196 | 1.602 | 1.188545 | 1.09663 |
| 0.15245 | 1.5245 | 1.733 | 1.036766 |  |
| 0.15245 | 1.8294 | 2.100 | 1.064584 |  |

Table 3. Results of Coomassie Brilliant Blue spiked sample recovery test.

| Samples | Sample concentration (mg/ml) | RSD |
| --- | --- | --- |
| XDI 1 | 309.689 | 0.0453 |
| XDI 2 | 293.153 |  |
| XDI 3 | 308.508 |  |
| XDI 4 | 293.153 |  |
| XDI 5 | 322.681 |  |
| XDI 6 | 286.067 |  |

Table 4. Coomassie brilliant blue repeatability test results.

| ProteinGroup A | ProteinGroup B |  |  |
| --- | --- | --- | --- |
| SM medicinal herb | XDI-1 | XDI-2 | XDI-3 |

Table 5. Sample grouping.

| Spectrum |  | Peptides |  | Proteins |  |
| --- | --- | --- | --- | --- | --- |
| Total spectrum | Matched spectrum | Peptides | Unique peptides | Identified | Quantified |
| 59105 | 1743 | 682 | 646 | 173 | 171 |

Table 6. Identification and quantification results of the ProteinGroup A.

| Sample | ProteinGroup |
| --- | --- |
| LFQ intensity A1 | 171 |
| LFQ intensity B1 | 4 |
| LFQ intensity B2 | 9 |
| LFQ intensity B3 | 1 |

Table 7. Identification and quantification results of the ProteinGroup A and B.

| Serial Number | Protein Name | Molecular Weight (KD) |
| --- | --- | --- |
| 1 | Cytochrome P450 CYP98A78 | 57.578 |
| 2 | Cytochrome P450 CYP82D70 | 57.638 |
| 3 | Enoyl-ACP Reductase | 41.436 |
| 4 | ABC Acyl Transporter | 150.15 |
| 5 | Carboxyltransferase beta subunit of Heteromeric ACCase | 52.845 |
| 6 | Universal stress protein 1 | 19.881 |
| 7 | Universal stress protein 26 | 15.323 |
| 8 | ATP synthase subunit beta, chloroplastic | 53.746 |
| 9 | ABC-type xenobiotic transporter | 181.91 |
| 10 | 14-3-3-like protein C (Fragment) | 29.407 |
| 11 | Late embryogenesis-like protein | 35.341 |

Table 8. The molecular weight of the eleven same proteins

|  | Sample number | Sample Name |
| --- | --- | --- |
| The samples of SM | S1 | SM decoction liquid |
|  | S2 | SM concentrated liquid |
|  | S3 | SM first alcoholic precipitation liquid |
|  | S4 | SM second alcohol precipitation liquid |
|  | S5 | SM water precipitation liquid |
|  | S6 | SM third alcohol precipitation liquid |
|  | S7 | SM alkali precipitation liquid |
|  | S8 | SM spare liquid |

Table 9. The samples of intermediates of DO medicinal liquid and SM medicinal liquid

| Sample number | Sulfosalicylic acid method |  |  | Tannic acid method |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sample Pictures | Added SA | Whether or not to precipitate | Sample Pictures | Added TA | Whether or not to precipitate |  |
| S1 |  |  | Not |  |  | Not |
| S2 |  |  | Not |  |  | Not |
| S3 |  |  | Not |  |  | Not |
| S4 |  |  | Not |  |  | Not |
| S5 |  |  | Not |  |  | Not |
| S6 |  |  | Not |  |  | Not |
| S7 |  |  | Not |  |  | Not |
| S8 |  |  | Not |  |  | Not |

Table 10. Qualitative results of SM medicinal liquid

| Sample number | Sample batch number | Manufacturers |
| --- | --- | --- |
| T1 | 210603 | Taicang Pharmaceutical Factory |
| T2 | 210612 | Taicang Pharmaceutical Factory |
| T3 | 20140403 | Nanjing Weir Pharmaceutical Factory |
| T4 | 220302 | Nanjing Weir Pharmaceutical Factory |
| T5 | 210603 | Nanjing Weir Pharmaceutical Factory |
| T6 | 101720220702 | Hunan Erkang Products Corporation |

Table 11. Sample number of the six Tween 80.

| Sample number | SA method | Whether or not to precipitate | TA method | Whether or not to precipitate |
| --- | --- | --- | --- | --- |
| T1 |  | Not |  | Yes |
| T2 |  | Not |  | Yes |
| T3 |  | Not |  | Yes |
| T4 |  | Not |  | Yes |
| T5 |  | Not |  | Yes |
| T6 |  | Not |  | Yes |

Table 12. The qualitative results of six kinds of Tween 80 from different manufacturers.

| Sample names | 0.5% Tween 80 | 0.05% Tween 80 | 0.025% Tween 80 | 0.0125% Tween 80 | 0.00625% Tween 80 | 0.005% Twain 80 |
| --- | --- | --- | --- | --- | --- | --- |
| Whether or not to precipitate | Yes | Yes | Yes | Yes | Not | Not |

Table 13. Results of different concentrations of Tween 80 with TA

Table 14.  Qualitative examination results of SM samples.

| Qualitative results | SM samples name |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No precipitation | S1+Tween 80 | S7+Tween 80 | S8+Tween 80 | / | / |
| Generated precipitation | S2+Tween 80 | S3+Tween 80 | S4+Tween 80 | S5+Tween 80 | S6+Tween 80 |

|  | Samples | SA | TA | Samples | SA | TA | Samples | SA | TA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DO | D1 | － | － | T80-1 | － | + | D1+T80 | － | + |
| SM | S1 | － | － | T80-2 | － | + | S1+T80 | － | + |
|  | S2 | － | － | T80-2 | － | + | S2+T80 | + | + |
|  | S3 | － | － | T80-4 | － | + | S3+T80 | + | + |
|  | S4 | － | － | T80-5 | － | + | S4+T80 | + | + |
|  | S5 | － | － | T80-6 | － | + | S5+T80 | + | + |
|  | S6 | － | － |  |  |  | S6+T80 | + | + |
|  | S7 | － | － |  |  |  | S7+T80 | － | + |
|  | S8 | － | － |  |  |  | S8+T80 | － | + |

Table 15.  Qualitative examination results of the three situations.

Table 16.  Results of protein concentration determination.

| Sample number | Sample Protein Concentration (mg/ml) | Protein content of samples (mg) |
| --- | --- | --- |
| S1 | 0.838 | 12582.391 |
| S2 | 9.491 | 7403.156 |
| S3 | 16.658 | 1999.009 |
| S4 | 7.352 | 1470.564 |
| S5 | 6.884 | 2271.824 |
| S6 | 7.305 | 2410.84 |
| S7 | 5.907 | 1949.617 |
| S8 | 4.813 | 2406.718 |

Table 17. Determination of the concentration of proteins in XDI.

| Sample name | Sample concentration (mg/ml) | Average |
| --- | --- | --- |
| XDI 1 | 3.09689 | 3.038 |
| XDI 2 | 2.93153 |  |
| XDI 6 | 3.08508 |  |