Table S1 False positive results by ARCHITECT® HIV Ag/Ab Combo assay compared to RT-PCR
	Samples No, 
	Architect 
	Mindray
	Inno-LIA HIV 1
	PCR HIV 1

	1
	Positive
	Positive
	Positive
	Negative

	2
	Positive
	Positive
	Positive
	Negative

	3
	Positive
	Positive
	Positive
	Negative

	4
	Positive
	Positive
	Positive
	Negative

	5
	Positive
	Negative
	Indeterminate 
	Negative

	6
	Positive
	Negative
	Indeterminate 
	Negative

	7
	Positive
	Negative
	Indeterminate 
	Negative

	8
	Positive
	Negative
	Indeterminate 
	Negative

	9
	Positive
	Negative
	Indeterminate 
	Negative

	10
	Positive
	Positive
	Indeterminate 
	Negative

	11
	Positive
	Negative
	Indeterminate 
	Negative

	12
	Positive
	Negative
	Indeterminate 
	Negative

	13
	Positive
	Negative
	Indeterminate 
	Negative

	14
	Positive
	Negative
	Indeterminate 
	Negative

	15
	Positive
	Positive
	Indeterminate 
	Negative

	16
	Positive
	Negative
	Indeterminate 
	Negative

	17
	Positive
	Negative
	Indeterminate 
	Negative

	18
	Positive
	Negative
	Indeterminate 
	Negative

	19
	Positive
	Negative
	Indeterminate 
	Negative

	20
	Positive
	Negative
	Indeterminate 
	Negative

	21
	Positive
	Negative
	Indeterminate 
	Negative

	22
	Positive
	Positive
	Indeterminate 
	Negative

	23
	Positive
	Negative
	Indeterminate 
	Negative

	24
	Positive
	Negative
	Indeterminate 
	Negative

	25
	Positive
	Negative
	Negative
	Negative

	26
	Positive
	Negative
	Negative
	Negative

	27
	Positive
	Negative
	Negative
	Negative

	28
	Positive
	Negative
	Negative
	Negative

	29
	Positive
	Negative
	Negative
	Negative

	30
	Positive
	Negative
	Negative
	Negative

	31
	Positive
	Negative
	Negative
	Negative

	32
	Positive
	Negative
	Negative
	Negative

	33
	Positive
	Negative
	Negative
	Negative

	34
	Positive
	Negative
	Negative
	Negative

	35
	Positive
	Negative
	Negative
	Negative

	36
	Positive
	Negative
	Negative
	Negative

	37
	Positive
	Negative
	Negative
	Negative

	38
	Positive
	Negative
	Negative
	Negative

	39
	Positive
	Negative
	Negative
	Negative

	40
	Positive
	Negative
	Negative
	Negative

	41
	Positive
	Negative
	Negative
	Negative

	42
	Positive
	Negative
	Negative
	Negative

	43
	Positive
	Negative
	Negative
	Negative

	44
	Positive
	Negative
	Negative
	Negative



