Table S1 False positive results by ARCHITECT® HIV Ag/Ab Combo assay compared to RT-PCR

| Samples No, | Architect | Mindray | Inno-LIA HIV 1 | PCR HIV 1 |
| --- | --- | --- | --- | --- |
| 1 | Positive | Positive | Positive | Negative |
| 2 | Positive | Positive | Positive | Negative |
| 3 | Positive | Positive | Positive | Negative |
| 4 | Positive | Positive | Positive | Negative |
| 5 | Positive | Negative | Indeterminate | Negative |
| 6 | Positive | Negative | Indeterminate | Negative |
| 7 | Positive | Negative | Indeterminate | Negative |
| 8 | Positive | Negative | Indeterminate | Negative |
| 9 | Positive | Negative | Indeterminate | Negative |
| 10 | Positive | Positive | Indeterminate | Negative |
| 11 | Positive | Negative | Indeterminate | Negative |
| 12 | Positive | Negative | Indeterminate | Negative |
| 13 | Positive | Negative | Indeterminate | Negative |
| 14 | Positive | Negative | Indeterminate | Negative |
| 15 | Positive | Positive | Indeterminate | Negative |
| 16 | Positive | Negative | Indeterminate | Negative |
| 17 | Positive | Negative | Indeterminate | Negative |
| 18 | Positive | Negative | Indeterminate | Negative |
| 19 | Positive | Negative | Indeterminate | Negative |
| 20 | Positive | Negative | Indeterminate | Negative |
| 21 | Positive | Negative | Indeterminate | Negative |
| 22 | Positive | Positive | Indeterminate | Negative |
| 23 | Positive | Negative | Indeterminate | Negative |
| 24 | Positive | Negative | Indeterminate | Negative |
| 25 | Positive | Negative | Negative | Negative |
| 26 | Positive | Negative | Negative | Negative |
| 27 | Positive | Negative | Negative | Negative |
| 28 | Positive | Negative | Negative | Negative |
| 29 | Positive | Negative | Negative | Negative |
| 30 | Positive | Negative | Negative | Negative |
| 31 | Positive | Negative | Negative | Negative |
| 32 | Positive | Negative | Negative | Negative |
| 33 | Positive | Negative | Negative | Negative |
| 34 | Positive | Negative | Negative | Negative |
| 35 | Positive | Negative | Negative | Negative |
| 36 | Positive | Negative | Negative | Negative |
| 37 | Positive | Negative | Negative | Negative |
| 38 | Positive | Negative | Negative | Negative |
| 39 | Positive | Negative | Negative | Negative |
| 40 | Positive | Negative | Negative | Negative |
| 41 | Positive | Negative | Negative | Negative |
| 42 | Positive | Negative | Negative | Negative |
| 43 | Positive | Negative | Negative | Negative |
| 44 | Positive | Negative | Negative | Negative |