Table 3 Base case(s) simulation, adopted by DIALux evo (Source: Author)

| Variable / Case Study | (a) | (b) | (c) |
| --- | --- | --- | --- |
|  | Gypsum Engraving | Textile Weaving | Pottery Making |
| Room Photo |  |  |  |
| Geometry (existing lighting layout) & No. of luminaires |  |  |  |
|  | 14 pcs - main zone 3 pcs - store | 13 pcs | 24 pcs |
| Area (m²) | 34 m² | 48 m² | 35 m² |
| Height (m) | 3 m | 3 m | 3 m |
| WWR (%) | 13.8% | 13.8% | 14.2% |
| ADF | 2.8% | 3.1% | 1.8% |
| Daylight Effective Area (Min / Max) | Min 0.0% Max 4.9% | Min 2.53% Max 4.78% | Min 0.76% Max 3.41% |