## Legend
Supplementary Table 1. Instrument types and acquisition methods of 21 MS instruments. A. The various types of 21 LC-MS instruments. B. The LC configurations of 21 LC-MS instruments. C. The DDA parameters of Orbitrap series instruments. D. The DIA parameters of Orbitrap series instruments. E. The IDA parameters of TripleTOF series instruments. F. The SWATH parameters of TripleTOF series instruments. G. The DDA-PASEF parameters of timsTOF Pro instruments. H. The diaPASEF parameters of timsTOF Pro instruments.

## A. 21instrument_types
Lab_Index | Instrument_ID | LC type | MS type
a | 1 | UltiMate 3000 RSLCnano | Q Exactive HF
a | 2 | UltiMate 3000 RSLCnano | Q Exactive HF-X
a | 3 | UltiMate 3000 RSLCnano | TripleTOF 6600
a | 4 | UltiMate 3000 RSLCnano | Q Exactive HF
d | 5 | UltiMate 3000 RSLCnano | Q Exactive HF
a | 6 | Eksigent Nano 400 | TripleTOF 5600+
a | 7 | Eksigent Nano 400 | TripleTOF 5600+
f | 8 | UltiMate 3000 RSLCnano | Q Exactive HF
g | 9 | EASY-nLC 1200 | Q Exactive-Plus
a | 10 | NanoElute | timsTOF Pro
c | 11 | EASY-nLC 1200 | Q Exactive
b | 12 | EASY-nLC 1200 | Q Exactive HF
a | 13 | NanoElute | timsTOF Pro
i | 14 | Eksigent Nano 400 | TripleTOF 5600+
e | 15 | EASY-nLC 1200 | Q Exactive HF-X
a | 16 | NanoElute | timsTOF Pro
h | 17 | NanoElute | timsTOF Pro
a | 18 | UltiMate 3000 RSLCnano | Exploris 480
h | 19 | UltiMate 3000 RSLCnano | Exploris 480
b | 20 | UltiMate 3000 RSLCnano | Q Exactive HF
h | 21 | UltiMate 3000 RSLCnano | Exploris 480

## B. LC_setting
LC-MS system | Instrument_1 | Instrument_2 | Instrument_3 | Instrument_4 | Instrument_5 | Instrument_6 | Instrument_7 | Instrument_8 | Instrument_9 | Instrument_10 | Instrument_11 | Instrument_12 | Instrument_13 | Instrument_14 | Instrument_15 | Instrument_16 | Instrument_17 | Instrument_18 | Instrument_19 | Instrument_20 | Instrument_21
Liquid chromatography | UltiMate 3000 RSLCnano | UltiMate 3000 RSLCnano | Ekspert nanoLC 400 | UltiMate 3000 RSLCnano | EASY-nLC | Ekspert nanoLC 400 | Ekspert nanoLC 400 | UltiMate 3000 RSLCnano | EASY-nLC | NanoElute | EASY-nLC | Instrμment_11 | NanoElute | Ekspert nanoLC 400 | EASY-nLC | NanoElute | NanoElute | UltiMate 3000 RSLCnano | UltiMate 3000 RSLCnano | UltiMate 3000 RSLCnano | UltiMate 3000 RSLCnano
Autosampler temperature | 7 | 7℃ | 4℃ | 7℃ | 7℃ | 8.5℃ | 7.9℃ | 7℃ | 7℃ | Low temperature | 7℃ | EASY-nLC | Low temperature | 7.9℃ | 7℃ | Low temperature | Low temperature | 7℃ | 7℃ | 7℃ | 7℃
Analytical column | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 3μm*15cm*0.3mm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 3μm*15cm*0.3mm | 5μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 5μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm | 1.9μm*15cm*75μm
Precolumn | 2μm*2cm*75μm | 2μm*2cm*75μm | 5μm*10mm*0.3mm | 2μm*2cm*75μm | 2μm*5cm*300μm | 5μm*10mm*0.3mm | 5μm*10mm*0.3mm | 2μm*5cm*300μm | 2μm*5cm*300μm | 2μm*5cm*300μm | 2μm*5cm*300μm | 2μm*5cm*300μm | 2μm*5cm*300μm | 5μm*10mm*0.3mm | 2μm*5cm*300μm | 2μm*5cm*300μm | 2μm*5cm*300μm | 2μm*2cm*75μm | 2μm*2cm*75μm | 2μm*5cm*300μm | 2μm*2cm*75μm
Column temperature | ambient | Ambient | 40℃ | Ambient | 50℃ | 40℃ | 40℃ | 50℃ | 50℃ | 50℃ | 50℃ | 50℃ | 50℃ | 40℃ | 50℃ | 50℃ | 50℃ | Ambient | Ambient | 50℃ | Ambient
Mobile phase A | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 100% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 100% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 100% water with 0.1%FA | 100% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA | 2%ACN; 98% water with 0.1%FA
Mobile phase B | 98%ACN; 2% water with 0.1%FA | 98%ACN; 2% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 100%ACN with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 100%ACN with 0.1%FA | 98%ACN; 2% water with 0.1%FA | 100%ACN with 0.1%FA | 100%ACN with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 100%ACN with 0.1%FA | 100%ACN with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA | 98%ACN; 92% water with 0.1%FA
Injection mode | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup | μPickup
Injection volume [μl] | 2 | 2 | 4 | 2 | 2 | 2 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Flowrate for gradient [nL/min] | 300 | 300 | 5000 | 300 | 300 | 5000 | 5000 | 300 | 300 | 300 | 300 | 600 | 300 | 5000 | 600 | 300 | 300 | 300 | 300 | 600 | 300
Seperation gradient | 3%~28% B in 30 min | 3%~28% B in 30 min | 5%~35% B in 30 min | 3%~28% B in 30 min | 6%~36% B in 30 min | 3%~28% B in 30 min | 3%~28% B in 30 min | 5%~25% B in 30 min | 3%~28% B in 30 min | 3%~28% B in 30 min | 3%~28% B in 30 min | 8%~35% B in 26 min | 3%~28% B in 30 min | 3%~28% B in 30 min | 6%~34% B in 30 min | 3%~28% B in 30 min | 3%~28% B in 30 min | 3%~28% B in 30 min | 3%~28% B in 30 min | 6%~45% B in 40 min | 3%~28% B in 30 min

## C. Orbitrap_DDA_settings
DDA settings | Instrument_1 | Instrument_2 | Instrument_4 | Instrument_5 | Instrument_8 | Instrument_9 | Instrument_11 | Instrument_12 | Instrument_15 | Instrument_18 | Instrument_19 | Instrument_20 | Instrument_21
Instrument
Instrument type | Q Exactive HF | Q Exactive HF-X | Q Exactive HF | Q Exactive HF | Q Exactive HF-X | Q Exactive Plus | Q Exactive | Q Exactive HF | Q Exactive HF-X | Exploris 480 | Exploris 480 | Q Exactive HF-X | Exploris 480
Field asymmetric ion mobility spectrometry (FAIMS)
FAIMS voltages | - | - | - | - | - | - | - | - | - | ON | ON | - | ON
FAIMS CV (V) | - | - | - | - | - | - | - | - | - | 62 | 68 | - | 65
FAIMS CV (V) | - | - | - | - | - | - | - | - | - | 42 | 48 | - | 45
Source
Capillary temperature | 320℃ | 320℃ | 320℃ | 320℃ | 320℃ | 300℃ | 300℃ | 320℃ | 320℃ | 320℃ | 320℃ | 320℃ | 320℃
FULL MS/DD-MS2 (TOPN)
Runtime (min) | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 40 | 45 | 45 | 45 | 55 | 45
Polarity | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive
In-source CID (eV) | Positive | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Default charge state | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
FULL MS
Microscans | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FAIMS CV (V) | - | - | - | - | - | - | - | - | - | 42V/62V | 48V/68V | - | 45V/65V
Resolution | 60000 | 60000 | 60000 | 60000 | 60000 | 70000 | 70000 | 60000 | 60000 | 60000 | 60000 | 60000 | 60000
AGC target | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | Custom | Custom | 3000000 | Custom
Normalized AGC target(%) | - | - | - | - | - | - | - | - | - | 300 | 300 | - | 300
Maximum IT (ms) | 80 | 80 | 80 | 80 | 80 | 20 | 20 | 80 | 50 | 20 | Custom | 80 | 20
Number of scan ranges | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Scan range (m/z) | 400~1200 | 400~1200 | 400~1200 | 400~1200 | 400~1200 | 350~1800 | 350~1800 | 400~1200 | 300~1800 | 350~1200 | 350~1200 | 400~1200 | 350~1200
Spectrum data type | Profile/Centriod | Centriod | Centriod | Profile | Centriod | Centriod | Profile | Centriod | Profile | Centriod | Centriod | Profile | Centriod
dd-MS2 / dd-SIM
Microscans | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Resolution | 30000 | 30000 | 30000 | 30000 | 30000 | 17000 | 17000 | 30000 | 16000 | 15000 | 30000 | 30000 | 15000
AGC target | 100000 | 100000 | 100000 | 100000 | 100000 | 500000 | 500000 | 100000 | 100000 | Custom (75%) | Custom (75%) | 100000 | Custom (75%)
Maximum IT (ms) | 100 | 80 | 80 | 100 | 80 | 45 | 45 | 80 | 25 | 20 | 22 | 80 | 20
Loop count | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | - | 20 | -
Cycle time(s) | - | - | - | - | - | - | - | - | - | 1 | 1 | - | 1
MSX count | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | - | - | 1 | -
TopN | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | - | - | 20 | -
Isolation window | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.6 | 1.5 | 1.6 | 1.6 | 1.6 | 1.6
Ioslation offset | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | Off | Off | 0 | Off
Scan range | 200~2000 | 200~2000 | 200~2000 | 200~2000 | 200~2000 | 200~2000 | 200~2000 | 200~2000 | 200~2000 | Define first mass | Define first mass | 200~2000 | Define first mass
Fixed first mass | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 100 | 100 | 120 | 120 | 100
(N) CE / stepped (N) CE(%) | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 30 | 30 | 27 | 30
Spectrum data type | Profile/Centriod | Centriod | Centriod | Profile | Profile | Profile | Profile | Centriod | Profile | Centriod | Centriod | Centriod | Centriod
Minumum AGC target | 8000 | 8000 | 8000 | 8000 | 8000 | 1000 | 1000 | 8000 | 4000 | - | - | 8000 | -
Intensity threshold | 80000 | 100000 | 100000 | 80000 | 80000 | 22000 | 22000 | 100000 | 160000 | - | - | 100000 | -
Apex trigger | - | - | - | - | - | - | - | - | - | - | - | - | -
Charge exclusion | unassigned, 1,6 - 8, >8 | unassigned, 1,6 - 8, >8 | unassigned, 1,6 - 8, >8 | unassigned, 1,6 - 8, >8 | unassigned, 1,6 - 8, >8 | unassigned, 1,7, 8, >8 | unassigned, 1,7, 8, >8 | unassigned, 1,6 - 8, >8 | unassigned, 1,7, 8, >8 | unassigned, 1,7, 8, >8 | unassigned, 1,7, 8, >8 | unassigned, 1, 8, >8 | unassigned, 1,7, 8, >8
Multiple charge states | all | all | all | all | all | all | all | all | all | - | - | all | -
Peptide match | preferred | preferred | preferred | preferred | preferred | preferred | preferred | preferred | preferred | preferred | preferred | preferred | preferred
Exclusion isotopes | on | on | on | on | on | on | on | on | on | on | on | on | on
Dynamic exclusion | 30 | 30 | 12 | 12 | 12 | 45 | 45 | 12 | 30 | 50 | 15 | 12 | 50
If idle | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others | do not pick others

## D. Orbitrap_DIA_settings
DIA settings | Instrument_1 | Instrument_2 | Instrument_4 | Instrument_8 | Instrument_9 | Instrument_11 | Instrument_12 | Instrument_15 | Instrument_18 | Instrument_19 | Instrument_20 | Instrument_21
Instruments
Instrument type | Q Exactive HF | Q Exactive HF-X | Q Exactive HF | Q Exactive HF | Q Exactive Plus | Q Exactive | Q Exactive HF | Q Exactive HF-X | Exploris 480 | Exploris 480 | Q Exactive HF-X | Exploris 480
Field asymmetric ion mobility spectrometry (FAIMS)
FAIMS voltages | - | - | - | - | - | - | - | - | ON | ON | - | ON
FAIMS CV (V) | - | - | - | - | - | - | - | - | 62 | 68 | - | 65
FAIMS CV (V) | - | - | - | - | - | - | - | - | 42 | 48 | - | 45
Total Carrier Gas Flow | - | - | - | - | - | - | - | - | 4.6 | 4.6 | - | 4.6
Source
Capillary temperature | 320℃ | 320℃ | 320℃ | 320℃ | 300℃ | 300℃ | 320℃ | 320℃ | 320℃ | 320℃ | 320℃ | 320℃
FULL MS/DD-MS2 (TOPN)
Runtime (min) | 45 | 45 | 45 | 45 | 45 | 45 | 40 | 45 | 45 | 45 | 55 | 45
Polarity | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive
In-source CID (eV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FULL MS
Microscans | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Resolution | 60000 | 60000 | 60000 | 60000 | 70000 | 70000 | 60000 | 120000 | 60000 | 60000 | 60000 | 60000
AGC target | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 300% | 300% | 3000000 | Standard
Maximum IT (ms) | 80 | 80 | 80 | 80 | 50 | 20 | 80 | 30 | 50 | 50 | 80 | Auto
Number of scan ranges | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Scan range (m/z) | 390~1010 | 390~1010 | 390~1010 | 390~1010 | 390~1010 | 390~1010 | 390~1010 | 350~1800 | 390-1010 | 390-1010 | 390~1010 | 390~1010
Spectrum data type | Profile/Centriod | Centriod | Centriod | Centriod | Centriod | Centriod | Centriod | Profile | Centriod | Centriod | Centriod | Centriod
DIA
Runtime (min) | 45 | 45 | 45 | 45 | 45 | 45 | 40 | 45 | 45 | 45 | 55 | 45
Polarity | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive
Resolution | 30000 | 30000 | 30000 | 30000 | 17500 | 17500 | 30000 | 15000 | 30000 | 30000 | 30000 | 30000
AGC target | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 3000000 | 3000000 | 2000% | 2000% | 3000000 | Custom
Maximum IT (ms) | auto | auto | auto | auto | auto | auto | auto | auto | Custom | Custom | auto | Auto
Loop count | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 12 | 12 | 20 | 20
MSX count | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
MSX isochrononous ITs | on | on | on | on | on | on | on | on | - | - | on | on
Isolation window | 21 | 21 | 21 | 21 | 21 | 21 | 21 | 51 | 20 | 20 | 21 | 20
Ioslation offset | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed first mass | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 150 | 150 | 150 | 400 | 200
(N) CE / stepped (N) CE | 28 | 27 | 27 | 28 | 28 | 28 | 28 | 30 | 32 | 32 | 28 | 30
Spectrum data type | Profile | Centriod | Centriod | Centriod | Centriod | Centriod | Centriod | Profile | Centriod | Centriod | Centriod | Centriod
DIA
Runtime (min) | 45 | 45 | 45 | 45 | 45 | 45 | 40 | 45 | 45 | 45 | 55 | 45
Polarity | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive | Positive
Resolution | 30000 | 30000 | 30000 | 30000 | 30000 | 17500 | 30000 | 15000 | 30000 | 30000 | 30000 | 30000
AGC target | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 3000000 | 3000000 | 2000% | 2000% | 3000000 | Custom
Maximum IT (ms) | auto | auto | auto | auto | auto | auto | auto | auto | Custom | Custom | auto | Auto
Loop count | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 7 | 10 | 10 | 2 | 4
MSX count | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
MSX isochrononous ITs | on | on | on | on | on | on | on | on | on | on | on | on
Isolation window | 41 | 41 | 41 | 41 | 41 | 41 | 41 | 21 | 34 | 34 | 41 | 41
Ioslation offset | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed first mass | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 150 | 150 | 150 | 400 | 200
(N) CE / stepped (N) CE | 28 | 27 | 27 | 28 | 28 | 28 | 28 | 30 | 32 | 32 | 28 | 30
Spectrum data type | Profile | Centriod | Centriod | Centriod | Centriod | Centriod | Centriod | Profile | Centriod | Centriod | Centriod | Centriod
DIA
Runtime (min) | 45 | 45 | 45 | 45 |  | 45 | 40 | 45 |  |  | 55 | 45
Polarity | Positive | Positive | Positive | Positive |  | Positive | Positive | Positive |  |  | Positive | Positive
Resolution | 30000 | 30000 | 30000 | 30000 |  | 17500 | 17500 | 15000 |  |  | 17500 | 30000
AGC target | 1000000 | 1000000 | 1000000 | 1000000 |  | 1000000 | 3000000 | 3000000 |  |  | 3000000 | Custom
Maximum IT (ms) | auto | auto | auto | auto |  | auto | auto | auto |  |  | auto | Auto
Loop count | 2 | 2 | 2 | 2 |  | 2 | 2 | 17 |  |  | 2 | 2
MSX count | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 |  |  | 1 | 1
MSX isochrononous ITs | on | on | on | on |  | on | on | on |  |  | on | on
Isolation window | 61 | 61 | 61 | 61 |  | 61 | 61 | 17 |  |  | 61 | 61
Ioslation offset | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  |  | 0 | 0
Fixed first mass | 400 | 400 | 400 | 400 |  | 400 | 400 | 150 |  |  | 400 | 200
(N) CE / stepped (N) CE | 28 | 27 | 27 | 28 |  | 28 | 28 | 30 |  |  | 28 | 30
Spectrum data type | Profile | Centriod | Centriod | Centriod |  | Centriod | Centriod | Profile |  |  | Centriod | Centriod

## E. TripleTOF_IDA_settings
IDA settings | Instrument_3 | Instrument_6 | Instrument_7 | Instrument_14
Instrument
Type | 6600 | 5600+ | 5600+ | 5600+
Ion source
Source type | DuoSpray Ion Source | DuoSpray Ion Source | DuoSpray Ion Source | DuoSpray Ion Source
CUR | 35 | 30 | 30 | 25
GS1 | 11 | 30 | 30 | 20
GS2 | 25 | 10 | 10 | 15
ISVF | 5500 | 5500 | 5500 | 5500
TEM (℃) | 350 | 350 | 350 | 350
IDA experiment
Cycle time (ms) | 3275 | 4300 | 4300 | 2301
Accumulation time of TOF scan (ms) | 250 | 250 | 250 | 250
Accumulation time of MS/MS scan (ms) | 50 | 100 | 100 | 50
For ions greater than (Da) | 350 | 350 | 350 | 350
From charge state | 2 | 2 | 2 | 2
To charge state | 5 | 4 | 4 | 4
With intensity greater than | 300 | 100 | 100 | 100
Switch after (spectra) | 40 | 40 | 40 | 40
Use advanced aettings | TRUE | TRUE | TRUE | TRUE
Always exclude | TRUE | TRUE | TRUE | TRUE
Exclude for | 15 sec | 15 sec | 15 sec | 15 sec
Mass tolerance units | ppm | m Da | m Da | m Da
Mass tolerance | 50 | 50 | 50 | 50
Use inclusion list | FALSE | FALSE | FALSE | FALSE
Use exclusion list | FALSE | FALSE | FALSE | FALSE
Ignore peak within (Da) | 6 | 6 | 6 | 6
Dynamic collision energy | TRUE | TRUE | TRUE | TRUE
Fragment intensity multiplier | 2 | 2 | 2 | 2
Never exclude former target ions | TRUE | TRUE | TRUE | TRUE
Maximum mass (Da) | 1250 | 1250 | 1250 | 1250
Exclude after occurences | 1 | 1 | 1 | 1

## F. TripleTOF_SWATH_settings
SWATH settings | Instrument_3 | Instrument_6 | Instrument_7 | Instrument_14
Instrument
Type | 6600 | 5600+ | 5600+ | 5600+
Ion source
Source type | DuoSpray Ion Source | DuoSpray Ion Source | DuoSpray Ion Source | DuoSpray Ion Source
CUR | 35 | 25 | 30 | 25
GS1 | 11 | 20 | 30 | 20
GS2 | 25 | 15 | 10 | 15
ISVF | 5500 | 5500 | 5500 | 5500
TEM (℃) | 350 | 350 | 350 | 350
SWATH experiment
Cycle time (ms) | 3274 | 2050 | 2050 | 2051
Accumulation time of TOF scan (ms) | 250 | 250 | 250 | 250
Accumulation time of MS/MS scan (ms) | 35 | 25 | 35 | 35
CES | 15 | 15 | 15 | 15
Isolation windth_1 | 349.50 ~ 358.200 | 349.50 ~ 358.200 | 349.50 ~ 358.200 | 357.20 ~ 365.800
Isolation windth_2 | 357.20 ~ 365.800 | 357.20 ~ 365.800 | 357.20 ~ 365.800 | 364.80 ~ 371.600
Isolation windth_3 | 364.80 ~ 371.600 | 364.80 ~ 371.600 | 364.80 ~ 371.600 | 370.60 ~ 377.900
Isolation windth_4 | 370.60 ~ 377.900 | 370.60 ~ 377.900 | 370.60 ~ 377.900 | 376.90 ~ 384.700
Isolation windth_5 | 376.90 ~ 384.700 | 376.90 ~ 384.700 | 376.90 ~ 384.700 | 383.70 ~ 392.800
Isolation windth_6 | 383.70 ~ 392.800 | 383.70 ~ 392.800 | 383.70 ~ 392.800 | 391.80 ~ 400.400
Isolation windth_7 | 391.80 ~ 400.400 | 391.80 ~ 400.400 | 391.80 ~ 400.400 | 399.40 ~ 409.000
Isolation windth_8 | 399.40 ~ 409.000 | 399.40 ~ 409.000 | 399.40 ~ 409.000 | 408.00 ~ 417.100
Isolation windth_9 | 408.00 ~ 417.100 | 408.00 ~ 417.100 | 408.00 ~ 417.100 | 416.10 ~ 424.700
Isolation windth_10 | 416.10 ~ 424.700 | 416.10 ~ 424.700 | 416.10 ~ 424.700 | 423.70 ~ 431.500
Isolation windth_11 | 423.70 ~ 431.500 | 423.70 ~ 431.500 | 423.70 ~ 431.500 | 430.50 ~ 438.200
Isolation windth_12 | 430.50 ~ 438.200 | 430.50 ~ 438.200 | 430.50 ~ 438.200 | 437.20 ~ 445.000
Isolation windth_13 | 437.20 ~ 445.000 | 437.20 ~ 445.000 | 437.20 ~ 445.000 | 444.00 ~ 451.300
Isolation windth_14 | 444.00 ~ 451.300 | 444.00 ~ 451.300 | 444.00 ~ 451.300 | 450.30 ~ 457.600
Isolation windth_15 | 450.30 ~ 457.600 | 450.30 ~ 457.600 | 450.30 ~ 457.600 | 456.60 ~ 464.300
Isolation windth_16 | 456.60 ~ 464.300 | 456.60 ~ 464.300 | 456.60 ~ 464.300 | 463.30 ~ 470.600
Isolation windth_17 | 463.30 ~ 470.600 | 463.30 ~ 470.600 | 463.30 ~ 470.600 | 469.60 ~ 476.900
Isolation windth_18 | 469.60 ~ 476.900 | 469.60 ~ 476.900 | 469.60 ~ 476.900 | 475.90 ~ 483.200
Isolation windth_19 | 475.90 ~ 483.200 | 475.90 ~ 483.200 | 475.90 ~ 483.200 | 482.20 ~ 489.500
Isolation windth_20 | 482.20 ~ 489.500 | 482.20 ~ 489.500 | 482.20 ~ 489.500 | 488.50 ~ 496.300
Isolation windth_21 | 488.50 ~ 496.300 | 488.50 ~ 496.300 | 488.50 ~ 496.300 | 495.30 ~ 503.500
Isolation windth_22 | 495.30 ~ 503.500 | 495.30 ~ 503.500 | 495.30 ~ 503.500 | 502.50 ~ 510.700
Isolation windth_23 | 502.50 ~ 510.700 | 502.50 ~ 510.700 | 502.50 ~ 510.700 | 509.70 ~ 517.400
Isolation windth_24 | 509.70 ~ 517.400 | 509.70 ~ 517.400 | 509.70 ~ 517.400 | 516.40 ~ 524.600
Isolation windth_25 | 516.40 ~ 524.600 | 516.40 ~ 524.600 | 516.40 ~ 524.600 | 523.60 ~ 531.800
Isolation windth_26 | 523.60 ~ 531.800 | 523.60 ~ 531.800 | 523.60 ~ 531.800 | 530.80 ~ 539.500
Isolation windth_27 | 530.80 ~ 539.500 | 530.80 ~ 539.500 | 530.80 ~ 539.500 | 538.50 ~ 547.100
Isolation windth_28 | 538.50 ~ 547.100 | 538.50 ~ 547.100 | 538.50 ~ 547.100 | 546.10 ~ 555.700
Isolation windth_29 | 546.10 ~ 555.700 | 546.10 ~ 555.700 | 546.10 ~ 555.700 | 554.70 ~ 564.300
Isolation windth_30 | 554.70 ~ 564.300 | 554.70 ~ 564.300 | 554.70 ~ 564.300 | 563.30 ~ 572.800
Isolation windth_31 | 563.30 ~ 572.800 | 563.30 ~ 572.800 | 563.30 ~ 572.800 | 571.80 ~ 581.800
Isolation windth_32 | 571.80 ~ 581.800 | 571.80 ~ 581.800 | 571.80 ~ 581.800 | 580.80 ~ 590.800
Isolation windth_33 | 580.80 ~ 590.800 | 580.80 ~ 590.800 | 580.80 ~ 590.800 | 589.80 ~ 600.300
Isolation windth_34 | 589.80 ~ 600.300 | 589.80 ~ 600.300 | 589.80 ~ 600.300 | 599.30 ~ 609.700
Isolation windth_35 | 599.30 ~ 609.700 | 599.30 ~ 609.700 | 599.30 ~ 609.700 | 608.70 ~ 619.200
Isolation windth_36 | 608.70 ~ 619.200 | 608.70 ~ 619.200 | 608.70 ~ 619.200 | 618.20 ~ 628.600
Isolation windth_37 | 618.20 ~ 628.600 | 618.20 ~ 628.600 | 618.20 ~ 628.600 | 627.60 ~ 639.000
Isolation windth_38 | 627.60 ~ 639.000 | 627.60 ~ 639.000 | 627.60 ~ 639.000 | 638.00 ~ 650.200
Isolation windth_39 | 638.00 ~ 650.200 | 638.00 ~ 650.200 | 638.00 ~ 650.200 | 649.20 ~ 662.400
Isolation windth_40 | 649.20 ~ 662.400 | 649.20 ~ 662.400 | 649.20 ~ 662.400 | 661.40 ~ 675.900
Isolation windth_41 | 661.40 ~ 675.900 | 661.40 ~ 675.900 | 661.40 ~ 675.900 | 674.90 ~ 693.000
Isolation windth_42 | 674.90 ~ 693.000 | 674.90 ~ 693.000 | 674.90 ~ 693.000 | 692.00 ~ 712.300
Isolation windth_43 | 692.00 ~ 712.300 | 692.00 ~ 712.300 | 692.00 ~ 712.300 | 711.30 ~ 734.400
Isolation windth_44 | 711.30 ~ 734.400 | 711.30 ~ 734.400 | 711.30 ~ 734.400 | 733.40 ~ 758.200
Isolation windth_45 | 733.40 ~ 758.200 | 733.40 ~ 758.200 | 733.40 ~ 758.200 | 757.20 ~ 787.000
Isolation windth_46 | 757.20 ~ 787.000 | 757.20 ~ 787.000 | 757.20 ~ 787.000 | 786.00 ~ 825.300
Isolation windth_47 | 786.00 ~ 825.300 | 786.00 ~ 825.300 | 786.00 ~ 825.300 | 824.30 ~ 879.700
Isolation windth_48 | 824.30 ~ 879.700 | 824.30 ~ 879.700 | 824.30 ~ 879.700 | 878.70 ~ 961.600
Isolation windth_49 | 878.70 ~ 961.600 | 878.70 ~ 961.600 | 878.70 ~ 961.600 | 960.60 ~ 1249.600
Isolation windth_50 | 960.60 ~ 1249.600 | 960.60 ~ 1249.600 | 960.60 ~ 1249.600

## G. timsTOF_DDAPASEF
DDAPASEF settings | Instrument_10 | Instrument_13 | Instrument_16 | Instrument_17
Instrument
Type | timsTOF Pro | timsTOF Pro | timsTOF Pro | timsTOF Pro
General mode
Source type | CaptiveSpray | CaptiveSpray | CaptiveSpray | CaptiveSpray
Mass Specra peak detection | Use Maximum Intensity | Use Maximum Intensity | Use Maximum Intensity | Use Maximum Intensity
Aboslute Threshold | 10 | 10 | 10 | 10
Abosolute Threshold | 10 | 10 | 10 | 10
Intensity Threshold of Mobilogram Peak detection | 5000 | 5000 | 5000 | 5000
Mass scan range (m/z) | 100~1700 | 100~1700 | 100~1700 | 100~1700
Ion mobility scan range (V.s/cm2) | 0.7~1.3 | 0.7~1.3 | 0.7~1.3 | 0.7~1.3
MS Data Reduction mode | Moderate | Moderate | Moderate | Moderate
TIMS mode
Resolution | Custom | Custom | Custom | Custom
1/K0 start (V.s/cm2) | 0.7 | 0.7 | 0.7 | 0.7
1/K0 end (V.s/cm2) | 1.3 | 1.3 | 1.3 | 1.3
Ramp time (ms) | 100 | 100 | 100 | 100
Spectra Rate (Hz) | 9.43 | 9.43 | 9.43 | 9.43
Lock accumulation to mobility range | Yes | Yes | Yes | Yes
Lock Duty Cycle to 100% | Yes | Yes | Yes | Yes
Accumulation time (ms) | 2 | 2 | 2 | 2
PASEF of MS/MS scan
Number of PASEF MS/MS scans | 5 | 5 | 5 | 5
Total Cycle Time (sec) | 0.64 | 0.64 | 0.64 | 0.64
Charge Range | 0~5 | 0~5 | 0~5 | 0~5
Active Exclusion released after (min) | 0.4 | 0.4 | 0.4 | 0.4
Reconsider Precursor, if current intens/Previous Intens | 20000 | 20000 | 20000 | 20000
Target Intensity of scheduling mode | 2500 | 2500 | 2500 | 2500
Intensity Threshold of scheduling mode | 4 | 4 | 4 | 4
CID of MS/MS scan
Mass of Isolation Width (m/z) | 700~800 | 700~800 | 700~800 | 700~800
Width of Isolation Width (m/z) | 2~3 | 2~3 | 2~3 | 2~3
Ion mobility range for Collision Energy (eV) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2)
Advanced of MS/MS scan
MS Repetitions | 1 | 1 | 1 | 1
Cycle Overlap | 4 | 4 | 4 | 4
Summation Width of Mobilogram (pts.) | 25 | 25 | 25 | 25
Max.No. of peaks of Mobilogram | 3 | 3 | 3 | 3
Mass width of exclusion window (m/z) | 0.015 | 0.015 | 0.015 | 0.015
1/K0 width of exclusion window (V.s/cm2) | 0.015 | 0.015 | 0.015 | 0.015

## H. timsTOF_diaPASEF
diaPASEF settings | Instrument_10 | Instrument_13 | Instrument_16 | Instrument_17
Instrument
Type | timsTOF Pro | timsTOF Pro | timsTOF Pro | timsTOF Pro
General mode
Source type | CaptiveSpray | CaptiveSpray | CaptiveSpray | CaptiveSpray
Mass Specra peak detection | Use Maximum Intensity | Use Maximum Intensity | Use Maximum Intensity | Use Maximum Intensity
Absolute Threshold | 10 | 10 | 10 | 10
Absolute Threshold (per 100 ms Acc Time) | 10 | 10 | 10 | 10
Intensity Threshold of Mobilogram Peak detection | 5000 | 5000 | 5000 | 5000
Mass scan range (m/z) | 100~1700 | 100~1700 | 100~1700 | 100~1700
Ion mobility scan range (V.s/cm2) | 0.7~1.3 | 0.7~1.3 | 0.7~1.3 | 0.7~1.3
MS Data Reduction mode | Moderate | Moderate | Moderate | Moderate
TIMS mode
Resolution | Custom | Custom | Custom | Custom
1/K0 start (V.s/cm2) | 0.7 | 0.7 | 0.7 | 0.7
1/K0 end (V.s/cm2) | 1.3 | 1.3 | 1.3 | 1.3
Ramp time (ms) | 100 | 100 | 100 | 100
Spectra Rate (Hz) | 9.43 | 9.43 | 9.43 | 9.43
Lock accumulation to mobility range | Yes | Yes | Yes | Yes
Lock Duty Cycle to 100% | Yes | Yes | Yes | Yes
Accumulation time (ms) | 2 | 2 | 2 | 2
CID of MS/MS scan
Mass of Isolation Width (m/z) | 700~800 | 700~800 | 700~800 | 700~800
Width of Isolation Width (m/z) | 2~3 | 2~3 | 2~3 | 2~3
Ion mobility range for Collision Energy (eV) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2) | 20 (0.6 V.s/cm2) ~ 59 (1.6 V.s/cm2)