Supplementary Materials

Pre-column Derivative HPLC and LC-Orbitrap-MS Analysis of Monosaccharides and Non-Polysaccharides in Polygonati Rhizoma

Ling Liang1, Yu Li1, Caiyun Peng2, Luyun Ning1, Wei Wang1, Gangqiang Yi1, Hanwen Yuan1*, Pingan Liu1*

1TCM and Ethnomedicine Innovation & Development International Laboratory, Innovative Material Medical Research Institute, School of Pharmacy, Hunan University of Chinese Medicine, Changsha, China

2Institute of Innovation and Applied Research in Chinese Medicine Hunan University of Chinese Medicine, Changsha, China

* Correspondence: 723679086@qq.com (P. Liu); Hanwyuan@hnucm.edu.cn (H. Yuan)

Tables and figures of Contents for Supporting Information

SUPPORTING FIGURES AND TABLES

Fig.S1 The MS2 spectrum of some compounds in Polygonati Rhizoma. a: malic acid, b: DL-phenylalanine, c: hexadecanamide, d: trigonelline, e: kingianoside Z, f: dibutyl sebacate

Table S1 List of samples

Table S2 Method validation of HPLC fingerprint analysis

Table S3 Similarity in fingerprints of Polygonatum rhizoma

Table S4 The recovery of each constituent (n＝3)

Table S5 Response factors (f) for the compounds

Table S6 Comparsion of the contents determined by calibration curve and QAMS methods (mg∙g-1, n=3)

Fig.S1 The MS2 spectrum of some compounds in Polygonati Rhizoma. a: malic acid, b: kingianoside Z, c: DL-phenylalanine, d: hexadecanamide, e: trigonelline, f: dibutyl sebacate

Table S1 List of samples

| Latin name | Medicine part | Geographical origin | quantity | Sample name |
| --- | --- | --- | --- | --- |
| Polygonatum cyrtonema Hua | rhizome | Guizhou, Guangdong, Hunan | 11 | DH-1~DH-11 |
| Polygonatum kingianum coll.et Hemsl. | rhizome | Yunnan, Sichuan | 3 | D-1~D-3 |
| Polygonatum sibiricum Red. | rhizome | Ningxia, Henan | 3 | JT-1~JT-3 |

Table S2 Method validation of HPLC fingerprint analysis

| Analytes | RSD (%) | Precision | Repeatability | Stability | Durability |
| --- | --- | --- | --- | --- | --- |
| 1 | RRT | 0.81 | 0.23 | 1.77 | 1.44 |
|  | RPA | 0.23 | 2.55 | 0.13 | 0.27 |
| 2 | RRT | 0.81 | 0.29 | 1.86 | 1.51 |
|  | RPA | 1.39 | 2.95 | 1.96 | 3.45 |
| 3 | RRT | 0.76 | 0.44 | 2.00 | 1.62 |
|  | RPA | 0.45 | 2.32 | 0.91 | 1.74 |
| 4 | RRT | 0.75 | 0.52 | 2.41 | 1.89 |
|  | RPA | 0.27 | 2.74 | 0.28 | 0.52 |
| 5 | RRT | 0.71 | 0.49 | 2.22 | 1.76 |
|  | RPA | 0.29 | 2.7 | 0.75 | 1.19 |

Table S3 Similarity in fingerprints of Polygonatum rhizoma

| NO. | D-1 | D-2 | D-3 | DH-1 | DH-2 | DH-3 | DH-4 | DH-5 | DH-6 | DH-7 | DH-8 | DH-9 | DH-10 | DH-11 | JT-1 | JT-2 | JT-3 | Contrast |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| D-1 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D-2 | 0.938 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| D-3 | 0.962 | 0.931 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DH-1 | 0.993 | 0.922 | 0.981 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DH-2 | 0.905 | 0.921 | 0.981 | 0.931 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| DH-3 | 0.944 | 0.89 | 0.995 | 0.963 | 0.994 | 1 |  |  |  |  |  |  |  |  |  |  |  |  |
| DH-4 | 0.977 | 0.864 | 0.99 | 0.99 | 0.964 | 0.984 | 1 |  |  |  |  |  |  |  |  |  |  |  |
| DH-5 | 0.911 | 0.854 | 0.98 | 0.944 | 0.986 | 0.982 | 0.974 | 1 |  |  |  |  |  |  |  |  |  |  |
| DH-6 | 0.955 | 0.919 | 0.997 | 0.976 | 0.986 | 0.995 | 0.993 | 0.99 | 1 |  |  |  |  |  |  |  |  |  |
| DH-7 | 0.988 | 0.906 | 0.943 | 0.974 | 0.895 | 0.936 | 0.965 | 0.888 | 0.937 | 1 |  |  |  |  |  |  |  |  |
| DH-8 | 0.936 | 0.872 | 0.992 | 0.957 | 0.997 | 0.998 | 0.982 | 0.989 | 0.995 | 0.925 | 1 |  |  |  |  |  |  |  |
| DH-9 | 0.975 | 0.914 | 0.929 | 0.966 | 0.872 | 0.917 | 0.957 | 0.871 | 0.923 | 0.985 | 0.903 | 1 |  |  |  |  |  |  |
| DH-10 | 0.981 | 0.936 | 0.971 | 0.991 | 0.908 | 0.947 | 0.97 | 0.918 | 0.957 | 0.955 | 0.934 | 0.955 | 1 |  |  |  |  |  |
| DH-11 | 0.97 | 0.973 | 0.898 | 0.964 | 0.911 | 0.863 | 0.935 | 0.851 | 0.895 | 0.947 | 0.854 | 0.953 | 0.954 | 1 |  |  |  |  |
| JT-1 | 0.924 | 0.955 | 0.99 | 0.948 | 0.999 | 0.998 | 0.974 | 0.987 | 0.992 | 0.912 | 0.999 | 0.89 | 0.928 | 0.901 | 1 |  |  |  |
| JT-2 | 0.919 | 0.854 | 0.99 | 0.945 | 0.997 | 0.996 | 0.969 | 0.985 | 0.99 | 0.902 | 0.996 | 0.882 | 0.931 | 0.901 | 0.999 | 1 |  |  |
| JT-3 | 0.957 | 0.899 | 0.998 | 0.975 | 0.989 | 0.998 | 0.991 | 0.986 | 0.999 | 0.943 | 0.997 | 0.925 | 0.956 | 0.887 | 0.995 | 0.992 | 1 |  |
| Contrast | 0.963 | 0.931 | 0.999 | 0.981 | 0.984 | 0.996 | 0.994 | 0.984 | 0.999 | 0.949 | 0.995 | 0.933 | 0.964 | 0.9 | 0.991 | 0.989 | 0.999 | 1 |

Table S4 The recovery of each constituent (n＝3)

| Analytes | Original amount (mg) | Spiked amount (mg) | Measured amount (mg) | Recovery（%） | RSD(%) |
| --- | --- | --- | --- | --- | --- |
| D-Mannose | 0.256 | 0.200 | 0.441 | 92.77 | 1.14 |
|  | 0.256 | 0.180 | 0.414 | 87.77 | 2.70 |
|  | 0.256 | 0.160 | 0.395 | 86.66 | 1.51 |
| Rhamnose | 0.006 | 0.060 | 0.064 | 96.93 | 3.55 |
|  | 0.006 | 0.050 | 0.057 | 102.91 | 2.46 |
|  | 0.006 | 0.040 | 0.048 | 104.30 | 1.03 |
| D-(+)-Glucose | 0.060 | 0.060 | 0.110 | 83.55 | 2.71 |
|  | 0.060 | 0.050 | 0.103 | 86.15 | 2.62 |
|  | 0.060 | 0.040 | 0.093 | 83.22 | 2.16 |
| D-Galactose | 0.112 | 0.100 | 0.207 | 95.21 | 0.56 |
|  | 0.112 | 0.080 | 0.185 | 91.24 | 2.01 |
|  | 0.112 | 0.060 | 0.164 | 86.56 | 1.55 |
| L- (+)-Arabinose | 0.056 | 0.050 | 0.105 | 97.81 | 3.69 |
|  | 0.056 | 0.040 | 0.094 | 95.53 | 2.42 |
|  | 0.056 | 0.030 | 0.084 | 93.71 | 1.90 |

Table S5 Response factors (f) for the compounds

| NO. | D-Mannose |  |  | Rhamnose |  |  |  | D-(+) Glucose |  |  |  | D-(+) Galactose |  |  |  | L-(+)-Arabinose |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | C (mg/mL) | A |  | C (mg/mL) | A | f |  | C (mg/mL) | A | f |  | C (mg/mL) | A | f |  | C (mg/mL) | A | f |
| 1 | 0.6 | 5146.043 |  | 0.02 | 142.663 | 1.202 |  | 0.2 | 1190.09 | 1.441 |  | 0.28 | 2467.886 | 0.973 |  | 0.1 | 1010.912 | 0.848 |
| 2 | 0.3 | 2610.668 |  | 0.01 | 73.487 | 1.184 |  | 0.1 | 597.728 | 1.456 |  | 0.14 | 1241.655 | 0.981 |  | 0.05 | 516.157 | 0.843 |
| 3 | 0.15 | 1305.138 |  | 0.005 | 36.571 | 1.190 |  | 0.05 | 295.486 | 1.472 |  | 0.07 | 615.947 | 0.989 |  | 0.025 | 254.933 | 0.853 |
| 4 | 0.075 | 622.496 |  | 0.0025 | 17.523 | 1.184 |  | 0.025 | 138.991 | 1.493 |  | 0.035 | 292.174 | 0.994 |  | 0.0125 | 120.614 | 0.860 |
| 5 | 0.0375 | 295.308 |  | 0.00125 | 8.367 | 1.176 |  | 0.0125 | 63.573 | 1.548 |  | 0.0175 | 135.058 | 1.020 |  | 0.00625 | 54.232 | 0.908 |
| 6 | 0.01875 | 145.989 |  | 0.000625 | 3.584 | 1.358 |  | 0.00625 | 31.299 | 1.555 |  | 0.00875 | 64.37 | 1.058 |  | 0.003125 | 25.771 | 0.944 |
| Average |  |  |  |  |  | 1.22 |  |  |  | 1.49 |  |  |  | 1.00 |  |  |  | 0.88 |
| RSD (%) |  |  |  |  |  | 5.77% |  |  |  | 3.19% |  |  |  | 3.16% |  |  |  | 4.64% |

Table S6 Comparsion of the contents determined by calibration curve and QAMS methods (mg∙g-1, n=3)

| NO. | D-Mannose |  | Rhamnose |  |  | D-(+)-Glucose |  |  | D-Galactose |  |  | L-(+)-Arabinose |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ESM |  | ESM | QAMS |  | ESM | QAMS |  | ESM | QAMS |  | ESM | QAMS |
| D-1 | 23.16 |  | 1.17 | 1.18 |  | 6.27 | 6.28 |  | 20.10 | 20.13 |  | 9.66 | 9.68 |
| D-2 | 4.50 |  | 0.55 | 0.55 |  | 3.48 | 3.48 |  | 5.98 | 5.98 |  | 4.50 | 4.50 |
| D-3 | 22.78 |  | 0.60 | 0.60 |  | 4.51 | 4.51 |  | 9.84 | 9.83 |  | 6.29 | 6.29 |
| JT-1 | 51.35 |  | 0.79 | 0.80 |  | 5.25 | 5.25 |  | 17.85 | 17.85 |  | 8.49 | 8.49 |
| JT-2 | 69.64 |  | 1.11 | 1.12 |  | 8.07 | 8.08 |  | 21.64 | 21.65 |  | 13.33 | 13.36 |
| JT-3 | 31.02 |  | 0.65 | 0.65 |  | 5.36 | 5.37 |  | 13.80 | 13.81 |  | 6.57 | 6.58 |
| DH-1 | 17.36 |  | 0.62 | 0.63 |  | 5.85 | 5.85 |  | 12.48 | 12.48 |  | 6.80 | 6.80 |
| DH-2 | 60.84 |  | 0.97 | 0.97 |  | 5.36 | 5.36 |  | 19.38 | 19.40 |  | 7.71 | 7.74 |
| DH-3 | 35.62 |  | 0.52 | 0.52 |  | 3.31 | 3.32 |  | 14.59 | 14.59 |  | 7.37 | 7.37 |
| DH-4 | 32.17 |  | 0.78 | 0.78 |  | 9.30 | 9.31 |  | 18.71 | 18.73 |  | 7.95 | 7.95 |
| DH-5 | 39.18 |  | 0.51 | 0.51 |  | 13.49 | 13.47 |  | 13.64 | 13.65 |  | 4.86 | 4.87 |
| DH-6 | 39.38 |  | 0.94 | 0.94 |  | 9.73 | 9.73 |  | 17.45 | 17.47 |  | 8.14 | 8.16 |
| DH-7 | 6.86 |  | 0.18 | 0.18 |  | nd | nd |  | 6.21 | 6.22 |  | 2.47 | 2.47 |
| DH-8 | 65.46 |  | 1.27 | 1.27 |  | 8.47 | 8.44 |  | 25.82 | 25.85 |  | 10.51 | 10.52 |
| DH-9 | 4.90 |  | nd | nd |  | 0.50 | 0.51 |  | 4.57 | 4.57 |  | 2.04 | 2.05 |
| DH-10 | 21.76 |  | 0.74 | 0.74 |  | 6.85 | 6.85 |  | 14.32 | 14.32 |  | 12.81 | 12.82 |
| DH-11 | 17.07 |  | 0.88 | 0.89 |  | 12.79 | 12.77 |  | 18.80 | 18.81 |  | 9.66 | 9.66 |