| Table 4. Comparisons of Subjective Assessment Image Quality |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sharpness |  |  | Distortion |  |  | Artifacts |  |  | Lesion conspicuity |  |  | Total |  |  | Kappa |
|  | R1 | R2 | R3 | R1 | R2 | R3 | R1 | R2 | R3 | R1 | R2 | R3 | R1 | R2 | R3 |  |
| FOCUS-MUSE_DWI (1) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B = 1000 | 4(3,4) | 4(3,4) | 4(3,4) | 4(4,4) | 4(4,4) | 4(4,4) | 4(2,4) | 4(3,4) | 4(3,4) | 4(2,4) | 4(3,4) | 4(3,4) | 16(13,16) | 16(14,16) | 16(14,16) | >0.700 |
| ADC | 4(3,4) | 4(3,4) | 4(3,4) | 4(4,4) | 4(4,4) | 4(4,4) | 4(3,4) | 4(3,4) | 4(3,4) | 4(2,4) | 4(3,4) | 4(3,4) | 16(13,16) | 16(14,16) | 16(14,16) | >0.600 |
| MUSE_DWI (2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B = 1000 | 3(2,4) | 3(3,4) | 3(3,4) | 3(3,4) | 3(3,4) | 4(3,4) | 4(2,4) | 4(2,4) | 4(2,4) | 4(3,4) | 4(3,4) | 4(3,4) | 14(12,16) | 14(12,16) | 14(12,16) | >0.600 |
| ADC | 4(2,4) | 4(3,4) | 4(3,4) | 4(3,4) | 4(3,4) | 4(3,4) | 4(4,4) | 4(4,4) | 4(4,4) | 4(2,4) | 4(3,4) | 4(3,4) | 16(13,16) | 16(14,16) | 16(14,16) | >0.600 |
| FOCUS_DWI (3) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B = 1000 | 3(1,4) | 3(2,4) | 3(2,4) | 2(2,4) | 2(2,3) | 2(2,3) | 4(1,4) | 4(2,4) | 4(2,4) | 4(3,4) | 4(3,4) | 4(3,4) | 13(10,15) | 13(11,15) | 13(10,14) | >0.600 |
| ADC | 3(1,4) | 3(2,3) | 3(2,3) | 4(2,4) | 4(3,4) | 4(3,4) | 4(2,4) | 4(3,4) | 4(3,4) | 4(2,4) | 4(3,4) | 4(3,4) | 14(11,16) | 14(12,15) | 14(12,15) | >0.600 |
| SS_DWI (4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B = 1000 | 3(2,4) | 3(3,4) | 3(3,4) | 4(3,4) | 3(3,4) | 3(3,4) | 4(2,4) | 4(2,4) | 4(2,4) | 4(3,4) | 4(3,4) | 4(3,4) | 14(12,16) | 14(12,16) | 14(12,16) | >0.600 |
| ADC | 4(2,4) | 4(3,4) | 4(3,4) | 4(3,4) | 4(3,4) | 4(3,4) | 4(4,4) | 4(4,4) | 4(4,4) | 4(2,4) | 4(3,4) | 4(3,4) | 16(13,16) | 16(14,16) | 16(14,16) | >0.700 |
| Overall |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| B = 1000 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | 0.006 | 0.070 | 0.004 | 0.572 | 0.896 | 0.572 | < 0.001 | < 0.001 | < 0.001 |  |
| 1-2 | < 0.001 | < 0.001 | < 0.001 | 0.017 | 0.004 | 0.017 | 1.000 |  | 1.000 |  |  |  | < 0.001 | < 0.001 | < 0.001 |  |
| 1-3 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | 1.000 |  | 0.850 |  |  |  | < 0.001 | < 0.001 | < 0.001 |  |
| 1-4 | 0.001 | < 0.001 | 0.001 | 0.029 | 0.006 | 0.002 | 1.000 |  | 1.000 |  |  |  | < 0.001 | < 0.001 | < 0.001 |  |
| 2-3 | 0.029 | 0.008 | 0.002 | < 0.001 | <0.001 | < 0.001 | 1.000 |  | 1.000 |  |  |  | < 0.001 | < 0.001 | < 0.001 |  |
| 2-4 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 |  | 1.000 |  |  |  | 1.000 | 1.000 | 1.000 |  |
| 3-4 | 0.015 | 0.005 | 0.002 | < 0.001 | < 0.001 | < 0.001 | 1.000 |  | 1.000 |  |  |  | < 0.001 | < 0.001 | < 0.001 |  |
| ADC | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | 0.040 | 0.194 | 0.194 | 0.200 | 0.024 | 0.068 | < 0.001 | < 0.001 | < 0.001 |  |
| 1-2 | 0.668 | 0.725 | 0.918 | 1.000 | 1.000 | 1.000 | 1.000 |  |  |  | 1.000 |  | 1.000 | 1.000 | 1.000 |  |
| 1-3 | < 0.001 | < 0.001 | < 0.001 | 0.008 | 0.033 | 0.086 | 1.000 |  |  |  | 1.000 |  | < 0.001 | < 0.001 | < 0.001 |  |
| 1-4 | 0.148 | 0.615 | 0.247 | 1.000 | 1.000 | 1.000 | 1.000 |  |  |  | 1.000 |  | 1.000 | 1.000 | 0.518 |  |
| 2-3 | < 0.001 | < 0.001 | < 0.001 | 0.054 | 0.203 | 0.435 | 1.000 |  |  |  | 1.000 |  | < 0.001 | < 0.001 | < 0.001 |  |
| 2-4 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 | 1.000 |  |  |  | 1.000 |  | 1.000 | 1.000 | 1.000 |  |
| 3-4 | < 0.001 | < 0.001 | < 0.001 | 0.077 | 0.300 | 0.850 | 1.000 |  |  |  | 1.000 |  | < 0.001 | < 0.001 | < 0.001 |  |
| Note: Median (min, max) represented for the mean image quality ratings and are given separately for the one b-value and for the ADC map. At the bottom, p values for the overall comparisons in four DWI sequences using Friedman test are given. If the Friedman test showed a statistically significant P-value, the Dunn-Bonferroni post hoc test for all pairwise comparisons was performed. p values were presented only when they were less than 0.05. At the right, the interobserver agreement was analyzed by calculating kappa coefficients with kappa values of 0–0.20 representing slight agreement, 0.20–0.40 fair, 0.4–0.60 moderate, 0.60–0.80 substantial, and 0.80–1.00 almost perfect agreement. FOCUS-MUSE_DWI, field of view optimized and constrained undistorted multiplexed sensitivity encoding diffusion-weighted imaging; FOCUS_DWI, field of view optimized and constrained undistorted single-shot diffusion-weighted imaging; MUSE_DWI, multiplexed sensitivity encoding diffusion-weighted imaging; R1, reader 1, R2, reader 2, R3 reader 3, SS_DWI, single-shot diffusion-weighted imaging. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |