Table 2. The Measurement of SNR and CNR

| Sequence | SNR |  |  | CNR |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | R1 | R2 | Agreement | R1 | R2 | Agreement |
| FOCUS-MUSE_DWI（1） | 49.81 ± 6.60 | 49.67 ± 6.09 | 0.917 | 6.43 ± 0.94 | 6.44 ± 0.90 | 0.892 |
| MUSE_DWI（2） | 57.76 ± 11.20 | 56.99 ± 9.55 | 0.884 | 5.49 ± 1.08 | 5.55 ± 1.14 | 0.852 |
| FOCUS_DWI（3） | 41.99 ± 4.30 | 42.21 ± 3.94 | 0.830 | 5.25 ± 1.04 | 5.25 ± 1.01 | 0.849 |
| SS_DWI（4） | 45.11 ± 6.26 | 45.69 ± 5.40 | 0.885 | 5.06 ± 0.97 | 5.06 ± 0.83 | 0.865 |
| p value for comparisons |  |  |  |  |  |  |
| Overall | < 0.001 | < 0.001 |  | < 0.001 | < 0.001 |  |
| Pairwise |  |  |  |  |  |  |
| 1-2 | 0.042 | 0.026 |  | 0.001 | 0.009 |  |
| 1-3 | < 0.001 | < 0.001 |  | < 0.001 | < 0.001 |  |
| 1-4 | 0.033 | 0.033 |  | < 0.001 | < 0.001 |  |
| 2-3 | < 0.001 | < 0.001 |  | 1.000 | 1.000 |  |
| 2-4 | < 0.001 | < 0.001 |  | 0.850 | 0.247 |  |
| 3-4 | 0.026 | 0.005 |  | 1.000 | 1.000 |  |

Note: p < 0.05 were considered significant difference. More than 0.80 was considered excellent intraobserver agreement. SNR and CNR were measured in different anatomical regions with b = 1000 sec/mm2 images. Mean SNR and CNR with the standard deviation were shown. The interobserver agreement was given with 95% confidence interval in parentheses. At the bottom, p values for the overall comparisons using Friedman test are given. If the Friedman test found a statistically significant p value, additional p value was presented with all pairwise comparisons by the Dunn-Bonferroni post hoc test.

CNR, contrast-to-noise ratio; FOCUS-MUSE_DWI, field of view optimized and constrained undistorted multiplexed sensitivity encoding diffusion-weighted imaging; FOCUS_DWI, field of view optimized and constrained undistorted single-shot diffusion-weighted imaging; MUSE_DWI, multiplexed sensitivity encoding diffusion-weighted imaging; R1, reader1; R2, reader2; SNR, signal-to-noise-ratio; SS_DWI, single-shot diffusion-weighted imaging.