Table 1. Real meteorological climate data of the photovoltaic power plants center OUED-NECHOU, Ghardaïa.

| Studied days | Ambient Temperature C° | Humidity % |
| --- | --- | --- |
| January 1st, 2016 | 20.70 | 45.26 |
| May 1st, 2016 | 29.38 | 21.64 |
| July 1st, 2016 | 36.31 | 15.24 |
| October 1st, 2016 | 30.2 | 54.42 |

| Studied days | Wind velocity (m/s) | Sunshine (h) |
| --- | --- | --- |
| January 1st, 2016 | 0.91 | 11.13 |
| May 1st, 2016 | 5.51 | 15.46 |
| July 1st, 2016 | 3.70 | 15.26 |
| October 1st, 2016 | 4.15 | 13.04 |

Table 2. The caption must be followed by the table.

| PV-Tech | a-Si | CdTe | mc-Si | pc-Si |
| --- | --- | --- | --- | --- |
| Type | SCHOTT ASI 103 | FIRST SOLAR FS-380 | Atersa A-250M | ATERS AA-235P |
| Peak Power [Wp] | 103 | 80 | 250 | 235 |
| Peak Power Tolerance [Wp] | 0 /+2,99 | ±5 | 0 /+5 | 0 /+5 |
| Module Performance % | 7,1 | 11,1 | 15.35 | 14,43 |
| Max Voltage (Vmpp) [V] | 30,4 | 48,5 | 30,35 | 29,04 |
| Max Intensity (Impp) [A] | 3,39 | 1,65 | 8,24 | 8,10 |
| Surface [m2] | 1,45 | 0,72 | 1,63 | 1,63 |
| Open Circuit Voltage [V] | 41,1 | 60,8 | 37,62 | 36,94 |
| Short Circuit Current [A] | 4,00 | 1,88 | 8,79 | 8,64 |
| The System Max Voltage [V] | 1000 | 1000 | 1000 | 1000 |
| NOCT [°C] | 49 | 45 | 47 ±2 | 47 ±2 |
| Temperature Coefficient Isc [°K] | +0,08 % | +0,04% | +0,03 % | +0,04% |
| Temperature Coefficient Voc [°K] | -0,33 % | -0,20 % | -0,34 % | -0,32 % |
| Temperature Coefficient Pmax [°K] | -0,20 % | -0,27 % | -0,43 % | -0,43 % |
| Wight [Kg] | 20,8 | 12 | 21,5 | 21,5 |
| Dimensions [mm] | 1308 × 1108×35 | 1200 × 600×6,8 | 1645 × 990×40 | 1645 × 990×40 |
| Cells | 72 | 154 | 60 | 60 |