Supplemental Table 1. Antibiotic adsorption evaluation test: antibiotics and corresponding ATCC strains

| Antibiotic | Enterococcus faecalis ATCC29212 |  | Escherichia coli ATCC25922 |  | Staphylococcus aureus ATCC29213 |  | Streptococcus pneumoniae ATCC49619 |  | Pseudomonas aeruginosa ATCC27853 |  | Klebsiella pneumoniae ATCC700603 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | MIC range | Antimicrobial susceptibility | MIC range/inhibition zone diameter | Antimicrobial susceptibility | MIC range | Antimicrobial susceptibility | MIC range | Antimicrobial susceptibility | MIC range/inhibition zone diameter | Antimicrobial susceptibility | MIC range | Antimicrobial susceptibility |
| Ampicillin | 0.5–2 mg/L | S | 2–8 mg/L | S |  |  |  |  |  |  |  |  |
| Oxacillin |  |  |  |  | 0.12–0.5 mg/L | S |  |  |  |  |  |  |
| Ceftriaxone |  |  | 0.03–0.12 mg/L | S |  |  | 0.03–0.12 mg/L | S |  |  |  |  |
| Ceftazidime |  |  | 0.06–0.5 mg/L | S |  |  |  |  | 1–4 mg/L | S |  |  |
| Cefepime |  |  | 0.016–0.12 mg/L | S |  |  |  |  | 0.5–4 mg/L | S | 0.5–2 mg/L | S |
| Cefoperazone/sulbactam |  |  | 27–33 m m* | S* |  |  |  |  | 22–28 m m* | S* |  |  |
| Piperacillin/Tazobactam |  |  | ¼–4/4 mg/L | S |  |  |  |  | ¼–8/4 mg/L | S |  |  |
| Meropenem |  |  | 0.008–0.06 mg/L | S |  | S** | 0.03–0.25 mg/L | S | 0.12–1 mg/L | S |  |  |
| Amikacin |  |  | 0.5–4 mg/L | S |  |  |  |  | 1–4 mg/L | S |  |  |
| Vancomycin | 1–4 mg/L | S |  |  | 0.5–2 mg/L | S | 0.12–0.5 mg/L | S |  |  |  |  |
| * The breakpoints of the cefoperazone/sulbactam disk diffusion method refer to the cefoperazone breakpoints [1] (resistant: ≤ 15 mm; intermediate: 16–20 mm; sensitive: ≥ 21 mm), and the quality control range refers to the literature [2]. ** Staphylococcus aureus ATCC29213 is a methicillin-susceptible Staphylococcus aureus that is susceptible to meropenem according to the CLSI guidelines. |  |  |  |  |  |  |  |  |  |  |  |  |

Supplemental Table 2. Antibiotic adsorption evaluation test: antibiotic peak plasma concentrations, solvents, and diluents

| Antibiotic | Antibiotic concentration * (mg/L) | Antibiotic solvent | Antibiotic diluent |
| --- | --- | --- | --- |
| Ampicillin | 47 | pH 8 0.1 mmol/L Phosphate buffer | pH 6 0.1 mmol/L Phosphate buffer |
| Oxacillin | 43 | Water | Water |
| Ceftriaxone | 150 | Water | Water |
| Ceftazidime | 69 | Sodium carbonate | Water |
| Cefepime | 164 | pH 6 0.1 mmol/L Phosphate buffer | pH 6 0.1 mmol/L Phosphate buffer |
| Cefoperazone/sulbactam | 236.8/130.2 | Water | Water |
| Piperacillin/Tazobactam | 242/24 | Water | Water |
| Meropenem | 49 | Water | Water |
| Amikacin | 30 | Water | Water |
| Vancomycin | 50 | Water | Water |
| * For the peak plasma concentration of ampicillin, see reference[3]; for that of cefoperazone/sulbactam, see the reference package insert; and for other antibiotics, see reference[4]. |  |  |  |

Reference

[1]	JONES R N, BARRY A L, PACKER R R, et al. In vitro antimicrobial spectrum, occurrence of synergy, and recommendations for dilution susceptibility testing concentrations of the cefoperazone-sulbactam combination [J]. J Clin Microbiol, 1987, 25(9): 1725-9.

[2]	BARRY A L, JONES R N. Criteria for disk susceptibility tests and quality control guidelines for the cefoperazone-sulbactam combination [J]. Journal of Clinical Microbiology, 1988, 26(1): 13-7.

[3]	BENNETT J E, DOLIN R, BLASER M J. Mandell, douglas, and bennett's principles and practice of infectious diseases E-book [M]. Elsevier health sciences, 2019.

[4]	GILBERT D N, CHAMBERS H F. The Sanford guide to antimicrobial therapy 2021 [M]. Antimicrobial Therapy, Inc., 2021.