| Author | Date | Localization | Artificial Intelligence | Number of cases | Number of evaluators | Indices | Main conclusion |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Thorax and breast |  |  |  |  |  |  |  |
| Lustberg et al. | 2018 | Lung + 4 OARs¹ | Atlas based vs Deep learning prototype (MIRADA) | 20 NSCLC² stage I–III patients | 1 expert | - Time - DSC³, HD⁴ - Quality score | - 7.8 min saved with atlas-based and 10 min for Deep learning - Correction time < manual contouring time: lungs and spinal cord (except for the left lung (collapsed) - Deep learning better than atlas in most cases |
| Gooding et al. | 2018 | 6 thoracic OARs¹ (lung cancer) | Atlas based contouring (Mirada) | 20 patients | 8 experts | -DSC³, HD ⁴, AD⁷ -Turing Test -Time | -Better correspondence with time saving for misclassification rate than the quantitative contour measures explored - Inability to accurately judge the source of a contour = reduced need for editing = greater time saving overall -Task-based assessments of contouring performance = additional way of evaluating clinical utility of autosegmentation methods |
| Schreier et al. | 2019 | Breast + heart | Deep learning (BibNet vs U-net) | 7 patients (2 centers) | 2 dosimetrists et 2 radiation oncologists | - DSC³, average distance, HD⁴, inference speed | - Average combined correction time for the three structures = 4 min - Saves about 15.5 min per patient |
| Almberg et al. | 2022 | Breast: 7 CTV et 11 OARs¹ | Deep learning | 30 patients | 4 experts | - DSC³, HD⁴ - Quality score - Dosimetric parameters | - No corrections or minor corrections for 14% and 71% of CTV⁵ and 72% and 26% of OARs¹ - Major corrections = 15% of CTV⁵ and 2% of OARs¹ - Frequent corrections: cranial and caudal parts - No difference in OARs¹ dose settings - Generation of structures in 1.5 min |
| Brion et al. | 2021 | Brachial plexus | ART-Plan Therapanacea | 19 patients = 38 brachial plexus | 5 experts Blind study | - Volume and DSC³ - Quality score | - Deep learning limits contour variability - Heterogeneity of brachial plexus volumes higher for manual contour than Deep learning |
| Radici et al | 2022 | H&N⁶ (15 OARs¹), prostate (5 OARs¹), breast (4 OARs¹) and rectum (4 OARs¹) | Deep learning Limbus version 1.5.0 | 3 patients of each type of cancer (monocentric) | 4 experts | - Time - Volume, DSC³ - Dosimetric analysis | - Better H&N⁶ time advantage (65% reduction) - Good results for bladder, heart and femoral heads - Rectal cancer = larger dosimetric difference (average volume covered by the 45 Gy isodose = 10.4 cm3 in manual vs 289.4 cm3 for AI) |

¹ Organs at risk;  ² Non-small cell lung cancer; ³ Dice score coefficient; ⁴ Hausdorff distance; ⁵ Clinical target volume; ⁶ Head and Neck; Average distance⁷