Supplementary file

MTT Procedure

- Prior to adhering for 24 hours in a CO2 incubator at 37 °C, cells were first added in 96-well plates with a density of 1 x 108 cells per well.

- After 24 hours of incubation, a new medium was added to the culture media.

- Cells were then exposed to various concentrations of the test drug for 24 hours at 37 °C in a CO2 incubator, after which the old medium was changed out for the new.

- A working solution of MTT 10 mg/ml was added to the well, and 96-well plates were then incubated for 4 hours at 37 °C in a CO2 incubator.

- The medium was removed, and the formed formazan crystals were dissolved in DMSO per well for 30 minutes at 37 °C in a CO2 incubator.

- Finally, the intensity of the formazan crystals (purple color) was quantified using an ELISA plate reader set at 540 nm.

- The percentage of viable cells in treated and untreated cells was used to represent cell viability since there was a positive correlation between the number of viable cells and the absorbance at 540 nm.

Cell lysis and preparation of cell lysate for protein array (6-well format)

- We added protease and phosphate inhibitors to the lysis solution in order to prevent the breakdown and modification of isolated proteins and to get the highest protein yield during cell lysis.

- Following the experimentally designed treatment of cells on a 6-well plate, the cells were rinsed with ice-cold phosphate buffer saline (PBS).

- To maintain levels of HAc, sodium butyrate (5 mm) was added to the lysis solution.

- Then, a lysis buffer was added to the plate. The lysate was then collected in microcentrifuge tubes after the cells were scraped off using a cell scraper. The cell lysate was then centrifuged in a cold microcentrifuge for 7 minutes at 1700 rpm.

- We kept the supernatant and threw out the pellet.