## Cover Page
MASS SPECTROMETRY & PROTEOMICS RESOURCE
HARVARD UNIVERSITY
2019-12-05
Dr. Ebralidze,
Here is the sequence report for sample SAM06398 run against your database and our common contaminants databases
There are three more tabs below.
Tab 2: The Proteins Page is a list of proteins identified through the database search output filtered to 1% FDR (False Discovery Rate).
>> To view the peptides identified under each indiviual protein line please click the + sign on the far left on the screen next to the protein.
Tab 3: An Explanation of this Excel report - an aide to intrepreting your results
If you have any questions, please feel free to contact me.
Regards,
Bogdan.
IN case you have any questions, please contact:
Renee A Robinson
Harvard University
Protein Chemist
FAS Center for Systems Biology
Mass Spectrometry and Proteomics Resource Laboratory
52 Oxford Street Room B251
Cambridge MA 02138
ph: 617-495-4043
fax: 617-495-1374
rarobins@mcb.harvard.edu
http://proteomics.fas.harvard.edu/

## Explanation
Thermo Proteome Discoverer Protein Identification Report:
This is a brief explanation of the current PD (Proteome Discoverer 1.4) Excel report we generate and present for users. Users upload their final report from the LIMS system on which they registered, submitted and tracked their sample submission. This guide will hopefully answer all your questions regarding your report. If you have further questions please call us at 617-495-4043 or email at proteomics@fas.harvard.edu
Upon opening your report you will find 4 tabs:
1. Cover Page – sample information
2. Proteins Page – report data
3. Search Summary Page – instrument parameters (this is additional information, not | necessary to your results but available for interested users)
4. Explanation Page – this explanation page
Proteins page
This page lists the proteins identified in your sample. There is a “+” sign to the far left of each protein listed. Click on the “+” sign to open the protein and see a list of peptides from that protein that were sequenced and substantiate the proteins identification.
When you open your Excel file, you will see a list of proteins each of which has the following parameters:
Accession
UniprotKB protein accession number, the unique identifier assigned to the protein by the FASTA database used to generate the report. To find the NCBInr equivalent, copy the accession number and paste it into NCBInr search, selecting ‘protein’ from the drop-down list
Description
UniprotKB protein description. Provides the name of the protein exclusive of the identifier that appears in the Accession column.
Score
The protein score, which is the sum of the scores of the individual peptides. I use SEQUEST search algorithm, for which the score is the sum of all peptide Xcorr values above the specified score threshold. The score threshold is calculated as follows: 0.8 + peptide_charge × peptide_relevance_factor where peptide_relevance_factor is a parameter with a default value of 0.4. For each spectrum and sequence, the Proteome Discoverer application uses only the highest scored peptide. When it performs a search using dynamic modifications, one spectrum might have multiple matches because of permutations of the modification site. (The higher the better)
Coverage
The percent coverage calculated by dividing the number of amino acids in all found peptides by the total number of amino acids in the entire protein sequence. (The higher the better)
# Proteins
The number of identified proteins in the protein group of a master protein. Proteins are grouped based on sequence homology and/or isoforms as explained below.
# Unique peptides
The number of peptide sequences unique to a protein group.
# Peptides
The number of distinct peptide sequences in the protein group.
# PSMs
The total number of identified peptide sequences (peptide spectrum matches) for the protein, including those redundantly identified. (The higher the better)
# AAs, MW [kDa], calc. pI
The calculated parameters of the protein based on the amino acid sequence in the FASTA database used to generate the report. The Proteome Discoverer application calculates the molecular weight without considering post-translational modifications. If you have separated proteins by molecular weight by PAGE, you can use the protein’s molecular weight as a rough constraint to estimate whether it is reasonable to identify a particular protein in a certain fraction that was analyzed.
Peptides page
Next, expand the sheet by clicking on [+] which opens the column parameters for the associated peptides.
A2 or other Letter/number, first column
A top level confidence achieved with the peptide sequence: high confidence, medium confidence, or low confidence. I send you only the high-confidence data, unless instructed otherwise.
Sequence
The sequence of amino acids that compose the peptide.
# PSMs
The total number of identified peptide sequences (PSMs) for the protein, including those redundantly identified. (The higher the better)
# Proteins
Displays the number of proteins in which this peptide is found
# Protein Groups
The number of protein groups in which this peptide is found.
MS/MS-based proteomics studies are based on peptides. However, deducing protein identities from a set of identified peptides could be difficult because of sequence redundancy, such as the presence of proteins that have shared peptides. These redundant proteins are automatically grouped and are not initially displayed in the search results report.
The proteins within a group are ranked according to the number of peptide sequences, the number of PSMs, their protein scores, and the sequence coverage. The top-ranking protein of a group becomes the master protein of that group. By default, only the master proteins are displayed on the Proteins page.
A protein group consists of the following:
· One master protein that is identified by a set of peptides that are not included (all together) in any other protein group.
· All proteins that are identified by the same set or a subset of those peptides.
The # Proteins column on the Proteins and Peptides pages of the results report displays the number of identified proteins in the protein group of a master protein. You may have to expand the columns to see all.
Protein Group Accessions
The unique identifiers (accessions) of all master proteins from all protein groups that include this peptide sequence. Since I normally group proteins by selecting the “Consider Leucine and Isoleucine as Equal” option, this column also lists identifiers from master proteins that may include this specific peptide sequence. The identifiers displayed in the Protein Group Accessions column are the same as those displayed in the Accession column on the Proteins page.
Modifications
The static and dynamic modifications identified in the peptide. I always use iodoacetamide for Cys alkylation, and this static modification will be in your search results as ‘Carbamidomethyl’ unless you modified your Cys residues with a different reagent. Met oxidation and Asn and Gln deamidation are common dynamic modifications.
delta Cn
The normalized score difference between the currently selected PSM and the highest-scoring PSM for that spectrum. (The lower the better)
Xcorr
A search-dependent score. It scores the number of fragment ions that are common to two different peptides with the same precursor mass and calculates the cross-correlation score for all candidate peptides queried from the database by SEQUEST searches. (Jimmy K. Eng, Ashley L. McCormack, and John R. Yates, III; An Approach to Correlate Tandem Mass Spectral Data of Peptides with Amino Acid Sequences in a Protein Database. J. Am. Soc. Mass Spectrom. 1994, 5, 976-989) (The higher the better)
Probability
The probability score for the peptide. This score is an assessment of the probability that the reported match is a random occurrence. A lower probability score indicates a better match. (The lower the better)
Charge
The charge state of the peptide, z (z is always greater than 1 as set during the MS analysis).
MH+ [Da]
Calculated m/z of the peptide with z = 1. It should be “MH+ [m/z]”, not [Da].
delta M [ppm]
Mass measurement error in parts per million, ppm (The lower the better)
RT [min]
The peptide’s retention time during chromatographic separation.
# Missed Cleavages
The number of cleavage sites in a peptide sequence that a cleavage reagent (enzyme) did not cleave. This number excludes cases where an amino acid (e.g. Pro) inhibits the cleaving enzyme (e.g. trypsin).

## Proteins
Protein FDR Confidence: Sequest HT | Master | Accession | Description | Contaminant | Exp. q-value: A6 PMI-Byonic | Exp. q-value: Sequest HT | Coverage [%] | # Peptides | # PSMs | # Unique Peptides | # AAs | MW [kDa] | calc. pI | Score Sequest HT: Sequest HT | # Peptides (by Search Engine): A6 PMI-Byonic | # Peptides (by Search Engine): Sequest HT | Found in Sample: [S1] F1: Sample | Found in Sample: [S2] F2: Sample | ¦Log Prob¦ (by Search Engine): PMI-Byonic A6 | # Protein Groups | # Cumulative Decoys (by Search Engine): PMI-Byonic A6 | FDR (by Search Engine): PMI-Byonic A6 | Confidence (by Search Engine): PMI-Byonic A6
High | Master Protein | P38507 | *CON* Immunoglobulin G-binding protein A OS=Staphylococcus aureus GN=spa PE=1 SV=1 | TRUE |  | 0 | 74 | 348 | 1891 | 348 | 508 | 55.4 | 5.71 | 3226.77 | 339 | 305 | High | High | 2735.04 | 1 | 0 | 0 | 3
High | Master Protein | P00766 | *CON* Chymotrypsinogen A - Bos taurus | TRUE |  | 0 | 66 | 60 | 249 | 60 | 245 | 25.7 | 8.16 | 356.56 | 55 | 52 | Not Found | High | 316.84 | 1 | 0 | 0 | 3
High | Master Protein | P02769 | *CON* serum albumin precursor [Bos taurus] | TRUE |  | 0 | 47 | 53 | 126 | 49 | 607 | 69.2 | 6.11 | 160.53 | 49 | 46 | High | High | 219.81 | 1 | 0 | 0 | 3
High | Master Protein | P35527 | *CON* Keratin, type I cytoskeletal 9 OS=Homo sapiens GN=KRT9 PE=1 SV=3 | TRUE |  | 0 | 24 | 18 | 37 | 18 | 623 | 62 | 5.24 | 57.37 | 16 | 16 | High | High | 105.4 | 1 | 0 | 0 | 3
High | Master Protein | O46375 | *CON* Transthyretin OS=Bos taurus GN=TTR PE=2 SV=1 | TRUE |  | 0 | 70 | 17 | 55 | 17 | 147 | 15.7 | 6.3 | 81.65 | 16 | 16 | High | High | 104.58 | 1 | 0 | 0 | 3
High | Master Protein | P04264 | *CON* Keratin, type II cytoskeletal 1 OS=Homo sapiens GN=KRT1 PE=1 SV=6 | TRUE |  | 0 | 24 | 16 | 37 | 15 | 644 | 66 | 8.12 | 58 | 14 | 15 | High | High | 70.38 | 1 | 0 | 0 | 3
High | Master Protein | P01870 | *CON* Ig gamma chain C region OS=Oryctolagus cuniculus PE=1 SV=1 | TRUE |  | 0 | 33 | 16 | 69 | 16 | 323 | 35.4 | 8.29 | 42.3 | 15 | 13 | Not Found | High | 65.9 | 1 | 0 | 0 | 3
High | Master Protein | 478694 | S25705 Ig mu chain - sheep | TRUE |  | 0 | 18 | 10 | 28 | 10 | 592 | 64.5 | 5.71 | 32.53 | 10 | 7 | High | High | 45.06 | 1 | 0 | 0 | 3
High | Master Protein | P12763 | *CON* Alpha-2-HS-glycoprotein precursor - Bos taurus | TRUE |  | 0 | 33 | 10 | 16 | 10 | 359 | 38.4 | 5.5 | 21.77 | 7 | 6 | High | High | 42.66 | 1 | 0 | 0 | 3
High | Master Protein | P0C0S5 | Histone H2A.Z OS=Homo sapiens OX=9606 GN=H2AFZ PE=1 SV=2 | FALSE |  | 0 | 60 | 10 | 18 | 10 | 128 | 13.5 | 10.58 | 29.62 | 8 | 7 | High | High | 38.36 | 1 | 0 | 0 | 3
High | Master Protein | 88041 | A31994 *CON* keratin 10, type I, epidermal - human gi623409 (J04029) keratin 10 [Homo sapiens] | TRUE |  | 0 | 25 | 10 | 29 | 1 | 561 | 57.2 | 5.07 | 38.62 | 8 | 9 | High | High | 37.8 | 1 | 0 | 0 | 3
High | Master Protein | P02666 | *CON* Beta-casein precursor - Bos taurus | TRUE |  | 0 | 40 | 7 | 11 | 7 | 224 | 25.1 | 5.35 | 14.33 | 6 | 5 | High | High | 36.95 | 1 | 0 | 0 | 3
High | Master Protein | P15636 | *CON* PROTEASE I PRECURSOR (API) (LYSYL ENDOPEPTIDASE). | TRUE |  | 0 | 10 | 6 | 13 | 6 | 653 | 68.1 | 7.24 | 18.84 | 6 | 5 | High | High | 31.91 | 1 | 0 | 0 | 3
Medium | Master Protein | P15497 | *CON* Apolipoprotein A-I OS=Bos taurus GN=APOA1 PE=1 SV=3 | TRUE |  | 0.033 | 15 | 3 | 9 | 3 | 265 | 30.3 | 5.97 | 11.37 | 3 | 3 | High | Not Found | 21.12 | 1 | 0 | 0 | 3
High | Master Protein | P02768 | *CON* serum albumin precursor [Homo sapiens]. | TRUE |  | 0 | 14 | 11 | 22 | 7 | 609 | 69.3 | 6.28 | 48.11 | 4 | 11 | High | High | 18.46 | 1 | 0 | 0 | 3
Medium | Master Protein | P06396 | *CON* Gelsolin OS=Homo sapiens GN=GSN PE=1 SV=1 | TRUE |  | 0.029 | 4 | 3 | 7 | 3 | 782 | 85.6 | 6.28 | 8.47 | 3 | 3 | Not Found | High | 17.25 | 1 | 0 | 0 | 3
Medium | Master Protein | P35908 | *CON* Keratin, type II cytoskeletal 2 epidermal OS=Homo sapiens GN=KRT2 PE=1 SV=2 | TRUE |  | 0.021 | 10 | 3 | 4 | 2 | 639 | 65.4 | 8 | 6.26 | 2 | 2 | High | High | 10 | 1 | 0 | 0 | 3
Medium | Master Protein | P22629 | *CON* Streptavidin OS=Streptomyces avidinii PE=1 SV=1 | TRUE |  | 0.022 | 11 | 2 | 5 | 2 | 183 | 18.8 | 8.35 | 6.28 | 2 | 2 | Not Found | High | 9.64 | 1 | 0 | 0 | 3
Medium | Master Protein | P02663 | *CON* Alpha-S2-casein precursor - Bos taurus | TRUE |  | 0.012 | 9 | 2 | 3 | 2 | 222 | 26 | 8.43 | 3.92 | 2 | 1 | High | High | 9.49 | 1 | 0 | 0 | 3
Medium | Master Protein | P81605 | *CON* Dermcidin precursor - Homo sapiens | TRUE |  | 0.024 | 26 | 2 | 4 | 2 | 110 | 11.3 | 6.54 | 3.29 | 2 | 1 | High | Not Found | 8.61 | 1 | 0 | 0 | 3
Low | Master Protein | Q86YZ3 | *CON* Hornerin - Homo sapiens | TRUE |  | 0.063 | 7 | 4 | 6 | 3 | 2850 | 282.2 | 10.04 | 2.26 | 3 | 2 | Not Found | High | 8.5 | 1 | 0 | 0 | 3
Medium | Master Protein | Q2UVX4 | *CON* Complement C3 OS=Bos taurus GN=C3 PE=1 SV=2 | TRUE |  | 0.031 | 3 | 4 | 6 | 4 | 1661 | 187.1 | 6.84 | 9.28 | 2 | 4 | Not Found | High | 6.99 | 1 | 0 | 0 | 3
High | Master Protein | 106849 | PC1102 *CON* keratin 10, type I, cytoskeletal (clone HK51) - human (fragment) gi186629 (M77663) keratin 10 [Homo sapiens] | TRUE |  | 0 | 26 | 9 | 15 | 1 | 384 | 39.7 | 4.78 | 35.63 | 1 | 9 | Not Found | High | 6.21 | 1 | 0 | 0 | 3
Medium | Master Protein | Q5D862 | *CON* Filaggrin-2 OS=Homo sapiens GN=FLG2 PE=1 SV=1 | TRUE |  | 0.027 | 4 | 3 | 5 | 2 | 2391 | 247.9 | 8.31 | 7.9 | 2 | 3 | High | High | 5.21 | 1 | 0 | 0 | 3
Low | Master Protein | Q29443 | *CON* Serotransferrin OS=Bos taurus GN=TF PE=2 SV=1 | TRUE |  | 0.059 | 2 | 1 | 2 | 1 | 704 | 77.7 | 7.08 | 2.07 | 1 | 1 | Not Found | High | 5 | 1 | 1 | 0.04 | 2
Medium | Master Protein | 1708589 | *CON* Keratin, type i cytoskeletal 16 (cytokeratin 16) (K16) (CK 16) | TRUE |  | 0.024 | 5 | 2 | 2 | 1 | 473 | 50.9 | 5.44 | 3.21 | 1 | 1 | Not Found | High | 4.88 | 1 | 1 | 0.038462 | 2
Medium | Master Protein | Q15149 | *CON* Plectin-1 OS=Homo sapiens GN=PLEC1 PE=1 SV=3 | TRUE |  | 0.012 | 1 | 3 | 3 | 3 | 4684 | 531.5 | 5.96 | 4.24 | 1 | 2 | High | High | 4.73 | 1 | 1 | 0.037037 | 2
Medium | Master Protein | 1346345 | *CON* Keratin, type ii cytoskeletal 6b (cytokeratin 6b) (CK 6b) (k6b keratin) gi2119220pirI61767 keratin type II - human gi908790 (L42592) keratin type II [Homo sapiens] | TRUE |  | 0.024 | 10 | 4 | 5 | 2 | 564 | 60 | 8 | 7.32 | 2 | 3 | High | Not Found | 4.51 | 1 | 1 | 0.035714 | 2
Medium | Master Protein | P01696 | *CON* Ig kappa chain V region K29-213 OS=Oryctolagus cuniculus PE=1 SV=1 | TRUE |  | 0.021 | 9 | 1 | 2 | 1 | 110 | 11.6 | 8.97 | 3.02 | 1 | 1 | Not Found | High | 4.3 | 1 | 1 | 0.034483 | 2
| Master Protein | P05109 | *CON* Protein S100-A8 OS=Homo sapiens GN=S100A8 PE=1 SV=1 | TRUE |  |  | 12 | 1 | 1 | 1 | 93 | 10.8 | 7.03 |  | 1 |  | High | Not Found | 3.71 | 1 | 1 | 0.033333 | 2
Medium | Master Protein | Q9NSB2 | *CON* Keratin, type II cuticular Hb4 OS=Homo sapiens GN=KRT84 PE=1 SV=2 | TRUE |  | 0.015 | 8 | 3 | 3 | 1 | 600 | 64.8 | 7.56 | 5.06 | 1 | 2 | High | Not Found | 3.7 | 1 | 1 | 0.032258 | 2
Medium | Master Protein | 547753 | *CON* Keratin, type ii cytoskeletal 4 (cytokeratin 4) (K4) (CK4) | TRUE |  | 0.029 | 4 | 2 | 3 | 1 | 534 | 57.2 | 6.61 | 8.43 |  | 2 | Not Found | High | 3.64 | 1 | 1 | 0.03125 | 2
| Master Protein | Q59146 | *CON* Glucan endo-1,3-beta-glucosidase (Zymolase) OS=Arthrobacter sp. (strain YCWD3) GN=glcI PE=3 SV=1 | TRUE |  |  | 6 | 1 | 1 | 1 | 548 | 58.1 | 7.43 |  | 1 |  | High | Not Found | 3.22 | 1 | 2 | 0.060606 | 1
| Master Protein | Q8N9T8 | *CON* Protein KRI1 homolog OS=Homo sapiens GN=KRI1 PE=1 SV=2 | TRUE |  |  | 4 | 1 | 1 | 1 | 709 | 83.2 | 5.17 |  | 1 |  | High | Not Found | 3.06 | 1 | 3 | 0.088235 | 1
Medium | Master Protein | 547751 | *CON* Keratin, type i cytoskeletal 17 (cytokeratin 17) (K17) (CK 17) (39.1) (VERSION 1) gi422802pirS30433 keratin 17, cytoskeletal - human gi30379 (Z19574) cytokeratin 17 [Homo sapiens] gi34075 (X62571) keratin related product [Homo sapiens] | TRUE |  | 0.02 | 6 | 2 | 3 | 1 | 432 | 48.1 | 5.02 | 6.04 | 1 | 2 | High | Not Found | 2.89 | 1 | 3 | 0.085714 | 1
| Master Protein | P15252 | *CON* Rubber elongation factor protein OS=Hevea brasiliensis PE=1 SV=2 | TRUE |  |  | 13 | 1 | 1 | 1 | 80 | 8.7 | 4.59 |  | 1 |  | High | Not Found | 2.72 | 1 | 3 | 0.083333 | 1
Medium | Master Protein | P08670 | *CON* Vimentin OS=Homo sapiens GN=VIM PE=1 SV=4 | TRUE |  | 0.02 | 5 | 2 | 2 | 1 | 466 | 53.6 | 5.12 | 2.83 | 1 | 1 | High | Not Found | 2.54 | 1 | 3 | 0.081081 | 1
Low | Master Protein | P00761 | *CON* Trypsin precursor - sus scrofa - includes MSPRL added real and artificial sequences to mimic mass of Promega trypsin modifications | TRUE |  | 0.057 | 4 | 1 | 2 | 1 | 741 | 79.4 | 8.31 | 1.99 | 1 | 1 | Not Found | High | 2.26 | 1 | 4 | 0.10526 | 1
| Master Protein | Q29461 | *CON* Elastase-2A precursor - Bos taurus | TRUE |  |  | 4 | 1 | 1 | 1 | 269 | 28.8 | 8.34 |  | 1 |  | High | Not Found | 2.14 | 1 | 4 | 0.10256 | 1
| Master Protein | P08659 | *CON* Luciferin 4-monooxygenase Firefly luciferase OS=Photinus pyralis PE=1 SV=1 | TRUE |  |  | 3 | 1 | 1 | 1 | 550 | 60.7 | 6.9 |  | 1 |  | Not Found | High | 1.7 | 1 | 8 | 0.19512 | 1
| Master Protein | P23254 | *CON* Transketolase 1 - Saccharomyces cerevisiae | TRUE |  |  | 2 | 1 | 1 | 1 | 680 | 73.8 | 7.01 |  | 1 |  | High | Not Found | 1.64 | 1 | 8 | 0.19048 | 1
Medium | Master Protein | Q9Y446 | *CON* Plakophilin-3 OS=Homo sapiens GN=PKP3 PE=1 SV=1 | TRUE |  | 0.016 | 3 | 2 | 3 | 2 | 797 | 87 | 9.32 | 5.06 | 1 | 2 | High | High | 1.62 | 1 | 8 | 0.18605 | 1
Medium | Master Protein | 125108 | *CON* Keratin, type ii cytoskeletal 7 (cytokeratin 7) (K7) (CK 7) gi1200072 (X13320) keratin [Homo sapiens] | TRUE |  | 0.013 | 12 | 3 | 3 | 1 | 469 | 51.3 | 5.49 | 5.06 | 1 | 2 | Not Found | High | 1.16 | 1 | 9 | 0.20455 | 1
Medium | Master Protein | 125098 | *CON* Keratin, type ii cytoskeletal 3 (cytokeratin 3) (K3) (CK3) (65 KD cytokeratin) | TRUE |  | 0.013 | 8 | 3 | 3 | 1 | 629 | 64.5 | 6.48 | 5.06 | 1 | 2 | High | Not Found | 0.95 | 1 | 10 | 0.22222 | 1
| Master Protein | 37812657 | beta galactosidase [UAS-less reporter vector pMELbeta] gi¦37812664¦gb¦AAR04150.1¦ beta galactosidase [UAS-less reporter vector YIpMELbeta2] gi¦37812668¦gb¦AAR04153.1¦ beta galactosidase [UAS-less reporter vector YIpMELbeta] gi¦37812678¦gb¦AAR04160.1¦ beta galactosidase [UAS-less reporter vector pMELbeta2] | TRUE |  |  | 3 | 1 | 1 | 1 | 1045 | 118.5 | 5.8 |  | 1 |  | Not Found | High | 0.7 | 1 | 12 | 0.25 | 1
High | Master Protein | P13645 | *CON* Keratin, type I cytoskeletal 10 OS=Homo sapiens GN=KRT10 PE=1 SV=4 | TRUE |  | 0 | 21 | 12 | 18 | 2 | 593 | 59.5 | 5.21 | 43.72 |  | 12 | High | High |  | 1 | 0 | 0 | 0
Medium | Master Protein | 547752 | *CON* Keratin, type ii cytoskeletal 2 oral (cytokeratin 2P) (K2P) (CK 2P) gi2119218pirI53169 cytokeratin 2 - human gi181390 (M99063) cytokeratin 2 [Homo sapiens] | TRUE |  | 0.03 | 6 | 3 | 3 | 1 | 638 | 65.8 | 8.12 | 9.15 |  | 3 | Not Found | High |  | 1 | 0 | 0 | 0
Medium | Master Protein | P02533 | *CON* Keratin, type I cytoskeletal 14 OS=Homo sapiens GN=KRT14 PE=1 SV=3 | TRUE |  | 0.019 | 6 | 2 | 2 | 1 | 472 | 51.6 | 5.16 | 6.03 |  | 2 | Not Found | High |  | 1 | 0 | 0 | 0
Medium | Master Protein | Q6A163 | *CON* Keratin, type I cytoskeletal 39 OS=Homo sapiens GN=KRT39 PE=1 SV=2 | TRUE |  | 0.021 | 5 | 1 | 1 | 1 | 491 | 55.6 | 5.26 | 2.87 |  | 1 | High | Not Found |  | 1 | 0 | 0 | 0
Low | Master Protein | Q92817 | *CON* Envoplakin OS=Homo sapiens GN=EVPL PE=1 SV=2 | TRUE |  | 0.066 | 1 | 2 | 2 | 2 | 2033 | 231.5 | 6.96 | 2.56 |  | 2 | Not Found | High |  | 1 | 0 | 0 | 0
Low | Master Protein | Q86SJ6 | *CON* Desmoglein-4 OS=Homo sapiens GN=DSG4 PE=1 SV=1 | TRUE |  | 0.065 | 3 | 1 | 1 | 1 | 1040 | 113.8 | 4.56 | 2.34 |  | 1 | High | Not Found |  | 1 | 0 | 0 | 0
Low | Master Protein | O60437 | *CON* Periplakin OS=Homo sapiens GN=PPL PE=1 SV=2 | TRUE |  | 0.062 | 1 | 1 | 1 | 1 | 1756 | 204.5 | 5.57 | 2.25 |  | 1 | High | Not Found |  | 1 | 0 | 0 | 0
Low | Master Protein | P32926 | *CON* Desmoglein-3 OS=Homo sapiens GN=DSG3 PE=1 SV=2 | TRUE |  | 0.058 | 1 | 1 | 1 | 1 | 999 | 107.5 | 5 | 2.06 |  | 1 | Not Found | High |  | 1 | 0 | 0 | 0
Low | Master Protein | 327282624 | PREDICTED: translational activator GCN1-like [Anolis carolinensis] | TRUE |  | 0.137 | 0 | 1 | 1 | 1 | 2671 | 293.5 | 7.27 | 1.78 |  | 1 | Not Found | High |  | 1 | 0 | 0 | 0

## Peptides & Coverage
Checked | Confidence | Sequence | Modifications | # Protein Groups | # Proteins | # PSMs | Master Protein Accessions | # Missed Cleavages | Theo. MH+ [Da] | Found in Sample: [S1] F1: Lysine | Found in Sample: [S2] F2: Chymotrypsin | Contaminant | Off by X | Position in Protein | Confidence (by Search Engine): A6 PMI-Byonic | Confidence (by Search Engine): Sequest HT | Percolator q-Value (by Search Engine): A6 PMI-Byonic | Percolator q-Value (by Search Engine): Sequest HT | Percolator PEP (by Search Engine): A6 PMI-Byonic | Percolator PEP (by Search Engine): Sequest HT | ¦Log Prob¦ (by Search Engine): A6 PMI-Byonic | Byonic Score (by Search Engine): A6 PMI-Byonic | Delta Byonic Score (by Search Engine): A6 PMI-Byonic | Delta Mod Score (by Search Engine): A6 PMI-Byonic | PEP 2D (by Search Engine): A6 PMI-Byonic | q-Value 2D (by Search Engine): A6 PMI-Byonic | FDR 2D (by Search Engine): A6 PMI-Byonic | Peptide Group FDR 2D (by Search Engine): A6 PMI-Byonic | PEP 1D (by Search Engine): A6 PMI-Byonic | q-Value 1D (by Search Engine): A6 PMI-Byonic | FDR 1D (by Search Engine): A6 PMI-Byonic | Peptide Group FDR 1D (by Search Engine): A6 PMI-Byonic | XCorr (by Search Engine): Sequest HT
FALSE | High | AGGKAGKDSGKAKT | 2xAcetyl [K4(100); K11(99.2)] | 1 | 1 | 3 | P0C0S5 | 0 | 1359.7227 | Not Found | High | FALSE | 0 | 0 | High | High |  | 0.001143 |  | 0.008231 | 5.32 | 324.8 | 292.4 | 79.9 | 4.8107e-06 | 7.9756e-07 | 0 | 0 | 4.6595e-05 | 7.7702e-06 | 0 | 0 | 3.42
FALSE | High | AGGKAGKDSGKAKT | 3xAcetyl [K4(100); K7(100); K11(100)] | 1 | 1 | 2 | P0C0S5 | 0 | 1401.7332 | Not Found | High | FALSE | 0 | 0 | n/a | High |  | 0.001143 |  | 0.0003055 | [12 empty] | 3.92
FALSE | High | AGGKAGKDSGKAK | 3xAcetyl [K4(100); K7(100); K11(99.9)] | 1 | 1 | 1 | P0C0S5 | 0 | 1300.6856 | Not Found | High | FALSE | 0 | 0 | n/a | High |  | 0.004075 |  | 0.03738 | [12 empty] | 2.77
FALSE | High | AGGKAGKDSGKAKTK | 3xAcetyl [K4(100); K7(99.9); K11(96)] | 1 | 1 | 1 | P0C0S5 | 0 | 1529.8282 | Not Found | High | FALSE | 0 | 0 | n/a | High |  | 0.004075 |  | 0.05642 | [12 empty] | 2.03