Supporting information

An electrochemical biosensor for sensitive detection of live Salmonella in food via MXene amplified methylene blue signals and electrostatic immobilization of bacteriophages

Jingjing Zhoua, Tingliu Dengb, Qin Zengb, Heye Wang*c, Chunyan Deng*b

aBeijing Key Laboratory of Maternal-FetalMedicine and Fetal Heart Disease&Echocardiography Department, Beijing Anzhen Hospital, Capital Medical University, Beijing 100069, China

bHunan Provincial Key Laboratory of Micro & Nano Materials Interface Science, College of Chemistry and Chemical Engineering, Central South University, Changsha, 410083, P. R. China

cKey Laboratory of Food Quality and Safety of Jiangsu Province-State Key Laboratory Breeding Base, Institute of Food Safety and Nutrition, Jiangsu Academy of Agricultural Sciences, Nanjing, 210000, China

＃:Jingjing Zhou and Tingliu Deng contribute equally to this work.

*Corresponding Author: Chunyan Deng

Phone: +86-731-88876490. Fax: +86-731-88879616.

E-mail: dengchunyan@csu.edu.cn

Table of Contents

- Table S1. Comparison of bacteria detection performances with the proposed sensor and other methods.

- Figure S1. Cyclic voltammograms responses of the different electrodes.

Table S1. Comparison of bacteria detection performances with the proposed sensor and other methods.

| Ref | analytical method | LOD (CFU mL-1) | Linearity region (CFU mL-1) | Live/dead cells discrimination |
| --- | --- | --- | --- | --- |
| Biosens. Bioelectron. 2015, 74, 872-877 | SERS | 15 | 102-107 | NO |
| ACS Appl. Mater. Interfaces. 2020, 12 (8), 8989-8999 | Colorimetric | 24 | 102-107 | NO |
| Anal. Chem. 2020, 92 (4), 3340-3345 | Flow cytometry | 40 | 1.5 × 102-1.5 × 106 | NO |
| Anal. Chem. 2019, 91 (22), 14681-14690 | Fluorescent | 8 | 50-107 | NO |
| Anal. Chem. 2021, 93, 24,8544-8552 | Electrochemical | 6 | 10-7.5 × 105 | NO |
| this work | Electrochemical | 5 | 2.4×101-2.4×107 | YES |

Figure S1. Cyclic voltammograms responses of the bare GC (curve a), Mxene@MB/GCE (curve b), PDDA/Mxene@MB/GCE (curve c), Phage/PDDA/Mxene@MB/GCE (line d), bacteria/Phage/PDDA/Mxene@MB/GCE (line e) of 2.4 × 105 CFU mL-1. The current density measurements at 0-0.6 V in 5.0 mM [Fe (CN)6]3- / [Fe (CN)6]4- (1:1) containing 0.1 M KCl, scan rate: 100 mV s-1 (Ag/AgCl electrode as the reference electrode).