Table 1: State of the art regarding the quantitative analysis on methods of explainable artificial intelligence (xAI), applied to the detection of anomalies in the electrocardiogram (ECG). AF, atrial fibrillation; CinC, computing in cardiology; CNN, convolutional neural network; CPSC, China physiological signal challenge; CV, cross validation; DTD, deep Taylor decomposition; GradCAM, gradient class activation maps; HV, hold-out validation; LIME, local interpretable model-agnostic explanations; LRP, layer-wise relevance propagation; LVD, left-ventricular dysfunction; NSR, normal sinus rhythm; PTB, Physikalisch-Technische Bundesanstalt; ResNet, residual neural network; SHAP, Shapley additive explanations.

| Author | ECG leads | Task | Classifier | Dataset | Validation / Test | Classification quality Accuracy F1-score Sensitivity Specificity (%, Full/AF) |  |  | xAI method | Quantitative relevance analysis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Aufiero et al. (2022)16 | 12 | LQTS detection and classification classes: 4 (LQTS1-3, n-LQTS) AF: no | 1D-CNN | Own dataset n=10,458 (LQTS: 458) | HV: 64 % / 16 % Test: 20 % (5-fold CV) | - - 87.0 94.0 | / / / / | - - - - | Guided GradCAM55 | Comparison of relevance in approximated P wave, QRS complex (total, left vs. right) and ST segment across LQTS classes (Student’s t-test) |
| Bender et al. (2023)14 | 12 | Cardiac anomaly detection (multiclass) classes: 3 AF: yes | Pre-trained CNN (ResNet)33 | Brazilian telehealth network33 n=2,322,513 subjects: 1,676,384 | Taken from Ribeiro et al. (2020)33 |  |  |  | Integrated gradients (vs. 4 LRP configurations) | - Averaged template beat relevance per class - Averaged relevance per lead and class |
|  |  |  |  |  | HV: 98 % / 2 % Test: 0.036 % | 99.6 92.6 93.5 99.7 | / / / / | 99.6 87.0 76.9 100.0 |  |  |
| Goettling et al. (2024)15 | 1 | AF detection (AF, n-AF) Classes: 2 AF: yes | xECGArch (long-term + short-term CNN) | Chapman/ Shaoxing36, CPSC201835, Georgia38,39, PTB-XL5,40 n=9,854 (AF: 50 %) | CV: 5-fold Test: 10 % | - - - - | / / / / | 95.3 95.4 94.9 95.8 | 13 methods, including DTD, GradCAM, and 4 LRP configurations | Averaged template beat relevance per class and model |
| Honarvar et al. (2022)23 | 8 | LVD detection classes: 2 (LVD, n-LVD) AF: no | CNN (ECG maps) | Own dataset n=101,710 (LVD: 7.6 %) | Stratified HV: 90 % / 10 % Test: - | - - - - | / / / / | - - - - | DeepLIFT56 | - Average relevance of full- and sub-waveforms from 88 ECGs with common heart rate - Relevance per beat interval for n=5 subjects for full- and sub-waveform |
| Ivaturi et al. (2021)13 | 1 | Cardiac anomaly detection (multiclass) classes: 4 (CinC2017) AF: yes | Lightweight CNN (MobileNet) | CinC201734,57 n=8,528 | Stratified CV: 5-fold Test: - | 92.6 70.1 73.2 92.9 | / / / / | 96.5 80.7 80.0 98.2 | Ablation, permutation, LIME | - Average relevance within 7 equally sized segments in RR interval per class - Approximative relevance of RR variability (changes in R-peak relevance when unifying RR intervals) |
| Singh & Sharma (2022)20 | 2 | ECG beat classification (multiclass) classes: 6 AF: no | CNN (ResNet) | MITDB34,58 n=60,000 (beats) records: 48 subjects: 47 | Balanced HV: 85 % / 15 % Test: - | - 98.9 98.9 - | / / / / | - - - - | K-GradCam20 vs. SHAP, LIME, GradCAM | Average relevance within 10 equally sized segments in ECG beat comparison between classes |
| Taniguchi et al. (2021)12 | 1 | AF detection (AF, NSR) classes: 2 AF: yes | CNN | Own dataset n=87,273 (AF: 18,622) subjects: 60 | Subject-based HV: 75 % / 25 % Test: - | - - - - | / / / / | 95.3 93.1 97.1 94.5 | GradCAM | Review of the areas relevant according to CNN for agree-ment with AF characteristics by 6 cardiologists (94.5 ± 3.5 % agreement) |

Table 3: Correlations between absolute differences in consecutive RR intervals |δRR| and mean absolute changes of segment-specific relative relevance in consecutive beats |δrR| on beat-to-beat or recording level, separated by class and long-term or short-term model. Analyzes at beat-to-beat level are based on the Spearman’s correlation coefficient. Model- and segment-dependent relative relevance values are Euclidean normalized recording-wise. Analyzes on recording level are based on Pearson’s correlation coefficient, applied to the mean of |δRR| (|δRR|) and |δrR| (|δrR|) per recording. Correlation strengths according to the definition of Cohen30 are highlighted by color. Significant correlations are marked according to the legend.

| Class |  | Atrial fibrillation (AF) |  |  |  |  | Other anomalies (O) |  |  |  |  | Normal sinus rhythm (NSR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Model |  | Long-term |  | Short-term |  |  |  |  | Short-term |  |  | Long-term |  | Short-term |  |
| Beat-to-beat level (Spearman correlation values – ¦δRR¦ and ¦δrR¦ – Euclidian norm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| n Segments |  | 5674 (P/PQ: 0) |  |  |  |  | 4864 |  |  |  |  | 4162 |  |  |  |
| P |  | - |  | - |  |  | 0.127 | *** | 0.079 | *** |  | 0.070 | *** | 0.032 | * |
| PQ |  | - |  | - |  |  | 0.129 | *** | 0.072 | *** |  | 0.045 | ** | 0.006 |  |
| Q |  | 0.160 | *** | 0.094 | *** |  | 0.120 | *** | 0.025 |  |  | 0.015 |  | -0.004 |  |
| R |  | 0.156 | *** | 0.050 | *** |  | 0.129 | *** | 0.003 |  |  | 0.031 | * | 0.026 |  |
| S |  | 0.160 | *** | 0.031 | * |  | 0.125 | *** | 0.011 |  |  | 0.025 |  | 0.036 | * |
| ST |  | 0.109 | *** | 0.010 |  |  | 0.059 | *** | -0.021 |  |  | -0.004 |  | 0.008 |  |
| T |  | 0.031 | * | 0.013 |  |  | 0.036 | * | -0.001 |  |  | -0.012 |  | -0.069 | *** |
| QT |  | 0.085 | *** | 0.020 |  |  | 0.075 | *** | -0.016 |  |  | -0.006 |  | -0.039 | * |
| TQ |  | 0.030 | * | -0.008 |  |  | -0.009 |  | 0.022 |  |  | -0.027 |  | 0.054 | ** |
| Recording level (Pearson correlation values – ¦δRR¦ and ¦δrR¦) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| n Segments |  | 507 (P/PQ: 0) |  |  |  |  | 507 |  |  |  |  | 507 |  |  |  |
| P |  | - |  | - |  |  | 0.617 | *** | 0.590 | *** |  | 0.230 | *** | 0.338 | *** |
| PQ |  | - |  | - |  |  | 0.528 | *** | 0.400 | *** |  | 0.178 | *** | 0.009 |  |
| Q |  | 0.401 | *** | -0.015 |  |  | 0.635 | *** | 0.414 | *** |  | 0.286 | *** | 0.180 | *** |
| R |  | 0.415 | *** | 0.079 |  |  | 0.592 | *** | 0.405 | *** |  | 0.293 | *** | 0.128 | ** |
| S |  | 0.336 | *** | 0.076 |  |  | 0.591 | *** | 0.439 | *** |  | 0.267 | *** | 0.125 | ** |
| ST |  | 0.178 | *** | 0.036 |  |  | 0.379 | *** | 0.429 | *** |  | 0.177 | *** | 0.089 |  |
| T |  | 0.066 |  | 0.066 |  |  | 0.404 | *** | 0.416 | *** |  | 0.152 | *** | 0.183 | *** |
| QT |  | 0.243 | *** | 0.037 |  |  | 0.491 | *** | 0.413 | *** |  | 0.207 | *** | 0.133 | ** |
| TQ |  | -0.015 |  | -0.133 | ** |  | 0.452 | *** | 0.596 | *** |  | 0.225 | *** | 0.349 | *** |
| ●¦r¦≥0.1; ●¦r¦≥0.3; ●¦r¦≥0.5; *p<0.05; ** p<0.01; *** p<0.001 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |