Needle Point Bipolar Ionization (NPBI): Environmental Safety and Inactivation of Airborne Bacteria and Corona Virus

1Dila Aydın, 2Nurten Tetik, 1Ülkü Alver Şahin*, 1Coşkun Ayvaz, 3Elif Nurtop, 4Cansel Vatansever, 4,5Füsun Can

1Istanbul University-Cerrahpaşa, Engineering Faculty, Environmental Engineering Department, Istanbul, Türkiye

2Food Engineering, Faculty of Chemistry and Metallurgy, Yıldız Technical University, Istanbul, Türkiye

3 Unité des Virus Émergents, Aix Marseille University, IRD 190, INSERM U1207, Marseille, France

4 Koç University İşbank Center for Infectious Diseases, Istanbul, Türkiye

5Koç University, School of Medicine, Department of Medical Microbiology, Istanbul, Türkiye

*ulkualver@iuc.edu.tr

a)b)

Figure S1. Total ions released (a) at different distance from the NPBI device (b) with WM3 operation condition.

Figure S2: 30m3 aerosol chamber for bacterial test

A: UVC   B: Nebulizer    C: Bacteria flow     D: Sampler      E: Ceiling Fan       F  : Stand fan         G: NPBI device

Figure S3. Bacterial reduction rate within 1 hour (A) and between 2 and 4 hours (B) during the operation of NPBI device in comparison with natural decay.

Figure S4. Thermal comfort parameters and CO2 in the office room before and during the operation of NPBI device WM1: 2.68 m3/min; WM2: 3.26 m3/min; WM3: 3.88 m3/min.

Figure S5. Particle Number Count Change during the NPBI device on (left) and off (right) in the office room. Small graphs for 0.3, 0.5 and 1 um PM sizes on the left side graphs are focusing on the first 30 minutes when NPBI device on.

Table S1: The microbial test results.

| Bacteria | Time (minute) | Log10 Mean Natural (NPBI off) | Log10 Mean (NPBI on) |
| --- | --- | --- | --- |
| Bacillus subtilis | 0 | 6.457 | 5.358 |
|  | 10 | 6.164 | 4.829 |
|  | 20 | 5.735 | 4.709 |
|  | 30 | 5.674 | 4.568 |
|  | 60 | 5.048 | 4.049 |
|  | 120 | 4.496 | 3.811 |
|  | 180 | 4.044 | 1.301 |
|  | 240 | 3.329 | 1.000 |
| Staphylococcus aureus | 0 | 7.769 | 5.477 |
|  | 10 | 7.403 | 4.618 |
|  | 20 | 7.135 | 4.584 |
|  | 30 | 6.847 | 3.712 |
|  | 60 | 6.719 | 4.151 |
|  | 120 | 6.080 | 3.248 |
|  | 180 | 5.740 | 2.954 |
|  | 240 | 5.348 | 0.523 |
| Escherichia coli | 0 | 6.295 | 5.652 |
|  | 10 | 5.827 | 4.875 |
|  | 20 | 5.619 | 4.799 |
|  | 30 | 5.530 | 4.505 |
|  | 60 | 4.767 | 4.397 |
|  | 120 | 4.169 | 1.845 |
|  | 180 | 3.527 | 1.602 |
|  | 240 | 3.322 | 1.301 |
| Staphylococcus albus | 0 | 6.710 | 5.602 |
|  | 10 | 6.635 | 5.195 |
|  | 20 | 6.622 | 5.019 |
|  | 30 | 5.819 | 4.741 |
|  | 60 | 5.718 | 3.518 |
|  | 120 | 5.224 | 2.982 |
|  | 180 | 5.153 | 2.892 |
|  | 240 | 4.857 | 1.000 |

Table S2: The p values of t-test between the average values of the device-off (during a hour) and for each one hour time spans during the device-on.

| Fan Mode of the device | Minutes after the device work on | Parameters |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Pressure | Temperature | Humidity | CO2 | VOC | PM2.5 | NO2 |
| WM1 | 60-120 | 0.65 | 0.00 | 0.05 | 0.00 | 0.00 | 0.00 | 0.17 |
|  | 120-180 | 0.48 | 0.00 | 0.92 | 0.00 | 0.00 | 0.01 | 0.09 |
|  | 180-240 | 0.01 | 0.00 | 0.30 | 0.61 | 0.00 | 0.05 | 0.00 |
|  | 240-300 | 0.00 | 0.00 | 0.10 | 0.01 | 0.00 | 0.00 | 0.00 |
| WM2 | 60-120 | 0.00 | 0.00 | 0.36 | 0.15 | 0.00 | 0.35 | 0.01 |
|  | 120-180 | 0.03 | 0.00 | 0.08 | 0.00 | 0.00 | 0.01 | 0.18 |
|  | 180-240 | 0.00 | 0.00 | 0.00 | 0.00 | 0.19 | 0.00 | 0.50 |
|  | 240-300 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.05 |
| WM3 | 60-120 | 0.02 | 0.00 | 0.23 | 0.00 | 0.00 | 0.00 | 0.00 |
|  | 120-180 | 0.00 | 0.00 | 0.73 | 0.00 | 0.00 | 0.23 | 0.00 |
|  | 180-240 | 0.57 | 0.00 | 0.12 | 0.00 | 0.00 | 0.01 | 0.03 |
|  | 240-300 | 0.00 | 0.00 | 0.06 | 0.02 | 0.00 | 0.00 | 0.31 |