Supplementary Methods

Dietary intake

Participants were asked to report real-time images of when and what they eat each day. Daily eating window was calculated by subtracting the first meal time from the last meal time. Food intake on two weekdays and one weekend day were gathered by an experienced investigator via telephone interview and food pictures. Energy and nutrient intake were calculated using the second edition of Chinese food composition.

Liver fat and body composition

Expert radiologists accurately quantified the proton density fat fraction (PDFF) in the liver and abdominal regions by using a 1.5T MRI scanner (Magnetom Altea, Siemens Healthineers, Erlangen, Germany) equipped with 12-channel body coils. The visceral adipose tissue (VAT), subcutaneous adipose tissue (SAT), and skeletal muscle areas were measured at the level of the third lumbar vertebra, utilizing a post-processing workstation (Syngo Via, XA20, Siemens Healthineers, Erlangen, Germany). The body fat and body fat percentage were measured using a H-Key350 body composition analyzer, which adopted multi-frequency and multi-segment biological electrical impedance detection technology to accurately analyze and evaluate the components of each part of the body.

Blood Measurements and Metabolome Detection

Blood sample collection and measurements: Blood samples were taken in a fasted state and performed by standard venipuncture before the intervention and at week 8, between 8:00-9:30 a.m. Blood was centrifuged for 15 min at 1000 g and 4 ℃ to separate plasma from red cells and stored at -80 ℃ until analyzed. The following tests were performed at Geriatric Hospital Affiliated with Wuhan University of Science and Technology: comprehensive metabolic panel, hemoglobin A1c (HbA1c), lipid panel, liver enzymes, insulin, and high sensitivity C-reactive protein (hs-CRP).

Metabolome profiling: High-performance liquid chromatography-tandem mass spectrometry (LC-MS/MS) is used for high-throughput targeted quantitative detection of metabolites in serum1. It can quantitatively measure a wide range of metabolic small molecules including amino acids, organic acids, fatty acids, sugars, bile acids, carnitines, and indoles.

Sample preprocessing: Take appropriate amount of sample and QC respectively, add 140uL of 50% water/methanol solution, centrifuge to get supernatant after crushing; take HM400 mixed standards and perform gradient dilution to create a standard curve; then subject the sample and QC to a derivatization reaction, followed by dilution with HM400 diluent; finally, centrifuge at 12,000 rpm at 4°C for 10 minutes, and take the supernatant for LC-MS analysis.

LC-MS/MS detection and analysis: The analytical instrument for experiment was LC-MS QTRAP 6500+ (SCIEX), with the following parameters: Column: BEH C18 (2.1mm x 10cm, 1.7um, waters); Ion source: ESI+/ESI-.

Calculation method of metabolite concentration: In the Skyline software (MacCoss Lab Software) using default parameters for each MRM Transition’s automatic identification and integration, assisting with manual inspection. The content of each substance:

HM400 (umol/g) = C*A/m

C is the concentration value obtained by bringing the integrated peak area of the target index in the sample into the standard curve (umol/L); A is the dilution factor, 0.14; m is the mass of the weighed solid sample(mg).

Fecal sample collection, storage and metagenomic sequencing

Fecal sample collection: Each participant will be asked to collect totally 8 stool samples with MGIEasy fecal sampling kit at baseline, the 3rd, 7th, 14th, 21st, 28th, 42nd, and 53rd day during intervention. After each fecal sample collected, it would be transported to the research center and stored in the -80℃.

Metagenomic sequencing: Genomic DNA was meticulously extracted from a fecal sample mass of approximately 500 mg utilizing the established MetaHIT protocol 2. The quantification of DNA concentration was performed with precision using the Qubit system from Invitrogen. Subsequent steps involved the construction of a DNA library and its sequencing, which were adeptly carried out on the BGISEQ-T1 platform3. For each specimen, a paired-end (PE) library was methodically constructed, followed by high-throughput sequencing that generated PE reads of 2 × 100 base pairs. We implemented a documented workflow for sequencing data quality control4, 5. Human genome DNA reads were identified using bowtie2 (v.2.3.5.1, default parameters)6, and reads were removed if they had >95% sequence identity with the human genome reference sequence (hg38).

Construction of species and KO profile: We employed a documented workflow5 to compute the profile of species and KEGG Orthologs (KOs). High-quality reads were aligned to the gut microbiome genome catalog7 using bowtie2 (v.2.3.5.1, default parameters)6. This was followed by sequence-based contig abundances profiling using the jgi_summarize_bam_contig_depths8 tool (default parameters). The high-quality reads mapped to the genome catalog was enumerated to form a mapping depth or abundance matrix. Taking into account the varying sequencing depths across different samples, we utilized the normalized mapping depth matrix to estimate the abundance of metagenomic contigs. For species profiling, the taxonomic assignment of each contig from the original genome catalog was used, and the median of the relative abundances of contigs belonging to the same species was calculated to determine the abundance of specific species. The estimation of each species' KO functional profile was the relative abundance of a KO was computed by summing the relative abundances of its corresponding contigs.

Histological Analyses of Livers from Mice

The levels of cholesterol (TC) and triglyceride (TG) in the liver were quantified using TC (E1015, Applygen, Beijing, China) and TG kits (E1013, Applygen, Beijing, China). Briefly, lysis buffer was added to homogenize the liver tissue, standing for 20 minutes. Subsequently, 10 µL of each liver lysate was used for protein quantification using BCA detection kits. The remaining lysates were heated at 70 ◦C for 10 minutes followed by centrifugation at room temperature at 2000× g for 5 minutes. The supernatant obtained after centrifugation was utilized for TG and TC determination. Finally, the content was normalized to the protein concentration of each well.

Targeted Metabolomic in Plasma from Mice

The serum metabolites were assessed by targeted metabolomics using LC-MS/MS. In brief, 30 μL of serum were dispensed into a 96-well plate. Next, 120 μL of methanol and 10 μL of internal standard solution were added and vortexed for 10 min. The plate was centrifuged at 3500 g for 10 min at 4°C. The supernatant of 100 μL were transferred to another 96-well plate and 2 μL was injected into LC-MS/MS (LC-MS QTRAP 6500+ , SCIEX) for analysis. The LC-MS system consisted of Waters BEH C18 (2.1mm x 10cm, 1.7um) Tandem Quadrupole mass spectrometer equipped with an ESI+/ESI- source (MA, USA). Fifteen and 9 deuterium-labelled internal standards were separated on a CORTECS T3 column (2.1x30mm, 2.7 μm) with a mobile phase of 0.01% formic acid in water containing 0.2mM ammonium formate (solvent A) and 0.01% formic acid in isopropanol: ACN (50:50, v:v) containing 0.2 mM Ammonium formate (solvent B) using gradient elution. The gradient elution of mobile phases included: initiate with 10% B for 0.5 min, increased to 90% B in 3.5 min, decrease to 10% B in 0.01 min, and balance for 1 min before the next injection. The column temperature was maintained at 40°C and flow rate was set at 1.0 mL/min. The detection of analytes was conducted in multiple reaction monitoring with positive electrospray ionization mode. The assay was validated by chemical stability, selectivity, sensitivity, linearity, precision, accuracy, carryover effect, and extraction efficiency.

1.	Wen B, Mei Z, Zeng C, Liu S. metaX: a flexible and comprehensive software for processing metabolomics data. BMC bioinformatics 18, 1-14 (2017).

2.	Qin J, et al. A metagenome-wide association study of gut microbiota in type 2 diabetes. Nature 490, 55-60 (2012).

3.	Liu G, et al. Single-cell transcriptome reveals the redifferentiation trajectories of the early stage of de novo shoot regeneration in Arabidopsis thaliana. bioRxiv, 2022.2001. 2001.474510 (2022).

4.	Li Z, et al. Characterization of the human skin resistome and identification of two microbiota cutotypes. Microbiome 9, 1-18 (2021).

5.	Li Z, et al. Multi-omics analyses of serum metabolome, gut microbiome and brain function reveal dysregulated microbiota-gut-brain axis in bipolar depression. Molecular psychiatry 27, 4123-4135 (2022).

6.	Langmead B, Salzberg SL. Fast gapped-read alignment with Bowtie 2. Nature methods 9, 357-359 (2012).

7.	Almeida A, et al. A unified catalog of 204,938 reference genomes from the human gut microbiome. Nature biotechnology 39, 105-114 (2021).

8.	Kang DD, et al. MetaBAT 2: an adaptive binning algorithm for robust and efficient genome reconstruction from metagenome assemblies. PeerJ 7, e7359 (2019).