Supporting Information

Quantitative semen analysis using fluorometric lateral-flow assay system for male fertility diagnosis

Il-Hoon Choa,b,⊥, Jisuk Leeb,⊥, Jin Hyun Juna,b, Ulhas S. Kadamc, Seung-Hun Songd,†, and Dong Hyung Kime,f,†

a	Department of Biomedical Laboratory Science, College of Health Science, Eulji University, Seongnam, Republic of Korea

b	Department of Senior Healthcare, Eulji University, Seongnam, Republic of Korea

c	Division of Life Science and Division of Applied Life Science (BK21 Four), Plant Molecular Biology and Biotechnology Research Center, Gyeongsang National University, Jinju, Gyeongnam, 52828, Republic of Korea

d	Department of Urology, Fertility Center, CHA Gangnam Medical Center, CHA University

e	Division of Biomedical Metrology, Korea Research Institute of Standards and Science, 267 Gajeongno, Yuseong-Gu, Daejeon 34113, Republic of Korea

f	KRISS School, University of Science and Technology (UST), 217 Gajeong-ro, Yuseong-gu, Daejeon 34113, Korea

⊥ These authors equally contributed to this research.

†	These authors are corresponding authors

E-mail address: shsong02@cha.ac.kr (S.H. Song); donghyung.kim@kriss.re.kr (D.H. Kim)

Table S1. Comparison of the current results with the analytical performance of Commercial products for measuring sperm concentrations

| Product | Detection | Method (Materials) | Time | Accuracy (%) | Analysis format (Detection range) | Price | Ref. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sperm Check | Sperm concentration | Colorimetric (AuNPs*) | 10 ~ 15 min | 98 | Qualitative (5x10⁶/mL and 20x10⁶/mL) | US $39.99 | 1 |
| Sperm OK | Sperm concentration | Colorimetric (AuNPs) | 10 ~ 15 min | 95 | Qualitative (15x10⁶/mL) | SGD $58.00 | 2 |
| Fetell | Motile sperm concentration | Colorimetric (AuNPs) | 1 hour | 95.3 | Qualitative (10x10⁶/mL) | US $57.63 | 3 |
| Swim Count | Motile sperm concentration | Colorimetric (MTT**) | 1 hour | 95 | Qualitative (3x10⁶/mL, 17x10⁶/mL and 30x10⁶/mL) | US $49.99 | 4 |
| YO | Motile sperm concentration | Video (Smartphone) | 13 min | 97 | Qualitative | US $79.95 | 5 |
| O'VIEW-M PRO | Motile sperm concentration | Image (Smartphone) | 20 min | 84.6 | Qualitative | ₩ 79,000 | 6 |
| FLF | Sperm concentration | Fluorescent (Alexa Fluor 647) | 15 min | 100 | Quantitative (1.8x106/mL ~ 140x106/mL) | US $2 | This work |

* AuNP, gold nanoparticles

** MTT, 3-(4 5-dimethylthiazol -2-yl)-2 5-diphenyltetrazolium bromide

Table S2. Contingency table comparing the Makler Counting Chamber test and the FLF-sperm system for sperm concentrations

| Predicted FLF-sperm system | Actual FLF-sperm system |  | Total |
| --- | --- | --- | --- |
|  | Negative | Positive |  |
| Negative | 25 | - | 25 |
| Positive | - | 55 | 55 |
| Total | 25 | 55 | 80 |

Figure S1. Binding properties of monoclonal antibodies specific to the SP-10 analyte. The binding reactions of the monoclonal antibodies (MM01 and MM06) were measured on the well plate coated with SP-10 antigen.

Figure S2. Reliability of the sandwich antibody pair specific to the SP-10 analyte: The selected antibody pair (Pair 1) was assessed for its reliability in specifically responding to the SP-10 biomolecule using the gold nanoparticle-assisted LFA in clinical semen samples. The azoospermia samples were used as a blank to monitor non-specific binding interactions.

Figure S3. Profile of fluorescent intensity at different detector gains: The fluorescent signals were detected with various detector gains, digitized, and plotted to show the intensity profiles of different SP-10 concentrations along the vertical direction in an overlaid fashion.

References

1.	Coppola, M. A. et al. SpermCheck® Fertility, an immunodiagnostic home test that detects normozoospermia and severe oligozoospermia. Human Reproduction 25, 853–861 (2010).

2.	Male Fertility Sperm Test For Home Use Instructions for Use Cassette. Cat. No. A01-06-422.

3.	Björndahl, L., Kirkman-Brown, J., Hart, G., Rattle, S. & Barratt, C. L. R. Development of a novel home sperm test. Human Reproduction 21, 145–149 (2006).

4.	Yoon, Y. E. et al. Validation of SwimCountTM, a novel home-based device that detects progressively motile spermatozoa: Correlation with World Health Organization 5th semen analysis. World Journal of Men’s Health 38, 191–197 (2020).

5.	Yu, S. et al. Emerging technologies for home-based semen analysis. Andrology 6, 10–19 (2018).

6.	Park, M. J., Lim, M. Y., Park, H. J. & Park, N. C. Accuracy comparison study of new smartphone-based semen analyzer versus laboratory sperm quality analyzer. Investig. Clin. Urol. 62, 672–680 (2021).