Supplementary Material

Table S1 MALDI-TOF MS species identification grading criteria

| Serial Number | Score | Level |
| --- | --- | --- |
| 1 | 9.5-10.0 | Species level confidence, possible subspecies |
| 2 | 9.0-9.5 | Species level confidence |
| 3 | 6.0-9.0 | Genus level confidence |
| 4 | <6.0 | Poor |

Table S2 gene amplification primer sequences

| Gene | Direction | Primer sequence | Gene length(bp) |
| --- | --- | --- | --- |
| CYP51A | F | GTTGCGATAGTCTTGAATGT | 1532 |
|  | R | CTTGGAGTTGTCTTGGATGC |  |
| CYP51B | F | CTGCTCGAACACGTCAATTC | 1479 |
|  | R | GGCTTGGAGAAGAGAGACGA |  |
| ITS | F | TCCGTAGGTGAACCTGCGG | 607 |
|  | R | TCCTCCGCTTATTGATATGC |  |
| Beta-tubulin | F | GGTAACCAAATCGGTGCTGCTTTC | 568 |
|  | R | ACCCTCAGTGTAGTGACCCTTGGC |  |
| Calmodulin | F | CCGAGTACAAGGAGGCCTTC | 595 |
|  | R | CCGATAGAGGTCATAACGTGG |  |

Table S3 MALDI-TOF MS identification and comparison of three gene sequencing results

| Number | MALDI-TOF MS identification | Gene Sequencing |  |  |
| --- | --- | --- | --- | --- |
|  |  | ITS | Beta-tubulin | Calmodulin |
| 21BB0001 | A. quadrilineatus | A. corrugatus | A. nidulans | no data |
| 21BB0011 | A. tamarii | A. flavus | A. oryzae | no data |
| 21BB0033 | A. usamil | A. niger | A. niger | A. welwitschiae |
| 22BB040 | A. lentulus | A. lentulus | A. lentulus | A. lentulus |
| 22BB042 | A. sydowii | A. sydowii | A. sydowii | no data |
| 22BB065 | A. udagawae | A. udagawae | A. wyomingensis | A. wyomingensis |

Table S4 The minimal effective concentration of echinocandins and the minimal inhibitory concentration of triazoles were determined for 95 isolates of Aspergillus

| Aspergillus species (n) | AMB |  | Triazoles |  |  |  |  |  | Echinocandins |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | IZ |  | PZ |  | VOR |  | AND |  | MF |  | CAS |  |
|  | MIC Range (mg/L) | mMIC (mg/L) | MIC Range (mg/L) | mMIC (mg/L) | MIC Range (mg/L) | mMIC (mg/L) | MIC Range (mg/L) | mMIC (mg/L) | MEC Range (mg/L) | mMEC (mg/L) | MEC Range (mg/L) | mMEC (mg/L) | MEC Range (mg/L) | mMEC (mg/L) |
| A. fumigatus (54) | 0.5–4 | 2 | 0.06–0.5 | 0.25 | 0.06–0.5 | 0.12 | 0.06–1 | 0.25 | <0.015 | <0.015 | <0.008 | <0.008 | 0.015–0.06 | 0.03 |
| A. niger (10) | 1–2 | 1 | 0.12–0.5 | 0.5 | 0.12–0.25 | 0.25 | 0.03–0.5 | 0.25 | <0.015 | <0.015 | <0.008 | <0.008 | 0.015 | 0.015 |
| A. tubingensis (9) | 0.5–1 | 1 | 0.5–1 | 0.5 | 0.25–0.5 | 0.25 | 0.5–8 | 0.5 | <0.015 | <0.015 | <0.008 | <0.008 | 0.008–0.03 | 0.015 |
| A. usamil (1) | 1 | 1 | 0.5 | 0.5 | 0.25 | 0.25 | 0.5 | 0.5 | <0.015 | <0.015 | <0.008 | <0.008 | <0.008 | <0.008 |
| A. flavus (10) | 1–4 | 3 | 0.25–0.5 | 0.25 | 0.12–0.25 | 0.25 | 0.25–1 | 0.5 | <0.015 | <0.015 | <0.008 | <0.008 | 0.008–0.015 | 0.008 |
| A. tamarii (2) | 1–2 | 1.5 | 0.25 | 0.25 | 0.12–0.25 | 0.18 | 0.5 | 0.5 | <0.015 | <0.015 | <0.008 | <0.008 | 0.015 | 0.015 |
| A. terreus (4) | 2–4 | 2 | 0.12–0.25 | 0.12 | 0.06–0.12 | 0.06 | 0.12–0.5 | 0.12 | <0.015 | <0.015 | <0.008 | <0.008 | 0.03 | 0.03 |
| A.versicolor (1) | 4 | 4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | <0.015 | <0.015 | 0.015 | 0.015 | 0.03 | 0.03 |
| A. udagawae (1) | 4 | 4 | 0.25 | 0.25 | 2 | 2 | 1 | 1 | <0.015 | <0.015 | 0.008 | 0.008 | 0.015 | 0.015 |
| A. lentulus (1) | 4 | 4 | 0.5 | 0.5 | 0.25 | 0.25 | 1 | 1 | <0.015 | <0.015 | <0.008 | <0.008 | 0.03 | 0.03 |
| A. sydowii (1) | 4 | 4 | 0.5 | 0.5 | 0.25 | 0.25 | 0.5 | 0.5 | <0.015 | <0.015 | <0.008 | <0.008 | 0.015 | 0.015 |
| A. quadrilineatus (1) | 4 | 4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | <0.015 | <0.015 | 0.015 | 0.015 | 0.03 | 0.03 |

MEC, minimal effective concentration ; mMEC, median MEC; MIC, Minimum inhibitory concentration; mMIC, median MIC; AMB, amphotericin B; AND, anidulafungin; CAS, caspofungin; ITR, itraconazole; MF, micafungin; PZ, posaconazole; VOR, voriconazole

Table S5 Summary of mutations in the CYP51A and CYP51B genes of Aspergillus tubingensis

| Number | CYP51A gene |  | CYP51B gene |
| --- | --- | --- | --- |
|  | Nucleotide mutation | Amino acid mutation | Nucleotide mutation |
| 21BB035 | G6A,C174T,A789G,T1218C |  |  |
| 22BB080 | G6A,C174T,A789G,T1218C |  |  |
| 21BB018 | G6A,C174T,A789G,T1218C |  |  |
| 22BB101 | G6A,C174T,A789G,T1218C |  | G33A,T69C,C408T,G546A,G588A,C652A,C756G,C759T,T795C,G927A,G951A,G993C,G1005A |
| 21BB004 | G6A,C78T,T243C,C264A,C300T,C303T,G402A,C429A,T465C,A531G,T543C,C600T,C615T,G624A,C627A,T645C,T753C,G762A,A766G,A789G,C792T,C822T,A840G,T858C,A864G,G909A,T921C,T942C,T1268 | T256A |  |
| 22BB152 |  |  | G33A,C152T,G588A,C756G,C759T,T795C,G927A,G951A,G993C,G1005A |
| 21BB028 |  |  | G33A,C152T,G588A,C756G,C759T,T795C,G927A,G951A,G993C,G1005A |
| 22BB130 |  |  | G33A,C152T,G588A,C756G,C759T,T795C,G927A,G951A,G993C,G1005A |
| 21BB007 | A42C,C429T,A789G |  | G33A,C152T,G588A,C756G,C759T,T795C,G927A,G951A,G993C,G1005A |

MALDI-TOF MS identification of Aspergillus pre-treatment (protein extraction) method:

1. Add 1 mL of 75% ethanol to a 1.5 mL centrifuge tube.

2. In a biosafety cabinet, transfer a small amount of mycelium and/or spores to the centrifuge tube, avoiding contamination with the culture medium. Shake gently to mix.

3. Centrifuge at 10,000-13,000 rpm for 2 minutes, discard the supernatant, being careful not to aspirate the bacterial cells.

4. Add 30 μL of this reagent and use a micropipette to blow and mix repeatedly. (For densely packed mycelium or moss-like strains, it is recommended to vortex for 1 minute to promote cell lysis and release proteins.)

5. Pipette the solution onto the sample plate (target surface) and let it dry.

6. Follow the instructions of the matrix solution manual for mass spectrometry sample preparation and the operation manual of the fully automated microbial mass spectrometry detection system for testing.

According to the instructions from the manufacturer [DP305, Tiangen Biotech (Beijing) Co. Ltd., China], the specific method for extracting Aspergillus DNA is as follows:

1. Take approximately 100 mg of live mycelium and spores of Aspergillus, add liquid nitrogen, and grind thoroughly.

2. Quickly transfer the ground powder to a preheated centrifuge tube containing 700 μL of preheated buffer GP1 at 65°C, quickly invert and mix, then place the centrifuge tube in a 65°C water bath for 20 minutes. During the water bath, invert the centrifuge tube several times to mix the sample.

3. Add 700 μL of chloroform, mix thoroughly, and centrifuge at 12,000 rpm (~13,400xg) for 5 minutes.

4. Carefully transfer the upper aqueous phase obtained from the previous step to a new centrifuge tube, add 700 μL of buffer GP2, and mix thoroughly.

5. Transfer the mixed liquid to the adsorption column CB3, centrifuge at 12,000 rpm (~13,400xg) for 30 seconds, and discard the waste liquid.

6. Add 500 μL of buffer GD to the adsorption column CB3 (check whether anhydrous ethanol has been added before use), centrifuge at 12,000 rpm (~13,400xg) for 30 seconds, discard the waste liquid, and place the adsorption column CB3 into a collection tube.

7. Add 600 μL of wash solution PW to the adsorption column CB3, centrifuge at 12,000 rpm (~13,400xg) for 30 seconds, discard the waste liquid, and place the adsorption column CB3 into a collection tube.

8. Repeat step 7.

9. Place the adsorption column CB3 back into the collection tube, centrifuge at 12,000 rpm (~13,400xg) for 2 minutes, discard the waste liquid. Allow the adsorption column CB3 to sit at room temperature for a few minutes to completely dry the residual wash solution in the adsorbent material.

10. Transfer the adsorption column CB3 to a clean centrifuge tube, suspend 50-200 μL of elution buffer TE in the middle of the adsorption membrane, let it sit at room temperature for 2-5 minutes, centrifuge at 12,000 rpm (~13,400xg) for 2 minutes, and collect the solution in the centrifuge tube.