Table S1: The average concentration for the physiochemical parameters of wastewater collected from:

a) Conventional wastewater treatment (WWTPC)

| Parameters Location | BOD5 mg/l | COD mg/l | TSS mg/l | TN mg/l | TP mg/l | FC MPN/100ml |
| --- | --- | --- | --- | --- | --- | --- |
| Raw Sewage | 170 | 350 | 300 | 32 | 12 | 107 |
| Trickling Filters | 20 | 70 | 50 | 18 | 7 | 104 |

b) Advanced wastewater treatment plant (WWTPA)

| Parameters Location | BOD5 mg/l | COD mg/l | TSS mg/l | TN mg/l | TP mg/l | FC MPN/100ml |
| --- | --- | --- | --- | --- | --- | --- |
| Raw Sewage | 170 | 350 | 300 | 32 | 12 | 107 |
| UASB | 100 | 190 | 150 | 28 | 10 | 106 |
| Constructed Wetlands | 1 | 8 | Nil | Nil | Nil | 104 |
| Solar Driven Disinfection Units (AO&UV) | Nil | 5 | Nil | Nil | Nil | <50 |