Tables

Table 3.1: Amount of product per day and required water per day of KDS Textile

| Process | Product per day | Required water per day |
| --- | --- | --- |
| Printing | 10-ton/24hr | 160,000l/24hr |
| Finishing | 16-ton/24hr | 20,000l/24hr |
| Dyeing | 18-ton/24hr | 1255328l/24hr |
| Sum | 18-ton/24hr | 1595328l/24hr |

Water used in administration zone 125,000l/24hr

Table 3.2: Amount of product per day and required water per day of FOURH Textile

| Process | Product per day | Required water per day |
| --- | --- | --- |
| Printing | 12-ton/24hr | 300,000l/24hr |
| Finishing | 47-ton/24hr | 477,000l/24hr |
| Dyeing | 47-ton/24hr | 2457,000l/24hr |
| Sum | 47-ton/24hr | 5986000l/24hr |

Water used in administration zone 166,000l/24hr

Table 3.3: Amount of product per day and required water per day of AMBER Textile

| Process | Product per day | Required water per day |
| --- | --- | --- |
| Finishing | 39-ton/24hr | 272,000l/24hr |
| Dyeing | 31-ton/24hr | 1230,000l/24hr |
| Sum | 39-ton/24hr | 46588,000l/24hr |

Water used in administration zone 136,000l/24hr.

Table 3.4: Amount of yarn used per day in the following textiles

| Textile Name | Yarn used (ton per day) |
| --- | --- |
| KDS | 38 ton/24hr |
| FOURH | 94 ton/24hr |
| AMBER | - ton/24hr |

Effluent Characteristics Data: Both treated and untreated effluent samples were analyzed to determine the grey water footprint.

Table 3.5: Sample Characteristics of KDS Textile

| Parameters | RAW water | Treated water | Inlet | Outlet After ETP |
| --- | --- | --- | --- | --- |
| BOD | 0.6 | 0.1 | 316 | 9 |
| COD | 12 | 3 | 700 | 75 |
| TDS | 674 | 662 | 2430 | 2100 |
| TSS | 136 | 128 | 220 | 29 |

Effluent Discharge =1435,328l/24hr ,

Abstract water =1760,328l/24hr

Table3.6: Sample Characteristics of FOURH Textile

| Parameters | RAW water | Treated water | Inlet | Outlet After ETP |
| --- | --- | --- | --- | --- |
| BOD | 1 | 0.2 | 280 | 9 |
| COD | 10 | 2 | 720 | 36 |
| TDS | 696 | 682 | 2300 | 2100 |
| TSS | 185 | 138 | 140 | 2 |

Effluent Discharge =3134,000l/24hr

Abstract water =3478,000l/24hr

Table 3.7: Sample Characteristics of AMBER Textile

| Parameters | RAW water | Treated water | Inlet | Outlet After ETP |
| --- | --- | --- | --- | --- |
| BOD | 0.9 | 0.2 | 270 | 19 |
| COD | 13 | 4 | 628 | 56 |
| TDS | 696 | 654 | 2200 | 2100 |
| TSS | 138 | 126 | 677 | 48 |

| Year | Cotton Imports (kg) |
| --- | --- |
| 2018 | 1.5×109 |
| 2019 | 1.62×106 |
| 2020 | 1.79×109 |
| 2021 | 1.77×109 |

Table 3.9 shows the total amount of cotton imports in kilogram unit in recent years.

(No, 1995). The footprint for blue, green and grey water is displayed in Table 4.1.

| Textile Name | Blue water footprint | Green water footprint | Grey water footprint |
| --- | --- | --- | --- |
| KDS | 95.91 l/kg | 3744l/kg | 437.16l/kg |
| FOURH | 96.389 l/kg | 8335l/kg | 488.23l/kg |
| AMBER | 46.305 l/kg | 4956l/kg | 164.66l/kg |

## 4.2 Import related water footprint

.

| Year | Cotton imports (kg) | Blue water (l) | Green water (l) | Grey water (l) |
| --- | --- | --- | --- | --- |
| 2018 | 1.5×109 | 4.43×1012 | 7.74×1012 | 1.50×1012 |
| 2019 | 1.62×106 | 4.79×1012 | 8.36×1012 | 1.61×1012 |
| 2020 | 1.79×109 | 5.29×1012 | 9.24×1012 | 1.78×1012 |
| 2021 | 1.77×109 | 5.23×1012 | 9.13×1012 | 1.76×1012 |

| Year | Yarn imports (kg) | Blue water (l) | Green water (l) | Grey water (l) |
| --- | --- | --- | --- | --- |
| 2018 | 2.22×108 | 8.85 ×1011 | 1.54×1012 | 2.89×1011 |
| 2019 | 3.31×108 | 1.32×1012 | 2.30×1012 | 4.31×1011 |
| 2020 | 6.48×108 | 2.58×1012 | 4.51×1012 | 8.45×1011 |
| 2021 | 1.07×109 | 4.26×1012 | 7.45×1012 | 1.39×1012 |

### Export related water footprint

| Year | Cotton Produce (kg) | Blue water (l) | Green water (l) | Grey water (l) |
| --- | --- | --- | --- | --- |
| 2018 | 29×106 | 9.7×1010 | 2.037×1011 | 3.43×1010 |
| 2019 | 30×106 | 1.00×1010 | 2.11×1011 | 3.54×1010 |
| 2020 | 31.75×106 | 1.06×1010 | 2.23×1011 | 3.74×1010 |
| 2021 | 32.61×106 | 1.09×1010 | 2.29×1011 | 3.85×1010 |

| Year | Textile product exports (metric tons) | Virtual Blue water (l) | Virtual Grey water (l) |
| --- | --- | --- | --- |
| 2018 | 4,219,415 | 5.69×1011 | 3.55×1012 |
| 2019 | 4,42,220 | 5.96×1011 | 3.72×1012 |
| 2020 | 4,229,716 | 5.69×1011 | 3.55×1012 |
| 2021 | 4,37,198 | 5.89×1011 | 3.68×1012 |

| Year | Virtual Blue water (l) |  | Virtual Green water(l) |  | Virtual Grey water(l) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Imports | Exports | Imports | Exports | Imports | Exports |
| 2018 | 5.31×1012 | 6.66×1011 | 9.28×1012 | 2.04×1011 | 1.79×1012 | 3.58×1012 |
| 2019 | 6.11×1012 | 6.96×1011 | 10.66×1012 | 2.11×1011 | 2.04×1012 | 3.75×1012 |
| 2020 | 7.88×1012 | 6.75×1011 | 13.75×1012 | 2.23×1011 | 2.62×1012 | 3.58×1012 |
| 2021 | 9.49×1012 | 6.98×1011 | 16.58×1012 | 2.29×1011 | 3.15×1012 | 3.71×1012 |

## 4.4 Total virtual water footprint

Table 4.6 lists the total amount of virtual water that Bangladesh imports vs exports over