## Sheet1
Supplementary Table 1. Instrument and reagent of procalcitonin and C-reactive protein according to the hospital
| Measurement technology | Instrument | Reagent | Hospital
Procalcitonin | Electro-chemiluminescence immunoassay, ECLIA | COBAS e411, Roche Diagnostics, Mannheim, Germany | Elecsys BRAHMS PCT, Roche Diagnostics, Mannheim, Germany | Inje University Haeundae Paik Hosptial, Kyungpook National University Hospital
| Electro-chemiluminescence immunoassay, ECLIA | COBAS e801, Roche Diagnostics, Mannheim, Germany | Elecsys BRAHMS PCT, Roche Diagnostics, Mannheim, Germany | Dong-A University Hospital, Keimyung University Dongsan Medical Center, Daegu Catholic University Medical Center
| Electro-chemiluminescence immunoassay, ECLIA | COBAS 6000,Roche Diagnostics, Mannheim, Germany | Elecsys BRAHMS PCT, Roche Diagnostics, Mannheim, Germany | Kosin University Gospel Hospital
| Electro-chemiluminescence immunoassay, ECLIA | COBAS 6000, Roche Diagnostics, Mannheim, Germany | Elecsys BRAHMS PCT, Roche Diagnostics, Mannheim, Germany | Yeungnam University Medical Center
| Chemiluminescence immunoassay | ADVIA Centaur XPT Immunoassay System, Siemens Healthcare Diagnostics, Terrytown, NY, United States | ADVIA Centaur B·R·A·H·M·S PCT, Siemens Healthcare Diagnostics, Terrytown, NY, United States | Gyeongsang National University Changwon Hospital
| Time-Resolved Amplified Cryptate Emission,TRACE | KRYPTOR Compact PLUS, Thermo Fischer Scientific, Waltham, Massachusetts, United States | B·R·A·H·M·S PCT sensitive KRYPTOR, Thermo Fisher Scientific, BRAHMS GmbH, Henningsdorf, Germany | Pusan National University Yangsan Hospital
| Enzyme-Linked Fluorescent Assay, ELFA | VIDAS, bioMérieux, Marcy-l'Étoile, France | VIDAS BRAHMS PCT, bioMérieux, Marcy-l'Étoile, France | Inje University Busan Paik Hospital
C-reactive protein | Particle enhanced immunoturbidimetric assay | COBAS c702, Roche Diagnostics, Mannheim, Germany | Roche CRPL3, Roche Diagnostics, Mannheim, Germany | Keimyung University Dongsan Medical Center, Daegu Catholic University Medical Center
| Particle enhanced immunoturbidimetric assay | COBAS c703, Roche Diagnostics, Mannheim, Germany | Roche CRPL3, Roche Diagnostics, Mannheim, Germany | Kyungpook National University Hospital
| Latex Agglutination Turbidimetric Immunoassay | Hitachi 7600, Hitachi High Tech, Tokyo, Japan | Nanopia CRP, Sekisui, Tokyo, Japan | Inje University Haeundae Paik Hosptia
| Latex Agglutination Turbidimetric Immunoassay | Hitachi 7170, Hitachi High Tech, Tokyo, Japan | Nanopia CRP, Sekisui, Tokyo, Japan | Inje University Busan Paik Hospital
| Latex particle immunoturbidimetric method | AU5800, Beckman Coulter, Brea, CA, United States | AU CRP reagent, Beckman Coulter, Brea, CA, United States | Pusan National University Yangsan Hospital
| Latex particle immunoturbidimetric method | AU5800, Beckman Coulter, Brea, CA, United States | AU CRP Latex reagent, Beckman Coulter, Brea, CA, United States | Dong-A University Hospital
| Latex enhanced Immunoturbidimetric assay | ADVIA Chemistry XPT, Siemens Healthcare Diagnostics, Terrytown, NY, United States | ADVIA Chemistry C-Reactive Protein_2 (CRP_2), Siemens Healthcare Diagnostics,Terrytown, NY, United States | Kosin University Gospel Hospital
| Immuno-turbidimetric test | AU5800, Beckman Coulter, Brea, CA, United States | AU CRP Latex reagent, Beckman Coulter, Brea, CA, United States | Gyeongsang National University Changwon Hospital
| Highly sensitive near infrared particle immunoassay rate methodology | Beckman Coulter UniCel DxC600, Beckman Coulter, Brea, CA, United States | SYNCHRON® System(s) CRPH reagent, Beckman Coulter, Brea, CA, United States | Yeungnam University Medical Center