Appendix 1. Methods for analysis of organophosphate ester flame retardant metabolites.

Nine flame retardant metabolites were measured in previously unthawed urine samples by NSF International (Ann Arbor, MI) using isotope dilution–liquid chromatography–tandem mass spectrometry (ID–LC–MS/MS): three chlorinated diakyl phosphates, diphenyl phosphate, 2,3,4,5-tetrabromobenzoic acid, and four other organophosphates. The method had been developed to simulate The Centers for Disease Control and Prevention (CDC) analytical method [1]. The methods were validated in accordance with Food and Drug Administration Guidance for Industry: Bioanalytical Method Validation [2].

Samples underwent enzymatic deconjugation of glucuronidated species, off-line solid phase extraction, and analysis using a Thermo Scientific (Waltham, MA, USA) Quantiva triple quadrupole mass spectrometer using multiple reaction monitoring with heated electrospray ionization in negative mode.  Urine sample off-line extraction was performed using Phenomenex (Torrance, CA, USA) Strata X-AW  33μm Polymeric Weak Anion 60mg/well, 96 well plate. Chromatographic separation was performed using an Agilent (Santa Clara, CA, USA) ZORBAX Eclipse XDB-C8 5μm (3.0 x 150mm) analytical column. Flame retardant calibration ranges utilized were 0.2 – 160 ng/ml. The validated analyte calibration curve correlation coefficient (R2) range was 0.985-0.999. The method accuracy (% nominal concentration) and precision (%RSD) were determined through six replicate analyses of analytes spiked at two or three different concentrations in human urine across validation runs on three separate days (n =18) which reflects both the intra-day and inter-day variability of the assay. The accuracy (% nominal concentration) range across all analytes was 67–124% with precision (%RSD) range for urine quality control samples across all analytes being 1.8–14%.

1.	Jayatilaka, N.K., et al., Quantification of three chlorinated dialkyl phosphates, diphenyl phosphate, 2,3,4,5-tetrabromobenzoic acid, and four other organophosphates in human urine by solid phase extraction-high performance liquid chromatography-tandem mass spectrometry. Analytical and bioanalytical chemistry, 2017. 409(5): p. 1323-1332.

2.	Food and Drug Administration, Bioanalytical Method Validation - Guidance for Industry. 2001.