| Table S1. BLADE MWDS Settings for Bone Method |  |
| --- | --- |
| Stage 1 |  |
| Temperature (°C) | 220 |
| Pressure (psi) | 700 |
| Stirring | Medium |
| Ramp Time | 5:00 |
| Hold Time | 5:00 |
| Vent Pressure (PSI) |  |
| 1 | 225 |
| 2 | 250 |
| 3 | 275 |
| 4 | 325 |
| 5 | 750 |
| Vent Count |  |
| 1 | 2 |
| 2 | 2 |
| 3 | 2 |
| 4 | 2 |
| 5 | ∞ |
| Sensors |  |
| Temperature (°C) | 42.2 |
| I/O Board Temperature (°C) | 39.7 |
| AC Board Temperature (°C) | 33.9 |
| Pressure (psi) | 0.0 |
| Line Voltage (V) | 120.0 |
| Line Frequency (Hz) | 60 |

| Table S2. 44Ca ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading | 10 |
| Readings/Replicate | 10 |
| Replicates | 3 |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 50 |
| Integration Time | 5000 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |
| 44Ca |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 50 |
| Integration Time | 5000 |
| Profile | Ammonia DRC |
| Ammonia | 0.5 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.45 |

| Table S3. 39K ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading | 5 |
| Readings/Replicate | 5 |
| Replicates | 5 |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Ammonia DRC |
| Ammonia | 0.7 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.85 |
| 39K |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Ammonia DRC |
| Ammonia | 0.7 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.85 |

| Table S4. 31P ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading | 5 |
| Readings/Replicate | 5 |
| Replicates | 5 |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |
| 31P |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Helium KED |
| Ammonia | 0 |
| Helium | 0.8 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0.015 |
| RPq | 0.25 |

| Table S5. 24Mg ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading | 10 |
| Readings/Replicate | 10 |
| Replicates | 5 |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 200 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |
| 24Mg |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 200 |
| Profile | Helium KED |
| Ammonia | 0 |
| Helium | 3 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |

| Table S6. 65Zn ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading | 5 |
| Readings/Replicate | 5 |
| Replicates | 5 |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |
| 65Zn |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Helium KED |
| Ammonia | 0 |
| Helium | 3 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |

| Table S7. 57Fe ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading | 5 |
| Readings/Replicate | 5 |
| Replicates | 5 |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |
| 57Fe |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Helium KED |
| Ammonia | 0 |
| Helium | 3 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |

| Table S8. 208Pb ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading | 5 |
| Readings/Replicate | 5 |
| Replicates | 5 |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |
| 208Pb |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |

| Table S9. 88Sr ICP-MS Method |  |
| --- | --- |
| Parameter | Operating Condition |
| Sweeps/Reading |  |
| Readings/Replicate |  |
| Replicates |  |
| Internal Standard 45Sc |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile | Standard |
| Ammonia | 0 |
| Helium | 0 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa | 0 |
| RPq | 0.25 |
| 88Sr |  |
| Scan Mode | MS/MS |
| MCA Channels | 1 |
| IGM | Focusing |
| Dwell Time/ AMU | 2 |
| Integration Time | 50 |
| Profile |  |
| Ammonia | 0 |
| Helium | 0.8 |
| Hydrogen | 0 |
| Oxygen | 0 |
| RPa |  |
| RPq |  |

| Table S10. BLADE MWDS Settings for Bone Method |  |
| --- | --- |
| Stage 1 |  |
| Temperature (°C) | 220 |
| Pressure (psi) | 700 |
| Stirring | Medium |
| Ramp Time | 5:00 |
| Hold Time | 5:00 |
| Vent Pressure (PSI) |  |
| 1 | 225 |
| 2 | 250 |
| 3 | 275 |
| 4 | 325 |
| 5 | 750 |
| Vent Count |  |
| 1 | 2 |
| 2 | 2 |
| 3 | 2 |
| 4 | 2 |
| 5 | ∞ |
| Sensors |  |
| Temperature (°C) | 42.2 |
| I/O Board Temperature (°C) | 39.7 |
| AC Board Temperature (°C) | 33.9 |
| Pressure (psi) | 0.0 |
| Line Voltage (V) | 120.0 |
| Line Frequency (Hz) | 60 |