SUPPLEMENTARY INFORMATION

Optimized Design and Economical Analysis of Eco-Sponge water-logging Prevention System for Converter Stations

Zhengdong Wan 1,*, Liangzheng WU 1 and Yan Huang 1

1 energy Development Research Institute, China Southern Power Grid, Guangdong, Guangzhou 510530, China

Figure S1. Map of the molecular catchment partitioning

Table S1. SMMM model parameters rate-setting

| Parameter names |  | Specific values | Data sources |
| --- | --- | --- | --- |
| Area of Sub-catchments |  | / | actual measurement |
| Width of sub-catchments |  | / | Area/Flow length |
| Impermeable Area Ratio of sub-catchments |  | 0-100 | actual measurement |
| Water storage in the low-lying land | permeability | 1.27 | Model Brochure |
|  | impermeability | 3.81 | Model Brochure |
| Manning N value | permeability | 0.15 | Model Brochure |
|  | impermeability | 0.013 | Model Brochure |
| Percentage of impermeable water storage without the low-lying land |  | 25% | Model Brochure |
| Horton equation | Maximum rate of infiltration | 75 | Reference |
|  | Minimum rate of infiltration | 4 |  |
|  | attenuation constant | 4 |  |
| Node parameters |  | / | Pipe network information |
| Pipe parameters |  | / | Pipe network information |