Supplementary Information

# Differentiation between Mpox infection and MVA immunization by a novel machine learning supported serological multiplex assay

Rebecca Surtees1#, Fridolin Treindl2#, Shakhnaz Akhmedova3#, Denis Beslic3#, Fatimanur Bayram1, Akin Sesver1, My Linh Nguyen1, Thomas Rinner1, Marica Grossegesse1, Martin Skiba2, Janine Michel1, Nils Körber3, Klaus Jansen4, Uwe Koppe4, Ulrich Marcus4, Nicole Friedrich5, Annette Mankertz5, Katharina Ladewig3, Hans Werner Mages2, Brigitte G. Dorner2, Andreas Nitsche1*, Daniel Stern2*

# Supporting figures

Figure S1. Multiple sequence alignments of poxviral protein ATI. The sequences from Monkeypox virus strain Zaire-96-I-16 (MPXV_Zaire), Cowpox virus strain Brighton Red (CPXV_BR), Modified Vaccinia virus Ankara (VACV_MVA), Vaccinia virus strain 3737 (VACV_Dryvax), Vaccinia virus strain Acambis clone 2000 (VACV_Acambis), Vaccinia virus strain Western Reserve (VACV_WR), Variola major virus, and Variola minor virus have been aligned by Clustal Omega and a colored output was generated with the program ESPript 3.0 1. Note: in the alignment of the ATI-proteins VACV_MVA is missing, since the corresponding gene is deleted in this strain 2 and for CPXV_BR only the N-terminal 727 amino acids have been used in the alignment.

Figure S2. Multiple sequence alignments of poxviral protein A5L.

Figure S3. Multiple sequence alignments of poxviral proteins A33R/A35R.

Figure S4. Multiple sequence alignments of poxviral proteins B5R/B6R.

Figure S5. Multiple sequence alignments of poxviral proteins A27L/A29L.

Figure S6. Multiple sequence alignments of poxviral proteins D8L/E8L.

Figure S7. Multiple sequence alignments of poxviral protein H3L.

Figure S8. Multiple sequence alignments of poxviral proteins L1R/M1R.

Figure S9. ROC analysis for comparison between the IFA results (titer ≤ 1:80 negative) and the IgG (a) or IgM (b) binding response determined in the multiplex assay against the tested antigens.

Figure S10. Correlation between binding to the recombinant protein antigens in the multiplex assay and results obtained by an in-house ELISA for IgG and IgM detection.

Figure S11. Comparison between the antigens implemented in the multiplex assay with the IFA titres (a) or the NT titres (b) for IgM detection.

Figure S12. Plot of pearson’s or spearman correlation coefficients between the antigens implemented in the multiplex assay and the ELISA for IgG (a) or IgM (b) detection (pearson’s r), the IFA for IgG (c) and IgM (d), or the NT for IgG (e) or IgM (f) detection (spearman rho rank correlation).

Figure S13. Violin plots for comparison of means between groups with presumed smallpox vaccination (Age >= 60 years) or without presumed smallpox vaccination (Age < 40 years) for IgG (a) and IgM (b) min-max normalized results.

Figure S14. Normalized ratios of binding to IgG (a) or IgM (b) to homologue MPXV/VACV antigen pairs stratified by presumed childhood smallpox vaccination (“Yes”, “No”, “Ambiguous”).

Figure S15. Binding of monospecific antibodies and VIG to orthopoxvirus specific antigens coupled to MagPlex beads and analysis of batch to batch variability of coupling. a) Test of three different dilutions of mono- or polyclonal monospecific antibodies and VIG (vertical facets) targeting antigens coupled to MagPlex beads (horizontal facets).

Figure S16. a) Pairwise comparison between IgG binding in the two tested seropanels (“epi” and “acute”) stratified by the serum status (pre, MVA vaccination, Mpox infection) for sera from individual younger than 40 years (as of 2023) on a subset of immunodominant antigens. b) Corresponding pairwise comparisons for the ratios of binding to the MPXV/VACV homologue protein pairs. Significant differences of student’s t-test indicated by symbols (ns: non-significant, p values: * < 0.05, ** < 0.01, *** < 0.001, **** < 0.0001). Population-based cut-off values were determined by performing ROC-analysis by setting preimmune sera from the acute panel as negative group and Mpox infected patients from the epi panel as positive group for all antigens with the exception of ATI-N. Here, both the preimmune and MVA vaccinated sera from the acute panel were included in the negative group. Similarly, ROC-curves were constructed for the ratios between E8L/D8L, A35R/A33R, and B6R/B5R. Here, sera after MVA vaccination in the preimmune group were set as negative group while sera after Mpox infection were set as positive group. Corresponding ROC curves are shown in supporting figure S16. Colors are coded according to the serostatus (fraction seropositive) of all orthopoxvirus specific antigens.

Figure S17. Receiver operator curves to determine population-based cut-off values based on binding to the different antigens (a) or ratios between MPXV/VACV antigen-pairs (b) as described in figure S6. Sera from the “epi” panel were excluded from the training data set used in the ML-algorithms based on the following criteria: for sera, which have been declared as preimmune sera in the “epi” panel, at least on antigen is above the cut-off value, which was set to deliver 100% specificity based on the population-based cut-off OR at least two ratios are above the cut-off value (n = 95 sera). For sera, which have been declared as “MVA” in the “epi” panel, the response for the ATI-N should be above the cut-off value for 100% specificity or at least two ratios are above the cut-off value AND at least one additional antigen was above the cut-off values for 100% specificity (n = 37 sera).

Figure S18. Feature importance of the LDA algorithm trained on the “acute acute” dataset (a, b), the “all all” dataset (c, d), or the “epi epi” dataset (e, f). a, c, e) Results for the IgG datasets are shown while panels b, c, f) show results for the IgM and IgG datasets. Exemplarily results from the 15 runs of the cross validation are shown.

Figure S19. Feature importance of the GBC algorithm trained on the “acute acute” dataset (a, b), the “all all” dataset (c, d), or the “epi epi” dataset (e, f). a, c, e) Results for the IgG datasets are shown while panels b, c, f) show results for the IgM and IgG datasets. Exemplarily results from the 15 runs of the cross validation are shown.

Figure S20. Feature importance of the RF algorithm trained on the “acute acute” dataset (a, b), the “all all” dataset (c, d), or the “epi epi” dataset (e, f). a, c, e) Results for the IgG datasets are shown while panels b, c, f) show results for the IgM and IgG datasets. Exemplarily results from the 15 runs of the cross validation are shown.

Figure S21. Circular plots of contingency data of classification by RF or FRBC of the “all all” dataset. Circular segments indicate the ground truth while inner circle traces show, which classifications have been made on all datasets (All), on only sera with a high likelihood of a childhood vaccination against smallpox (Yes), without a childhood vaccination against smallpox or ambiguous sera.

Figure S22. Min-Max-normalized qq-plots of the sera in the “acute” panel for the IgG (a) and IgM (b) data. Normal distributed data is plotted in blue, data with deviations from normal distributions are plotted in orange. Data are stratified by antigen, serostatus, and presumed childhood immunization.

Figure S23. Min-Max-normalized qq-plots of the sera in the “epi” panel for the IgG (a) and IgM (b) data. Normal distributed data is plotted in blue, data with deviations from normal distributions are plotted in orange. Data are stratified by antigen, serostatus, and presumed childhood immunization.

# Supporting tables

Table S1. Pairwise sequence homology between the ATI protein from different orthopoxvirus strains# based on the amino acid sequences.

| ATI | MPXV_Zaire | CPXV_BR | VACV_Dryvax | VACV_Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 91.7 | 94.4 | 94.4 | 94.8 | 93.1 | 93.0 |
| CPXV_BR | 91.7 |  | 92.1 | 92.1 | 92.5 | 87.5 | 87.4 |
| VACV_Dryvax | 94.4 | 92.1 |  | 100.0 | 98.8 | 90.9 | 90.8 |
| VACV_Acambis | 94.4 | 92.1 | 100.0 |  | 98.8 | 90.9 | 90.8 |
| VACV_WR | 94.8 | 92.5 | 98.8 | 98.8 |  | 91.6 | 91.5 |
| Variola_major | 93.1 | 87.5 | 90.9 | 90.9 | 91.6 |  | 99.9 |
| Variola_minor | 93.0 | 87.4 | 90.8 | 90.8 | 91.5 | 99.9 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S2. Pairwise sequence homology between the A5L protein from different orthopoxvirus strains# based on the amino acid sequences.

| A5L | MPXV_Zaire | CPXV_BR | VACV_MVA | VACV_Dryvax | VACV_Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 87.1 | 91.8 | 92.6 | 92.6 | 94.0 | 85.0 | 84.6 |
| CPXV_BR | 87.1 |  | 85.8 | 87.5 | 87.5 | 86.8 | 83.4 | 83.8 |
| VACV_MVA | 91.8 | 85.8 |  | 93.6 | 93.6 | 95.4 | 89.9 | 90.3 |
| VACV_Dryvax | 92.6 | 87.5 | 93.6 |  | 100.0 | 95.8 | 86.4 | 86.7 |
| VACV_Acambis | 92.6 | 87.5 | 93.6 | 100.0 |  | 95.8 | 86.4 | 86.7 |
| VACV_WR | 94.0 | 86.8 | 95.4 | 95.8 | 95.8 |  | 85.7 | 86.0 |
| Variola_major | 85.0 | 83.4 | 89.9 | 86.4 | 86.4 | 85.7 |  | 98.9 |
| Variola_minor | 84.6 | 83.8 | 90.3 | 86.7 | 86.7 | 86.0 | 98.9 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S3. Pairwise sequence homology between the A33R/A35R proteins from different orthopoxvirus strains# based on the amino acid sequences.

| A33R/A35R | MPXV_Zaire | CPXV_BR | VACV_MVA | VACV_Dryvax | VACV_Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 92.3 | 95.0 | 95.6 | 95.6 | 95.6 | 88.5 | 88.5 |
| CPXV_BR | 92.3 |  | 93.0 | 93.6 | 93.6 | 93.6 | 88.8 | 88.8 |
| VACV_MVA | 95.0 | 93.0 |  | 98.4 | 98.4 | 98.4 | 90.3 | 90.3 |
| VACV_Dryvax | 95.6 | 93.6 | 98.4 |  | 100.0 | 100.0 | 90.9 | 90.9 |
| VACV_Acambis | 95.6 | 93.6 | 98.4 | 100.0 |  | 100.0 | 90.9 | 90.9 |
| VACV_WR | 95.6 | 93.6 | 98.4 | 100.0 | 100.0 |  | 90.9 | 90.9 |
| Variola_major | 88.5 | 88.8 | 90.3 | 90.9 | 90.9 | 90.9 |  | 100.0 |
| Variola_minor | 88.5 | 88.8 | 90.3 | 90.9 | 90.9 | 90.9 | 100.0 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S4. Pairwise sequence homology between the B5R/B6R proteins from different orthopoxvirus strains# based on the amino acid sequences.

| B5R/B6R | MPXV_Zaire | CPXV_BR | VACV_MVA | VACV_Dryvax | VACV _Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 93.7 | 96.2 | 96.5 | 96.8 | 96.5 | 92.4 | 92.7 |
| CPXV_BR | 93.7 |  | 92.7 | 93.1 | 93.4 | 93.4 | 93.7 | 94.0 |
| VACV_MVA | 96.2 | 92.7 |  | 99.7 | 99.4 | 97.2 | 92.4 | 92.7 |
| VACV_Dryvax | 96.5 | 93.1 | 99.7 |  | 99.7 | 96.8 | 92.7 | 93.1 |
| VACV_Acambis | 96.8 | 93.4 | 99.4 | 99.7 |  | 96.5 | 93.1 | 93.4 |
| VACV_WR | 96.5 | 93.4 | 97.2 | 96.8 | 96.5 |  | 92.7 | 93.1 |
| Variola_major | 92.4 | 93.7 | 92.4 | 92.7 | 93.1 | 92.7 |  | 99.7 |
| Variola_minor | 92.7 | 94.0 | 92.7 | 93.1 | 93.4 | 93.1 | 99.7 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S5. Pairwise sequence homology between the A27L/A29L proteins from different orthopoxvirus strains# based on the amino acid sequences.

| A27L/A29L | MPXV_Zaire | CPXV_BR | VACV_MVA | VACV_Dryvax | VACV_Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 95.5 | 93.6 | 94.5 | 94.5 | 94.5 | 94.5 | 94.5 |
| CPXV_BR | 95.5 |  | 97.3 | 98.2 | 98.2 | 98.2 | 98.2 | 98.2 |
| VACV_MVA | 93.6 | 97.3 |  | 99.1 | 99.1 | 99.1 | 97.3 | 97.3 |
| VACV_Dryvax | 94.5 | 98.2 | 99.1 |  | 100.0 | 100.0 | 98.2 | 98.2 |
| VACV_Acambis | 94.5 | 98.2 | 99.1 | 100.0 |  | 100.0 | 98.2 | 98.2 |
| VACV_WR | 94.5 | 98.2 | 99.1 | 100.0 | 100.0 |  | 98.2 | 98.2 |
| Variola_major | 94.5 | 98.2 | 97.3 | 98.2 | 98.2 | 98.2 |  | 100.0 |
| Variola_minor | 94.5 | 98.2 | 97.3 | 98.2 | 98.2 | 98.2 | 100.0 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S6. Pairwise sequence homology between the D8L/E8L proteins from different orthopoxvirus strains# based on the amino acid sequences.

| D8L/E8L | MPXV_Zaire | CPXV_BR | VACV_MVA | VACV_Dryvax | VACV_Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 97.0 | 94.4 | 94.1 | 94.1 | 94.1 | 92.8 | 92.8 |
| CPXV_BR | 97.0 |  | 94.1 | 94.4 | 94.4 | 94.4 | 93.4 | 93.4 |
| VACV_MVA | 94.4 | 94.1 |  | 98.4 | 97.7 | 98.4 | 95.7 | 95.7 |
| VACV_Dryvax | 94.1 | 94.4 | 98.4 |  | 99.3 | 99.3 | 96.7 | 96.7 |
| VACV_Acambis | 94.1 | 94.4 | 97.7 | 99.3 |  | 98.7 | 97.4 | 97.4 |
| VACV_WR | 94.1 | 94.4 | 98.4 | 99.3 | 98.7 |  | 96.1 | 96.1 |
| Variola_major | 92.8 | 93.4 | 95.7 | 96.7 | 97.4 | 96.1 |  | 100.0 |
| Variola_minor | 92.8 | 93.4 | 95.7 | 96.7 | 97.4 | 96.1 | 100.0 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S7. Pairwise sequence homology between the H3L proteins from different orthopoxvirus strains# based on the amino acid sequences.

| H3L | MPXV_Zaire | CPXV_BR | VACV_MVA | VACV_Dryvax | VACV_Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 94.1 | 93.8 | 92.6 | 94.1 | 93.8 | 93.2 | 93.5 |
| CPXV_BR | 94.1 |  | 96.6 | 94.8 | 96.3 | 95.7 | 95.1 | 95.4 |
| VACV_MVA | 93.8 | 96.6 |  | 97.5 | 99.7 | 98.8 | 96.0 | 96.3 |
| VACV_Dryvax | 92.6 | 94.8 | 97.5 |  | 97.8 | 96.9 | 94.4 | 94.8 |
| VACV_Acambis | 94.1 | 96.3 | 99.7 | 97.8 |  | 99.1 | 96.3 | 96.6 |
| VACV_WR | 93.8 | 95.7 | 98.8 | 96.9 | 99.1 |  | 96.0 | 96.3 |
| Variola_major | 93.2 | 95.1 | 96.0 | 94.4 | 96.3 | 96.0 |  | 99.7 |
| Variola_minor | 93.5 | 95.4 | 96.3 | 94.8 | 96.6 | 96.3 | 99.7 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S8. Pairwise sequence homology between the L1R/M1R proteins from different orthopoxvirus strains# based on the amino acid sequences.

| L1R/M1R | MPXV_Zaire | CPXV_BR | VACV_MVA | VACV_Dryvax | VACV_Acambis | VACV_WR | Variola_major | Variola_minor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MPXV_Zaire |  | 98.4 | 98.8 | 98.8 | 98.8 | 98.4 | 99.2 | 98.8 |
| CPXV_BR | 98.4 |  | 98.8 | 98.8 | 98.8 | 98.4 | 99.2 | 98.8 |
| VACV_MVA | 98.8 | 98.8 |  | 100.0 | 100.0 | 99.6 | 99.6 | 99.2 |
| VACV_Dryvax | 98.8 | 98.8 | 100.0 |  | 100.0 | 99.6 | 99.6 | 99.2 |
| VACV_Acambis | 98.8 | 98.8 | 100.0 | 100.0 |  | 99.6 | 99.6 | 99.2 |
| VACV_WR | 98.4 | 98.4 | 99.6 | 99.6 | 99.6 |  | 99.2 | 98.8 |
| Variola_major | 99.2 | 99.2 | 99.6 | 99.6 | 99.6 | 99.2 |  | 99.6 |
| Variola_minor | 98.8 | 98.8 | 99.2 | 99.2 | 99.2 | 98.8 | 99.6 |  |

# BR: Brigthon Red, WR: Western Reserve

Table S9. Cut-off values and 95% confidence intervals (CI) as determined by method comparison between IFA and the multiplex assay for IgG antibodies.

| Antigen | Median | Lower 95% CI | Upper 95% CI |
| --- | --- | --- | --- |
| A27L | 1503 | 710 | 4516 |
| A29 | 689 | 203 | 2277 |
| A33R | 677 | 98 | 734 |
| A35R | 882 | 559 | 968 |
| A5L | 2180 | 2041 | 7036 |
| ATI.C | 3945 | 3422 | 13298 |
| ATI.N | 112 | 69 | 169 |
| B5R | 152 | 51 | 697 |
| B6 | 145 | 49 | 214 |
| D8L | 339 | 125 | 381 |
| Delta | 30 | 27 | 246 |
| E8 | 81 | 64 | 1028 |
| H3L | 631 | 519 | 2003 |
| L1R | 4215 | 1409 | 6741 |
| M1 | 2488 | 2003 | 4351 |

Table S10. Cut-off values and 95% confidence intervals (CI) as determined by method comparison between IFA and the multiplex assay for IgM antibodies.

| Antigen | Median | Lower 95% CI | Upper 95% CI |
| --- | --- | --- | --- |
| A27L | 515 | 271 | 1501 |
| A29 | 763 | 686 | 2954 |
| A33R | 1215 | 1090 | 8153 |
| A35R | 1440 | 268 | 7661 |
| A5L | 9665 | 3690 | 10105 |
| ATI.C | 6688 | 5972 | 68779 |
| ATI.N | 53 | 27 | 81 |
| B5R | 198 | 159 | 409 |
| B6 | 144 | 14 | 195 |
| D8L | 244 | 103 | 391 |
| Delta | 62 | 30 | 106 |
| E8 | 198 | 54 | 1001 |
| H3L | 1098 | 688 | 2132 |
| L1R | 583 | 383 | 2025 |
| M1 | 605 | 461 | 4575 |

Table S11. Performance parameters (median, lower and upper 95% confidence intervals) for method comparison between IFA and the multiplex assay for IgG antibodies.

| Antigen | Lower | Median | Upper | Lower | Median | Upper | Lower | Median | Upper |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sensitivity (%) |  |  | Specificity (%) |  |  | Accuracy (%) |  |  |
| A27L | 56% | 76% | 96% | 53% | 76% | 94% | 62% | 76% | 88% |
| A29 | 36% | 60% | 84% | 41% | 65% | 88% | 50% | 62% | 76% |
| A33R | 64% | 84% | 96% | 82% | 100% | 100% | 79% | 88% | 98% |
| A35R | 64% | 80% | 96% | 82% | 94% | 100% | 74% | 86% | 95% |
| A5L | 36% | 72% | 96% | 35% | 59% | 94% | 52% | 67% | 81% |
| ATI.C | 60% | 88% | 100% | 53% | 76% | 94% | 67% | 81% | 91% |
| ATI.N | 48% | 68% | 84% | 65% | 82% | 100% | 60% | 71% | 86% |
| B5R | 64% | 80% | 96% | 65% | 82% | 100% | 71% | 81% | 93% |
| B6 | 68% | 84% | 96% | 76% | 94% | 100% | 76% | 88% | 95% |
| D8L | 60% | 80% | 96% | 71% | 100% | 100% | 76% | 86% | 95% |
| Delta | 76% | 92% | 100% | 76% | 88% | 100% | 79% | 90% | 98% |
| E8 | 60% | 80% | 96% | 65% | 82% | 100% | 71% | 83% | 93% |
| H3L | 52% | 76% | 92% | 53% | 76% | 94% | 62% | 76% | 86% |
| L1R | 44% | 68% | 92% | 47% | 76% | 100% | 57% | 71% | 83% |
| M1 | 56% | 76% | 92% | 65% | 82% | 100% | 64% | 79% | 88% |

Table S12. Performance parameters (median, lower and upper 95% confidence intervals) for method comparison between IFA and the multiplex assay for IgM antibodies.

| Antigen | Lower | Median | Upper | Lower | Median | Upper | Lower | Median | Upper |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sensitivity (%) |  |  | Specificity (%) |  |  | Accuracy (%) |  |  |
| A27L | 38% | 63% | 88% | 38% | 68% | 94% | 45% | 67% | 86% |
| A29 | 63% | 88% | 100% | 62% | 76% | 100% | 64% | 79% | 98% |
| A33R | 50% | 75% | 100% | 71% | 85% | 100% | 71% | 83% | 98% |
| A35R | 63% | 88% | 100% | 68% | 94% | 100% | 71% | 90% | 100% |
| A5L | 38% | 63% | 100% | 38% | 88% | 97% | 50% | 83% | 93% |
| ATI.C | 50% | 88% | 100% | 44% | 62% | 100% | 52% | 67% | 90% |
| ATI.N | 50% | 75% | 100% | 53% | 76% | 97% | 55% | 76% | 93% |
| B5R | 63% | 88% | 100% | 71% | 88% | 97% | 74% | 88% | 98% |
| B6 | 63% | 88% | 100% | 68% | 91% | 97% | 74% | 90% | 98% |
| D8L | 75% | 88% | 100% | 68% | 91% | 100% | 74% | 90% | 98% |
| Delta | 75% | 100% | 100% | 71% | 85% | 97% | 76% | 88% | 98% |
| E8 | 75% | 88% | 100% | 71% | 88% | 100% | 76% | 90% | 98% |
| H3L | 50% | 75% | 100% | 44% | 68% | 100% | 50% | 69% | 95% |
| L1R | 50% | 75% | 100% | 50% | 68% | 88% | 55% | 71% | 86% |
| M1 | 50% | 75% | 100% | 41% | 62% | 100% | 50% | 67% | 90% |

Table S13. Pearson`s correlation coefficients between ELISA and multiplex results for the tested antigens and antibody isotypes.

| Antigen | Antibody Isotype Tested | Pearson`s r | P value# |
| --- | --- | --- | --- |
| Delta | IgG | 0.93 | 0 |
| E8L | IgG | 0.91 | 0 |
| B5R | IgG | 0.9 | 0 |
| B6R | IgG | 0.9 | 0 |
| A35R | IgG | 0.88 | 0 |
| A33R | IgG | 0.85 | 0 |
| D8L | IgG | 0.79 | 0 |
| H3L | IgG | 0.79 | 0 |
| ATI-N | IgG | 0.69 | 0 |
| A29L | IgG | 0.68 | 0 |
| A27L | IgG | 0.65 | 0 |
| A5L | IgG | 0.58 | 0 |
| L1R | IgG | 0.42 | 0.00016 |
| M1R | IgG | 0.4 | 0.00032 |
| ATI-C | IgG | 0.29 | 0.01046 |
| Delta | IgM | 0.85 | 0 |
| E8L | IgM | 0.84 | 0 |
| B5R | IgM | 0.75 | 0 |
| A35R | IgM | 0.74 | 0 |
| B6R | IgM | 0.74 | 0 |
| D8L | IgM | 0.72 | 0 |
| H3L | IgM | 0.71 | 0 |
| ATI-N | IgM | 0.66 | 0 |
| M1R | IgM | 0.65 | 0 |
| ATI-C | IgM | 0.62 | 0 |
| A5L | IgM | 0.59 | 0 |
| A33R | IgM | 0.57 | 0 |
| A27L | IgM | 0.56 | 0 |
| A29L | IgM | 0.53 | 0 |
| L1R | IgM | 0.52 | 0 |

# Significant correlations printed in bold font.

Table S14. Spearman rho rank correlation coefficients between IFA titres and multiplex results for the tested antigens and antibody isotypes.

| Antigen | Antibody Isotype Tested | Spearman rho rank correlation coefficient | P value# |
| --- | --- | --- | --- |
| A33R | IgG | 0.84 | 0 |
| Delta | IgG | 0.84 | 0 |
| D8L | IgG | 0.83 | 0 |
| E8L | IgG | 0.83 | 0 |
| B6R | IgG | 0.83 | 0 |
| A35R | IgG | 0.79 | 0 |
| B5R | IgG | 0.74 | 0 |
| ATI-N | IgG | 0.73 | 0.00001 |
| A27L | IgG | 0.71 | 0.00001 |
| ATI-C | IgG | 0.66 | 0.00011 |
| H3L | IgG | 0.63 | 0.00024 |
| A5L | IgG | 0.56 | 0.00152 |
| L1R | IgG | 0.5 | 0.00557 |
| M1R | IgG | 0.41 | 0.02569 |
| A29L | IgG | 0.37 | 0.04613 |
| E8L | IgM | 0.5 | 0.00555 |
| D8L | IgM | 0.48 | 0.00824 |
| A35R | IgM | 0.48 | 0.00836 |
| A29L | IgM | 0.47 | 0.00972 |
| Delta | IgM | 0.46 | 0.00029 |
| M1R | IgM | 0.43 | 0.02119 |
| H3L | IgM | 0.4 | 0.03362 |
| B6R | IgM | 0.4 | 0.03312 |
| L1R | IgM | 0.38 | 0.04214 |
| B5R | IgM | 0.38 | 0.03964 |
| ATI-N | IgM | 0.34 | 0.07424 |
| ATI-C | IgM | 0.33 | 0.08291 |
| A33R | IgM | 0.31 | 0.10632 |
| A5L | IgM | 0.26 | 0.17758 |
| A27L | IgM | 0.18 | 0.34466 |

# Significant correlations printed in bold font.

Table S15. Spearman rho rank correlation coefficients and Pearson´s r correlation coefficients between NT titres and multiplex results for the tested antigens and antibody isotypes.

| Antigen | Antibody Isotype | Spearman rho | P value Spearman rho# | Pearson`s r | P value Pearson’s r# |
| --- | --- | --- | --- | --- | --- |
| A33R | IgG | 0.84 | 0 | 0.77 | 0.00001 |
| B6R | IgG | 0.84 | 0 | 0.76 | 0.00001 |
| Delta | IgG | 0.78 | 0.00001 | 0.72 | 0.00006 |
| E8L | IgG | 0.76 | 0.00002 | 0.73 | 0.00005 |
| A35R | IgG | 0.75 | 0.00003 | 0.72 | 0.00007 |
| B5R | IgG | 0.75 | 0.00003 | 0.71 | 0.00009 |
| D8L | IgG | 0.57 | 0.00373 | 0.61 | 0.00164 |
| A29L | IgG | 0.54 | 0.00706 | 0.38 | 0.06801 |
| ATI-N | IgG | 0.52 | 0.00855 | 0.55 | 0.00503 |
| A27L | IgG | 0.41 | 0.0482 | 0.29 | 0.16549 |
| A5L | IgG | 0.36 | 0.08725 | 0.22 | 0.31189 |
| H3L | IgG | 0.35 | 0.0975 | 0.41 | 0.04673 |
| L1R | IgG | 0.19 | 0.36314 | 0.19 | 0.36332 |
| M1R | IgG | 0.14 | 0.50377 | 0.1 | 0.64477 |
| ATI-C | IgG | -0.43 | 0.03585 | -0.44 | 0.03296 |
| Delta | IgM | 0.4 | 0.05126 | 0.37 | 0.07174 |
| E8L | IgM | 0.39 | 0.05688 | 0.32 | 0.12667 |
| B5R | IgM | 0.34 | 0.10912 | 0.34 | 0.10537 |
| A35R | IgM | 0.3 | 0.15261 | 0.19 | 0.36173 |
| B6R | IgM | 0.24 | 0.25756 | 0.28 | 0.17771 |
| D8L | IgM | 0.21 | 0.33331 | 0.17 | 0.43101 |
| L1R | IgM | 0.17 | 0.42849 | 0.22 | 0.29789 |
| M1R | IgM | 0.17 | 0.42777 | 0.11 | 0.61209 |
| ATI-N | IgM | 0.13 | 0.55354 | 0.18 | 0.41317 |
| A5L | IgM | 0.1 | 0.63213 | 0.13 | 0.53816 |
| H3L | IgM | 0.09 | 0.68838 | 0.06 | 0.76591 |
| A33R | IgM | 0.08 | 0.71948 | 0.05 | 0.81672 |
| A27L | IgM | 0.06 | 0.77015 | 0.04 | 0.84257 |
| ATI-C | IgM | 0.04 | 0.85273 | 0.06 | 0.76879 |
| A29L | IgM | 0.02 | 0.94016 | 0.05 | 0.8269 |

# Significant correlations printed in bold font.

Table S16. Results of three-way ANOVA for the Acute dataset on IgG data#.

| Effect | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- |
| status | 2 | 3,885 | 354.34 | 0.00 | * | 0.15 |
| childhoodImmuAge | 1 | 3,885 | 465.64 | 0.00 | * | 0.11 |
| analyte | 14 | 3,885 | 23.96 | 0.00 | * | 0.08 |
| status:childhoodImmuAge | 2 | 3,885 | 0.07 | 0.93 |  | 0.00 |
| status:analyte | 28 | 3,885 | 7.08 | 0.00 | * | 0.05 |
| childhoodImmuAge:analyte | 14 | 3,885 | 8.85 | 0.00 | * | 0.03 |
| status:childhoodImmuAge:analyte | 28 | 3,885 | 1.60 | 0.02 | * | 0.01 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

Table S17. Results of three-way ANOVA for the Acute dataset on IgM data#.

| Effect | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- |
| status | 2 | 3,720 | 53.25 | 0.00 | * | 0.03 |
| childhoodImmuAge | 1 | 3,720 | 145.84 | 0.00 | * | 0.04 |
| analyte | 14 | 3,720 | 101.06 | 0.00 | * | 0.28 |
| status:childhoodImmuAge | 2 | 3,720 | 6.00 | 0.00 | * | 0.00 |
| status:analyte | 28 | 3,720 | 7.37 | 0.00 | * | 0.05 |
| childhoodImmuAge:analyte | 14 | 3,720 | 1.31 | 0.19 |  | 0.00 |
| status:childhoodImmuAge:analyte | 28 | 3,720 | 1.01 | 0.45 |  | 0.01 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

Table S18. Results of three-way ANOVA for the Epi dataset on IgG data#.

| Effect | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- |
| status | 2 | 11,055 | 971.00 | 0.00 | * | 0.15 |
| childhoodImmuAge | 1 | 11,055 | 1,510.83 | 0.00 | * | 0.12 |
| analyte | 14 | 11,055 | 131.68 | 0.00 | * | 0.14 |
| status:childhoodImmuAge | 2 | 11,055 | 0.70 | 0.50 |  | 0.00 |
| status:analyte | 28 | 11,055 | 33.43 | 0.00 | * | 0.08 |
| childhoodImmuAge:analyte | 14 | 11,055 | 74.35 | 0.00 | * | 0.09 |
| status:childhoodImmuAge:analyte | 28 | 11,055 | 2.07 | 0.00 | * | 0.00 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

Table S19. Results of three-way ANOVA for the epi dataset on IgM data#.

| Effect | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- |
| status | 2 | 11,385 | 99.14 | 0.00 | * | 0.02 |
| childhoodImmuAge | 1 | 11,385 | 332.14 | 0.00 | * | 0.03 |
| analyte | 14 | 11,385 | 278.38 | 0.00 | * | 0.26 |
| status:childhoodImmuAge | 2 | 11,385 | 1.34 | 0.26 |  | 0.00 |
| status:analyte | 28 | 11,385 | 3.22 | 0.00 | * | 0.01 |
| childhoodImmuAge:analyte | 14 | 11,385 | 3.14 | 0.00 | * | 0.00 |
| status:childhoodImmuAge:analyte | 28 | 11,385 | 1.18 | 0.24 |  | 0.00 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

Table S20. Simple main effects for the difference between the three serostatuses (pre, MVA, mpox) in dependence on the antigen on the Acute dataset using IgG data#.

| childhoodImmuAge | analyte | Effect† | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes | A27L | status | 2 | 81 | 27.28 | 0.00 | * | 0.40 |
| Yes | A29L | status | 2 | 81 | 13.90 | 0.00 | * | 0.26 |
| Yes | L1R | status | 2 | 81 | 9.51 | 0.00 | * | 0.19 |
| Yes | M1R | status | 2 | 81 | 11.82 | 0.00 | * | 0.23 |
| Yes | D8L | status | 2 | 81 | 15.46 | 0.00 | * | 0.28 |
| Yes | E8L | status | 2 | 81 | 11.77 | 0.00 | * | 0.22 |
| Yes | H3L | status | 2 | 81 | 9.80 | 0.00 | * | 0.20 |
| Yes | A33R | status | 2 | 81 | 5.48 | 0.01 | * | 0.12 |
| Yes | A35R | status | 2 | 81 | 9.25 | 0.00 | * | 0.19 |
| Yes | B5R | status | 2 | 81 | 8.80 | 0.00 | * | 0.18 |
| Yes | B6R | status | 2 | 81 | 11.36 | 0.00 | * | 0.22 |
| Yes | A5L | status | 2 | 81 | 3.67 | 0.03 | * | 0.08 |
| Yes | ATI-C | status | 2 | 81 | 22.14 | 0.00 | * | 0.35 |
| Yes | ATI-N | status | 2 | 81 | 15.44 | 0.00 | * | 0.28 |
| Yes | Delta | status | 2 | 81 | 11.44 | 0.00 | * | 0.22 |
| No | A27L | status | 2 | 178 | 25.08 | 0.00 | * | 0.22 |
| No | A29L | status | 2 | 178 | 39.63 | 0.00 | * | 0.31 |
| No | L1R | status | 2 | 178 | 12.87 | 0.00 | * | 0.13 |
| No | M1R | status | 2 | 178 | 7.58 | 0.00 | * | 0.08 |
| No | D8L | status | 2 | 178 | 19.21 | 0.00 | * | 0.18 |
| No | E8L | status | 2 | 178 | 22.85 | 0.00 | * | 0.20 |
| No | H3L | status | 2 | 178 | 1.23 | 0.30 |  | 0.01 |
| No | A33R | status | 2 | 178 | 17.84 | 0.00 | * | 0.17 |
| No | A35R | status | 2 | 178 | 27.92 | 0.00 | * | 0.24 |
| No | B5R | status | 2 | 178 | 8.78 | 0.00 | * | 0.09 |
| No | B6R | status | 2 | 178 | 26.82 | 0.00 | * | 0.23 |
| No | A5L | status | 2 | 178 | 5.37 | 0.00 | * | 0.06 |
| No | ATI-C | status | 2 | 178 | 19.71 | 0.00 | * | 0.18 |
| No | ATI-N | status | 2 | 178 | 18.36 | 0.00 | * | 0.17 |
| No | Delta | status | 2 | 178 | 18.12 | 0.00 | * | 0.17 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

† Serostatus (pre, MVA, mpox)

Table S21. Simple main effects for the difference between the three serostatuses (pre, MVA, mpox) in dependence on the antigen on the Acute dataset using IgM data.

| childhoodImmuAge | analyte | Effect | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes | A27L | status | 2 | 67 | 0.04 | 0.96 |  | 0.00 |
| Yes | A29L | status | 2 | 67 | 2.73 | 0.07 |  | 0.07 |
| Yes | L1R | status | 2 | 67 | 2.38 | 0.10 |  | 0.07 |
| Yes | M1R | status | 2 | 67 | 0.74 | 0.48 |  | 0.02 |
| Yes | D8L | status | 2 | 67 | 2.63 | 0.08 |  | 0.07 |
| Yes | E8L | status | 2 | 67 | 11.88 | 0.00 | * | 0.26 |
| Yes | H3L | status | 2 | 67 | 0.43 | 0.65 |  | 0.01 |
| Yes | A33R | status | 2 | 67 | 4.77 | 0.01 | * | 0.12 |
| Yes | A35R | status | 2 | 67 | 0.79 | 0.46 |  | 0.02 |
| Yes | B5R | status | 2 | 67 | 1.47 | 0.24 |  | 0.04 |
| Yes | B6R | status | 2 | 67 | 5.32 | 0.01 | * | 0.14 |
| Yes | A5L | status | 2 | 67 | 2.00 | 0.14 |  | 0.06 |
| Yes | ATI-C | status | 2 | 67 | 1.25 | 0.29 |  | 0.04 |
| Yes | ATI-N | status | 2 | 67 | 0.94 | 0.40 |  | 0.03 |
| Yes | Delta | status | 2 | 67 | 4.84 | 0.01 | * | 0.13 |
| No | A27L | status | 2 | 181 | 5.56 | 0.00 | * | 0.06 |
| No | A29L | status | 2 | 181 | 11.30 | 0.00 | * | 0.11 |
| No | L1R | status | 2 | 181 | 1.53 | 0.22 |  | 0.02 |
| No | M1R | status | 2 | 181 | 5.08 | 0.01 | * | 0.05 |
| No | D8L | status | 2 | 181 | 7.39 | 0.00 | * | 0.08 |
| No | E8L | status | 2 | 181 | 19.92 | 0.00 | * | 0.18 |
| No | H3L | status | 2 | 181 | 3.77 | 0.02 | * | 0.04 |
| No | A33R | status | 2 | 181 | 0.69 | 0.50 |  | 0.01 |
| No | A35R | status | 2 | 181 | 14.61 | 0.00 | * | 0.14 |
| No | B5R | status | 2 | 181 | 1.28 | 0.28 |  | 0.01 |
| No | B6R | status | 2 | 181 | 17.90 | 0.00 | * | 0.16 |
| No | A5L | status | 2 | 181 | 3.90 | 0.02 | * | 0.04 |
| No | ATI-C | status | 2 | 181 | 12.03 | 0.00 | * | 0.12 |
| No | ATI-N | status | 2 | 181 | 5.87 | 0.00 | * | 0.06 |
| No | Delta | status | 2 | 181 | 4.05 | 0.02 | * | 0.04 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

† Serostatus (pre, MVA, mpox)

Table S22. Simple main effects for the difference between the three serostatuses (pre, MVA, mpox) in dependence on the antigen on the Epi dataset using IgG data#.

| childhoodImmuAge | analyte | Effect† | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes | A27L | status | 2 | 146 | 0.24 | 0.79 |  | 0.00 |
| Yes | A29L | status | 2 | 146 | 3.38 | 0.04 | * | 0.04 |
| Yes | L1R | status | 2 | 146 | 7.01 | 0.00 | * | 0.09 |
| Yes | M1R | status | 2 | 146 | 3.17 | 0.04 | * | 0.04 |
| Yes | D8L | status | 2 | 146 | 51.09 | 0.00 | * | 0.41 |
| Yes | E8L | status | 2 | 146 | 67.28 | 0.00 | * | 0.48 |
| Yes | H3L | status | 2 | 146 | 4.27 | 0.02 | * | 0.06 |
| Yes | A33R | status | 2 | 146 | 15.49 | 0.00 | * | 0.17 |
| Yes | A35R | status | 2 | 146 | 11.76 | 0.00 | * | 0.14 |
| Yes | B5R | status | 2 | 146 | 13.33 | 0.00 | * | 0.15 |
| Yes | B6R | status | 2 | 146 | 19.95 | 0.00 | * | 0.21 |
| Yes | A5L | status | 2 | 146 | 5.58 | 0.00 | * | 0.07 |
| Yes | ATI-C | status | 2 | 146 | 1.53 | 0.22 |  | 0.02 |
| Yes | ATI-N | status | 2 | 146 | 4.65 | 0.01 | * | 0.06 |
| Yes | Delta | status | 2 | 146 | 28.94 | 0.00 | * | 0.28 |
| No | A27L | status | 2 | 591 | 8.11 | 0.00 | * | 0.03 |
| No | A29L | status | 2 | 591 | 53.23 | 0.00 | * | 0.15 |
| No | L1R | status | 2 | 591 | 15.71 | 0.00 | * | 0.05 |
| No | M1R | status | 2 | 591 | 10.66 | 0.00 | * | 0.04 |
| No | D8L | status | 2 | 591 | 92.92 | 0.00 | * | 0.24 |
| No | E8L | status | 2 | 591 | 255.71 | 0.00 | * | 0.46 |
| No | H3L | status | 2 | 591 | 6.62 | 0.00 | * | 0.02 |
| No | A33R | status | 2 | 591 | 114.53 | 0.00 | * | 0.28 |
| No | A35R | status | 2 | 591 | 194.07 | 0.00 | * | 0.40 |
| No | B5R | status | 2 | 591 | 115.17 | 0.00 | * | 0.28 |
| No | B6R | status | 2 | 591 | 243.86 | 0.00 | * | 0.45 |
| No | A5L | status | 2 | 591 | 19.91 | 0.00 | * | 0.06 |
| No | ATI-C | status | 2 | 591 | 6.20 | 0.00 | * | 0.02 |
| No | ATI-N | status | 2 | 591 | 55.73 | 0.00 | * | 0.16 |
| No | Delta | status | 2 | 591 | 192.58 | 0.00 | * | 0.40 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

† Serostatus (pre, MVA, mpox)

Table S23. Simple main effects for the difference between the three serostatuses (pre, MVA, mpox) in dependence on the antigen on the Epi dataset using IgM data#.

| childhoodImmuAge | analyte | Effect† | DFn | DFd | F | p | p<.05 | ges |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes | A27L | status | 2 | 151 | 0.85 | 0.43 |  | 0.01 |
| Yes | A29L | status | 2 | 151 | 2.88 | 0.06 |  | 0.04 |
| Yes | L1R | status | 2 | 151 | 0.56 | 0.57 |  | 0.01 |
| Yes | M1R | status | 2 | 151 | 3.44 | 0.04 | * | 0.04 |
| Yes | D8L | status | 2 | 151 | 4.18 | 0.02 | * | 0.05 |
| Yes | E8L | status | 2 | 151 | 6.46 | 0.00 | * | 0.08 |
| Yes | H3L | status | 2 | 151 | 0.33 | 0.72 |  | 0.00 |
| Yes | A33R | status | 2 | 151 | 1.67 | 0.19 |  | 0.02 |
| Yes | A35R | status | 2 | 151 | 2.15 | 0.12 |  | 0.03 |
| Yes | B5R | status | 2 | 151 | 0.38 | 0.68 |  | 0.00 |
| Yes | B6R | status | 2 | 151 | 0.25 | 0.78 |  | 0.00 |
| Yes | A5L | status | 2 | 151 | 0.02 | 0.98 |  | 0.00 |
| Yes | ATI-C | status | 2 | 151 | 0.32 | 0.72 |  | 0.00 |
| Yes | ATI-N | status | 2 | 151 | 0.24 | 0.79 |  | 0.00 |
| Yes | Delta | status | 2 | 151 | 0.99 | 0.37 |  | 0.01 |
| No | A27L | status | 2 | 608 | 2.64 | 0.07 |  | 0.01 |
| No | A29L | status | 2 | 608 | 8.31 | 0.00 | * | 0.03 |
| No | L1R | status | 2 | 608 | 4.15 | 0.02 | * | 0.01 |
| No | M1R | status | 2 | 608 | 1.82 | 0.16 |  | 0.01 |
| No | D8L | status | 2 | 608 | 14.44 | 0.00 | * | 0.04 |
| No | E8L | status | 2 | 608 | 18.30 | 0.00 | * | 0.06 |
| No | H3L | status | 2 | 608 | 12.19 | 0.00 | * | 0.04 |
| No | A33R | status | 2 | 608 | 5.51 | 0.00 | * | 0.02 |
| No | A35R | status | 2 | 608 | 4.00 | 0.02 | * | 0.01 |
| No | B5R | status | 2 | 608 | 7.10 | 0.00 | * | 0.02 |
| No | B6R | status | 2 | 608 | 2.24 | 0.11 |  | 0.01 |
| No | A5L | status | 2 | 608 | 5.33 | 0.00 | * | 0.02 |
| No | ATI-C | status | 2 | 608 | 5.77 | 0.00 | * | 0.02 |
| No | ATI-N | status | 2 | 608 | 5.62 | 0.00 | * | 0.02 |
| No | Delta | status | 2 | 608 | 16.16 | 0.00 | * | 0.05 |

# Effect: Factor or Interaction; DFn: Degrees of Freedom (numerator); DFd: Degrees of Freedom (denominator); F: F-value (test statistic); p: p-value; p<.05: Indicates p-value less than 0.05 (statistical significance); ges: Generalized Eta Squared (effect size)

† Serostatus (pre, MVA, mpox)

Table S24. Pairwise comparisons on the Acute dataset using IgG data#.

| childhoodImmuAge | analyte | group1 | group2 | df | statistic | p | p.adj | p.adj.signif |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes | A27L | Pre | MVA | 3,885 | -2.46 | 0.01 | 0.04 | * |
| Yes | A27L | Pre | Mpox | 3,885 | -6.44 | 0.00 | 0.00 | **** |
| Yes | A27L | MVA | Mpox | 3,885 | -1.34 | 0.18 | 0.54 | ns |
| Yes | A29L | Pre | MVA | 3,885 | -0.57 | 0.57 | 1.00 | ns |
| Yes | A29L | Pre | Mpox | 3,885 | -4.80 | 0.00 | 0.00 | **** |
| Yes | A29L | MVA | Mpox | 3,885 | -2.28 | 0.02 | 0.07 | ns |
| Yes | L1R | Pre | MVA | 3,885 | -2.90 | 0.00 | 0.01 | * |
| Yes | L1R | Pre | Mpox | 3,885 | -2.80 | 0.01 | 0.02 | * |
| Yes | L1R | MVA | Mpox | 3,885 | 1.26 | 0.21 | 0.62 | ns |
| Yes | M1R | Pre | MVA | 3,885 | -3.12 | 0.00 | 0.01 | ** |
| Yes | M1R | Pre | Mpox | 3,885 | -3.87 | 0.00 | 0.00 | *** |
| Yes | M1R | MVA | Mpox | 3,885 | 0.85 | 0.39 | 1.00 | ns |
| Yes | D8L | Pre | MVA | 3,885 | -5.12 | 0.00 | 0.00 | **** |
| Yes | D8L | Pre | Mpox | 3,885 | -4.67 | 0.00 | 0.00 | **** |
| Yes | D8L | MVA | Mpox | 3,885 | 2.40 | 0.02 | 0.05 | * |
| Yes | E8L | Pre | MVA | 3,885 | -4.54 | 0.00 | 0.00 | **** |
| Yes | E8L | Pre | Mpox | 3,885 | -5.00 | 0.00 | 0.00 | **** |
| Yes | E8L | MVA | Mpox | 3,885 | 1.61 | 0.11 | 0.32 | ns |
| Yes | H3L | Pre | MVA | 3,885 | -2.12 | 0.03 | 0.10 | ns |
| Yes | H3L | Pre | Mpox | 3,885 | -4.60 | 0.00 | 0.00 | **** |
| Yes | H3L | MVA | Mpox | 3,885 | -0.59 | 0.56 | 1.00 | ns |
| Yes | A33R | Pre | MVA | 3,885 | -2.36 | 0.02 | 0.06 | ns |
| Yes | A33R | Pre | Mpox | 3,885 | -3.93 | 0.00 | 0.00 | *** |
| Yes | A33R | MVA | Mpox | 3,885 | 0.05 | 0.96 | 1.00 | ns |
| Yes | A35R | Pre | MVA | 3,885 | -1.95 | 0.05 | 0.15 | ns |
| Yes | A35R | Pre | Mpox | 3,885 | -5.25 | 0.00 | 0.00 | **** |
| Yes | A35R | MVA | Mpox | 3,885 | -1.15 | 0.25 | 0.76 | ns |
| Yes | B5R | Pre | MVA | 3,885 | -3.06 | 0.00 | 0.01 | ** |
| Yes | B5R | Pre | Mpox | 3,885 | -4.26 | 0.00 | 0.00 | **** |
| Yes | B5R | MVA | Mpox | 3,885 | 0.56 | 0.57 | 1.00 | ns |
| Yes | B6R | Pre | MVA | 3,885 | -3.40 | 0.00 | 0.00 | ** |
| Yes | B6R | Pre | Mpox | 3,885 | -5.04 | 0.00 | 0.00 | **** |
| Yes | B6R | MVA | Mpox | 3,885 | 0.45 | 0.66 | 1.00 | ns |
| Yes | A5L | Pre | MVA | 3,885 | 1.74 | 0.08 | 0.24 | ns |
| Yes | A5L | Pre | Mpox | 3,885 | -1.15 | 0.25 | 0.75 | ns |
| Yes | A5L | MVA | Mpox | 3,885 | -2.44 | 0.01 | 0.04 | * |
| Yes | ATI-C | Pre | MVA | 3,885 | -0.31 | 0.76 | 1.00 | ns |
| Yes | ATI-C | Pre | Mpox | 3,885 | -5.29 | 0.00 | 0.00 | **** |
| Yes | ATI-C | MVA | Mpox | 3,885 | -2.83 | 0.00 | 0.01 | * |
| Yes | ATI-N | Pre | MVA | 3,885 | 0.81 | 0.42 | 1.00 | ns |
| Yes | ATI-N | Pre | Mpox | 3,885 | -6.31 | 0.00 | 0.00 | **** |
| Yes | ATI-N | MVA | Mpox | 3,885 | -4.56 | 0.00 | 0.00 | **** |
| Yes | Delta | Pre | MVA | 3,885 | -3.25 | 0.00 | 0.00 | ** |
| Yes | Delta | Pre | Mpox | 3,885 | -4.78 | 0.00 | 0.00 | **** |
| Yes | Delta | MVA | Mpox | 3,885 | 0.44 | 0.66 | 1.00 | ns |
| No | A27L | Pre | MVA | 3,885 | -3.44 | 0.00 | 0.00 | ** |
| No | A27L | Pre | Mpox | 3,885 | -6.32 | 0.00 | 0.00 | **** |
| No | A27L | MVA | Mpox | 3,885 | 0.08 | 0.94 | 1.00 | ns |
| No | A29L | Pre | MVA | 3,885 | -0.58 | 0.56 | 1.00 | ns |
| No | A29L | Pre | Mpox | 3,885 | -7.11 | 0.00 | 0.00 | **** |
| No | A29L | MVA | Mpox | 3,885 | -3.57 | 0.00 | 0.00 | ** |
| No | L1R | Pre | MVA | 3,885 | -3.13 | 0.00 | 0.01 | ** |
| No | L1R | Pre | Mpox | 3,885 | -0.10 | 0.92 | 1.00 | ns |
| No | L1R | MVA | Mpox | 3,885 | 3.42 | 0.00 | 0.00 | ** |
| No | M1R | Pre | MVA | 3,885 | -2.66 | 0.01 | 0.02 | * |
| No | M1R | Pre | Mpox | 3,885 | -0.91 | 0.36 | 1.00 | ns |
| No | M1R | MVA | Mpox | 3,885 | 2.41 | 0.02 | 0.05 | * |
| No | D8L | Pre | MVA | 3,885 | -3.93 | 0.00 | 0.00 | *** |
| No | D8L | Pre | Mpox | 3,885 | -4.75 | 0.00 | 0.00 | **** |
| No | D8L | MVA | Mpox | 3,885 | 1.55 | 0.12 | 0.36 | ns |
| No | E8L | Pre | MVA | 3,885 | -4.82 | 0.00 | 0.00 | **** |
| No | E8L | Pre | Mpox | 3,885 | -8.92 | 0.00 | 0.00 | **** |
| No | E8L | MVA | Mpox | 3,885 | 0.06 | 0.95 | 1.00 | ns |
| No | H3L | Pre | MVA | 3,885 | -0.85 | 0.40 | 1.00 | ns |
| No | H3L | Pre | Mpox | 3,885 | -0.96 | 0.34 | 1.00 | ns |
| No | H3L | MVA | Mpox | 3,885 | 0.37 | 0.71 | 1.00 | ns |
| No | A33R | Pre | MVA | 3,885 | -1.86 | 0.06 | 0.19 | ns |
| No | A33R | Pre | Mpox | 3,885 | -6.35 | 0.00 | 0.00 | **** |
| No | A33R | MVA | Mpox | 3,885 | -1.70 | 0.09 | 0.27 | ns |
| No | A35R | Pre | MVA | 3,885 | -2.09 | 0.04 | 0.11 | ns |
| No | A35R | Pre | Mpox | 3,885 | -9.19 | 0.00 | 0.00 | **** |
| No | A35R | MVA | Mpox | 3,885 | -3.13 | 0.00 | 0.01 | ** |
| No | B5R | Pre | MVA | 3,885 | -2.74 | 0.01 | 0.02 | * |
| No | B5R | Pre | Mpox | 3,885 | -4.55 | 0.00 | 0.00 | **** |
| No | B5R | MVA | Mpox | 3,885 | 0.34 | 0.73 | 1.00 | ns |
| No | B6R | Pre | MVA | 3,885 | -3.74 | 0.00 | 0.00 | *** |
| No | B6R | Pre | Mpox | 3,885 | -7.92 | 0.00 | 0.00 | **** |
| No | B6R | MVA | Mpox | 3,885 | -0.54 | 0.59 | 1.00 | ns |
| No | A5L | Pre | MVA | 3,885 | -0.46 | 0.65 | 1.00 | ns |
| No | A5L | Pre | Mpox | 3,885 | -2.93 | 0.00 | 0.01 | * |
| No | A5L | MVA | Mpox | 3,885 | -1.23 | 0.22 | 0.65 | ns |
| No | ATI-C | Pre | MVA | 3,885 | -1.95 | 0.05 | 0.15 | ns |
| No | ATI-C | Pre | Mpox | 3,885 | -4.33 | 0.00 | 0.00 | **** |
| No | ATI-C | MVA | Mpox | 3,885 | -0.40 | 0.69 | 1.00 | ns |
| No | ATI-N | Pre | MVA | 3,885 | 0.31 | 0.76 | 1.00 | ns |
| No | ATI-N | Pre | Mpox | 3,885 | -6.38 | 0.00 | 0.00 | **** |
| No | ATI-N | MVA | Mpox | 3,885 | -4.13 | 0.00 | 0.00 | *** |
| No | Delta | Pre | MVA | 3,885 | -3.09 | 0.00 | 0.01 | ** |
| No | Delta | Pre | Mpox | 3,885 | -5.65 | 0.00 | 0.00 | **** |
| No | Delta | MVA | Mpox | 3,885 | 0.08 | 0.94 | 1.00 | ns |

# df: degrees of freedom; statistic: test Statistic (t-value); p: p-value; p.adj: adjusted p-value (corrected for multiple comparisons); p.adj.signif: significance indicator for adjusted p-value.

Table.S25. Pairwise comparisons on the Acute dataset using IgM data#.

| childhoodImmuAge |  | analyte | group1 | group2 | df | statistic | p | p.adj | p.adj.signif |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes |  | A27L | Pre | MVA | 3,720 | 0.21 | 0.83 | 1.00 | ns |
| Yes |  | A27L | Pre | Mpox | 3,720 | 0.01 | 0.99 | 1.00 | ns |
| Yes |  | A27L | MVA | Mpox | 3,720 | -0.21 | 0.84 | 1.00 | ns |
| Yes |  | A29L | Pre | MVA | 3,720 | 1.39 | 0.16 | 0.49 | ns |
| Yes |  | A29L | Pre | Mpox | 3,720 | -1.60 | 0.11 | 0.33 | ns |
| Yes |  | A29L | MVA | Mpox | 3,720 | -2.13 | 0.03 | 0.10 | ns |
| Yes |  | L1R | Pre | MVA | 3,720 | -1.62 | 0.10 | 0.31 | ns |
| Yes |  | L1R | Pre | Mpox | 3,720 | -0.76 | 0.45 | 1.00 | ns |
| Yes |  | L1R | MVA | Mpox | 3,720 | 1.27 | 0.21 | 0.62 | ns |
| Yes |  | M1R | Pre | MVA | 3,720 | -0.65 | 0.52 | 1.00 | ns |
| Yes |  | M1R | Pre | Mpox | 3,720 | -0.10 | 0.92 | 1.00 | ns |
| Yes |  | M1R | MVA | Mpox | 3,720 | 0.60 | 0.55 | 1.00 | ns |
| Yes |  | D8L | Pre | MVA | 3,720 | -0.53 | 0.60 | 1.00 | ns |
| Yes |  | D8L | Pre | Mpox | 3,720 | -2.29 | 0.02 | 0.07 | ns |
| Yes |  | D8L | MVA | Mpox | 3,720 | -0.53 | 0.59 | 1.00 | ns |
| Yes |  | E8L | Pre | MVA | 3,720 | -2.65 | 0.01 | 0.02 | * |
| Yes |  | E8L | Pre | Mpox | 3,720 | -4.26 | 0.00 | 0.00 | **** |
| Yes |  | E8L | MVA | Mpox | 3,720 | 0.67 | 0.51 | 1.00 | ns |
| Yes |  | H3L | Pre | MVA | 3,720 | 0.69 | 0.49 | 1.00 | ns |
| Yes |  | H3L | Pre | Mpox | 3,720 | 0.60 | 0.55 | 1.00 | ns |
| Yes |  | H3L | MVA | Mpox | 3,720 | -0.41 | 0.68 | 1.00 | ns |
| Yes |  | A33R | Pre | MVA | 3,720 | 0.24 | 0.81 | 1.00 | ns |
| Yes |  | A33R | Pre | Mpox | 3,720 | 2.55 | 0.01 | 0.03 | * |
| Yes |  | A33R | MVA | Mpox | 3,720 | 0.94 | 0.35 | 1.00 | ns |
| Yes |  | A35R | Pre | MVA | 3,720 | -0.09 | 0.93 | 1.00 | ns |
| Yes |  | A35R | Pre | Mpox | 3,720 | -1.03 | 0.30 | 0.91 | ns |
| Yes |  | A35R | MVA | Mpox | 3,720 | -0.39 | 0.70 | 1.00 | ns |
| Yes |  | B5R | Pre | MVA | 3,720 | 1.61 | 0.11 | 0.33 | ns |
| Yes |  | B5R | Pre | Mpox | 3,720 | 0.57 | 0.57 | 1.00 | ns |
| Yes |  | B5R | MVA | Mpox | 3,720 | -1.34 | 0.18 | 0.55 | ns |
| Yes |  | B6R | Pre | MVA | 3,720 | 0.19 | 0.85 | 1.00 | ns |
| Yes |  | B6R | Pre | Mpox | 3,720 | -3.36 | 0.00 | 0.00 | ** |
| Yes |  | B6R | MVA | Mpox | 3,720 | -1.75 | 0.08 | 0.24 | ns |
| Yes |  | A5L | Pre | MVA | 3,720 | -1.21 | 0.23 | 0.68 | ns |
| Yes |  | A5L | Pre | Mpox | 3,720 | 0.29 | 0.77 | 1.00 | ns |
| Yes |  | A5L | MVA | Mpox | 3,720 | 1.34 | 0.18 | 0.54 | ns |
| Yes |  | ATI-C | Pre | MVA | 3,720 | -0.25 | 0.80 | 1.00 | ns |
| Yes |  | ATI-C | Pre | Mpox | 3,720 | -1.00 | 0.32 | 0.96 | ns |
| Yes |  | ATI-C | MVA | Mpox | 3,720 | -0.21 | 0.83 | 1.00 | ns |
| Yes |  | ATI-N | Pre | MVA | 3,720 | 1.35 | 0.18 | 0.53 | ns |
| Yes |  | ATI-N | Pre | Mpox | 3,720 | 0.20 | 0.84 | 1.00 | ns |
| Yes |  | ATI-N | MVA | Mpox | 3,720 | -1.25 | 0.21 | 0.63 | ns |
| Yes |  | Delta | Pre | MVA | 3,720 | -1.26 | 0.21 | 0.62 | ns |
| Yes |  | Delta | Pre | Mpox | 3,720 | -3.31 | 0.00 | 0.00 | ** |
| Yes |  | Delta | MVA | Mpox | 3,720 | -0.28 | 0.78 | 1.00 | ns |
| No |  | A27L | Pre | MVA | 3,720 | 1.09 | 0.28 | 0.83 | ns |
| No |  | A27L | Pre | Mpox | 3,720 | -1.11 | 0.27 | 0.80 | ns |
| No |  | A27L | MVA | Mpox | 3,720 | -1.81 | 0.07 | 0.21 | ns |
| No |  | A29L | Pre | MVA | 3,720 | 0.94 | 0.35 | 1.00 | ns |
| No |  | A29L | Pre | Mpox | 3,720 | -4.67 | 0.00 | 0.00 | **** |
| No |  | A29L | MVA | Mpox | 3,720 | -3.66 | 0.00 | 0.00 | *** |
| No |  | L1R | Pre | MVA | 3,720 | 1.12 | 0.26 | 0.79 | ns |
| No |  | L1R | Pre | Mpox | 3,720 | 0.38 | 0.70 | 1.00 | ns |
| No |  | L1R | MVA | Mpox | 3,720 | -1.00 | 0.32 | 0.95 | ns |
| No |  | M1R | Pre | MVA | 3,720 | 0.41 | 0.68 | 1.00 | ns |
| No |  | M1R | Pre | Mpox | 3,720 | 2.67 | 0.01 | 0.02 | * |
| No |  | M1R | MVA | Mpox | 3,720 | 1.06 | 0.29 | 0.86 | ns |
| No |  | D8L | Pre | MVA | 3,720 | -0.88 | 0.38 | 1.00 | ns |
| No |  | D8L | Pre | Mpox | 3,720 | -4.41 | 0.00 | 0.00 | **** |
| No |  | D8L | MVA | Mpox | 3,720 | -1.53 | 0.13 | 0.38 | ns |
| No |  | E8L | Pre | MVA | 3,720 | -0.35 | 0.72 | 1.00 | ns |
| No |  | E8L | Pre | Mpox | 3,720 | -7.84 | 0.00 | 0.00 | **** |
| No |  | E8L | MVA | Mpox | 3,720 | -4.05 | 0.00 | 0.00 | *** |
| No |  | H3L | Pre | MVA | 3,720 | 2.85 | 0.00 | 0.01 | * |
| No |  | H3L | Pre | Mpox | 3,720 | 0.45 | 0.66 | 1.00 | ns |
| No |  | H3L | MVA | Mpox | 3,720 | -2.84 | 0.00 | 0.01 | * |
| No |  | A33R | Pre | MVA | 3,720 | 0.56 | 0.58 | 1.00 | ns |
| No |  | A33R | Pre | Mpox | 3,720 | 0.88 | 0.38 | 1.00 | ns |
| No |  | A33R | MVA | Mpox | 3,720 | -0.11 | 0.91 | 1.00 | ns |
| No |  | A35R | Pre | MVA | 3,720 | 1.26 | 0.21 | 0.63 | ns |
| No |  | A35R | Pre | Mpox | 3,720 | -4.44 | 0.00 | 0.00 | **** |
| No |  | A35R | MVA | Mpox | 3,720 | -3.88 | 0.00 | 0.00 | *** |
| No |  | B5R | Pre | MVA | 3,720 | 1.04 | 0.30 | 0.89 | ns |
| No |  | B5R | Pre | Mpox | 3,720 | -1.07 | 0.29 | 0.86 | ns |
| No |  | B5R | MVA | Mpox | 3,720 | -1.74 | 0.08 | 0.25 | ns |
| No |  | B6R | Pre | MVA | 3,720 | -0.08 | 0.94 | 1.00 | ns |
| No |  | B6R | Pre | Mpox | 3,720 | -6.77 | 0.00 | 0.00 | **** |
| No |  | B6R | MVA | Mpox | 3,720 | -3.74 | 0.00 | 0.00 | *** |
| No |  | A5L | Pre | MVA | 3,720 | 1.48 | 0.14 | 0.42 | ns |
| No |  | A5L | Pre | Mpox | 3,720 | -1.01 | 0.31 | 0.94 | ns |
| No |  | A5L | MVA | Mpox | 3,720 | -2.18 | 0.03 | 0.09 | ns |
| No |  | ATI-C | Pre | MVA | 3,720 | 0.03 | 0.97 | 1.00 | ns |
| No |  | ATI-C | Pre | Mpox | 3,720 | -2.14 | 0.03 | 0.10 | ns |
| No |  | ATI-C | MVA | Mpox | 3,720 | -1.24 | 0.21 | 0.64 | ns |
| No |  | ATI-N | Pre | MVA | 3,720 | 3.36 | 0.00 | 0.00 | ** |
| No |  | ATI-N | Pre | Mpox | 3,720 | 3.11 | 0.00 | 0.01 | ** |
| No |  | ATI-N | MVA | Mpox | 3,720 | -1.89 | 0.06 | 0.18 | ns |
| No |  | Delta | Pre | MVA | 3,720 | -1.16 | 0.25 | 0.74 | ns |
| No |  | Delta | Pre | Mpox | 3,720 | -4.13 | 0.00 | 0.00 | *** |
| No |  | Delta | MVA | Mpox | 3,720 | -1.07 | 0.28 | 0.85 | ns |

# df: degrees of freedom; statistic: test Statistic (t-value); p: p-value; p.adj: adjusted p-value (corrected for multiple comparisons); p.adj.signif: significance indicator for adjusted p-value.

Table S26. Pairwise comparisons on the Epi dataset using IgG data#.

| childhoodImmuAge | analyte | group1 | group2 | df | statistic | p | p.adj | p.adj.signif |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes | A27L | Pre | MVA | 11,055 | -0.64 | 0.53 | 1.00 | ns |
| Yes | A27L | Pre | Mpox | 11,055 | 0.54 | 0.59 | 1.00 | ns |
| Yes | A27L | MVA | Mpox | 11,055 | 0.73 | 0.47 | 1.00 | ns |
| Yes | A29L | Pre | MVA | 11,055 | -2.68 | 0.01 | 0.02 | * |
| Yes | A29L | Pre | Mpox | 11,055 | 0.40 | 0.69 | 1.00 | ns |
| Yes | A29L | MVA | Mpox | 11,055 | 1.17 | 0.24 | 0.73 | ns |
| Yes | L1R | Pre | MVA | 11,055 | -3.77 | 0.00 | 0.00 | *** |
| Yes | L1R | Pre | Mpox | 11,055 | 0.00 | 1.00 | 1.00 | ns |
| Yes | L1R | MVA | Mpox | 11,055 | 1.08 | 0.28 | 0.84 | ns |
| Yes | M1R | Pre | MVA | 11,055 | -2.09 | 0.04 | 0.11 | ns |
| Yes | M1R | Pre | Mpox | 11,055 | -1.30 | 0.19 | 0.58 | ns |
| Yes | M1R | MVA | Mpox | 11,055 | -0.71 | 0.48 | 1.00 | ns |
| Yes | D8L | Pre | MVA | 11,055 | -9.94 | 0.00 | 0.00 | **** |
| Yes | D8L | Pre | Mpox | 11,055 | -5.21 | 0.00 | 0.00 | **** |
| Yes | D8L | MVA | Mpox | 11,055 | -2.41 | 0.02 | 0.05 | * |
| Yes | E8L | Pre | MVA | 11,055 | -8.84 | 0.00 | 0.00 | **** |
| Yes | E8L | Pre | Mpox | 11,055 | -5.51 | 0.00 | 0.00 | **** |
| Yes | E8L | MVA | Mpox | 11,055 | -3.03 | 0.00 | 0.01 | ** |
| Yes | H3L | Pre | MVA | 11,055 | -3.13 | 0.00 | 0.01 | ** |
| Yes | H3L | Pre | Mpox | 11,055 | -2.96 | 0.00 | 0.01 | ** |
| Yes | H3L | MVA | Mpox | 11,055 | -2.09 | 0.04 | 0.11 | ns |
| Yes | A33R | Pre | MVA | 11,055 | -5.48 | 0.00 | 0.00 | **** |
| Yes | A33R | Pre | Mpox | 11,055 | -3.95 | 0.00 | 0.00 | *** |
| Yes | A33R | MVA | Mpox | 11,055 | -2.41 | 0.02 | 0.05 | * |
| Yes | A35R | Pre | MVA | 11,055 | -4.63 | 0.00 | 0.00 | **** |
| Yes | A35R | Pre | Mpox | 11,055 | -4.12 | 0.00 | 0.00 | *** |
| Yes | A35R | MVA | Mpox | 11,055 | -2.83 | 0.00 | 0.01 | * |
| Yes | B5R | Pre | MVA | 11,055 | -5.17 | 0.00 | 0.00 | **** |
| Yes | B5R | Pre | Mpox | 11,055 | -1.49 | 0.14 | 0.41 | ns |
| Yes | B5R | MVA | Mpox | 11,055 | -0.02 | 0.98 | 1.00 | ns |
| Yes | B6R | Pre | MVA | 11,055 | -6.26 | 0.00 | 0.00 | **** |
| Yes | B6R | Pre | Mpox | 11,055 | -1.28 | 0.20 | 0.61 | ns |
| Yes | B6R | MVA | Mpox | 11,055 | 0.50 | 0.62 | 1.00 | ns |
| Yes | A5L | Pre | MVA | 11,055 | -2.25 | 0.02 | 0.07 | ns |
| Yes | A5L | Pre | Mpox | 11,055 | -0.83 | 0.41 | 1.00 | ns |
| Yes | A5L | MVA | Mpox | 11,055 | -0.19 | 0.85 | 1.00 | ns |
| Yes | ATI-C | Pre | MVA | 11,055 | -2.36 | 0.02 | 0.06 | ns |
| Yes | ATI-C | Pre | Mpox | 11,055 | -0.24 | 0.81 | 1.00 | ns |
| Yes | ATI-C | MVA | Mpox | 11,055 | 0.43 | 0.67 | 1.00 | ns |
| Yes | ATI-N | Pre | MVA | 11,055 | -2.66 | 0.01 | 0.02 | * |
| Yes | ATI-N | Pre | Mpox | 11,055 | -1.88 | 0.06 | 0.18 | ns |
| Yes | ATI-N | MVA | Mpox | 11,055 | -1.14 | 0.26 | 0.77 | ns |
| Yes | Delta | Pre | MVA | 11,055 | -5.79 | 0.00 | 0.00 | **** |
| Yes | Delta | Pre | Mpox | 11,055 | -2.87 | 0.00 | 0.01 | * |
| Yes | Delta | MVA | Mpox | 11,055 | -1.24 | 0.21 | 0.64 | ns |
| No | A27L | Pre | MVA | 11,055 | -0.62 | 0.53 | 1.00 | ns |
| No | A27L | Pre | Mpox | 11,055 | -4.17 | 0.00 | 0.00 | **** |
| No | A27L | MVA | Mpox | 11,055 | -3.93 | 0.00 | 0.00 | *** |
| No | A29L | Pre | MVA | 11,055 | -0.98 | 0.33 | 0.98 | ns |
| No | A29L | Pre | Mpox | 11,055 | -8.76 | 0.00 | 0.00 | **** |
| No | A29L | MVA | Mpox | 11,055 | -8.45 | 0.00 | 0.00 | **** |
| No | L1R | Pre | MVA | 11,055 | -5.27 | 0.00 | 0.00 | **** |
| No | L1R | Pre | Mpox | 11,055 | -3.07 | 0.00 | 0.01 | ** |
| No | L1R | MVA | Mpox | 11,055 | 0.09 | 0.93 | 1.00 | ns |
| No | M1R | Pre | MVA | 11,055 | -3.80 | 0.00 | 0.00 | *** |
| No | M1R | Pre | Mpox | 11,055 | -3.11 | 0.00 | 0.01 | ** |
| No | M1R | MVA | Mpox | 11,055 | -0.86 | 0.39 | 1.00 | ns |
| No | D8L | Pre | MVA | 11,055 | -14.57 | 0.00 | 0.00 | **** |
| No | D8L | Pre | Mpox | 11,055 | -8.57 | 0.00 | 0.00 | **** |
| No | D8L | MVA | Mpox | 11,055 | 0.17 | 0.87 | 1.00 | ns |
| No | E8L | Pre | MVA | 11,055 | -19.85 | 0.00 | 0.00 | **** |
| No | E8L | Pre | Mpox | 11,055 | -19.22 | 0.00 | 0.00 | **** |
| No | E8L | MVA | Mpox | 11,055 | -7.57 | 0.00 | 0.00 | **** |
| No | H3L | Pre | MVA | 11,055 | -4.49 | 0.00 | 0.00 | **** |
| No | H3L | Pre | Mpox | 11,055 | -4.52 | 0.00 | 0.00 | **** |
| No | H3L | MVA | Mpox | 11,055 | -1.89 | 0.06 | 0.18 | ns |
| No | A33R | Pre | MVA | 11,055 | -12.34 | 0.00 | 0.00 | **** |
| No | A33R | Pre | Mpox | 11,055 | -12.85 | 0.00 | 0.00 | **** |
| No | A33R | MVA | Mpox | 11,055 | -5.63 | 0.00 | 0.00 | **** |
| No | A35R | Pre | MVA | 11,055 | -12.31 | 0.00 | 0.00 | **** |
| No | A35R | Pre | Mpox | 11,055 | -17.92 | 0.00 | 0.00 | **** |
| No | A35R | MVA | Mpox | 11,055 | -10.89 | 0.00 | 0.00 | **** |
| No | B5R | Pre | MVA | 11,055 | -10.63 | 0.00 | 0.00 | **** |
| No | B5R | Pre | Mpox | 11,055 | -9.73 | 0.00 | 0.00 | **** |
| No | B5R | MVA | Mpox | 11,055 | -3.47 | 0.00 | 0.00 | ** |
| No | B6R | Pre | MVA | 11,055 | -14.48 | 0.00 | 0.00 | **** |
| No | B6R | Pre | Mpox | 11,055 | -15.76 | 0.00 | 0.00 | **** |
| No | B6R | MVA | Mpox | 11,055 | -7.32 | 0.00 | 0.00 | **** |
| No | A5L | Pre | MVA | 11,055 | -1.10 | 0.27 | 0.81 | ns |
| No | A5L | Pre | Mpox | 11,055 | -3.90 | 0.00 | 0.00 | *** |
| No | A5L | MVA | Mpox | 11,055 | -3.35 | 0.00 | 0.00 | ** |
| No | ATI-C | Pre | MVA | 11,055 | -3.21 | 0.00 | 0.00 | ** |
| No | ATI-C | Pre | Mpox | 11,055 | -3.11 | 0.00 | 0.01 | ** |
| No | ATI-C | MVA | Mpox | 11,055 | -1.23 | 0.22 | 0.66 | ns |
| No | ATI-N | Pre | MVA | 11,055 | -0.13 | 0.90 | 1.00 | ns |
| No | ATI-N | Pre | Mpox | 11,055 | -6.37 | 0.00 | 0.00 | **** |
| No | ATI-N | MVA | Mpox | 11,055 | -6.51 | 0.00 | 0.00 | **** |
| No | Delta | Pre | MVA | 11,055 | -15.44 | 0.00 | 0.00 | **** |
| No | Delta | Pre | Mpox | 11,055 | -15.69 | 0.00 | 0.00 | **** |
| No | Delta | MVA | Mpox | 11,055 | -6.65 | 0.00 | 0.00 | **** |

# df: degrees of freedom; statistic: test Statistic (t-value); p: p-value; p.adj: adjusted p-value (corrected for multiple comparisons); p.adj.signif: significance indicator for adjusted p-value.

Table S27. Pairwise comparisons on the Epi dataset using IgM data#.

| childhoodImmuAge | analyte | group1 | group2 | df | statistic | p | p.adj | p.adj.signif |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Yes | A27L | Pre | MVA | 11,385 | -0.05 | 0.96 | 1.00 | ns |
| Yes | A27L | Pre | Mpox | 11,385 | -1.21 | 0.23 | 0.68 | ns |
| Yes | A27L | MVA | Mpox | 11,385 | -1.19 | 0.23 | 0.70 | ns |
| Yes | A29L | Pre | MVA | 11,385 | -0.67 | 0.50 | 1.00 | ns |
| Yes | A29L | Pre | Mpox | 11,385 | -2.71 | 0.01 | 0.02 | * |
| Yes | A29L | MVA | Mpox | 11,385 | -2.44 | 0.01 | 0.04 | * |
| Yes | L1R | Pre | MVA | 11,385 | 0.44 | 0.66 | 1.00 | ns |
| Yes | L1R | Pre | Mpox | 11,385 | -0.98 | 0.33 | 0.98 | ns |
| Yes | L1R | MVA | Mpox | 11,385 | -1.17 | 0.24 | 0.73 | ns |
| Yes | M1R | Pre | MVA | 11,385 | -1.36 | 0.17 | 0.52 | ns |
| Yes | M1R | Pre | Mpox | 11,385 | -1.74 | 0.08 | 0.25 | ns |
| Yes | M1R | MVA | Mpox | 11,385 | -1.18 | 0.24 | 0.72 | ns |
| Yes | D8L | Pre | MVA | 11,385 | 1.09 | 0.27 | 0.82 | ns |
| Yes | D8L | Pre | Mpox | 11,385 | -1.48 | 0.14 | 0.42 | ns |
| Yes | D8L | MVA | Mpox | 11,385 | -1.94 | 0.05 | 0.16 | ns |
| Yes | E8L | Pre | MVA | 11,385 | 3.85 | 0.00 | 0.00 | *** |
| Yes | E8L | Pre | Mpox | 11,385 | -1.91 | 0.06 | 0.17 | ns |
| Yes | E8L | MVA | Mpox | 11,385 | -3.53 | 0.00 | 0.00 | ** |
| Yes | H3L | Pre | MVA | 11,385 | 0.56 | 0.58 | 1.00 | ns |
| Yes | H3L | Pre | Mpox | 11,385 | -0.18 | 0.85 | 1.00 | ns |
| Yes | H3L | MVA | Mpox | 11,385 | -0.42 | 0.68 | 1.00 | ns |
| Yes | A33R | Pre | MVA | 11,385 | 1.35 | 0.18 | 0.53 | ns |
| Yes | A33R | Pre | Mpox | 11,385 | -1.04 | 0.30 | 0.90 | ns |
| Yes | A33R | MVA | Mpox | 11,385 | -1.61 | 0.11 | 0.33 | ns |
| Yes | A35R | Pre | MVA | 11,385 | -1.95 | 0.05 | 0.15 | ns |
| Yes | A35R | Pre | Mpox | 11,385 | -0.64 | 0.52 | 1.00 | ns |
| Yes | A35R | MVA | Mpox | 11,385 | 0.18 | 0.86 | 1.00 | ns |
| Yes | B5R | Pre | MVA | 11,385 | -0.82 | 0.42 | 1.00 | ns |
| Yes | B5R | Pre | Mpox | 11,385 | -0.72 | 0.47 | 1.00 | ns |
| Yes | B5R | MVA | Mpox | 11,385 | -0.38 | 0.70 | 1.00 | ns |
| Yes | B6R | Pre | MVA | 11,385 | -0.99 | 0.32 | 0.97 | ns |
| Yes | B6R | Pre | Mpox | 11,385 | -0.32 | 0.75 | 1.00 | ns |
| Yes | B6R | MVA | Mpox | 11,385 | 0.10 | 0.92 | 1.00 | ns |
| Yes | A5L | Pre | MVA | 11,385 | 0.21 | 0.83 | 1.00 | ns |
| Yes | A5L | Pre | Mpox | 11,385 | 0.04 | 0.97 | 1.00 | ns |
| Yes | A5L | MVA | Mpox | 11,385 | -0.05 | 0.96 | 1.00 | ns |
| Yes | ATI-C | Pre | MVA | 11,385 | -0.69 | 0.49 | 1.00 | ns |
| Yes | ATI-C | Pre | Mpox | 11,385 | -0.23 | 0.82 | 1.00 | ns |
| Yes | ATI-C | MVA | Mpox | 11,385 | 0.06 | 0.95 | 1.00 | ns |
| Yes | ATI-N | Pre | MVA | 11,385 | -0.51 | 0.61 | 1.00 | ns |
| Yes | ATI-N | Pre | Mpox | 11,385 | -0.29 | 0.77 | 1.00 | ns |
| Yes | ATI-N | MVA | Mpox | 11,385 | -0.08 | 0.94 | 1.00 | ns |
| Yes | Delta | Pre | MVA | 11,385 | 1.44 | 0.15 | 0.45 | ns |
| Yes | Delta | Pre | Mpox | 11,385 | -0.84 | 0.40 | 1.00 | ns |
| Yes | Delta | MVA | Mpox | 11,385 | -1.45 | 0.15 | 0.44 | ns |
| No | A27L | Pre | MVA | 11,385 | 0.22 | 0.83 | 1.00 | ns |
| No | A27L | Pre | Mpox | 11,385 | -1.88 | 0.06 | 0.18 | ns |
| No | A27L | MVA | Mpox | 11,385 | -2.05 | 0.04 | 0.12 | ns |
| No | A29L | Pre | MVA | 11,385 | 0.53 | 0.60 | 1.00 | ns |
| No | A29L | Pre | Mpox | 11,385 | -3.36 | 0.00 | 0.00 | ** |
| No | A29L | MVA | Mpox | 11,385 | -3.73 | 0.00 | 0.00 | *** |
| No | L1R | Pre | MVA | 11,385 | 1.43 | 0.15 | 0.46 | ns |
| No | L1R | Pre | Mpox | 11,385 | -1.47 | 0.14 | 0.42 | ns |
| No | L1R | MVA | Mpox | 11,385 | -2.33 | 0.02 | 0.06 | ns |
| No | M1R | Pre | MVA | 11,385 | 0.76 | 0.45 | 1.00 | ns |
| No | M1R | Pre | Mpox | 11,385 | -0.72 | 0.47 | 1.00 | ns |
| No | M1R | MVA | Mpox | 11,385 | -1.18 | 0.24 | 0.71 | ns |
| No | D8L | Pre | MVA | 11,385 | 1.33 | 0.18 | 0.55 | ns |
| No | D8L | Pre | Mpox | 11,385 | -3.28 | 0.00 | 0.00 | ** |
| No | D8L | MVA | Mpox | 11,385 | -4.11 | 0.00 | 0.00 | *** |
| No | E8L | Pre | MVA | 11,385 | 0.67 | 0.51 | 1.00 | ns |
| No | E8L | Pre | Mpox | 11,385 | -7.98 | 0.00 | 0.00 | **** |
| No | E8L | MVA | Mpox | 11,385 | -8.51 | 0.00 | 0.00 | **** |
| No | H3L | Pre | MVA | 11,385 | 1.84 | 0.07 | 0.20 | ns |
| No | H3L | Pre | Mpox | 11,385 | -2.39 | 0.02 | 0.05 | ns |
| No | H3L | MVA | Mpox | 11,385 | -3.50 | 0.00 | 0.00 | ** |
| No | A33R | Pre | MVA | 11,385 | 1.62 | 0.11 | 0.32 | ns |
| No | A33R | Pre | Mpox | 11,385 | -1.87 | 0.06 | 0.19 | ns |
| No | A33R | MVA | Mpox | 11,385 | -2.84 | 0.00 | 0.01 | * |
| No | A35R | Pre | MVA | 11,385 | 1.11 | 0.27 | 0.80 | ns |
| No | A35R | Pre | Mpox | 11,385 | -1.55 | 0.12 | 0.36 | ns |
| No | A35R | MVA | Mpox | 11,385 | -2.22 | 0.03 | 0.08 | ns |
| No | B5R | Pre | MVA | 11,385 | 0.76 | 0.45 | 1.00 | ns |
| No | B5R | Pre | Mpox | 11,385 | -3.10 | 0.00 | 0.01 | ** |
| No | B5R | MVA | Mpox | 11,385 | -3.60 | 0.00 | 0.00 | *** |
| No | B6R | Pre | MVA | 11,385 | 0.38 | 0.71 | 1.00 | ns |
| No | B6R | Pre | Mpox | 11,385 | -2.51 | 0.01 | 0.04 | * |
| No | B6R | MVA | Mpox | 11,385 | -2.78 | 0.01 | 0.02 | * |
| No | A5L | Pre | MVA | 11,385 | 2.23 | 0.03 | 0.08 | ns |
| No | A5L | Pre | Mpox | 11,385 | -1.47 | 0.14 | 0.42 | ns |
| No | A5L | MVA | Mpox | 11,385 | -2.80 | 0.01 | 0.02 | * |
| No | ATI-C | Pre | MVA | 11,385 | 1.00 | 0.32 | 0.95 | ns |
| No | ATI-C | Pre | Mpox | 11,385 | -1.81 | 0.07 | 0.21 | ns |
| No | ATI-C | MVA | Mpox | 11,385 | -2.43 | 0.02 | 0.05 | * |
| No | ATI-N | Pre | MVA | 11,385 | 1.62 | 0.11 | 0.32 | ns |
| No | ATI-N | Pre | Mpox | 11,385 | -0.95 | 0.34 | 1.00 | ns |
| No | ATI-N | MVA | Mpox | 11,385 | -1.91 | 0.06 | 0.17 | ns |
| No | Delta | Pre | MVA | 11,385 | 0.28 | 0.78 | 1.00 | ns |
| No | Delta | Pre | Mpox | 11,385 | -8.44 | 0.00 | 0.00 | **** |
| No | Delta | MVA | Mpox | 11,385 | -8.75 | 0.00 | 0.00 | **** |

# df: degrees of freedom; statistic: test Statistic (t-value); p: p-value; p.adj: adjusted p-value (corrected for multiple comparisons); p.adj.signif: significance indicator for adjusted p-value.

Table S28. Performance parameters for tested ML-algorithms stratified by panel used for training and testing and antibody isotypes.

| Seropanel# | Isotypes | Parameter | LDA | RF | GBC | FRBC | LDA+FRBC | LDA+RF |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| acute acute | IgG | accuracy | 0.81 ±0.03 | 0.83 ±0.02 | 0.86 ±0.03 | 0.77 ±0.02 | 0.76 ±0.03 | 0.8 ±0.03 |
| acute acute | IgG | precision | 0.79 ±0.05 | 0.85 ±0.05 | 0.84 ±0.04 | 0.75 ±0.06 | 0.51 ±0.07 | 0.79 ±0.05 |
| acute acute | IgG | recall | 0.77 ±0.06 | 0.73 ±0.03 | 0.81 ±0.05 | 0.7 ±0.06 | 0.54 ±0.03 | 0.76 ±0.06 |
| acute acute | IgG | F1 score | 0.78 ±0.05 | 0.76 ±0.04 | 0.82 ±0.04 | 0.71 ±0.04 | 0.52 ±0.04 | 0.77 ±0.05 |
| acute acute | IgM IgG | accuracy | 0.87 ±0.03 | 0.85 ±0.03 | 0.87 ±0.02 | 0.83 ±0.03 | 0.83 ±0.02 | 0.87 ±0.03 |
| acute acute | IgM IgG | precision | 0.83 ±0.06 | 0.88 ±0.03 | 0.85 ±0.05 | 0.78 ±0.09 | 0.56 ±0.02 | 0.85 ±0.05 |
| acute acute | IgM IgG | recall | 0.81 ±0.07 | 0.74 ±0.06 | 0.81 ±0.05 | 0.75 ±0.07 | 0.59 ±0.02 | 0.81 ±0.05 |
| acute acute | IgM IgG | F1 score | 0.82 ±0.06 | 0.78 ±0.06 | 0.82 ±0.04 | 0.76 ±0.07 | 0.57 ±0.02 | 0.82 ±0.05 |
| acute epi | IgG | accuracy | 0.55 ±NA | 0.37 ±0 | 0.38 ±0.01 | 0.42 ±0.06 | 0.33 ±0 | 0.56 ±0 |
| acute epi | IgG | precision | 0.56 ±NA | 0.51 ±0 | 0.49 ±0 | 0.49 ±0.02 | 0.21 ±0 | 0.57 ±0 |
| acute epi | IgG | recall | 0.64 ±NA | 0.54 ±0 | 0.49 ±0.01 | 0.47 ±0.04 | 0.51 ±0 | 0.65 ±0 |
| acute epi | IgG | F1 score | 0.51 ±NA | 0.34 ±0 | 0.36 ±0.01 | 0.39 ±0.05 | 0.3 ±0 | 0.52 ±0 |
| acute epi | IgM IgG | accuracy | 0.51 ±NA | 0.31 ±0 | 0.4 ±0 | 0.36 ±0.03 | 0.23 ±NA | 0.46 ±0.01 |
| acute epi | IgM IgG | precision | 0.52 ±NA | 0.48 ±0 | 0.48 ±0 | 0.46 ±0.02 | 0.16 ±NA | 0.5 ±0 |
| acute epi | IgM IgG | recall | 0.54 ±NA | 0.46 ±0.01 | 0.49 ±0 | 0.42 ±0.03 | 0.43 ±NA | 0.52 ±0.01 |
| acute epi | IgM IgG | F1 score | 0.46 ±NA | 0.29 ±0 | 0.38 ±0 | 0.33 ±0.03 | 0.21 ±NA | 0.43 ±0 |
| all all | IgG | accuracy | 0.78 ±0.02 | 0.78 ±0.02 | 0.81 ±0.02 | 0.76 ±0.02 | 0.63 ±0.02 | 0.79 ±0.02 |
| all all | IgG | precision | 0.8 ±0.02 | 0.79 ±0.02 | 0.81 ±0.02 | 0.76 ±0.02 | 0.66 ±0.02 | 0.79 ±0.02 |
| all all | IgG | recall | 0.78 ±0.02 | 0.76 ±0.02 | 0.81 ±0.02 | 0.75 ±0.03 | 0.64 ±0.02 | 0.78 ±0.02 |
| all all | IgG | F1 score | 0.78 ±0.02 | 0.77 ±0.02 | 0.81 ±0.02 | 0.75 ±0.03 | 0.64 ±0.02 | 0.78 ±0.02 |
| all all | IgM IgG | accuracy | 0.8 ±0.02 | 0.77 ±0.02 | 0.83 ±0.02 | 0.76 ±0.02 | 0.6 ±0.03 | 0.8 ±0.02 |
| all all | IgM IgG | precision | 0.81 ±0.02 | 0.8 ±0.02 | 0.83 ±0.02 | 0.76 ±0.02 | 0.61 ±0.06 | 0.81 ±0.02 |
| all all | IgM IgG | recall | 0.79 ±0.02 | 0.76 ±0.02 | 0.82 ±0.02 | 0.75 ±0.02 | 0.61 ±0.03 | 0.8 ±0.02 |
| all all | IgM IgG | F1 score | 0.8 ±0.02 | 0.76 ±0.03 | 0.82 ±0.02 | 0.75 ±0.02 | 0.6 ±0.04 | 0.8 ±0.02 |
| epi acute | IgG | accuracy | 0.67 ±NA | 0.46 ±0.01 | 0.61 ±0.01 | 0.5 ±0.07 | 0.43 ±0.01 | 0.67 ±0 |
| epi acute | IgG | precision | 0.62 ±NA | 0.6 ±0 | 0.59 ±0.01 | 0.56 ±0.03 | 0.59 ±0 | 0.62 ±0 |
| epi acute | IgG | recall | 0.76 ±NA | 0.64 ±0.01 | 0.71 ±0.01 | 0.65 ±0.04 | 0.59 ±0.01 | 0.76 ±0 |
| epi acute | IgG | F1 score | 0.62 ±NA | 0.45 ±0.01 | 0.56 ±0.01 | 0.47 ±0.06 | 0.42 ±0.01 | 0.62 ±0 |
| epi acute | IgM IgG | accuracy | 0.69 ±NA | 0.63 ±0 | 0.63 ±0.01 | 0.48 ±0.08 | 0.49 ±0.03 | 0.68 ±0 |
| epi acute | IgM IgG | precision | 0.63 ±NA | 0.64 ±0 | 0.6 ±0.01 | 0.53 ±0.05 | 0.58 ±0.01 | 0.62 ±0 |
| epi acute | IgM IgG | recall | 0.76 ±NA | 0.73 ±0 | 0.71 ±0.01 | 0.62 ±0.05 | 0.62 ±0.01 | 0.76 ±0 |
| epi acute | IgM IgG | F1 score | 0.63 ±NA | 0.58 ±0 | 0.58 ±0.01 | 0.45 ±0.07 | 0.46 ±0.02 | 0.62 ±0 |
| epi epi | IgG | accuracy | 0.81 ±0.03 | 0.81 ±0.02 | 0.82 ±0.02 | 0.79 ±0.03 | 0.76 ±0.03 | 0.81 ±0.03 |
| epi epi | IgG | precision | 0.78 ±0.04 | 0.77 ±0.09 | 0.79 ±0.06 | 0.71 ±0.04 | 0.68 ±0.1 | 0.79 ±0.06 |
| epi epi | IgG | recall | 0.75 ±0.05 | 0.62 ±0.04 | 0.73 ±0.04 | 0.65 ±0.04 | 0.58 ±0.04 | 0.75 ±0.06 |
| epi epi | IgG | F1 score | 0.76 ±0.04 | 0.64 ±0.05 | 0.75 ±0.04 | 0.67 ±0.04 | 0.59 ±0.05 | 0.76 ±0.05 |
| epi epi | IgM IgG | accuracy | 0.82 ±0.03 | 0.8 ±0.02 | 0.83 ±0.02 | 0.78 ±0.03 | 0.77 ±0.03 | 0.81 ±0.02 |
| epi epi | IgM IgG | precision | 0.81 ±0.04 | 0.76 ±0.14 | 0.78 ±0.07 | 0.7 ±0.06 | 0.71 ±0.08 | 0.8 ±0.04 |
| epi epi | IgM IgG | recall | 0.77 ±0.04 | 0.59 ±0.03 | 0.71 ±0.05 | 0.64 ±0.04 | 0.62 ±0.06 | 0.74 ±0.05 |
| epi epi | IgM IgG | F1 score | 0.78 ±0.04 | 0.61 ±0.05 | 0.74 ±0.06 | 0.65 ±0.04 | 0.64 ±0.06 | 0.76 ±0.04 |

# Seropanel used for training and testing, e.g. acute acute: model trained on acute dataset, model tested on acute dataset.

Table S29. Contingency table with number of correctly classified and misclassified sera stratified by used ML model, antibody data used, seropanel used for training and testing, ground truth and prediction.

| ML Algorithm | Antibody Isotypes | Seropanel (traing test) | Smallpox immunisation status | Ground truth | Prediction | Agreement | Number of Sera Prediction | Number of Sera Ground truth |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FRBC | IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 88 | 103 |
| FRBC | IgG | acute acute | Ambiguous | Mpox | MVA | 0 | 2 | 103 |
| FRBC | IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 13 | 103 |
| FRBC | IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 5 | 11 |
| FRBC | IgG | acute acute | Ambiguous | MVA | MVA | 1 | 3 | 11 |
| FRBC | IgG | acute acute | Ambiguous | MVA | Pre | 0 | 3 | 11 |
| FRBC | IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 4 | 15 |
| FRBC | IgG | acute acute | Ambiguous | Pre | Pre | 1 | 11 | 15 |
| FRBC | IgG | acute acute | No | Mpox | Mpox | 1 | 144 | 161 |
| FRBC | IgG | acute acute | No | Mpox | MVA | 0 | 2 | 161 |
| FRBC | IgG | acute acute | No | Mpox | Pre | 0 | 15 | 161 |
| FRBC | IgG | acute acute | No | MVA | Mpox | 0 | 6 | 16 |
| FRBC | IgG | acute acute | No | MVA | MVA | 1 | 7 | 16 |
| FRBC | IgG | acute acute | No | MVA | Pre | 0 | 3 | 16 |
| FRBC | IgG | acute acute | No | Pre | Mpox | 0 | 16 | 44 |
| FRBC | IgG | acute acute | No | Pre | Pre | 1 | 28 | 44 |
| FRBC | IgG | acute acute | Yes | Mpox | Mpox | 1 | 34 | 40 |
| FRBC | IgG | acute acute | Yes | Mpox | Pre | 0 | 6 | 40 |
| FRBC | IgG | acute acute | Yes | MVA | Mpox | 0 | 1 | 9 |
| FRBC | IgG | acute acute | Yes | MVA | MVA | 1 | 8 | 9 |
| FRBC | IgG | acute acute | Yes | Pre | Mpox | 0 | 16 | 44 |
| FRBC | IgG | acute acute | Yes | Pre | MVA | 0 | 3 | 44 |
| FRBC | IgG | acute acute | Yes | Pre | Pre | 1 | 25 | 44 |
| FRBC | IgG | acute acute |  | Mpox | Mpox | 1 | 2 | 2 |
| FRBC | IgG | acute acute |  | Pre | Mpox | 0 | 13 | 88 |
| FRBC | IgG | acute acute |  | Pre | Pre | 1 | 75 | 88 |
| FRBC | IgG | all all | Ambiguous | Mpox | Mpox | 1 | 78 | 114 |
| FRBC | IgG | all all | Ambiguous | Mpox | MVA | 0 | 16 | 114 |
| FRBC | IgG | all all | Ambiguous | Mpox | Pre | 0 | 20 | 114 |
| FRBC | IgG | all all | Ambiguous | MVA | Mpox | 0 | 5 | 112 |
| FRBC | IgG | all all | Ambiguous | MVA | MVA | 1 | 93 | 112 |
| FRBC | IgG | all all | Ambiguous | MVA | Pre | 0 | 14 | 112 |
| FRBC | IgG | all all | Ambiguous | Pre | Mpox | 0 | 2 | 40 |
| FRBC | IgG | all all | Ambiguous | Pre | MVA | 0 | 5 | 40 |
| FRBC | IgG | all all | Ambiguous | Pre | Pre | 1 | 33 | 40 |
| FRBC | IgG | all all | No | Mpox | Mpox | 1 | 129 | 202 |
| FRBC | IgG | all all | No | Mpox | MVA | 0 | 39 | 202 |
| FRBC | IgG | all all | No | Mpox | Pre | 0 | 34 | 202 |
| FRBC | IgG | all all | No | MVA | Mpox | 0 | 3 | 281 |
| FRBC | IgG | all all | No | MVA | MVA | 1 | 250 | 281 |
| FRBC | IgG | all all | No | MVA | Pre | 0 | 28 | 281 |
| FRBC | IgG | all all | No | Pre | Mpox | 0 | 2 | 191 |
| FRBC | IgG | all all | No | Pre | MVA | 0 | 6 | 191 |
| FRBC | IgG | all all | No | Pre | Pre | 1 | 183 | 191 |
| FRBC | IgG | all all | Yes | Mpox | Mpox | 1 | 38 | 47 |
| FRBC | IgG | all all | Yes | Mpox | MVA | 0 | 5 | 47 |
| FRBC | IgG | all all | Yes | Mpox | Pre | 0 | 4 | 47 |
| FRBC | IgG | all all | Yes | MVA | Mpox | 0 | 8 | 82 |
| FRBC | IgG | all all | Yes | MVA | MVA | 1 | 70 | 82 |
| FRBC | IgG | all all | Yes | MVA | Pre | 0 | 4 | 82 |
| FRBC | IgG | all all | Yes | Pre | Mpox | 0 | 32 | 101 |
| FRBC | IgG | all all | Yes | Pre | MVA | 0 | 46 | 101 |
| FRBC | IgG | all all | Yes | Pre | Pre | 1 | 23 | 101 |
| FRBC | IgG | all all |  | Mpox | Mpox | 1 | 2 | 2 |
| FRBC | IgG | all all |  | Pre | Mpox | 0 | 5 | 88 |
| FRBC | IgG | all all |  | Pre | MVA | 0 | 12 | 88 |
| FRBC | IgG | all all |  | Pre | Pre | 1 | 71 | 88 |
| FRBC | IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 5 | 11 |
| FRBC | IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 6 | 11 |
| FRBC | IgG | epi epi | Ambiguous | MVA | MVA | 1 | 90 | 101 |
| FRBC | IgG | epi epi | Ambiguous | MVA | Pre | 0 | 11 | 101 |
| FRBC | IgG | epi epi | Ambiguous | Pre | MVA | 0 | 4 | 25 |
| FRBC | IgG | epi epi | Ambiguous | Pre | Pre | 1 | 21 | 25 |
| FRBC | IgG | epi epi | No | Mpox | Mpox | 1 | 16 | 41 |
| FRBC | IgG | epi epi | No | Mpox | MVA | 0 | 24 | 41 |
| FRBC | IgG | epi epi | No | Mpox | Pre | 0 | 1 | 41 |
| FRBC | IgG | epi epi | No | MVA | Mpox | 0 | 1 | 265 |
| FRBC | IgG | epi epi | No | MVA | MVA | 1 | 242 | 265 |
| FRBC | IgG | epi epi | No | MVA | Pre | 0 | 22 | 265 |
| FRBC | IgG | epi epi | No | Pre | MVA | 0 | 7 | 147 |
| FRBC | IgG | epi epi | No | Pre | Pre | 1 | 140 | 147 |
| FRBC | IgG | epi epi | Yes | Mpox | Mpox | 1 | 1 | 7 |
| FRBC | IgG | epi epi | Yes | Mpox | MVA | 0 | 4 | 7 |
| FRBC | IgG | epi epi | Yes | Mpox | Pre | 0 | 2 | 7 |
| FRBC | IgG | epi epi | Yes | MVA | Mpox | 0 | 7 | 73 |
| FRBC | IgG | epi epi | Yes | MVA | MVA | 1 | 60 | 73 |
| FRBC | IgG | epi epi | Yes | MVA | Pre | 0 | 6 | 73 |
| FRBC | IgG | epi epi | Yes | Pre | Mpox | 0 | 6 | 57 |
| FRBC | IgG | epi epi | Yes | Pre | MVA | 0 | 37 | 57 |
| FRBC | IgG | epi epi | Yes | Pre | Pre | 1 | 14 | 57 |
| FRBC | IgM IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 96 | 103 |
| FRBC | IgM IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 7 | 103 |
| FRBC | IgM IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 4 | 11 |
| FRBC | IgM IgG | acute acute | Ambiguous | MVA | MVA | 1 | 3 | 11 |
| FRBC | IgM IgG | acute acute | Ambiguous | MVA | Pre | 0 | 4 | 11 |
| FRBC | IgM IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 4 | 15 |
| FRBC | IgM IgG | acute acute | Ambiguous | Pre | Pre | 1 | 11 | 15 |
| FRBC | IgM IgG | acute acute | No | Mpox | Mpox | 1 | 146 | 161 |
| FRBC | IgM IgG | acute acute | No | Mpox | MVA | 0 | 1 | 161 |
| FRBC | IgM IgG | acute acute | No | Mpox | Pre | 0 | 14 | 161 |
| FRBC | IgM IgG | acute acute | No | MVA | Mpox | 0 | 4 | 16 |
| FRBC | IgM IgG | acute acute | No | MVA | MVA | 1 | 10 | 16 |
| FRBC | IgM IgG | acute acute | No | MVA | Pre | 0 | 2 | 16 |
| FRBC | IgM IgG | acute acute | No | Pre | Mpox | 0 | 8 | 44 |
| FRBC | IgM IgG | acute acute | No | Pre | Pre | 1 | 36 | 44 |
| FRBC | IgM IgG | acute acute | Yes | Mpox | Mpox | 1 | 33 | 40 |
| FRBC | IgM IgG | acute acute | Yes | Mpox | MVA | 0 | 1 | 40 |
| FRBC | IgM IgG | acute acute | Yes | Mpox | Pre | 0 | 6 | 40 |
| FRBC | IgM IgG | acute acute | Yes | MVA | Mpox | 0 | 1 | 9 |
| FRBC | IgM IgG | acute acute | Yes | MVA | MVA | 1 | 8 | 9 |
| FRBC | IgM IgG | acute acute | Yes | Pre | Mpox | 0 | 8 | 44 |
| FRBC | IgM IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| FRBC | IgM IgG | acute acute | Yes | Pre | Pre | 1 | 35 | 44 |
| FRBC | IgM IgG | acute acute |  | Mpox | Mpox | 1 | 2 | 2 |
| FRBC | IgM IgG | acute acute |  | Pre | Mpox | 0 | 9 | 88 |
| FRBC | IgM IgG | acute acute |  | Pre | MVA | 0 | 1 | 88 |
| FRBC | IgM IgG | acute acute |  | Pre | Pre | 1 | 78 | 88 |
| FRBC | IgM IgG | all all | Ambiguous | Mpox | Mpox | 1 | 83 | 114 |
| FRBC | IgM IgG | all all | Ambiguous | Mpox | MVA | 0 | 18 | 114 |
| FRBC | IgM IgG | all all | Ambiguous | Mpox | Pre | 0 | 13 | 114 |
| FRBC | IgM IgG | all all | Ambiguous | MVA | Mpox | 0 | 5 | 112 |
| FRBC | IgM IgG | all all | Ambiguous | MVA | MVA | 1 | 93 | 112 |
| FRBC | IgM IgG | all all | Ambiguous | MVA | Pre | 0 | 14 | 112 |
| FRBC | IgM IgG | all all | Ambiguous | Pre | Mpox | 0 | 1 | 40 |
| FRBC | IgM IgG | all all | Ambiguous | Pre | MVA | 0 | 6 | 40 |
| FRBC | IgM IgG | all all | Ambiguous | Pre | Pre | 1 | 33 | 40 |
| FRBC | IgM IgG | all all | No | Mpox | Mpox | 1 | 133 | 202 |
| FRBC | IgM IgG | all all | No | Mpox | MVA | 0 | 31 | 202 |
| FRBC | IgM IgG | all all | No | Mpox | Pre | 0 | 38 | 202 |
| FRBC | IgM IgG | all all | No | MVA | Mpox | 0 | 11 | 281 |
| FRBC | IgM IgG | all all | No | MVA | MVA | 1 | 245 | 281 |
| FRBC | IgM IgG | all all | No | MVA | Pre | 0 | 25 | 281 |
| FRBC | IgM IgG | all all | No | Pre | Mpox | 0 | 4 | 191 |
| FRBC | IgM IgG | all all | No | Pre | MVA | 0 | 6 | 191 |
| FRBC | IgM IgG | all all | No | Pre | Pre | 1 | 181 | 191 |
| FRBC | IgM IgG | all all | Yes | Mpox | Mpox | 1 | 34 | 47 |
| FRBC | IgM IgG | all all | Yes | Mpox | MVA | 0 | 8 | 47 |
| FRBC | IgM IgG | all all | Yes | Mpox | Pre | 0 | 5 | 47 |
| FRBC | IgM IgG | all all | Yes | MVA | Mpox | 0 | 9 | 82 |
| FRBC | IgM IgG | all all | Yes | MVA | MVA | 1 | 68 | 82 |
| FRBC | IgM IgG | all all | Yes | MVA | Pre | 0 | 5 | 82 |
| FRBC | IgM IgG | all all | Yes | Pre | Mpox | 0 | 27 | 101 |
| FRBC | IgM IgG | all all | Yes | Pre | MVA | 0 | 34 | 101 |
| FRBC | IgM IgG | all all | Yes | Pre | Pre | 1 | 40 | 101 |
| FRBC | IgM IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| FRBC | IgM IgG | all all |  | Mpox | Pre | 0 | 1 | 2 |
| FRBC | IgM IgG | all all |  | Pre | Mpox | 0 | 8 | 88 |
| FRBC | IgM IgG | all all |  | Pre | MVA | 0 | 6 | 88 |
| FRBC | IgM IgG | all all |  | Pre | Pre | 1 | 74 | 88 |
| FRBC | IgM IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 3 | 11 |
| FRBC | IgM IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 8 | 11 |
| FRBC | IgM IgG | epi epi | Ambiguous | MVA | MVA | 1 | 90 | 101 |
| FRBC | IgM IgG | epi epi | Ambiguous | MVA | Pre | 0 | 11 | 101 |
| FRBC | IgM IgG | epi epi | Ambiguous | Pre | MVA | 0 | 5 | 25 |
| FRBC | IgM IgG | epi epi | Ambiguous | Pre | Pre | 1 | 20 | 25 |
| FRBC | IgM IgG | epi epi | No | Mpox | Mpox | 1 | 13 | 41 |
| FRBC | IgM IgG | epi epi | No | Mpox | MVA | 0 | 26 | 41 |
| FRBC | IgM IgG | epi epi | No | Mpox | Pre | 0 | 2 | 41 |
| FRBC | IgM IgG | epi epi | No | MVA | Mpox | 0 | 1 | 265 |
| FRBC | IgM IgG | epi epi | No | MVA | MVA | 1 | 247 | 265 |
| FRBC | IgM IgG | epi epi | No | MVA | Pre | 0 | 17 | 265 |
| FRBC | IgM IgG | epi epi | No | Pre | MVA | 0 | 15 | 147 |
| FRBC | IgM IgG | epi epi | No | Pre | Pre | 1 | 132 | 147 |
| FRBC | IgM IgG | epi epi | Yes | Mpox | Mpox | 1 | 3 | 7 |
| FRBC | IgM IgG | epi epi | Yes | Mpox | MVA | 0 | 3 | 7 |
| FRBC | IgM IgG | epi epi | Yes | Mpox | Pre | 0 | 1 | 7 |
| FRBC | IgM IgG | epi epi | Yes | MVA | Mpox | 0 | 9 | 73 |
| FRBC | IgM IgG | epi epi | Yes | MVA | MVA | 1 | 58 | 73 |
| FRBC | IgM IgG | epi epi | Yes | MVA | Pre | 0 | 6 | 73 |
| FRBC | IgM IgG | epi epi | Yes | Pre | Mpox | 0 | 4 | 57 |
| FRBC | IgM IgG | epi epi | Yes | Pre | MVA | 0 | 36 | 57 |
| FRBC | IgM IgG | epi epi | Yes | Pre | Pre | 1 | 17 | 57 |
| LDA | IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 90 | 103 |
| LDA | IgG | acute acute | Ambiguous | Mpox | MVA | 0 | 1 | 103 |
| LDA | IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 12 | 103 |
| LDA | IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 2 | 11 |
| LDA | IgG | acute acute | Ambiguous | MVA | MVA | 1 | 6 | 11 |
| LDA | IgG | acute acute | Ambiguous | MVA | Pre | 0 | 3 | 11 |
| LDA | IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 5 | 15 |
| LDA | IgG | acute acute | Ambiguous | Pre | Pre | 1 | 10 | 15 |
| LDA | IgG | acute acute | No | Mpox | Mpox | 1 | 131 | 161 |
| LDA | IgG | acute acute | No | Mpox | MVA | 0 | 3 | 161 |
| LDA | IgG | acute acute | No | Mpox | Pre | 0 | 27 | 161 |
| LDA | IgG | acute acute | No | MVA | Mpox | 0 | 4 | 16 |
| LDA | IgG | acute acute | No | MVA | MVA | 1 | 10 | 16 |
| LDA | IgG | acute acute | No | MVA | Pre | 0 | 2 | 16 |
| LDA | IgG | acute acute | No | Pre | Mpox | 0 | 4 | 44 |
| LDA | IgG | acute acute | No | Pre | Pre | 1 | 40 | 44 |
| LDA | IgG | acute acute | Yes | Mpox | Mpox | 1 | 36 | 40 |
| LDA | IgG | acute acute | Yes | Mpox | MVA | 0 | 1 | 40 |
| LDA | IgG | acute acute | Yes | Mpox | Pre | 0 | 3 | 40 |
| LDA | IgG | acute acute | Yes | MVA | Mpox | 0 | 1 | 9 |
| LDA | IgG | acute acute | Yes | MVA | MVA | 1 | 8 | 9 |
| LDA | IgG | acute acute | Yes | Pre | Mpox | 0 | 17 | 44 |
| LDA | IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| LDA | IgG | acute acute | Yes | Pre | Pre | 1 | 26 | 44 |
| LDA | IgG | acute acute |  | Mpox | Mpox | 1 | 2 | 2 |
| LDA | IgG | acute acute |  | Pre | Mpox | 0 | 14 | 88 |
| LDA | IgG | acute acute |  | Pre | MVA | 0 | 1 | 88 |
| LDA | IgG | acute acute |  | Pre | Pre | 1 | 73 | 88 |
| LDA | IgG | all all | Ambiguous | Mpox | Mpox | 1 | 84 | 114 |
| LDA | IgG | all all | Ambiguous | Mpox | MVA | 0 | 9 | 114 |
| LDA | IgG | all all | Ambiguous | Mpox | Pre | 0 | 21 | 114 |
| LDA | IgG | all all | Ambiguous | MVA | Mpox | 0 | 3 | 112 |
| LDA | IgG | all all | Ambiguous | MVA | MVA | 1 | 83 | 112 |
| LDA | IgG | all all | Ambiguous | MVA | Pre | 0 | 26 | 112 |
| LDA | IgG | all all | Ambiguous | Pre | Mpox | 0 | 1 | 40 |
| LDA | IgG | all all | Ambiguous | Pre | MVA | 0 | 1 | 40 |
| LDA | IgG | all all | Ambiguous | Pre | Pre | 1 | 38 | 40 |
| LDA | IgG | all all | No | Mpox | Mpox | 1 | 138 | 202 |
| LDA | IgG | all all | No | Mpox | MVA | 0 | 23 | 202 |
| LDA | IgG | all all | No | Mpox | Pre | 0 | 41 | 202 |
| LDA | IgG | all all | No | MVA | Mpox | 0 | 2 | 281 |
| LDA | IgG | all all | No | MVA | MVA | 1 | 221 | 281 |
| LDA | IgG | all all | No | MVA | Pre | 0 | 58 | 281 |
| LDA | IgG | all all | No | Pre | Mpox | 0 | 2 | 191 |
| LDA | IgG | all all | No | Pre | MVA | 0 | 4 | 191 |
| LDA | IgG | all all | No | Pre | Pre | 1 | 185 | 191 |
| LDA | IgG | all all | Yes | Mpox | Mpox | 1 | 33 | 47 |
| LDA | IgG | all all | Yes | Mpox | MVA | 0 | 9 | 47 |
| LDA | IgG | all all | Yes | Mpox | Pre | 0 | 5 | 47 |
| LDA | IgG | all all | Yes | MVA | Mpox | 0 | 6 | 82 |
| LDA | IgG | all all | Yes | MVA | MVA | 1 | 70 | 82 |
| LDA | IgG | all all | Yes | MVA | Pre | 0 | 6 | 82 |
| LDA | IgG | all all | Yes | Pre | Mpox | 0 | 12 | 101 |
| LDA | IgG | all all | Yes | Pre | MVA | 0 | 31 | 101 |
| LDA | IgG | all all | Yes | Pre | Pre | 1 | 58 | 101 |
| LDA | IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA | IgG | all all |  | Mpox | Pre | 0 | 1 | 2 |
| LDA | IgG | all all |  | Pre | Mpox | 0 | 11 | 88 |
| LDA | IgG | all all |  | Pre | MVA | 0 | 5 | 88 |
| LDA | IgG | all all |  | Pre | Pre | 1 | 72 | 88 |
| LDA | IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 6 | 11 |
| LDA | IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 5 | 11 |
| LDA | IgG | epi epi | Ambiguous | MVA | MVA | 1 | 83 | 101 |
| LDA | IgG | epi epi | Ambiguous | MVA | Pre | 0 | 18 | 101 |
| LDA | IgG | epi epi | Ambiguous | Pre | MVA | 0 | 3 | 25 |
| LDA | IgG | epi epi | Ambiguous | Pre | Pre | 1 | 22 | 25 |
| LDA | IgG | epi epi | No | Mpox | Mpox | 1 | 28 | 41 |
| LDA | IgG | epi epi | No | Mpox | MVA | 0 | 13 | 41 |
| LDA | IgG | epi epi | No | MVA | Mpox | 0 | 1 | 265 |
| LDA | IgG | epi epi | No | MVA | MVA | 1 | 235 | 265 |
| LDA | IgG | epi epi | No | MVA | Pre | 0 | 29 | 265 |
| LDA | IgG | epi epi | No | Pre | MVA | 0 | 11 | 147 |
| LDA | IgG | epi epi | No | Pre | Pre | 1 | 136 | 147 |
| LDA | IgG | epi epi | Yes | Mpox | Mpox | 1 | 2 | 7 |
| LDA | IgG | epi epi | Yes | Mpox | MVA | 0 | 4 | 7 |
| LDA | IgG | epi epi | Yes | Mpox | Pre | 0 | 1 | 7 |
| LDA | IgG | epi epi | Yes | MVA | Mpox | 0 | 8 | 73 |
| LDA | IgG | epi epi | Yes | MVA | MVA | 1 | 61 | 73 |
| LDA | IgG | epi epi | Yes | MVA | Pre | 0 | 4 | 73 |
| LDA | IgG | epi epi | Yes | Pre | Mpox | 0 | 7 | 57 |
| LDA | IgG | epi epi | Yes | Pre | MVA | 0 | 30 | 57 |
| LDA | IgG | epi epi | Yes | Pre | Pre | 1 | 20 | 57 |
| LDA | IgM IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 96 | 103 |
| LDA | IgM IgG | acute acute | Ambiguous | Mpox | MVA | 0 | 1 | 103 |
| LDA | IgM IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 6 | 103 |
| LDA | IgM IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 2 | 11 |
| LDA | IgM IgG | acute acute | Ambiguous | MVA | MVA | 1 | 5 | 11 |
| LDA | IgM IgG | acute acute | Ambiguous | MVA | Pre | 0 | 4 | 11 |
| LDA | IgM IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 4 | 15 |
| LDA | IgM IgG | acute acute | Ambiguous | Pre | Pre | 1 | 11 | 15 |
| LDA | IgM IgG | acute acute | No | Mpox | Mpox | 1 | 140 | 161 |
| LDA | IgM IgG | acute acute | No | Mpox | MVA | 0 | 3 | 161 |
| LDA | IgM IgG | acute acute | No | Mpox | Pre | 0 | 18 | 161 |
| LDA | IgM IgG | acute acute | No | MVA | Mpox | 0 | 5 | 16 |
| LDA | IgM IgG | acute acute | No | MVA | MVA | 1 | 9 | 16 |
| LDA | IgM IgG | acute acute | No | MVA | Pre | 0 | 2 | 16 |
| LDA | IgM IgG | acute acute | No | Pre | Mpox | 0 | 2 | 44 |
| LDA | IgM IgG | acute acute | No | Pre | Pre | 1 | 42 | 44 |
| LDA | IgM IgG | acute acute | Yes | Mpox | Mpox | 1 | 35 | 40 |
| LDA | IgM IgG | acute acute | Yes | Mpox | MVA | 0 | 1 | 40 |
| LDA | IgM IgG | acute acute | Yes | Mpox | Pre | 0 | 4 | 40 |
| LDA | IgM IgG | acute acute | Yes | MVA | MVA | 1 | 9 | 9 |
| LDA | IgM IgG | acute acute | Yes | Pre | Mpox | 0 | 6 | 44 |
| LDA | IgM IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| LDA | IgM IgG | acute acute | Yes | Pre | Pre | 1 | 37 | 44 |
| LDA | IgM IgG | acute acute |  | Mpox | Pre | 0 | 2 | 2 |
| LDA | IgM IgG | acute acute |  | Pre | Mpox | 0 | 8 | 88 |
| LDA | IgM IgG | acute acute |  | Pre | MVA | 0 | 1 | 88 |
| LDA | IgM IgG | acute acute |  | Pre | Pre | 1 | 79 | 88 |
| LDA | IgM IgG | all all | Ambiguous | Mpox | Mpox | 1 | 88 | 114 |
| LDA | IgM IgG | all all | Ambiguous | Mpox | MVA | 0 | 10 | 114 |
| LDA | IgM IgG | all all | Ambiguous | Mpox | Pre | 0 | 16 | 114 |
| LDA | IgM IgG | all all | Ambiguous | MVA | Mpox | 0 | 4 | 112 |
| LDA | IgM IgG | all all | Ambiguous | MVA | MVA | 1 | 82 | 112 |
| LDA | IgM IgG | all all | Ambiguous | MVA | Pre | 0 | 26 | 112 |
| LDA | IgM IgG | all all | Ambiguous | Pre | Pre | 1 | 40 | 40 |
| LDA | IgM IgG | all all | No | Mpox | Mpox | 1 | 142 | 202 |
| LDA | IgM IgG | all all | No | Mpox | MVA | 0 | 25 | 202 |
| LDA | IgM IgG | all all | No | Mpox | Pre | 0 | 35 | 202 |
| LDA | IgM IgG | all all | No | MVA | Mpox | 0 | 7 | 281 |
| LDA | IgM IgG | all all | No | MVA | MVA | 1 | 219 | 281 |
| LDA | IgM IgG | all all | No | MVA | Pre | 0 | 55 | 281 |
| LDA | IgM IgG | all all | No | Pre | Mpox | 0 | 2 | 191 |
| LDA | IgM IgG | all all | No | Pre | MVA | 0 | 4 | 191 |
| LDA | IgM IgG | all all | No | Pre | Pre | 1 | 185 | 191 |
| LDA | IgM IgG | all all | Yes | Mpox | Mpox | 1 | 29 | 47 |
| LDA | IgM IgG | all all | Yes | Mpox | MVA | 0 | 10 | 47 |
| LDA | IgM IgG | all all | Yes | Mpox | Pre | 0 | 8 | 47 |
| LDA | IgM IgG | all all | Yes | MVA | Mpox | 0 | 1 | 82 |
| LDA | IgM IgG | all all | Yes | MVA | MVA | 1 | 73 | 82 |
| LDA | IgM IgG | all all | Yes | MVA | Pre | 0 | 8 | 82 |
| LDA | IgM IgG | all all | Yes | Pre | Mpox | 0 | 7 | 101 |
| LDA | IgM IgG | all all | Yes | Pre | MVA | 0 | 31 | 101 |
| LDA | IgM IgG | all all | Yes | Pre | Pre | 1 | 63 | 101 |
| LDA | IgM IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA | IgM IgG | all all |  | Mpox | Pre | 0 | 1 | 2 |
| LDA | IgM IgG | all all |  | Pre | Mpox | 0 | 6 | 88 |
| LDA | IgM IgG | all all |  | Pre | MVA | 0 | 5 | 88 |
| LDA | IgM IgG | all all |  | Pre | Pre | 1 | 77 | 88 |
| LDA | IgM IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 6 | 11 |
| LDA | IgM IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 5 | 11 |
| LDA | IgM IgG | epi epi | Ambiguous | MVA | MVA | 1 | 81 | 101 |
| LDA | IgM IgG | epi epi | Ambiguous | MVA | Pre | 0 | 20 | 101 |
| LDA | IgM IgG | epi epi | Ambiguous | Pre | MVA | 0 | 3 | 25 |
| LDA | IgM IgG | epi epi | Ambiguous | Pre | Pre | 1 | 22 | 25 |
| LDA | IgM IgG | epi epi | No | Mpox | Mpox | 1 | 30 | 41 |
| LDA | IgM IgG | epi epi | No | Mpox | MVA | 0 | 11 | 41 |
| LDA | IgM IgG | epi epi | No | MVA | Mpox | 0 | 1 | 265 |
| LDA | IgM IgG | epi epi | No | MVA | MVA | 1 | 233 | 265 |
| LDA | IgM IgG | epi epi | No | MVA | Pre | 0 | 31 | 265 |
| LDA | IgM IgG | epi epi | No | Pre | MVA | 0 | 11 | 147 |
| LDA | IgM IgG | epi epi | No | Pre | Pre | 1 | 136 | 147 |
| LDA | IgM IgG | epi epi | Yes | Mpox | Mpox | 1 | 3 | 7 |
| LDA | IgM IgG | epi epi | Yes | Mpox | MVA | 0 | 4 | 7 |
| LDA | IgM IgG | epi epi | Yes | MVA | Mpox | 0 | 4 | 73 |
| LDA | IgM IgG | epi epi | Yes | MVA | MVA | 1 | 62 | 73 |
| LDA | IgM IgG | epi epi | Yes | MVA | Pre | 0 | 7 | 73 |
| LDA | IgM IgG | epi epi | Yes | Pre | Mpox | 0 | 6 | 57 |
| LDA | IgM IgG | epi epi | Yes | Pre | MVA | 0 | 26 | 57 |
| LDA | IgM IgG | epi epi | Yes | Pre | Pre | 1 | 25 | 57 |
| LDA FRBC | IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 92 | 103 |
| LDA FRBC | IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 11 | 103 |
| LDA FRBC | IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 3 | 11 |
| LDA FRBC | IgG | acute acute | Ambiguous | MVA | Pre | 0 | 8 | 11 |
| LDA FRBC | IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 4 | 15 |
| LDA FRBC | IgG | acute acute | Ambiguous | Pre | Pre | 1 | 11 | 15 |
| LDA FRBC | IgG | acute acute | No | Mpox | Mpox | 1 | 134 | 161 |
| LDA FRBC | IgG | acute acute | No | Mpox | Pre | 0 | 27 | 161 |
| LDA FRBC | IgG | acute acute | No | MVA | Mpox | 0 | 2 | 16 |
| LDA FRBC | IgG | acute acute | No | MVA | Pre | 0 | 14 | 16 |
| LDA FRBC | IgG | acute acute | No | Pre | Mpox | 0 | 7 | 44 |
| LDA FRBC | IgG | acute acute | No | Pre | Pre | 1 | 37 | 44 |
| LDA FRBC | IgG | acute acute | Yes | Mpox | Mpox | 1 | 36 | 40 |
| LDA FRBC | IgG | acute acute | Yes | Mpox | Pre | 0 | 4 | 40 |
| LDA FRBC | IgG | acute acute | Yes | MVA | Mpox | 0 | 1 | 9 |
| LDA FRBC | IgG | acute acute | Yes | MVA | Pre | 0 | 8 | 9 |
| LDA FRBC | IgG | acute acute | Yes | Pre | Mpox | 0 | 17 | 44 |
| LDA FRBC | IgG | acute acute | Yes | Pre | Pre | 1 | 27 | 44 |
| LDA FRBC | IgG | acute acute |  | Mpox | Mpox | 1 | 2 | 2 |
| LDA FRBC | IgG | acute acute |  | Pre | Mpox | 0 | 19 | 88 |
| LDA FRBC | IgG | acute acute |  | Pre | Pre | 1 | 69 | 88 |
| LDA FRBC | IgG | all all | Ambiguous | Mpox | Mpox | 1 | 83 | 114 |
| LDA FRBC | IgG | all all | Ambiguous | Mpox | MVA | 0 | 9 | 114 |
| LDA FRBC | IgG | all all | Ambiguous | Mpox | Pre | 0 | 22 | 114 |
| LDA FRBC | IgG | all all | Ambiguous | MVA | Mpox | 0 | 4 | 112 |
| LDA FRBC | IgG | all all | Ambiguous | MVA | MVA | 1 | 64 | 112 |
| LDA FRBC | IgG | all all | Ambiguous | MVA | Pre | 0 | 44 | 112 |
| LDA FRBC | IgG | all all | Ambiguous | Pre | Mpox | 0 | 2 | 40 |
| LDA FRBC | IgG | all all | Ambiguous | Pre | MVA | 0 | 17 | 40 |
| LDA FRBC | IgG | all all | Ambiguous | Pre | Pre | 1 | 21 | 40 |
| LDA FRBC | IgG | all all | No | Mpox | Mpox | 1 | 138 | 202 |
| LDA FRBC | IgG | all all | No | Mpox | MVA | 0 | 11 | 202 |
| LDA FRBC | IgG | all all | No | Mpox | Pre | 0 | 53 | 202 |
| LDA FRBC | IgG | all all | No | MVA | Mpox | 0 | 2 | 281 |
| LDA FRBC | IgG | all all | No | MVA | MVA | 1 | 185 | 281 |
| LDA FRBC | IgG | all all | No | MVA | Pre | 0 | 94 | 281 |
| LDA FRBC | IgG | all all | No | Pre | Mpox | 0 | 9 | 191 |
| LDA FRBC | IgG | all all | No | Pre | MVA | 0 | 65 | 191 |
| LDA FRBC | IgG | all all | No | Pre | Pre | 1 | 117 | 191 |
| LDA FRBC | IgG | all all | Yes | Mpox | Mpox | 1 | 30 | 47 |
| LDA FRBC | IgG | all all | Yes | Mpox | MVA | 0 | 4 | 47 |
| LDA FRBC | IgG | all all | Yes | Mpox | Pre | 0 | 13 | 47 |
| LDA FRBC | IgG | all all | Yes | MVA | Mpox | 0 | 4 | 82 |
| LDA FRBC | IgG | all all | Yes | MVA | MVA | 1 | 45 | 82 |
| LDA FRBC | IgG | all all | Yes | MVA | Pre | 0 | 33 | 82 |
| LDA FRBC | IgG | all all | Yes | Pre | Mpox | 0 | 17 | 101 |
| LDA FRBC | IgG | all all | Yes | Pre | MVA | 0 | 23 | 101 |
| LDA FRBC | IgG | all all | Yes | Pre | Pre | 1 | 61 | 101 |
| LDA FRBC | IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA FRBC | IgG | all all |  | Mpox | Pre | 0 | 1 | 2 |
| LDA FRBC | IgG | all all |  | Pre | Mpox | 0 | 17 | 88 |
| LDA FRBC | IgG | all all |  | Pre | MVA | 0 | 11 | 88 |
| LDA FRBC | IgG | all all |  | Pre | Pre | 1 | 60 | 88 |
| LDA FRBC | IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 1 | 11 |
| LDA FRBC | IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 10 | 11 |
| LDA FRBC | IgG | epi epi | Ambiguous | MVA | MVA | 1 | 85 | 101 |
| LDA FRBC | IgG | epi epi | Ambiguous | MVA | Pre | 0 | 16 | 101 |
| LDA FRBC | IgG | epi epi | Ambiguous | Pre | MVA | 0 | 4 | 25 |
| LDA FRBC | IgG | epi epi | Ambiguous | Pre | Pre | 1 | 21 | 25 |
| LDA FRBC | IgG | epi epi | No | Mpox | Mpox | 1 | 5 | 41 |
| LDA FRBC | IgG | epi epi | No | Mpox | MVA | 0 | 36 | 41 |
| LDA FRBC | IgG | epi epi | No | MVA | Mpox | 0 | 3 | 265 |
| LDA FRBC | IgG | epi epi | No | MVA | MVA | 1 | 236 | 265 |
| LDA FRBC | IgG | epi epi | No | MVA | Pre | 0 | 26 | 265 |
| LDA FRBC | IgG | epi epi | No | Pre | MVA | 0 | 21 | 147 |
| LDA FRBC | IgG | epi epi | No | Pre | Pre | 1 | 126 | 147 |
| LDA FRBC | IgG | epi epi | Yes | Mpox | Mpox | 1 | 3 | 7 |
| LDA FRBC | IgG | epi epi | Yes | Mpox | MVA | 0 | 4 | 7 |
| LDA FRBC | IgG | epi epi | Yes | MVA | Mpox | 0 | 4 | 73 |
| LDA FRBC | IgG | epi epi | Yes | MVA | MVA | 1 | 67 | 73 |
| LDA FRBC | IgG | epi epi | Yes | MVA | Pre | 0 | 2 | 73 |
| LDA FRBC | IgG | epi epi | Yes | Pre | Mpox | 0 | 3 | 57 |
| LDA FRBC | IgG | epi epi | Yes | Pre | MVA | 0 | 43 | 57 |
| LDA FRBC | IgG | epi epi | Yes | Pre | Pre | 1 | 11 | 57 |
| LDA FRBC | IgM IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 99 | 103 |
| LDA FRBC | IgM IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 4 | 103 |
| LDA FRBC | IgM IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 5 | 11 |
| LDA FRBC | IgM IgG | acute acute | Ambiguous | MVA | Pre | 0 | 6 | 11 |
| LDA FRBC | IgM IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 5 | 15 |
| LDA FRBC | IgM IgG | acute acute | Ambiguous | Pre | Pre | 1 | 10 | 15 |
| LDA FRBC | IgM IgG | acute acute | No | Mpox | Mpox | 1 | 148 | 161 |
| LDA FRBC | IgM IgG | acute acute | No | Mpox | Pre | 0 | 13 | 161 |
| LDA FRBC | IgM IgG | acute acute | No | MVA | Mpox | 0 | 8 | 16 |
| LDA FRBC | IgM IgG | acute acute | No | MVA | Pre | 0 | 8 | 16 |
| LDA FRBC | IgM IgG | acute acute | No | Pre | Mpox | 0 | 5 | 44 |
| LDA FRBC | IgM IgG | acute acute | No | Pre | Pre | 1 | 39 | 44 |
| LDA FRBC | IgM IgG | acute acute | Yes | Mpox | Mpox | 1 | 37 | 40 |
| LDA FRBC | IgM IgG | acute acute | Yes | Mpox | Pre | 0 | 3 | 40 |
| LDA FRBC | IgM IgG | acute acute | Yes | MVA | Mpox | 0 | 8 | 9 |
| LDA FRBC | IgM IgG | acute acute | Yes | MVA | Pre | 0 | 1 | 9 |
| LDA FRBC | IgM IgG | acute acute | Yes | Pre | Mpox | 0 | 8 | 44 |
| LDA FRBC | IgM IgG | acute acute | Yes | Pre | Pre | 1 | 36 | 44 |
| LDA FRBC | IgM IgG | acute acute |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA FRBC | IgM IgG | acute acute |  | Mpox | Pre | 0 | 1 | 2 |
| LDA FRBC | IgM IgG | acute acute |  | Pre | Mpox | 0 | 14 | 88 |
| LDA FRBC | IgM IgG | acute acute |  | Pre | Pre | 1 | 74 | 88 |
| LDA FRBC | IgM IgG | all all | Ambiguous | Mpox | Mpox | 1 | 93 | 114 |
| LDA FRBC | IgM IgG | all all | Ambiguous | Mpox | MVA | 0 | 7 | 114 |
| LDA FRBC | IgM IgG | all all | Ambiguous | Mpox | Pre | 0 | 14 | 114 |
| LDA FRBC | IgM IgG | all all | Ambiguous | MVA | Mpox | 0 | 7 | 112 |
| LDA FRBC | IgM IgG | all all | Ambiguous | MVA | MVA | 1 | 79 | 112 |
| LDA FRBC | IgM IgG | all all | Ambiguous | MVA | Pre | 0 | 26 | 112 |
| LDA FRBC | IgM IgG | all all | Ambiguous | Pre | Mpox | 0 | 2 | 40 |
| LDA FRBC | IgM IgG | all all | Ambiguous | Pre | MVA | 0 | 27 | 40 |
| LDA FRBC | IgM IgG | all all | Ambiguous | Pre | Pre | 1 | 11 | 40 |
| LDA FRBC | IgM IgG | all all | No | Mpox | Mpox | 1 | 152 | 202 |
| LDA FRBC | IgM IgG | all all | No | Mpox | MVA | 0 | 18 | 202 |
| LDA FRBC | IgM IgG | all all | No | Mpox | Pre | 0 | 32 | 202 |
| LDA FRBC | IgM IgG | all all | No | MVA | Mpox | 0 | 15 | 281 |
| LDA FRBC | IgM IgG | all all | No | MVA | MVA | 1 | 195 | 281 |
| LDA FRBC | IgM IgG | all all | No | MVA | Pre | 0 | 71 | 281 |
| LDA FRBC | IgM IgG | all all | No | Pre | Mpox | 0 | 6 | 191 |
| LDA FRBC | IgM IgG | all all | No | Pre | MVA | 0 | 126 | 191 |
| LDA FRBC | IgM IgG | all all | No | Pre | Pre | 1 | 59 | 191 |
| LDA FRBC | IgM IgG | all all | Yes | Mpox | Mpox | 1 | 33 | 47 |
| LDA FRBC | IgM IgG | all all | Yes | Mpox | MVA | 0 | 6 | 47 |
| LDA FRBC | IgM IgG | all all | Yes | Mpox | Pre | 0 | 8 | 47 |
| LDA FRBC | IgM IgG | all all | Yes | MVA | Mpox | 0 | 4 | 82 |
| LDA FRBC | IgM IgG | all all | Yes | MVA | MVA | 1 | 52 | 82 |
| LDA FRBC | IgM IgG | all all | Yes | MVA | Pre | 0 | 26 | 82 |
| LDA FRBC | IgM IgG | all all | Yes | Pre | Mpox | 0 | 14 | 101 |
| LDA FRBC | IgM IgG | all all | Yes | Pre | MVA | 0 | 44 | 101 |
| LDA FRBC | IgM IgG | all all | Yes | Pre | Pre | 1 | 43 | 101 |
| LDA FRBC | IgM IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA FRBC | IgM IgG | all all |  | Mpox | MVA | 0 | 1 | 2 |
| LDA FRBC | IgM IgG | all all |  | Pre | Mpox | 0 | 14 | 88 |
| LDA FRBC | IgM IgG | all all |  | Pre | MVA | 0 | 26 | 88 |
| LDA FRBC | IgM IgG | all all |  | Pre | Pre | 1 | 48 | 88 |
| LDA FRBC | IgM IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 1 | 11 |
| LDA FRBC | IgM IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 10 | 11 |
| LDA FRBC | IgM IgG | epi epi | Ambiguous | MVA | Mpox | 0 | 1 | 101 |
| LDA FRBC | IgM IgG | epi epi | Ambiguous | MVA | MVA | 1 | 84 | 101 |
| LDA FRBC | IgM IgG | epi epi | Ambiguous | MVA | Pre | 0 | 16 | 101 |
| LDA FRBC | IgM IgG | epi epi | Ambiguous | Pre | MVA | 0 | 4 | 25 |
| LDA FRBC | IgM IgG | epi epi | Ambiguous | Pre | Pre | 1 | 21 | 25 |
| LDA FRBC | IgM IgG | epi epi | No | Mpox | Mpox | 1 | 12 | 41 |
| LDA FRBC | IgM IgG | epi epi | No | Mpox | MVA | 0 | 29 | 41 |
| LDA FRBC | IgM IgG | epi epi | No | MVA | Mpox | 0 | 5 | 265 |
| LDA FRBC | IgM IgG | epi epi | No | MVA | MVA | 1 | 227 | 265 |
| LDA FRBC | IgM IgG | epi epi | No | MVA | Pre | 0 | 33 | 265 |
| LDA FRBC | IgM IgG | epi epi | No | Pre | MVA | 0 | 17 | 147 |
| LDA FRBC | IgM IgG | epi epi | No | Pre | Pre | 1 | 130 | 147 |
| LDA FRBC | IgM IgG | epi epi | Yes | Mpox | Mpox | 1 | 3 | 7 |
| LDA FRBC | IgM IgG | epi epi | Yes | Mpox | MVA | 0 | 4 | 7 |
| LDA FRBC | IgM IgG | epi epi | Yes | MVA | Mpox | 0 | 4 | 73 |
| LDA FRBC | IgM IgG | epi epi | Yes | MVA | MVA | 1 | 67 | 73 |
| LDA FRBC | IgM IgG | epi epi | Yes | MVA | Pre | 0 | 2 | 73 |
| LDA FRBC | IgM IgG | epi epi | Yes | Pre | Mpox | 0 | 3 | 57 |
| LDA FRBC | IgM IgG | epi epi | Yes | Pre | MVA | 0 | 36 | 57 |
| LDA FRBC | IgM IgG | epi epi | Yes | Pre | Pre | 1 | 18 | 57 |
| LDA RF | IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 89 | 103 |
| LDA RF | IgG | acute acute | Ambiguous | Mpox | MVA | 0 | 1 | 103 |
| LDA RF | IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 13 | 103 |
| LDA RF | IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 2 | 11 |
| LDA RF | IgG | acute acute | Ambiguous | MVA | MVA | 1 | 6 | 11 |
| LDA RF | IgG | acute acute | Ambiguous | MVA | Pre | 0 | 3 | 11 |
| LDA RF | IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 5 | 15 |
| LDA RF | IgG | acute acute | Ambiguous | Pre | Pre | 1 | 10 | 15 |
| LDA RF | IgG | acute acute | No | Mpox | Mpox | 1 | 133 | 161 |
| LDA RF | IgG | acute acute | No | Mpox | MVA | 0 | 2 | 161 |
| LDA RF | IgG | acute acute | No | Mpox | Pre | 0 | 26 | 161 |
| LDA RF | IgG | acute acute | No | MVA | Mpox | 0 | 3 | 16 |
| LDA RF | IgG | acute acute | No | MVA | MVA | 1 | 11 | 16 |
| LDA RF | IgG | acute acute | No | MVA | Pre | 0 | 2 | 16 |
| LDA RF | IgG | acute acute | No | Pre | Mpox | 0 | 6 | 44 |
| LDA RF | IgG | acute acute | No | Pre | Pre | 1 | 38 | 44 |
| LDA RF | IgG | acute acute | Yes | Mpox | Mpox | 1 | 37 | 40 |
| LDA RF | IgG | acute acute | Yes | Mpox | Pre | 0 | 3 | 40 |
| LDA RF | IgG | acute acute | Yes | MVA | Mpox | 0 | 2 | 9 |
| LDA RF | IgG | acute acute | Yes | MVA | MVA | 1 | 7 | 9 |
| LDA RF | IgG | acute acute | Yes | Pre | Mpox | 0 | 19 | 44 |
| LDA RF | IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| LDA RF | IgG | acute acute | Yes | Pre | Pre | 1 | 24 | 44 |
| LDA RF | IgG | acute acute |  | Mpox | Mpox | 1 | 2 | 2 |
| LDA RF | IgG | acute acute |  | Pre | Mpox | 0 | 12 | 88 |
| LDA RF | IgG | acute acute |  | Pre | MVA | 0 | 2 | 88 |
| LDA RF | IgG | acute acute |  | Pre | Pre | 1 | 74 | 88 |
| LDA RF | IgG | all all | Ambiguous | Mpox | Mpox | 1 | 86 | 114 |
| LDA RF | IgG | all all | Ambiguous | Mpox | MVA | 0 | 12 | 114 |
| LDA RF | IgG | all all | Ambiguous | Mpox | Pre | 0 | 16 | 114 |
| LDA RF | IgG | all all | Ambiguous | MVA | Mpox | 0 | 3 | 112 |
| LDA RF | IgG | all all | Ambiguous | MVA | MVA | 1 | 88 | 112 |
| LDA RF | IgG | all all | Ambiguous | MVA | Pre | 0 | 21 | 112 |
| LDA RF | IgG | all all | Ambiguous | Pre | Mpox | 0 | 2 | 40 |
| LDA RF | IgG | all all | Ambiguous | Pre | MVA | 0 | 1 | 40 |
| LDA RF | IgG | all all | Ambiguous | Pre | Pre | 1 | 37 | 40 |
| LDA RF | IgG | all all | No | Mpox | Mpox | 1 | 146 | 202 |
| LDA RF | IgG | all all | No | Mpox | MVA | 0 | 26 | 202 |
| LDA RF | IgG | all all | No | Mpox | Pre | 0 | 30 | 202 |
| LDA RF | IgG | all all | No | MVA | Mpox | 0 | 5 | 281 |
| LDA RF | IgG | all all | No | MVA | MVA | 1 | 236 | 281 |
| LDA RF | IgG | all all | No | MVA | Pre | 0 | 40 | 281 |
| LDA RF | IgG | all all | No | Pre | Mpox | 0 | 4 | 191 |
| LDA RF | IgG | all all | No | Pre | MVA | 0 | 7 | 191 |
| LDA RF | IgG | all all | No | Pre | Pre | 1 | 180 | 191 |
| LDA RF | IgG | all all | Yes | Mpox | Mpox | 1 | 35 | 47 |
| LDA RF | IgG | all all | Yes | Mpox | MVA | 0 | 8 | 47 |
| LDA RF | IgG | all all | Yes | Mpox | Pre | 0 | 4 | 47 |
| LDA RF | IgG | all all | Yes | MVA | Mpox | 0 | 6 | 82 |
| LDA RF | IgG | all all | Yes | MVA | MVA | 1 | 72 | 82 |
| LDA RF | IgG | all all | Yes | MVA | Pre | 0 | 4 | 82 |
| LDA RF | IgG | all all | Yes | Pre | Mpox | 0 | 23 | 101 |
| LDA RF | IgG | all all | Yes | Pre | MVA | 0 | 34 | 101 |
| LDA RF | IgG | all all | Yes | Pre | Pre | 1 | 44 | 101 |
| LDA RF | IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA RF | IgG | all all |  | Mpox | Pre | 0 | 1 | 2 |
| LDA RF | IgG | all all |  | Pre | Mpox | 0 | 11 | 88 |
| LDA RF | IgG | all all |  | Pre | MVA | 0 | 6 | 88 |
| LDA RF | IgG | all all |  | Pre | Pre | 1 | 71 | 88 |
| LDA RF | IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 8 | 11 |
| LDA RF | IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 3 | 11 |
| LDA RF | IgG | epi epi | Ambiguous | MVA | MVA | 1 | 86 | 101 |
| LDA RF | IgG | epi epi | Ambiguous | MVA | Pre | 0 | 15 | 101 |
| LDA RF | IgG | epi epi | Ambiguous | Pre | MVA | 0 | 4 | 25 |
| LDA RF | IgG | epi epi | Ambiguous | Pre | Pre | 1 | 21 | 25 |
| LDA RF | IgG | epi epi | No | Mpox | Mpox | 1 | 29 | 41 |
| LDA RF | IgG | epi epi | No | Mpox | MVA | 0 | 12 | 41 |
| LDA RF | IgG | epi epi | No | MVA | MVA | 1 | 241 | 265 |
| LDA RF | IgG | epi epi | No | MVA | Pre | 0 | 24 | 265 |
| LDA RF | IgG | epi epi | No | Pre | MVA | 0 | 18 | 147 |
| LDA RF | IgG | epi epi | No | Pre | Pre | 1 | 129 | 147 |
| LDA RF | IgG | epi epi | Yes | Mpox | Mpox | 1 | 1 | 7 |
| LDA RF | IgG | epi epi | Yes | Mpox | MVA | 0 | 5 | 7 |
| LDA RF | IgG | epi epi | Yes | Mpox | Pre | 0 | 1 | 7 |
| LDA RF | IgG | epi epi | Yes | MVA | Mpox | 0 | 5 | 73 |
| LDA RF | IgG | epi epi | Yes | MVA | MVA | 1 | 65 | 73 |
| LDA RF | IgG | epi epi | Yes | MVA | Pre | 0 | 3 | 73 |
| LDA RF | IgG | epi epi | Yes | Pre | Mpox | 0 | 6 | 57 |
| LDA RF | IgG | epi epi | Yes | Pre | MVA | 0 | 35 | 57 |
| LDA RF | IgG | epi epi | Yes | Pre | Pre | 1 | 16 | 57 |
| LDA RF | IgM IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 100 | 103 |
| LDA RF | IgM IgG | acute acute | Ambiguous | Mpox | MVA | 0 | 1 | 103 |
| LDA RF | IgM IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 2 | 103 |
| LDA RF | IgM IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 2 | 11 |
| LDA RF | IgM IgG | acute acute | Ambiguous | MVA | MVA | 1 | 6 | 11 |
| LDA RF | IgM IgG | acute acute | Ambiguous | MVA | Pre | 0 | 3 | 11 |
| LDA RF | IgM IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 5 | 15 |
| LDA RF | IgM IgG | acute acute | Ambiguous | Pre | Pre | 1 | 10 | 15 |
| LDA RF | IgM IgG | acute acute | No | Mpox | Mpox | 1 | 147 | 161 |
| LDA RF | IgM IgG | acute acute | No | Mpox | MVA | 0 | 3 | 161 |
| LDA RF | IgM IgG | acute acute | No | Mpox | Pre | 0 | 11 | 161 |
| LDA RF | IgM IgG | acute acute | No | MVA | Mpox | 0 | 3 | 16 |
| LDA RF | IgM IgG | acute acute | No | MVA | MVA | 1 | 11 | 16 |
| LDA RF | IgM IgG | acute acute | No | MVA | Pre | 0 | 2 | 16 |
| LDA RF | IgM IgG | acute acute | No | Pre | Mpox | 0 | 4 | 44 |
| LDA RF | IgM IgG | acute acute | No | Pre | Pre | 1 | 40 | 44 |
| LDA RF | IgM IgG | acute acute | Yes | Mpox | Mpox | 1 | 37 | 40 |
| LDA RF | IgM IgG | acute acute | Yes | Mpox | Pre | 0 | 3 | 40 |
| LDA RF | IgM IgG | acute acute | Yes | MVA | MVA | 1 | 9 | 9 |
| LDA RF | IgM IgG | acute acute | Yes | Pre | Mpox | 0 | 10 | 44 |
| LDA RF | IgM IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| LDA RF | IgM IgG | acute acute | Yes | Pre | Pre | 1 | 33 | 44 |
| LDA RF | IgM IgG | acute acute |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA RF | IgM IgG | acute acute |  | Mpox | Pre | 0 | 1 | 2 |
| LDA RF | IgM IgG | acute acute |  | Pre | Mpox | 0 | 13 | 88 |
| LDA RF | IgM IgG | acute acute |  | Pre | MVA | 0 | 2 | 88 |
| LDA RF | IgM IgG | acute acute |  | Pre | Pre | 1 | 73 | 88 |
| LDA RF | IgM IgG | all all | Ambiguous | Mpox | Mpox | 1 | 92 | 114 |
| LDA RF | IgM IgG | all all | Ambiguous | Mpox | MVA | 0 | 10 | 114 |
| LDA RF | IgM IgG | all all | Ambiguous | Mpox | Pre | 0 | 12 | 114 |
| LDA RF | IgM IgG | all all | Ambiguous | MVA | Mpox | 0 | 7 | 112 |
| LDA RF | IgM IgG | all all | Ambiguous | MVA | MVA | 1 | 88 | 112 |
| LDA RF | IgM IgG | all all | Ambiguous | MVA | Pre | 0 | 17 | 112 |
| LDA RF | IgM IgG | all all | Ambiguous | Pre | Mpox | 0 | 2 | 40 |
| LDA RF | IgM IgG | all all | Ambiguous | Pre | MVA | 0 | 1 | 40 |
| LDA RF | IgM IgG | all all | Ambiguous | Pre | Pre | 1 | 37 | 40 |
| LDA RF | IgM IgG | all all | No | Mpox | Mpox | 1 | 153 | 202 |
| LDA RF | IgM IgG | all all | No | Mpox | MVA | 0 | 23 | 202 |
| LDA RF | IgM IgG | all all | No | Mpox | Pre | 0 | 26 | 202 |
| LDA RF | IgM IgG | all all | No | MVA | Mpox | 0 | 17 | 281 |
| LDA RF | IgM IgG | all all | No | MVA | MVA | 1 | 228 | 281 |
| LDA RF | IgM IgG | all all | No | MVA | Pre | 0 | 36 | 281 |
| LDA RF | IgM IgG | all all | No | Pre | Mpox | 0 | 2 | 191 |
| LDA RF | IgM IgG | all all | No | Pre | MVA | 0 | 10 | 191 |
| LDA RF | IgM IgG | all all | No | Pre | Pre | 1 | 179 | 191 |
| LDA RF | IgM IgG | all all | Yes | Mpox | Mpox | 1 | 38 | 47 |
| LDA RF | IgM IgG | all all | Yes | Mpox | MVA | 0 | 6 | 47 |
| LDA RF | IgM IgG | all all | Yes | Mpox | Pre | 0 | 3 | 47 |
| LDA RF | IgM IgG | all all | Yes | MVA | Mpox | 0 | 4 | 82 |
| LDA RF | IgM IgG | all all | Yes | MVA | MVA | 1 | 73 | 82 |
| LDA RF | IgM IgG | all all | Yes | MVA | Pre | 0 | 5 | 82 |
| LDA RF | IgM IgG | all all | Yes | Pre | Mpox | 0 | 12 | 101 |
| LDA RF | IgM IgG | all all | Yes | Pre | MVA | 0 | 32 | 101 |
| LDA RF | IgM IgG | all all | Yes | Pre | Pre | 1 | 57 | 101 |
| LDA RF | IgM IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| LDA RF | IgM IgG | all all |  | Mpox | Pre | 0 | 1 | 2 |
| LDA RF | IgM IgG | all all |  | Pre | Mpox | 0 | 7 | 88 |
| LDA RF | IgM IgG | all all |  | Pre | MVA | 0 | 6 | 88 |
| LDA RF | IgM IgG | all all |  | Pre | Pre | 1 | 75 | 88 |
| LDA RF | IgM IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 6 | 11 |
| LDA RF | IgM IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 5 | 11 |
| LDA RF | IgM IgG | epi epi | Ambiguous | MVA | MVA | 1 | 86 | 101 |
| LDA RF | IgM IgG | epi epi | Ambiguous | MVA | Pre | 0 | 15 | 101 |
| LDA RF | IgM IgG | epi epi | Ambiguous | Pre | MVA | 0 | 5 | 25 |
| LDA RF | IgM IgG | epi epi | Ambiguous | Pre | Pre | 1 | 20 | 25 |
| LDA RF | IgM IgG | epi epi | No | Mpox | Mpox | 1 | 28 | 41 |
| LDA RF | IgM IgG | epi epi | No | Mpox | MVA | 0 | 13 | 41 |
| LDA RF | IgM IgG | epi epi | No | MVA | Mpox | 0 | 2 | 265 |
| LDA RF | IgM IgG | epi epi | No | MVA | MVA | 1 | 235 | 265 |
| LDA RF | IgM IgG | epi epi | No | MVA | Pre | 0 | 28 | 265 |
| LDA RF | IgM IgG | epi epi | No | Pre | MVA | 0 | 17 | 147 |
| LDA RF | IgM IgG | epi epi | No | Pre | Pre | 1 | 130 | 147 |
| LDA RF | IgM IgG | epi epi | Yes | Mpox | Mpox | 1 | 2 | 7 |
| LDA RF | IgM IgG | epi epi | Yes | Mpox | MVA | 0 | 4 | 7 |
| LDA RF | IgM IgG | epi epi | Yes | Mpox | Pre | 0 | 1 | 7 |
| LDA RF | IgM IgG | epi epi | Yes | MVA | Mpox | 0 | 3 | 73 |
| LDA RF | IgM IgG | epi epi | Yes | MVA | MVA | 1 | 64 | 73 |
| LDA RF | IgM IgG | epi epi | Yes | MVA | Pre | 0 | 6 | 73 |
| LDA RF | IgM IgG | epi epi | Yes | Pre | Mpox | 0 | 6 | 57 |
| LDA RF | IgM IgG | epi epi | Yes | Pre | MVA | 0 | 29 | 57 |
| LDA RF | IgM IgG | epi epi | Yes | Pre | Pre | 1 | 22 | 57 |
| RF | IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 88 | 103 |
| RF | IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 15 | 103 |
| RF | IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 3 | 11 |
| RF | IgG | acute acute | Ambiguous | MVA | MVA | 1 | 4 | 11 |
| RF | IgG | acute acute | Ambiguous | MVA | Pre | 0 | 4 | 11 |
| RF | IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 3 | 15 |
| RF | IgG | acute acute | Ambiguous | Pre | Pre | 1 | 12 | 15 |
| RF | IgG | acute acute | No | Mpox | Mpox | 1 | 142 | 161 |
| RF | IgG | acute acute | No | Mpox | MVA | 0 | 1 | 161 |
| RF | IgG | acute acute | No | Mpox | Pre | 0 | 18 | 161 |
| RF | IgG | acute acute | No | MVA | Mpox | 0 | 5 | 16 |
| RF | IgG | acute acute | No | MVA | MVA | 1 | 6 | 16 |
| RF | IgG | acute acute | No | MVA | Pre | 0 | 5 | 16 |
| RF | IgG | acute acute | No | Pre | Mpox | 0 | 8 | 44 |
| RF | IgG | acute acute | No | Pre | Pre | 1 | 36 | 44 |
| RF | IgG | acute acute | Yes | Mpox | Mpox | 1 | 35 | 40 |
| RF | IgG | acute acute | Yes | Mpox | Pre | 0 | 5 | 40 |
| RF | IgG | acute acute | Yes | MVA | Mpox | 0 | 2 | 9 |
| RF | IgG | acute acute | Yes | MVA | MVA | 1 | 7 | 9 |
| RF | IgG | acute acute | Yes | Pre | Mpox | 0 | 19 | 44 |
| RF | IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| RF | IgG | acute acute | Yes | Pre | Pre | 1 | 24 | 44 |
| RF | IgG | acute acute |  | Mpox | Mpox | 1 | 2 | 2 |
| RF | IgG | acute acute |  | Pre | Mpox | 0 | 4 | 88 |
| RF | IgG | acute acute |  | Pre | Pre | 1 | 84 | 88 |
| RF | IgG | all all | Ambiguous | Mpox | Mpox | 1 | 75 | 114 |
| RF | IgG | all all | Ambiguous | Mpox | MVA | 0 | 16 | 114 |
| RF | IgG | all all | Ambiguous | Mpox | Pre | 0 | 23 | 114 |
| RF | IgG | all all | Ambiguous | MVA | MVA | 1 | 95 | 112 |
| RF | IgG | all all | Ambiguous | MVA | Pre | 0 | 17 | 112 |
| RF | IgG | all all | Ambiguous | Pre | Mpox | 0 | 1 | 40 |
| RF | IgG | all all | Ambiguous | Pre | MVA | 0 | 4 | 40 |
| RF | IgG | all all | Ambiguous | Pre | Pre | 1 | 35 | 40 |
| RF | IgG | all all | No | Mpox | Mpox | 1 | 124 | 202 |
| RF | IgG | all all | No | Mpox | MVA | 0 | 37 | 202 |
| RF | IgG | all all | No | Mpox | Pre | 0 | 41 | 202 |
| RF | IgG | all all | No | MVA | MVA | 1 | 248 | 281 |
| RF | IgG | all all | No | MVA | Pre | 0 | 33 | 281 |
| RF | IgG | all all | No | Pre | MVA | 0 | 3 | 191 |
| RF | IgG | all all | No | Pre | Pre | 1 | 188 | 191 |
| RF | IgG | all all | Yes | Mpox | Mpox | 1 | 34 | 47 |
| RF | IgG | all all | Yes | Mpox | MVA | 0 | 10 | 47 |
| RF | IgG | all all | Yes | Mpox | Pre | 0 | 3 | 47 |
| RF | IgG | all all | Yes | MVA | Mpox | 0 | 8 | 82 |
| RF | IgG | all all | Yes | MVA | MVA | 1 | 72 | 82 |
| RF | IgG | all all | Yes | MVA | Pre | 0 | 2 | 82 |
| RF | IgG | all all | Yes | Pre | Mpox | 0 | 21 | 101 |
| RF | IgG | all all | Yes | Pre | MVA | 0 | 50 | 101 |
| RF | IgG | all all | Yes | Pre | Pre | 1 | 30 | 101 |
| RF | IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| RF | IgG | all all |  | Mpox | MVA | 0 | 1 | 2 |
| RF | IgG | all all |  | Pre | Mpox | 0 | 2 | 88 |
| RF | IgG | all all |  | Pre | MVA | 0 | 11 | 88 |
| RF | IgG | all all |  | Pre | Pre | 1 | 75 | 88 |
| RF | IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 2 | 11 |
| RF | IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 9 | 11 |
| RF | IgG | epi epi | Ambiguous | MVA | MVA | 1 | 92 | 101 |
| RF | IgG | epi epi | Ambiguous | MVA | Pre | 0 | 9 | 101 |
| RF | IgG | epi epi | Ambiguous | Pre | MVA | 0 | 3 | 25 |
| RF | IgG | epi epi | Ambiguous | Pre | Pre | 1 | 22 | 25 |
| RF | IgG | epi epi | No | Mpox | Mpox | 1 | 7 | 41 |
| RF | IgG | epi epi | No | Mpox | MVA | 0 | 34 | 41 |
| RF | IgG | epi epi | No | MVA | MVA | 1 | 244 | 265 |
| RF | IgG | epi epi | No | MVA | Pre | 0 | 21 | 265 |
| RF | IgG | epi epi | No | Pre | MVA | 0 | 6 | 147 |
| RF | IgG | epi epi | No | Pre | Pre | 1 | 141 | 147 |
| RF | IgG | epi epi | Yes | Mpox | Mpox | 1 | 1 | 7 |
| RF | IgG | epi epi | Yes | Mpox | MVA | 0 | 6 | 7 |
| RF | IgG | epi epi | Yes | MVA | Mpox | 0 | 3 | 73 |
| RF | IgG | epi epi | Yes | MVA | MVA | 1 | 69 | 73 |
| RF | IgG | epi epi | Yes | MVA | Pre | 0 | 1 | 73 |
| RF | IgG | epi epi | Yes | Pre | Mpox | 0 | 1 | 57 |
| RF | IgG | epi epi | Yes | Pre | MVA | 0 | 44 | 57 |
| RF | IgG | epi epi | Yes | Pre | Pre | 1 | 12 | 57 |
| RF | IgM IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 98 | 103 |
| RF | IgM IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 5 | 103 |
| RF | IgM IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 3 | 11 |
| RF | IgM IgG | acute acute | Ambiguous | MVA | MVA | 1 | 3 | 11 |
| RF | IgM IgG | acute acute | Ambiguous | MVA | Pre | 0 | 5 | 11 |
| RF | IgM IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 2 | 15 |
| RF | IgM IgG | acute acute | Ambiguous | Pre | Pre | 1 | 13 | 15 |
| RF | IgM IgG | acute acute | No | Mpox | Mpox | 1 | 143 | 161 |
| RF | IgM IgG | acute acute | No | Mpox | Pre | 0 | 18 | 161 |
| RF | IgM IgG | acute acute | No | MVA | Mpox | 0 | 5 | 16 |
| RF | IgM IgG | acute acute | No | MVA | MVA | 1 | 5 | 16 |
| RF | IgM IgG | acute acute | No | MVA | Pre | 0 | 6 | 16 |
| RF | IgM IgG | acute acute | No | Pre | Mpox | 0 | 5 | 44 |
| RF | IgM IgG | acute acute | No | Pre | Pre | 1 | 39 | 44 |
| RF | IgM IgG | acute acute | Yes | Mpox | Mpox | 1 | 38 | 40 |
| RF | IgM IgG | acute acute | Yes | Mpox | Pre | 0 | 2 | 40 |
| RF | IgM IgG | acute acute | Yes | MVA | Mpox | 0 | 1 | 9 |
| RF | IgM IgG | acute acute | Yes | MVA | MVA | 1 | 8 | 9 |
| RF | IgM IgG | acute acute | Yes | Pre | Mpox | 0 | 16 | 44 |
| RF | IgM IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| RF | IgM IgG | acute acute | Yes | Pre | Pre | 1 | 27 | 44 |
| RF | IgM IgG | acute acute |  | Mpox | Mpox | 1 | 1 | 2 |
| RF | IgM IgG | acute acute |  | Mpox | Pre | 0 | 1 | 2 |
| RF | IgM IgG | acute acute |  | Pre | Mpox | 0 | 8 | 88 |
| RF | IgM IgG | acute acute |  | Pre | Pre | 1 | 80 | 88 |
| RF | IgM IgG | all all | Ambiguous | Mpox | Mpox | 1 | 73 | 114 |
| RF | IgM IgG | all all | Ambiguous | Mpox | MVA | 0 | 20 | 114 |
| RF | IgM IgG | all all | Ambiguous | Mpox | Pre | 0 | 21 | 114 |
| RF | IgM IgG | all all | Ambiguous | MVA | MVA | 1 | 95 | 112 |
| RF | IgM IgG | all all | Ambiguous | MVA | Pre | 0 | 17 | 112 |
| RF | IgM IgG | all all | Ambiguous | Pre | Mpox | 0 | 1 | 40 |
| RF | IgM IgG | all all | Ambiguous | Pre | MVA | 0 | 4 | 40 |
| RF | IgM IgG | all all | Ambiguous | Pre | Pre | 1 | 35 | 40 |
| RF | IgM IgG | all all | No | Mpox | Mpox | 1 | 123 | 202 |
| RF | IgM IgG | all all | No | Mpox | MVA | 0 | 40 | 202 |
| RF | IgM IgG | all all | No | Mpox | Pre | 0 | 39 | 202 |
| RF | IgM IgG | all all | No | MVA | Mpox | 0 | 2 | 281 |
| RF | IgM IgG | all all | No | MVA | MVA | 1 | 246 | 281 |
| RF | IgM IgG | all all | No | MVA | Pre | 0 | 33 | 281 |
| RF | IgM IgG | all all | No | Pre | MVA | 0 | 3 | 191 |
| RF | IgM IgG | all all | No | Pre | Pre | 1 | 188 | 191 |
| RF | IgM IgG | all all | Yes | Mpox | Mpox | 1 | 31 | 47 |
| RF | IgM IgG | all all | Yes | Mpox | MVA | 0 | 13 | 47 |
| RF | IgM IgG | all all | Yes | Mpox | Pre | 0 | 3 | 47 |
| RF | IgM IgG | all all | Yes | MVA | Mpox | 0 | 4 | 82 |
| RF | IgM IgG | all all | Yes | MVA | MVA | 1 | 75 | 82 |
| RF | IgM IgG | all all | Yes | MVA | Pre | 0 | 3 | 82 |
| RF | IgM IgG | all all | Yes | Pre | Mpox | 0 | 12 | 101 |
| RF | IgM IgG | all all | Yes | Pre | MVA | 0 | 66 | 101 |
| RF | IgM IgG | all all | Yes | Pre | Pre | 1 | 23 | 101 |
| RF | IgM IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| RF | IgM IgG | all all |  | Mpox | Pre | 0 | 1 | 2 |
| RF | IgM IgG | all all |  | Pre | Mpox | 0 | 2 | 88 |
| RF | IgM IgG | all all |  | Pre | MVA | 0 | 10 | 88 |
| RF | IgM IgG | all all |  | Pre | Pre | 1 | 76 | 88 |
| RF | IgM IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 1 | 11 |
| RF | IgM IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 10 | 11 |
| RF | IgM IgG | epi epi | Ambiguous | MVA | MVA | 1 | 91 | 101 |
| RF | IgM IgG | epi epi | Ambiguous | MVA | Pre | 0 | 10 | 101 |
| RF | IgM IgG | epi epi | Ambiguous | Pre | MVA | 0 | 3 | 25 |
| RF | IgM IgG | epi epi | Ambiguous | Pre | Pre | 1 | 22 | 25 |
| RF | IgM IgG | epi epi | No | Mpox | Mpox | 1 | 6 | 41 |
| RF | IgM IgG | epi epi | No | Mpox | MVA | 0 | 35 | 41 |
| RF | IgM IgG | epi epi | No | MVA | MVA | 1 | 245 | 265 |
| RF | IgM IgG | epi epi | No | MVA | Pre | 0 | 20 | 265 |
| RF | IgM IgG | epi epi | No | Pre | MVA | 0 | 7 | 147 |
| RF | IgM IgG | epi epi | No | Pre | Pre | 1 | 140 | 147 |
| RF | IgM IgG | epi epi | Yes | Mpox | MVA | 0 | 7 | 7 |
| RF | IgM IgG | epi epi | Yes | MVA | Mpox | 0 | 1 | 73 |
| RF | IgM IgG | epi epi | Yes | MVA | MVA | 1 | 71 | 73 |
| RF | IgM IgG | epi epi | Yes | MVA | Pre | 0 | 1 | 73 |
| RF | IgM IgG | epi epi | Yes | Pre | Mpox | 0 | 2 | 57 |
| RF | IgM IgG | epi epi | Yes | Pre | MVA | 0 | 51 | 57 |
| RF | IgM IgG | epi epi | Yes | Pre | Pre | 1 | 4 | 57 |
| GBC | IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 89 | 103 |
| GBC | IgG | acute acute | Ambiguous | Mpox | MVA | 0 | 1 | 103 |
| GBC | IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 13 | 103 |
| GBC | IgG | acute acute | Ambiguous | MVA | Mpox | 0 | 2 | 11 |
| GBC | IgG | acute acute | Ambiguous | MVA | MVA | 1 | 6 | 11 |
| GBC | IgG | acute acute | Ambiguous | MVA | Pre | 0 | 3 | 11 |
| GBC | IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 4 | 15 |
| GBC | IgG | acute acute | Ambiguous | Pre | MVA | 0 | 1 | 15 |
| GBC | IgG | acute acute | Ambiguous | Pre | Pre | 1 | 10 | 15 |
| GBC | IgG | acute acute | No | Mpox | Mpox | 1 | 148 | 161 |
| GBC | IgG | acute acute | No | Mpox | MVA | 0 | 1 | 161 |
| GBC | IgG | acute acute | No | Mpox | Pre | 0 | 12 | 161 |
| GBC | IgG | acute acute | No | MVA | Mpox | 0 | 5 | 16 |
| GBC | IgG | acute acute | No | MVA | MVA | 1 | 11 | 16 |
| GBC | IgG | acute acute | No | Pre | Mpox | 0 | 4 | 44 |
| GBC | IgG | acute acute | No | Pre | Pre | 1 | 40 | 44 |
| GBC | IgG | acute acute | Yes | Mpox | Mpox | 1 | 36 | 40 |
| GBC | IgG | acute acute | Yes | Mpox | Pre | 0 | 4 | 40 |
| GBC | IgG | acute acute | Yes | MVA | MVA | 1 | 8 | 9 |
| GBC | IgG | acute acute | Yes | MVA | Pre | 0 | 1 | 9 |
| GBC | IgG | acute acute | Yes | Pre | Mpox | 0 | 14 | 44 |
| GBC | IgG | acute acute | Yes | Pre | MVA | 0 | 2 | 44 |
| GBC | IgG | acute acute | Yes | Pre | Pre | 1 | 28 | 44 |
| GBC | IgG | acute acute |  | Mpox | Mpox | 1 | 2 | 2 |
| GBC | IgG | acute acute |  | Pre | Mpox | 0 | 5 | 88 |
| GBC | IgG | acute acute |  | Pre | Pre | 1 | 83 | 88 |
| GBC | IgG | all all | Ambiguous | Mpox | Mpox | 1 | 82 | 114 |
| GBC | IgG | all all | Ambiguous | Mpox | MVA | 0 | 14 | 114 |
| GBC | IgG | all all | Ambiguous | Mpox | Pre | 0 | 18 | 114 |
| GBC | IgG | all all | Ambiguous | MVA | Mpox | 0 | 5 | 112 |
| GBC | IgG | all all | Ambiguous | MVA | MVA | 1 | 92 | 112 |
| GBC | IgG | all all | Ambiguous | MVA | Pre | 0 | 15 | 112 |
| GBC | IgG | all all | Ambiguous | Pre | Mpox | 0 | 4 | 40 |
| GBC | IgG | all all | Ambiguous | Pre | MVA | 0 | 3 | 40 |
| GBC | IgG | all all | Ambiguous | Pre | Pre | 1 | 33 | 40 |
| GBC | IgG | all all | No | Mpox | Mpox | 1 | 155 | 202 |
| GBC | IgG | all all | No | Mpox | MVA | 0 | 23 | 202 |
| GBC | IgG | all all | No | Mpox | Pre | 0 | 24 | 202 |
| GBC | IgG | all all | No | MVA | Mpox | 0 | 5 | 281 |
| GBC | IgG | all all | No | MVA | MVA | 1 | 253 | 281 |
| GBC | IgG | all all | No | MVA | Pre | 0 | 23 | 281 |
| GBC | IgG | all all | No | Pre | Mpox | 0 | 5 | 191 |
| GBC | IgG | all all | No | Pre | MVA | 0 | 4 | 191 |
| GBC | IgG | all all | No | Pre | Pre | 1 | 182 | 191 |
| GBC | IgG | all all | Yes | Mpox | Mpox | 1 | 36 | 47 |
| GBC | IgG | all all | Yes | Mpox | MVA | 0 | 4 | 47 |
| GBC | IgG | all all | Yes | Mpox | Pre | 0 | 7 | 47 |
| GBC | IgG | all all | Yes | MVA | Mpox | 0 | 8 | 82 |
| GBC | IgG | all all | Yes | MVA | MVA | 1 | 67 | 82 |
| GBC | IgG | all all | Yes | MVA | Pre | 0 | 7 | 82 |
| GBC | IgG | all all | Yes | Pre | Mpox | 0 | 19 | 101 |
| GBC | IgG | all all | Yes | Pre | MVA | 0 | 30 | 101 |
| GBC | IgG | all all | Yes | Pre | Pre | 1 | 52 | 101 |
| GBC | IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| GBC | IgG | all all |  | Mpox | MVA | 0 | 1 | 2 |
| GBC | IgG | all all |  | Pre | Mpox | 0 | 6 | 88 |
| GBC | IgG | all all |  | Pre | MVA | 0 | 4 | 88 |
| GBC | IgG | all all |  | Pre | Pre | 1 | 78 | 88 |
| GBC | IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 7 | 11 |
| GBC | IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 4 | 11 |
| GBC | IgG | epi epi | Ambiguous | MVA | MVA | 1 | 88 | 101 |
| GBC | IgG | epi epi | Ambiguous | MVA | Pre | 0 | 13 | 101 |
| GBC | IgG | epi epi | Ambiguous | Pre | MVA | 0 | 4 | 25 |
| GBC | IgG | epi epi | Ambiguous | Pre | Pre | 1 | 21 | 25 |
| GBC | IgG | epi epi | No | Mpox | Mpox | 1 | 20 | 41 |
| GBC | IgG | epi epi | No | Mpox | MVA | 0 | 19 | 41 |
| GBC | IgG | epi epi | No | Mpox | Pre | 0 | 2 | 41 |
| GBC | IgG | epi epi | No | MVA | Mpox | 0 | 2 | 265 |
| GBC | IgG | epi epi | No | MVA | MVA | 1 | 243 | 265 |
| GBC | IgG | epi epi | No | MVA | Pre | 0 | 20 | 265 |
| GBC | IgG | epi epi | No | Pre | MVA | 0 | 8 | 147 |
| GBC | IgG | epi epi | No | Pre | Pre | 1 | 139 | 147 |
| GBC | IgG | epi epi | Yes | Mpox | Mpox | 1 | 4 | 7 |
| GBC | IgG | epi epi | Yes | Mpox | MVA | 0 | 2 | 7 |
| GBC | IgG | epi epi | Yes | Mpox | Pre | 0 | 1 | 7 |
| GBC | IgG | epi epi | Yes | MVA | Mpox | 0 | 5 | 73 |
| GBC | IgG | epi epi | Yes | MVA | MVA | 1 | 57 | 73 |
| GBC | IgG | epi epi | Yes | MVA | Pre | 0 | 11 | 73 |
| GBC | IgG | epi epi | Yes | Pre | Mpox | 0 | 6 | 57 |
| GBC | IgG | epi epi | Yes | Pre | MVA | 0 | 26 | 57 |
| GBC | IgG | epi epi | Yes | Pre | Pre | 1 | 25 | 57 |
| GBC | IgM IgG | acute acute | Ambiguous | Mpox | Mpox | 1 | 96 | 103 |
| GBC | IgM IgG | acute acute | Ambiguous | Mpox | MVA | 0 | 1 | 103 |
| GBC | IgM IgG | acute acute | Ambiguous | Mpox | Pre | 0 | 6 | 103 |
| GBC | IgM IgG | acute acute | Ambiguous | MVA | MVA | 1 | 7 | 11 |
| GBC | IgM IgG | acute acute | Ambiguous | MVA | Pre | 0 | 4 | 11 |
| GBC | IgM IgG | acute acute | Ambiguous | Pre | Mpox | 0 | 1 | 15 |
| GBC | IgM IgG | acute acute | Ambiguous | Pre | MVA | 0 | 1 | 15 |
| GBC | IgM IgG | acute acute | Ambiguous | Pre | Pre | 1 | 13 | 15 |
| GBC | IgM IgG | acute acute | No | Mpox | Mpox | 1 | 149 | 161 |
| GBC | IgM IgG | acute acute | No | Mpox | MVA | 0 | 2 | 161 |
| GBC | IgM IgG | acute acute | No | Mpox | Pre | 0 | 10 | 161 |
| GBC | IgM IgG | acute acute | No | MVA | Mpox | 0 | 4 | 16 |
| GBC | IgM IgG | acute acute | No | MVA | MVA | 1 | 9 | 16 |
| GBC | IgM IgG | acute acute | No | MVA | Pre | 0 | 3 | 16 |
| GBC | IgM IgG | acute acute | No | Pre | Mpox | 0 | 8 | 44 |
| GBC | IgM IgG | acute acute | No | Pre | Pre | 1 | 36 | 44 |
| GBC | IgM IgG | acute acute | Yes | Mpox | Mpox | 1 | 36 | 40 |
| GBC | IgM IgG | acute acute | Yes | Mpox | Pre | 0 | 4 | 40 |
| GBC | IgM IgG | acute acute | Yes | MVA | Mpox | 0 | 1 | 9 |
| GBC | IgM IgG | acute acute | Yes | MVA | MVA | 1 | 7 | 9 |
| GBC | IgM IgG | acute acute | Yes | MVA | Pre | 0 | 1 | 9 |
| GBC | IgM IgG | acute acute | Yes | Pre | Mpox | 0 | 13 | 44 |
| GBC | IgM IgG | acute acute | Yes | Pre | MVA | 0 | 1 | 44 |
| GBC | IgM IgG | acute acute | Yes | Pre | Pre | 1 | 30 | 44 |
| GBC | IgM IgG | acute acute |  | Mpox | Mpox | 1 | 1 | 2 |
| GBC | IgM IgG | acute acute |  | Mpox | Pre | 0 | 1 | 2 |
| GBC | IgM IgG | acute acute |  | Pre | Mpox | 0 | 8 | 88 |
| GBC | IgM IgG | acute acute |  | Pre | Pre | 1 | 80 | 88 |
| GBC | IgM IgG | all all | Ambiguous | Mpox | Mpox | 1 | 89 | 114 |
| GBC | IgM IgG | all all | Ambiguous | Mpox | MVA | 0 | 11 | 114 |
| GBC | IgM IgG | all all | Ambiguous | Mpox | Pre | 0 | 14 | 114 |
| GBC | IgM IgG | all all | Ambiguous | MVA | Mpox | 0 | 2 | 112 |
| GBC | IgM IgG | all all | Ambiguous | MVA | MVA | 1 | 98 | 112 |
| GBC | IgM IgG | all all | Ambiguous | MVA | Pre | 0 | 12 | 112 |
| GBC | IgM IgG | all all | Ambiguous | Pre | Mpox | 0 | 3 | 40 |
| GBC | IgM IgG | all all | Ambiguous | Pre | MVA | 0 | 4 | 40 |
| GBC | IgM IgG | all all | Ambiguous | Pre | Pre | 1 | 33 | 40 |
| GBC | IgM IgG | all all | No | Mpox | Mpox | 1 | 157 | 202 |
| GBC | IgM IgG | all all | No | Mpox | MVA | 0 | 24 | 202 |
| GBC | IgM IgG | all all | No | Mpox | Pre | 0 | 21 | 202 |
| GBC | IgM IgG | all all | No | MVA | Mpox | 0 | 5 | 281 |
| GBC | IgM IgG | all all | No | MVA | MVA | 1 | 252 | 281 |
| GBC | IgM IgG | all all | No | MVA | Pre | 0 | 24 | 281 |
| GBC | IgM IgG | all all | No | Pre | Mpox | 0 | 4 | 191 |
| GBC | IgM IgG | all all | No | Pre | MVA | 0 | 4 | 191 |
| GBC | IgM IgG | all all | No | Pre | Pre | 1 | 183 | 191 |
| GBC | IgM IgG | all all | Yes | Mpox | Mpox | 1 | 35 | 47 |
| GBC | IgM IgG | all all | Yes | Mpox | MVA | 0 | 4 | 47 |
| GBC | IgM IgG | all all | Yes | Mpox | Pre | 0 | 8 | 47 |
| GBC | IgM IgG | all all | Yes | MVA | Mpox | 0 | 6 | 82 |
| GBC | IgM IgG | all all | Yes | MVA | MVA | 1 | 68 | 82 |
| GBC | IgM IgG | all all | Yes | MVA | Pre | 0 | 8 | 82 |
| GBC | IgM IgG | all all | Yes | Pre | Mpox | 0 | 14 | 101 |
| GBC | IgM IgG | all all | Yes | Pre | MVA | 0 | 28 | 101 |
| GBC | IgM IgG | all all | Yes | Pre | Pre | 1 | 59 | 101 |
| GBC | IgM IgG | all all |  | Mpox | Mpox | 1 | 1 | 2 |
| GBC | IgM IgG | all all |  | Mpox | MVA | 0 | 1 | 2 |
| GBC | IgM IgG | all all |  | Pre | Mpox | 0 | 4 | 88 |
| GBC | IgM IgG | all all |  | Pre | MVA | 0 | 5 | 88 |
| GBC | IgM IgG | all all |  | Pre | Pre | 1 | 79 | 88 |
| GBC | IgM IgG | epi epi | Ambiguous | Mpox | Mpox | 1 | 5 | 11 |
| GBC | IgM IgG | epi epi | Ambiguous | Mpox | MVA | 0 | 6 | 11 |
| GBC | IgM IgG | epi epi | Ambiguous | MVA | MVA | 1 | 92 | 101 |
| GBC | IgM IgG | epi epi | Ambiguous | MVA | Pre | 0 | 9 | 101 |
| GBC | IgM IgG | epi epi | Ambiguous | Pre | MVA | 0 | 4 | 25 |
| GBC | IgM IgG | epi epi | Ambiguous | Pre | Pre | 1 | 21 | 25 |
| GBC | IgM IgG | epi epi | No | Mpox | Mpox | 1 | 17 | 41 |
| GBC | IgM IgG | epi epi | No | Mpox | MVA | 0 | 21 | 41 |
| GBC | IgM IgG | epi epi | No | Mpox | Pre | 0 | 3 | 41 |
| GBC | IgM IgG | epi epi | No | MVA | Mpox | 0 | 3 | 265 |
| GBC | IgM IgG | epi epi | No | MVA | MVA | 1 | 244 | 265 |
| GBC | IgM IgG | epi epi | No | MVA | Pre | 0 | 18 | 265 |
| GBC | IgM IgG | epi epi | No | Pre | MVA | 0 | 6 | 147 |
| GBC | IgM IgG | epi epi | No | Pre | Pre | 1 | 141 | 147 |
| GBC | IgM IgG | epi epi | Yes | Mpox | Mpox | 1 | 3 | 7 |
| GBC | IgM IgG | epi epi | Yes | Mpox | MVA | 0 | 3 | 7 |
| GBC | IgM IgG | epi epi | Yes | Mpox | Pre | 0 | 1 | 7 |
| GBC | IgM IgG | epi epi | Yes | MVA | Mpox | 0 | 4 | 73 |
| GBC | IgM IgG | epi epi | Yes | MVA | MVA | 1 | 62 | 73 |
| GBC | IgM IgG | epi epi | Yes | MVA | Pre | 0 | 7 | 73 |
| GBC | IgM IgG | epi epi | Yes | Pre | Mpox | 0 | 6 | 57 |
| GBC | IgM IgG | epi epi | Yes | Pre | MVA | 0 | 28 | 57 |
| GBC | IgM IgG | epi epi | Yes | Pre | Pre | 1 | 23 | 57 |

Table S30. Performance parameters for the LDA algorithm stratified by seropanel used for training and testing, antibody isotypes, and presumed smallpox vaccination in the childhood. The performance parameters were calculated on the test dataset of the 5-fold cross validation approach. Data were either stratified by childhood vaccination (“all” containing all samples, “No” containing samples with age information and age < 40 year, “Yes” with age information and age >= 60 years) or by the threshold value for the confidence score of the LDA (“All” not stratified, “high” above the threshold, “low” below or at the threshold).

| Seropanel (traing test) | Antibody Isotypes | Threshold LDA confidence score | class | selected | Presumed smallpox immunization | Sensitivity | Specificity | Pos Pred Value | Neg Pred Value | Precision | Recall | F1 | Balanced Accuracy | Accuracy (overall) | Accuracy lower | Accuracy upper | kappa | Predictions included (n) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| acute acute | IgG | All | Mpox | 1.00 | all | 0.83 | 0.77 | 0.81 | 0.79 | 0.81 | 0.83 | 0.82 | 0.80 | 0.79 | 0.75 | 0.82 | 0.61 | 618 |
| acute acute | IgG | All | MVA | 1.00 | all | 0.75 | 0.97 | 0.63 | 0.98 | 0.63 | 0.75 | 0.68 | 0.86 | 0.79 | 0.75 | 0.82 | 0.61 | 618 |
| acute acute | IgG | All | Pre | 1.00 | all | 0.73 | 0.86 | 0.77 | 0.83 | 0.77 | 0.73 | 0.75 | 0.80 | 0.79 | 0.75 | 0.82 | 0.61 | 618 |
| acute acute | IgG | All | Mpox | 1.00 | No | 0.93 | 0.61 | 0.80 | 0.84 | 0.80 | 0.93 | 0.86 | 0.77 | 0.80 | 0.75 | 0.85 | 0.59 | 248 |
| acute acute | IgG | All | MVA | 1.00 | No | 0.79 | 0.97 | 0.58 | 0.99 | 0.58 | 0.79 | 0.67 | 0.88 | 0.80 | 0.75 | 0.85 | 0.59 | 248 |
| acute acute | IgG | All | Pre | 1.00 | No | 0.56 | 0.97 | 0.90 | 0.82 | 0.90 | 0.56 | 0.69 | 0.76 | 0.80 | 0.75 | 0.85 | 0.59 | 248 |
| acute acute | IgG | All | Mpox | 1.00 | Yes | 0.64 | 0.91 | 0.88 | 0.70 | 0.88 | 0.64 | 0.75 | 0.78 | 0.76 | 0.67 | 0.84 | 0.60 | 113 |
| acute acute | IgG | All | MVA | 1.00 | Yes | 0.82 | 0.99 | 0.90 | 0.98 | 0.90 | 0.82 | 0.86 | 0.90 | 0.76 | 0.67 | 0.84 | 0.60 | 113 |
| acute acute | IgG | All | Pre | 1.00 | Yes | 0.91 | 0.70 | 0.65 | 0.92 | 0.65 | 0.91 | 0.76 | 0.80 | 0.76 | 0.67 | 0.84 | 0.60 | 113 |
| acute acute | IgG | high | Mpox | 0.89 | all | 0.93 | 0.88 | 0.92 | 0.90 | 0.92 | 0.93 | 0.92 | 0.91 | 0.90 | 0.87 | 0.93 | 0.81 | 484 |
| acute acute | IgG | high | MVA | 0.89 | all | 0.77 | 0.99 | 0.85 | 0.98 | 0.85 | 0.77 | 0.81 | 0.88 | 0.90 | 0.87 | 0.93 | 0.81 | 484 |
| acute acute | IgG | high | Pre | 0.89 | all | 0.87 | 0.94 | 0.88 | 0.93 | 0.88 | 0.87 | 0.88 | 0.90 | 0.90 | 0.87 | 0.93 | 0.81 | 484 |
| acute acute | IgG | low | Mpox | 0.46 | all | 0.69 | 0.60 | 0.63 | 0.65 | 0.63 | 0.69 | 0.66 | 0.64 | 0.61 | 0.56 | 0.67 | 0.29 | 311 |
| acute acute | IgG | low | MVA | 0.46 | all | 0.42 | 0.95 | 0.25 | 0.98 | 0.25 | 0.42 | 0.31 | 0.68 | 0.61 | 0.56 | 0.67 | 0.29 | 311 |
| acute acute | IgG | low | Pre | 0.46 | all | 0.55 | 0.74 | 0.65 | 0.66 | 0.65 | 0.55 | 0.60 | 0.65 | 0.61 | 0.56 | 0.67 | 0.29 | 311 |
| acute acute | IgM IgG | All | Mpox | 1.00 | all | 0.91 | 0.84 | 0.88 | 0.88 | 0.88 | 0.91 | 0.89 | 0.87 | 0.86 | 0.83 | 0.89 | 0.74 | 553 |
| acute acute | IgM IgG | All | MVA | 1.00 | all | 0.74 | 0.97 | 0.66 | 0.98 | 0.66 | 0.74 | 0.69 | 0.86 | 0.86 | 0.83 | 0.89 | 0.74 | 553 |
| acute acute | IgM IgG | All | Pre | 1.00 | all | 0.81 | 0.92 | 0.87 | 0.89 | 0.87 | 0.81 | 0.84 | 0.87 | 0.86 | 0.83 | 0.89 | 0.74 | 553 |
| acute acute | IgM IgG | All | Mpox | 1.00 | No | 0.96 | 0.70 | 0.86 | 0.90 | 0.86 | 0.96 | 0.91 | 0.83 | 0.86 | 0.81 | 0.90 | 0.70 | 228 |
| acute acute | IgM IgG | All | MVA | 1.00 | No | 0.77 | 0.97 | 0.62 | 0.99 | 0.62 | 0.77 | 0.69 | 0.87 | 0.86 | 0.81 | 0.90 | 0.70 | 228 |
| acute acute | IgM IgG | All | Pre | 1.00 | No | 0.65 | 0.99 | 0.96 | 0.87 | 0.96 | 0.65 | 0.77 | 0.82 | 0.86 | 0.81 | 0.90 | 0.70 | 228 |
| acute acute | IgM IgG | All | Mpox | 1.00 | Yes | 0.84 | 0.91 | 0.88 | 0.87 | 0.88 | 0.84 | 0.86 | 0.87 | 0.86 | 0.78 | 0.93 | 0.77 | 96 |
| acute acute | IgM IgG | All | MVA | 1.00 | Yes | 0.82 | 1.00 | 1.00 | 0.98 | 1.00 | 0.82 | 0.90 | 0.91 | 0.86 | 0.78 | 0.93 | 0.77 | 96 |
| acute acute | IgM IgG | All | Pre | 1.00 | Yes | 0.90 | 0.85 | 0.83 | 0.92 | 0.83 | 0.90 | 0.86 | 0.88 | 0.86 | 0.78 | 0.93 | 0.77 | 96 |
| acute acute | IgM IgG | high | Mpox | 0.79 | all | 0.96 | 0.95 | 0.97 | 0.94 | 0.97 | 0.96 | 0.96 | 0.95 | 0.95 | 0.92 | 0.97 | 0.91 | 422 |
| acute acute | IgM IgG | high | MVA | 0.79 | all | 0.92 | 0.99 | 0.88 | 0.99 | 0.88 | 0.92 | 0.90 | 0.95 | 0.95 | 0.92 | 0.97 | 0.91 | 422 |
| acute acute | IgM IgG | high | Pre | 0.79 | all | 0.95 | 0.96 | 0.93 | 0.97 | 0.93 | 0.95 | 0.94 | 0.95 | 0.95 | 0.92 | 0.97 | 0.91 | 422 |
| acute acute | IgM IgG | low | Mpox | 0.29 | all | 0.70 | 0.61 | 0.61 | 0.70 | 0.61 | 0.70 | 0.65 | 0.66 | 0.61 | 0.53 | 0.68 | 0.31 | 173 |
| acute acute | IgM IgG | low | MVA | 0.29 | all | 0.33 | 0.93 | 0.27 | 0.95 | 0.27 | 0.33 | 0.30 | 0.63 | 0.61 | 0.53 | 0.68 | 0.31 | 173 |
| acute acute | IgM IgG | low | Pre | 0.29 | all | 0.56 | 0.77 | 0.68 | 0.66 | 0.68 | 0.56 | 0.61 | 0.66 | 0.61 | 0.53 | 0.68 | 0.31 | 173 |
| acute epi | IgG | All | Mpox | 1.00 | all | 0.18 | 0.95 | 0.59 | 0.74 | 0.59 | 0.18 | 0.28 | 0.57 | 0.50 | 0.46 | 0.53 | 0.27 | 843 |
| acute epi | IgG | All | MVA | 1.00 | all | 0.94 | 0.51 | 0.35 | 0.97 | 0.35 | 0.94 | 0.51 | 0.73 | 0.50 | 0.46 | 0.53 | 0.27 | 843 |
| acute epi | IgG | All | Pre | 1.00 | all | 0.49 | 0.83 | 0.74 | 0.62 | 0.74 | 0.49 | 0.59 | 0.66 | 0.50 | 0.46 | 0.53 | 0.27 | 843 |
| acute epi | IgG | All | Mpox | 1.00 | No | 0.26 | 0.95 | 0.64 | 0.79 | 0.64 | 0.26 | 0.37 | 0.60 | 0.54 | 0.50 | 0.58 | 0.32 | 521 |
| acute epi | IgG | All | MVA | 1.00 | No | 0.97 | 0.55 | 0.38 | 0.99 | 0.38 | 0.97 | 0.54 | 0.76 | 0.54 | 0.50 | 0.58 | 0.32 | 521 |
| acute epi | IgG | All | Pre | 1.00 | No | 0.50 | 0.86 | 0.79 | 0.61 | 0.79 | 0.50 | 0.61 | 0.68 | 0.54 | 0.50 | 0.58 | 0.32 | 521 |
| acute epi | IgG | All | Mpox | 1.00 | Yes | 0.05 | 0.96 | 0.43 | 0.65 | 0.43 | 0.05 | 0.09 | 0.51 | 0.43 | 0.35 | 0.51 | 0.17 | 165 |
| acute epi | IgG | All | MVA | 1.00 | Yes | 0.81 | 0.55 | 0.29 | 0.92 | 0.29 | 0.81 | 0.43 | 0.68 | 0.43 | 0.35 | 0.51 | 0.17 | 165 |
| acute epi | IgG | All | Pre | 1.00 | Yes | 0.57 | 0.67 | 0.59 | 0.65 | 0.59 | 0.57 | 0.58 | 0.62 | 0.43 | 0.35 | 0.51 | 0.17 | 165 |
| acute epi | IgG | high | Mpox | 0.66 | all | 0.26 | 0.96 | 0.62 | 0.84 | 0.62 | 0.26 | 0.37 | 0.61 | 0.59 | 0.55 | 0.64 | 0.37 | 485 |
| acute epi | IgG | high | MVA | 0.66 | all | 0.95 | 0.57 | 0.43 | 0.97 | 0.43 | 0.95 | 0.60 | 0.76 | 0.59 | 0.55 | 0.64 | 0.37 | 485 |
| acute epi | IgG | high | Pre | 0.66 | all | 0.55 | 0.88 | 0.85 | 0.63 | 0.85 | 0.55 | 0.67 | 0.72 | 0.59 | 0.55 | 0.64 | 0.37 | 485 |
| acute epi | IgG | low | Mpox | 0.62 | all | 0.13 | 0.94 | 0.53 | 0.66 | 0.53 | 0.13 | 0.20 | 0.53 | 0.39 | 0.35 | 0.43 | 0.16 | 511 |
| acute epi | IgG | low | MVA | 0.62 | all | 0.93 | 0.46 | 0.22 | 0.98 | 0.22 | 0.93 | 0.35 | 0.69 | 0.39 | 0.35 | 0.43 | 0.16 | 511 |
| acute epi | IgG | low | Pre | 0.62 | all | 0.43 | 0.79 | 0.67 | 0.58 | 0.67 | 0.43 | 0.52 | 0.61 | 0.39 | 0.35 | 0.43 | 0.16 | 511 |
| acute epi | IgM IgG | All | Mpox | 1.00 | all | 0.15 | 0.94 | 0.46 | 0.78 | 0.46 | 0.15 | 0.23 | 0.55 | 0.51 | 0.48 | 0.55 | 0.27 | 705 |
| acute epi | IgM IgG | All | MVA | 1.00 | all | 0.94 | 0.52 | 0.39 | 0.96 | 0.39 | 0.94 | 0.55 | 0.73 | 0.51 | 0.48 | 0.55 | 0.27 | 705 |
| acute epi | IgM IgG | All | Pre | 1.00 | all | 0.47 | 0.84 | 0.75 | 0.61 | 0.75 | 0.47 | 0.58 | 0.66 | 0.51 | 0.48 | 0.55 | 0.27 | 705 |
| acute epi | IgM IgG | All | Mpox | 1.00 | No | 0.20 | 0.94 | 0.49 | 0.80 | 0.49 | 0.20 | 0.28 | 0.57 | 0.54 | 0.49 | 0.59 | 0.30 | 439 |
| acute epi | IgM IgG | All | MVA | 1.00 | No | 0.97 | 0.55 | 0.41 | 0.98 | 0.41 | 0.97 | 0.58 | 0.76 | 0.54 | 0.49 | 0.59 | 0.30 | 439 |
| acute epi | IgM IgG | All | Pre | 1.00 | No | 0.49 | 0.84 | 0.78 | 0.59 | 0.78 | 0.49 | 0.60 | 0.66 | 0.54 | 0.49 | 0.59 | 0.30 | 439 |
| acute epi | IgM IgG | All | Mpox | 1.00 | Yes | 0.07 | 0.96 | 0.43 | 0.71 | 0.43 | 0.07 | 0.13 | 0.52 | 0.47 | 0.38 | 0.55 | 0.20 | 133 |
| acute epi | IgM IgG | All | MVA | 1.00 | Yes | 0.81 | 0.55 | 0.35 | 0.90 | 0.35 | 0.81 | 0.49 | 0.68 | 0.47 | 0.38 | 0.55 | 0.20 | 133 |
| acute epi | IgM IgG | All | Pre | 1.00 | Yes | 0.55 | 0.70 | 0.62 | 0.64 | 0.62 | 0.55 | 0.58 | 0.63 | 0.47 | 0.38 | 0.55 | 0.20 | 133 |
| acute epi | IgM IgG | high | Mpox | 0.43 | all | 0.20 | 0.95 | 0.45 | 0.86 | 0.45 | 0.20 | 0.28 | 0.58 | 0.63 | 0.58 | 0.69 | 0.41 | 306 |
| acute epi | IgM IgG | high | MVA | 0.43 | all | 0.95 | 0.54 | 0.52 | 0.96 | 0.52 | 0.95 | 0.68 | 0.75 | 0.63 | 0.58 | 0.69 | 0.41 | 306 |
| acute epi | IgM IgG | high | Pre | 0.43 | all | 0.55 | 0.95 | 0.91 | 0.69 | 0.91 | 0.55 | 0.69 | 0.75 | 0.63 | 0.58 | 0.69 | 0.41 | 306 |
| acute epi | IgM IgG | low | Mpox | 0.57 | all | 0.13 | 0.93 | 0.46 | 0.71 | 0.46 | 0.13 | 0.21 | 0.53 | 0.42 | 0.37 | 0.47 | 0.17 | 399 |
| acute epi | IgM IgG | low | MVA | 0.57 | all | 0.92 | 0.50 | 0.28 | 0.96 | 0.28 | 0.92 | 0.43 | 0.71 | 0.42 | 0.37 | 0.47 | 0.17 | 399 |
| acute epi | IgM IgG | low | Pre | 0.57 | all | 0.42 | 0.75 | 0.64 | 0.54 | 0.64 | 0.42 | 0.51 | 0.58 | 0.42 | 0.37 | 0.47 | 0.17 | 399 |
| all all | IgG | All | Mpox | 1.00 | all | 0.86 | 0.88 | 0.69 | 0.95 | 0.69 | 0.86 | 0.77 | 0.87 | 0.77 | 0.74 | 0.79 | 0.65 | 1,357 |
| all all | IgG | All | MVA | 1.00 | all | 0.80 | 0.87 | 0.77 | 0.88 | 0.77 | 0.80 | 0.79 | 0.83 | 0.77 | 0.74 | 0.79 | 0.65 | 1,357 |
| all all | IgG | All | Pre | 1.00 | all | 0.68 | 0.90 | 0.83 | 0.81 | 0.83 | 0.68 | 0.75 | 0.79 | 0.77 | 0.74 | 0.79 | 0.65 | 1,357 |
| all all | IgG | All | Mpox | 1.00 | No | 0.94 | 0.88 | 0.68 | 0.98 | 0.68 | 0.94 | 0.79 | 0.91 | 0.79 | 0.76 | 0.82 | 0.69 | 714 |
| all all | IgG | All | MVA | 1.00 | No | 0.87 | 0.85 | 0.77 | 0.92 | 0.77 | 0.87 | 0.82 | 0.86 | 0.79 | 0.76 | 0.82 | 0.69 | 714 |
| all all | IgG | All | Pre | 1.00 | No | 0.64 | 0.97 | 0.94 | 0.80 | 0.94 | 0.64 | 0.76 | 0.81 | 0.79 | 0.76 | 0.82 | 0.69 | 714 |
| all all | IgG | All | Mpox | 1.00 | Yes | 0.63 | 0.91 | 0.64 | 0.91 | 0.64 | 0.63 | 0.63 | 0.77 | 0.68 | 0.62 | 0.74 | 0.51 | 257 |
| all all | IgG | All | MVA | 1.00 | Yes | 0.61 | 0.89 | 0.83 | 0.72 | 0.83 | 0.61 | 0.70 | 0.75 | 0.68 | 0.62 | 0.74 | 0.51 | 257 |
| all all | IgG | All | Pre | 1.00 | Yes | 0.81 | 0.71 | 0.59 | 0.88 | 0.59 | 0.81 | 0.68 | 0.76 | 0.68 | 0.62 | 0.74 | 0.51 | 257 |
| all all | IgG | high | Mpox | 0.71 | all | 0.95 | 0.94 | 0.84 | 0.98 | 0.84 | 0.95 | 0.90 | 0.94 | 0.89 | 0.87 | 0.91 | 0.84 | 882 |
| all all | IgG | high | MVA | 0.71 | all | 0.91 | 0.94 | 0.90 | 0.95 | 0.90 | 0.91 | 0.90 | 0.93 | 0.89 | 0.87 | 0.91 | 0.84 | 882 |
| all all | IgG | high | Pre | 0.71 | all | 0.84 | 0.96 | 0.93 | 0.91 | 0.93 | 0.84 | 0.88 | 0.90 | 0.89 | 0.87 | 0.91 | 0.84 | 882 |
| all all | IgG | low | Mpox | 0.52 | all | 0.72 | 0.83 | 0.49 | 0.93 | 0.49 | 0.72 | 0.59 | 0.78 | 0.63 | 0.60 | 0.67 | 0.44 | 753 |
| all all | IgG | low | MVA | 0.52 | all | 0.68 | 0.79 | 0.63 | 0.82 | 0.63 | 0.68 | 0.66 | 0.74 | 0.63 | 0.60 | 0.67 | 0.44 | 753 |
| all all | IgG | low | Pre | 0.52 | all | 0.56 | 0.82 | 0.74 | 0.68 | 0.74 | 0.56 | 0.64 | 0.69 | 0.63 | 0.60 | 0.67 | 0.44 | 753 |
| all all | IgM IgG | All | Mpox | 1.00 | all | 0.92 | 0.90 | 0.73 | 0.97 | 0.73 | 0.92 | 0.81 | 0.91 | 0.80 | 0.77 | 0.82 | 0.69 | 1,257 |
| all all | IgM IgG | All | MVA | 1.00 | all | 0.82 | 0.87 | 0.79 | 0.90 | 0.79 | 0.82 | 0.80 | 0.85 | 0.80 | 0.77 | 0.82 | 0.69 | 1,257 |
| all all | IgM IgG | All | Pre | 1.00 | all | 0.71 | 0.92 | 0.87 | 0.82 | 0.87 | 0.71 | 0.78 | 0.82 | 0.80 | 0.77 | 0.82 | 0.69 | 1,257 |
| all all | IgM IgG | All | Mpox | 1.00 | No | 0.95 | 0.90 | 0.72 | 0.99 | 0.72 | 0.95 | 0.82 | 0.92 | 0.81 | 0.78 | 0.84 | 0.72 | 670 |
| all all | IgM IgG | All | MVA | 1.00 | No | 0.89 | 0.85 | 0.78 | 0.93 | 0.78 | 0.89 | 0.83 | 0.87 | 0.81 | 0.78 | 0.84 | 0.72 | 670 |
| all all | IgM IgG | All | Pre | 1.00 | No | 0.67 | 0.98 | 0.96 | 0.81 | 0.96 | 0.67 | 0.79 | 0.83 | 0.81 | 0.78 | 0.84 | 0.72 | 670 |
| all all | IgM IgG | All | Mpox | 1.00 | Yes | 0.77 | 0.93 | 0.68 | 0.95 | 0.68 | 0.77 | 0.72 | 0.85 | 0.72 | 0.66 | 0.78 | 0.57 | 229 |
| all all | IgM IgG | All | MVA | 1.00 | Yes | 0.64 | 0.91 | 0.88 | 0.73 | 0.88 | 0.64 | 0.74 | 0.78 | 0.72 | 0.66 | 0.78 | 0.57 | 229 |
| all all | IgM IgG | All | Pre | 1.00 | Yes | 0.82 | 0.74 | 0.62 | 0.89 | 0.62 | 0.82 | 0.71 | 0.78 | 0.72 | 0.66 | 0.78 | 0.57 | 229 |
| all all | IgM IgG | high | Mpox | 0.66 | all | 0.98 | 0.95 | 0.87 | 0.99 | 0.88 | 0.98 | 0.93 | 0.96 | 0.91 | 0.89 | 0.93 | 0.87 | 815 |
| all all | IgM IgG | high | MVA | 0.66 | all | 0.92 | 0.95 | 0.91 | 0.96 | 0.91 | 0.92 | 0.91 | 0.93 | 0.91 | 0.89 | 0.93 | 0.87 | 815 |
| all all | IgM IgG | high | Pre | 0.66 | all | 0.86 | 0.98 | 0.96 | 0.92 | 0.96 | 0.86 | 0.90 | 0.92 | 0.91 | 0.89 | 0.93 | 0.87 | 815 |
| all all | IgM IgG | low | Mpox | 0.43 | all | 0.73 | 0.85 | 0.45 | 0.95 | 0.45 | 0.73 | 0.55 | 0.79 | 0.63 | 0.59 | 0.67 | 0.42 | 553 |
| all all | IgM IgG | low | MVA | 0.43 | all | 0.69 | 0.76 | 0.62 | 0.81 | 0.62 | 0.69 | 0.65 | 0.72 | 0.63 | 0.59 | 0.67 | 0.42 | 553 |
| all all | IgM IgG | low | Pre | 0.43 | all | 0.55 | 0.83 | 0.76 | 0.65 | 0.76 | 0.55 | 0.64 | 0.69 | 0.63 | 0.59 | 0.67 | 0.42 | 553 |
| epi acute | IgG | All | Mpox | 1.00 | all | 0.91 | 0.65 | 0.63 | 0.91 | 0.63 | 0.91 | 0.74 | 0.78 | 0.66 | 0.62 | 0.70 | 0.46 | 575 |
| epi acute | IgG | All | MVA | 1.00 | all | 0.25 | 1.00 | 0.95 | 0.80 | 0.95 | 0.25 | 0.40 | 0.62 | 0.66 | 0.62 | 0.70 | 0.46 | 575 |
| epi acute | IgG | All | Pre | 1.00 | all | 0.67 | 0.80 | 0.66 | 0.81 | 0.66 | 0.67 | 0.66 | 0.73 | 0.66 | 0.62 | 0.70 | 0.46 | 575 |
| epi acute | IgG | All | Mpox | 1.00 | No | 0.99 | 0.49 | 0.63 | 0.98 | 0.63 | 0.99 | 0.77 | 0.74 | 0.71 | 0.65 | 0.77 | 0.50 | 234 |
| epi acute | IgG | All | MVA | 1.00 | No | 0.35 | 0.99 | 0.94 | 0.86 | 0.94 | 0.35 | 0.51 | 0.67 | 0.71 | 0.65 | 0.77 | 0.50 | 234 |
| epi acute | IgG | All | Pre | 1.00 | No | 0.54 | 0.98 | 0.93 | 0.80 | 0.93 | 0.54 | 0.68 | 0.76 | 0.71 | 0.65 | 0.77 | 0.50 | 234 |
| epi acute | IgG | All | Mpox | 1.00 | Yes | 0.81 | 0.76 | 0.62 | 0.89 | 0.62 | 0.81 | 0.70 | 0.79 | 0.58 | 0.47 | 0.67 | 0.38 | 99 |
| epi acute | IgG | All | MVA | 1.00 | Yes | 0.24 | 1.00 | 1.00 | 0.69 | 1.00 | 0.24 | 0.39 | 0.62 | 0.58 | 0.47 | 0.67 | 0.38 | 99 |
| epi acute | IgG | All | Pre | 1.00 | Yes | 0.73 | 0.62 | 0.46 | 0.84 | 0.46 | 0.73 | 0.56 | 0.68 | 0.58 | 0.47 | 0.67 | 0.38 | 99 |
| epi acute | IgG | high | Mpox | 0.54 | all | 0.97 | 0.72 | 0.88 | 0.93 | 0.88 | 0.97 | 0.92 | 0.85 | 0.87 | 0.83 | 0.91 | 0.71 | 287 |
| epi acute | IgG | high | MVA | 0.54 | all | 0.67 | 1.00 | 1.00 | 0.95 | 1.00 | 0.67 | 0.80 | 0.83 | 0.87 | 0.83 | 0.91 | 0.71 | 287 |
| epi acute | IgG | high | Pre | 0.54 | all | 0.65 | 0.95 | 0.75 | 0.93 | 0.75 | 0.65 | 0.69 | 0.80 | 0.87 | 0.83 | 0.91 | 0.71 | 287 |
| epi acute | IgG | low | Mpox | 0.56 | all | 0.60 | 0.64 | 0.20 | 0.92 | 0.20 | 0.60 | 0.30 | 0.62 | 0.48 | 0.43 | 0.54 | 0.17 | 337 |
| epi acute | IgG | low | MVA | 0.56 | all | 0.09 | 0.99 | 0.83 | 0.69 | 0.83 | 0.09 | 0.16 | 0.54 | 0.48 | 0.43 | 0.54 | 0.17 | 337 |
| epi acute | IgG | low | Pre | 0.56 | all | 0.68 | 0.57 | 0.66 | 0.60 | 0.66 | 0.68 | 0.67 | 0.63 | 0.48 | 0.43 | 0.54 | 0.17 | 337 |
| epi acute | IgM IgG | All | Mpox | 1.00 | all | 0.94 | 0.67 | 0.68 | 0.94 | 0.68 | 0.94 | 0.79 | 0.81 | 0.70 | 0.66 | 0.74 | 0.52 | 508 |
| epi acute | IgM IgG | All | MVA | 1.00 | all | 0.31 | 0.99 | 0.95 | 0.84 | 0.95 | 0.31 | 0.47 | 0.65 | 0.70 | 0.66 | 0.74 | 0.52 | 508 |
| epi acute | IgM IgG | All | Pre | 1.00 | all | 0.66 | 0.84 | 0.70 | 0.82 | 0.70 | 0.66 | 0.68 | 0.75 | 0.70 | 0.66 | 0.74 | 0.52 | 508 |
| epi acute | IgM IgG | All | Mpox | 1.00 | No | 0.99 | 0.53 | 0.68 | 0.98 | 0.68 | 0.99 | 0.80 | 0.76 | 0.75 | 0.68 | 0.80 | 0.55 | 216 |
| epi acute | IgM IgG | All | MVA | 1.00 | No | 0.42 | 0.99 | 0.94 | 0.90 | 0.94 | 0.42 | 0.58 | 0.71 | 0.75 | 0.68 | 0.80 | 0.55 | 216 |
| epi acute | IgM IgG | All | Pre | 1.00 | No | 0.55 | 0.98 | 0.93 | 0.81 | 0.93 | 0.55 | 0.69 | 0.76 | 0.75 | 0.68 | 0.80 | 0.55 | 216 |
| epi acute | IgM IgG | All | Mpox | 1.00 | Yes | 0.87 | 0.79 | 0.68 | 0.92 | 0.68 | 0.87 | 0.76 | 0.83 | 0.62 | 0.52 | 0.73 | 0.44 | 88 |
| epi acute | IgM IgG | All | MVA | 1.00 | Yes | 0.30 | 1.00 | 1.00 | 0.73 | 1.00 | 0.30 | 0.46 | 0.65 | 0.62 | 0.52 | 0.73 | 0.44 | 88 |
| epi acute | IgM IgG | All | Pre | 1.00 | Yes | 0.71 | 0.65 | 0.49 | 0.83 | 0.49 | 0.71 | 0.58 | 0.68 | 0.62 | 0.52 | 0.73 | 0.44 | 88 |
| epi acute | IgM IgG | high | Mpox | 0.57 | all | 0.97 | 0.73 | 0.88 | 0.93 | 0.88 | 0.97 | 0.93 | 0.85 | 0.88 | 0.84 | 0.91 | 0.73 | 288 |
| epi acute | IgM IgG | high | MVA | 0.57 | all | 0.70 | 1.00 | 1.00 | 0.95 | 1.00 | 0.70 | 0.82 | 0.85 | 0.88 | 0.84 | 0.91 | 0.73 | 288 |
| epi acute | IgM IgG | high | Pre | 0.57 | all | 0.66 | 0.96 | 0.78 | 0.93 | 0.78 | 0.66 | 0.71 | 0.81 | 0.88 | 0.84 | 0.91 | 0.73 | 288 |
| epi acute | IgM IgG | low | Mpox | 0.43 | all | 0.67 | 0.64 | 0.16 | 0.95 | 0.16 | 0.67 | 0.26 | 0.65 | 0.48 | 0.41 | 0.55 | 0.16 | 220 |
| epi acute | IgM IgG | low | MVA | 0.43 | all | 0.10 | 0.99 | 0.78 | 0.69 | 0.78 | 0.10 | 0.17 | 0.54 | 0.48 | 0.41 | 0.55 | 0.16 | 220 |
| epi acute | IgM IgG | low | Pre | 0.43 | all | 0.66 | 0.55 | 0.67 | 0.54 | 0.67 | 0.66 | 0.66 | 0.60 | 0.48 | 0.41 | 0.55 | 0.16 | 220 |
| epi epi | IgG | All | Mpox | 1.00 | all | 0.69 | 0.97 | 0.63 | 0.97 | 0.63 | 0.69 | 0.66 | 0.83 | 0.78 | 0.75 | 0.80 | 0.58 | 820 |
| epi epi | IgG | All | MVA | 1.00 | all | 0.83 | 0.73 | 0.82 | 0.75 | 0.82 | 0.83 | 0.82 | 0.78 | 0.78 | 0.75 | 0.80 | 0.58 | 820 |
| epi epi | IgG | All | Pre | 1.00 | all | 0.71 | 0.87 | 0.74 | 0.86 | 0.74 | 0.71 | 0.73 | 0.79 | 0.78 | 0.75 | 0.80 | 0.58 | 820 |
| epi epi | IgG | All | Mpox | 1.00 | No | 0.88 | 0.97 | 0.68 | 0.99 | 0.68 | 0.88 | 0.77 | 0.93 | 0.83 | 0.79 | 0.86 | 0.69 | 505 |
| epi epi | IgG | All | MVA | 1.00 | No | 0.87 | 0.78 | 0.83 | 0.83 | 0.83 | 0.87 | 0.85 | 0.82 | 0.83 | 0.79 | 0.86 | 0.69 | 505 |
| epi epi | IgG | All | Pre | 1.00 | No | 0.76 | 0.93 | 0.87 | 0.86 | 0.87 | 0.76 | 0.81 | 0.84 | 0.83 | 0.79 | 0.86 | 0.69 | 505 |
| epi epi | IgG | All | Mpox | 1.00 | Yes | 0.21 | 0.96 | 0.44 | 0.90 | 0.44 | 0.21 | 0.29 | 0.59 | 0.61 | 0.54 | 0.69 | 0.32 | 161 |
| epi epi | IgG | All | MVA | 1.00 | Yes | 0.63 | 0.74 | 0.81 | 0.53 | 0.81 | 0.63 | 0.71 | 0.69 | 0.61 | 0.54 | 0.69 | 0.32 | 161 |
| epi epi | IgG | All | Pre | 1.00 | Yes | 0.77 | 0.66 | 0.42 | 0.90 | 0.42 | 0.77 | 0.54 | 0.71 | 0.61 | 0.54 | 0.69 | 0.32 | 161 |
| epi epi | IgG | high | Mpox | 0.78 | all | 0.75 | 0.97 | 0.65 | 0.98 | 0.65 | 0.75 | 0.69 | 0.86 | 0.88 | 0.85 | 0.91 | 0.78 | 569 |
| epi epi | IgG | high | MVA | 0.78 | all | 0.92 | 0.86 | 0.92 | 0.86 | 0.92 | 0.92 | 0.92 | 0.89 | 0.88 | 0.85 | 0.91 | 0.78 | 569 |
| epi epi | IgG | high | Pre | 0.78 | all | 0.85 | 0.95 | 0.89 | 0.94 | 0.89 | 0.85 | 0.87 | 0.90 | 0.88 | 0.85 | 0.91 | 0.78 | 569 |
| epi epi | IgG | low | Mpox | 0.48 | all | 0.53 | 0.95 | 0.50 | 0.96 | 0.50 | 0.53 | 0.51 | 0.74 | 0.63 | 0.58 | 0.68 | 0.35 | 438 |
| epi epi | IgG | low | MVA | 0.48 | all | 0.66 | 0.63 | 0.64 | 0.66 | 0.64 | 0.66 | 0.65 | 0.65 | 0.63 | 0.58 | 0.68 | 0.35 | 438 |
| epi epi | IgG | low | Pre | 0.48 | all | 0.61 | 0.76 | 0.65 | 0.73 | 0.65 | 0.61 | 0.63 | 0.69 | 0.63 | 0.58 | 0.68 | 0.35 | 438 |
| epi epi | IgM IgG | All | Mpox | 1.00 | all | 0.72 | 0.97 | 0.65 | 0.98 | 0.65 | 0.72 | 0.68 | 0.85 | 0.80 | 0.77 | 0.82 | 0.62 | 779 |
| epi epi | IgM IgG | All | MVA | 1.00 | all | 0.85 | 0.75 | 0.83 | 0.77 | 0.83 | 0.85 | 0.84 | 0.80 | 0.80 | 0.77 | 0.82 | 0.62 | 779 |
| epi epi | IgM IgG | All | Pre | 1.00 | all | 0.73 | 0.89 | 0.77 | 0.86 | 0.77 | 0.73 | 0.75 | 0.81 | 0.80 | 0.77 | 0.82 | 0.62 | 779 |
| epi epi | IgM IgG | All | Mpox | 1.00 | No | 0.94 | 0.97 | 0.71 | 1.00 | 0.71 | 0.94 | 0.81 | 0.96 | 0.85 | 0.81 | 0.88 | 0.72 | 485 |
| epi epi | IgM IgG | All | MVA | 1.00 | No | 0.89 | 0.80 | 0.85 | 0.85 | 0.85 | 0.89 | 0.87 | 0.84 | 0.85 | 0.81 | 0.88 | 0.72 | 485 |
| epi epi | IgM IgG | All | Pre | 1.00 | No | 0.77 | 0.94 | 0.89 | 0.87 | 0.89 | 0.77 | 0.83 | 0.86 | 0.85 | 0.81 | 0.88 | 0.72 | 485 |
| epi epi | IgM IgG | All | Mpox | 1.00 | Yes | 0.19 | 0.97 | 0.43 | 0.91 | 0.43 | 0.19 | 0.26 | 0.58 | 0.63 | 0.55 | 0.71 | 0.33 | 149 |
| epi epi | IgM IgG | All | MVA | 1.00 | Yes | 0.65 | 0.75 | 0.83 | 0.53 | 0.83 | 0.65 | 0.73 | 0.70 | 0.63 | 0.55 | 0.71 | 0.33 | 149 |
| epi epi | IgM IgG | All | Pre | 1.00 | Yes | 0.77 | 0.67 | 0.42 | 0.90 | 0.42 | 0.77 | 0.54 | 0.72 | 0.63 | 0.55 | 0.71 | 0.33 | 149 |
| epi epi | IgM IgG | high | Mpox | 0.71 | all | 0.82 | 0.97 | 0.70 | 0.99 | 0.70 | 0.82 | 0.75 | 0.90 | 0.90 | 0.87 | 0.93 | 0.81 | 517 |
| epi epi | IgM IgG | high | MVA | 0.71 | all | 0.93 | 0.88 | 0.93 | 0.89 | 0.93 | 0.93 | 0.93 | 0.91 | 0.90 | 0.87 | 0.93 | 0.81 | 517 |
| epi epi | IgM IgG | high | Pre | 0.71 | all | 0.86 | 0.96 | 0.91 | 0.94 | 0.91 | 0.86 | 0.89 | 0.91 | 0.90 | 0.87 | 0.93 | 0.81 | 517 |
| epi epi | IgM IgG | low | Mpox | 0.44 | all | 0.48 | 0.97 | 0.52 | 0.96 | 0.52 | 0.48 | 0.50 | 0.72 | 0.65 | 0.60 | 0.70 | 0.37 | 376 |
| epi epi | IgM IgG | low | MVA | 0.44 | all | 0.71 | 0.63 | 0.66 | 0.68 | 0.66 | 0.71 | 0.68 | 0.67 | 0.65 | 0.60 | 0.70 | 0.37 | 376 |
| epi epi | IgM IgG | low | Pre | 0.44 | all | 0.61 | 0.77 | 0.66 | 0.72 | 0.66 | 0.61 | 0.64 | 0.69 | 0.65 | 0.60 | 0.70 | 0.37 | 376 |

Table S31. Threshold and performance parameter of ROC analysis on the different panels and isotype to separate correctly classified and misclassified data based on the prediction confidence of the LDA algorithm.

| threshold | specificity | sensitivity | accuracy | CI | panel | isotype |
| --- | --- | --- | --- | --- | --- | --- |
| 0.82 | 0.69 | 0.67 | 0.69 | low | acute acute | IgG |
| 0.84 | 0.75 | 0.73 | 0.73 | median | acute acute | IgG |
| 0.88 | 0.82 | 0.77 | 0.77 | high | acute acute | IgG |
| 0.89 | 0.75 | 0.76 | 0.76 | low | acute acute | IgM IgG |
| 0.90 | 0.80 | 0.83 | 0.83 | median | acute acute | IgM IgG |
| 0.95 | 0.85 | 0.86 | 0.85 | high | acute acute | IgM IgG |
| 0.78 | 0.62 | 0.61 | 0.64 | low | acute epi | IgG |
| 0.81 | 0.68 | 0.63 | 0.65 | median | acute epi | IgG |
| 0.82 | 0.70 | 0.69 | 0.66 | high | acute epi | IgG |
| 0.84 | 0.55 | 0.53 | 0.59 | low | acute epi | IgM IgG |
| 0.90 | 0.67 | 0.54 | 0.60 | median | acute epi | IgM IgG |
| 0.90 | 0.68 | 0.65 | 0.61 | high | acute epi | IgM IgG |
| 0.78 | 0.69 | 0.63 | 0.66 | low | all all | IgG |
| 0.81 | 0.74 | 0.67 | 0.68 | median | all all | IgG |
| 0.83 | 0.79 | 0.71 | 0.71 | high | all all | IgG |
| 0.81 | 0.68 | 0.67 | 0.69 | low | all all | IgM IgG |
| 0.82 | 0.72 | 0.72 | 0.72 | median | all all | IgM IgG |
| 0.85 | 0.76 | 0.74 | 0.73 | high | all all | IgM IgG |
| 0.84 | 0.78 | 0.63 | 0.69 | low | epi acute | IgG |
| 0.86 | 0.81 | 0.64 | 0.70 | median | epi acute | IgG |
| 0.86 | 0.84 | 0.67 | 0.71 | high | epi acute | IgG |
| 0.82 | 0.75 | 0.67 | 0.71 | low | epi acute | IgM IgG |
| 0.82 | 0.78 | 0.70 | 0.72 | median | epi acute | IgM IgG |
| 0.85 | 0.82 | 0.72 | 0.73 | high | epi acute | IgM IgG |
| 0.74 | 0.67 | 0.67 | 0.69 | low | epi epi | IgG |
| 0.79 | 0.74 | 0.72 | 0.73 | median | epi epi | IgG |
| 0.81 | 0.80 | 0.80 | 0.78 | high | epi epi | IgG |
| 0.79 | 0.65 | 0.68 | 0.68 | low | epi epi | IgM IgG |
| 0.81 | 0.70 | 0.72 | 0.71 | median | epi epi | IgM IgG |
| 0.82 | 0.75 | 0.76 | 0.75 | high | epi epi | IgM IgG |

Table S32. Antigens used in this study to establish a 19-plex serological suspension-assay for detection of the humoral immune response against orthopoxviruses.

| Viral strain | Target protein | Supplier/Source | Order number | Sequence (aa) | Host | Reference strain | Calculated MW (kDa)† | Coupling amount (µg) | Bead Region |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VACV | A27L | BEI Resources | NR-22133 | 1-110 | Sf9 insect cells | Western Reserve, P11258.3 | 13.6 | 20 | 89 |
| MPXV | A29L | ProteoGenix | PX-P6057 | 2-110 | Mammalian Cells | Zaire-96-I-16, Q77HM6 | 15.3 | 10 | 55 |
| VACV | L1R | BEI Resources | NR-21986 | 1-185 | High Five™ insect cells | Western Reserve, P07612 | 20.8 | 10 | 15 |
| MPXV | M1R | ProteoGenix | PX-P6056 | 2-183 | Mammalian Cells | Zaire-96-I-16, Q8V502 | 22.4 | 10 | 36 |
| VACV | D8L | Custom Expression | – | 2-260 | E. coli | NYBOH, WR#: P04195 | 29.9 | 10 | 7 |
| MPXV | E8L | ProteoGenix | PX-P6055 | 2-274 | Mammalian Cells | Zaire-96-I-16, AAL40563.1 | 34.9 | 10 | 52 |
| VACV | H3L | Custom Expression | – | 21-270 | E. coli | NYBOH, WR#: P07240 | 29.2 | 10 | 59 |
| VACV | A33R | BEI Resources | NR-2623 | 58-185 | Cabbage looper insect larvae | Western Reserve, P68617.1 | 15.1 | 10 | 33 |
| MPXV | A35R | ProteoGenix | PX-P6034 | 57-181 | Mammalian Cells | Zaire-96-I-16, AAL40603.1 | 16.6 | 10 | 81 |
| VACV | B5R | BEI Resources | NR-22132 | 20-275 | Sf9 insect cells | Western Reserve, Q01227.1 | 29.4 | 10 | 26 |
| MPXV | B6R | ProteoGenix | PX-P6031 | 20-274 | Mammalian Cells | Zaire-96-I-16, AAL40625.1 | 31.7 | 10 | 42 |
| CPXV | A5L | Custom Expression | – | 1-292 | E. coli | GuWi3 BR#: Q8QMU5 | 32.3 | 10 | 54 |
| CPXV | ATI-N | Custom Expression | – | 1-725 | E. coli | GuWi3 BR#: Q8QMS9 | 84.6 | 10 | 38 |
| CPXV | ATI-C | Custom Expression | – | 725-1284 | E. coli | GuWi3 BR#: Q8QMS9 | 65.8 | 10 | 82 |
| VACV | Cell Lysate | In-house | – | – | Mammalian Cells | NYCBOH, ATCC: VR-1536 | – | 40 | 48 |
| – | Cell Lysate | In-house | – | – | Mammalian Cells | HEp-2, ATCC: CCL-23™ | – | 40 | 67 |
| – | Human serum albumin | Merck Sigma-Aldrich® (Purified) | A9511-500mg | – | – | – | 66 | 40 | 8 |
| – | Goat Anti-human IgG (Fc) | Dianova | 109-005-008 | – | – | – | 150 | 40 | 20 |
| – | Goat Anti-human IgM (µ) | Dianova | 109-005-129 | – | – | – | 150 | 40 | 76 |

# Reference ID for strain Brighton Red (CPXV) or Western Reserve (VACV)

† Based on supplier information (ProteoGenix) or calculated using Expasy ProtParam

# Supporting methods

## Determination of sequence identity and purity of recombinant proteins by LC-MS/MS analysis

### Experimental procedure

Analysis was performed in MS/MS ion search mode with carbamidomethyl (C) as fixed and oxidation (M) as variable modification. Proteins were analysed by high-resolution mass spectrometry according to an earlier published protocol with slight modifications 4. Briefly, samples were diluted to 100 pmol in 50 mM ammonium bicarbonate buffer with 9% (v/v) acetonitrile and reduced by adding 1.5 µL of 400 mM dithiothreitol (DTT, Sigma-Aldrich, Munich, Germany) for 10 min at 95 °C. Alkylation was achieved by adding 3 μL of 500 mM iodoacetamide (IAA, Sigma-Aldrich, Munich, Germany) and incubated for 30 min at 37 °C. Tryptic digest was performed by adding 10 μL of 0.02 µg/µL proteomics grade trypsin solution (Sigma-Aldrich, Munich, Germany) and incubated overnight at 37 °C. Reaction was stopped by adding 4 μL of 10% trifluoroacetic acid (TFA, Merck, Darmstadt, Germany). Peptides were desalted and purified using C18 ZipTip (Merck, Darmstadt, Germany) according to the manufacture’s protocol. ZipTip eluat was dried in a speedvac concentrator and resuspended in 15 μL of 0.1% formic acid (Thermo Scientific, Bremen, Germany). Concentration of resulting peptides was determined by absorbance measurement at 280 nm in a NanoPhotometer (Thermo Fisher Scientific, Bremen, Germany). Peptides were analysed on a nanoLC (EASY-nanoLC 1200, Thermo Fisher Scientific, Bremen, Germany) coupled online to an Orbitrap mass spectrometer (Q ExactiveTM HF, Thermo Fisher Scientific, Bremen). Peptide solution (5 µL) was loaded and separated on a ReproSil C18 PepSep column (15 cm length, 75 μm i.d., 100 Å, 1.5 μm; PepSep, Marslev, Denmark) using a 30 min gradient of 4% to 38% acetonitrile in 0.1% of formic acid at a 300 nL/min flow rate. The temperature of the LC column was set to 50 °C. The mass spectrometer was operated in a data-dependent acquisition mode (DDA) and the following settings were applied: full scan spectra (MS1) were recorded with a scan resolution of 60,000 in a scan range of 300 to 1650 m/z. The MS1 automatic gain control (AGC) target value was set to 3 × 106 with a maximum injection time of 20 ms. Fragment spectra (MS2) were obtained by higher-energy c-trap dissociation (HCD) with a normalized collision energy (NCE) of 27% for up to the 10 most intense 2+ to 5+ charged ions. MS2 scan resolution was 30,000 at 200 m/z. MS2 AGC target value was set to 1 × 105 with a maximum injection time of 50 ms and an isolation window of 2.0 m/z. The minimum AGC target value was set to 1 × 104 and a dynamic exclusion of 30 s within a 10 ppm window. Peptides were ionized using electrospray with a stainless-steel emitter, i.d. 30 μm, (PepSep, Marslev, Denmark) at a spray voltage of 2.1 kV and a heated capillary temperature of 275 °C. Mass data were processed by Proteome Discover software (Thermo Fisher Scientific, Bremen, Germany) as well as MASCOT server 2.4 software (Matrix Science Ltd., London, UK). Database search was done with carbamidomethyl (C) and oxidation (M) as variable modification. Protein mass was unrestricted, the peptide mass tolerance was set to ± 10 ppm while the fragment mass tolerance was set to ± 0.02 Da. A maximum number of two missed tryptic cleavages were allowed. Supplier provided protein sequences or sequences from the UniProt database5 were used as database entries for peptide identification. Identification and coverage of the reference sequence was calculated. Although the method is not quantitative, major contaminants as characterized by a large number of identified peptides against the whole UniProt database are also mentioned where applicable. Due to the high sensitivity of the method, trace amounts of contaminants can also be identified. Mostly contaminants that could be found were derived from the respective host expression vector.

### Identified peptide sequences

The following list contains the protein sequence of the analysed proteins with identified peptide sequences marked in bold and red. Besides the reference sequence that was employed for sequence alignment and the protein sequence coverage in percent of the reference sequence, remarks on identified contaminants is also added for each protein analysed.

Protein: A5L

Reference sequence: P29191, 39kDa core protein OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 35%

| 1 | MDFFNKFSQG | LAESSTPKSS | IYYSEEKDPD | TKKDEAIEIG | LKSQESYYQR |
| --- | --- | --- | --- | --- | --- |
| 51 | QLREQLARDN | MTVASRQPIQ | PLQPTIHITP | QPVPTATPAP | ILLPSSTVPT |
| 101 | PKPRQQTNTS | SDMSNLFDWL | SEDTDAPASS | LLPALTPSNA | VQDIISKFNK |
| 151 | DQKTTTPPST | QPSQTLPTTT | CTQQSDGNIS | CTTPTVTPPQ | PPIVATVCTP |
| 201 | TPTGGTVCTT | AQQNPNPGAA | SQQNLDDMAL | KDLMSNVERD | MHQLQAETND |
| 251 | LVTNVYDARE | YTRRAIDQIL | QLVKGFERFQ | K |  |

Remarks/ Contamination: Large number of E. coli proteins.

Protein: A27L

Reference sequence: P11258, Protein A27 OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 68%

| 1 | MDGTLFPGDD | DLAIPATEFF | STKAAKKPEA | KREAIVKADE | DDNEETLKQR |
| --- | --- | --- | --- | --- | --- |
| 51 | LTNLEKKITN | VTTKFEQIEK | CCKRNDEVLF | RLENHAETLR | AAMISLAKKI |
| 101 | DVQTGRRPYE |  |  |  |  |

Reference sequence: A27L + His-Tag (provided by supplier)

Protein sequence coverage: 63%

| 1 | DPMDGTLFPG | DDDLAIPATE | FFSTKAAKKP | EAKREAIVKA | DEDDNEETLK |
| --- | --- | --- | --- | --- | --- |
| 51 | QRLTNLEKKI | TNVTTKFEQI | EKCCKRNDEV | LFRLENHAET | LRAAMISLAK |
| 101 | KIDVQTGRRP | YEHHHHHH |  |  |  |

Remarks/ Contamination: High purity, identification of some baculovirus (Autographa californica nuclear polyhedrosis virus) proteins.

Protein: A29L

Reference sequence: P11258, Protein A27 OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 72%

| 1 | MDGTLFPGDD | DLAIPATEFF | STKAAKKPEA | KREAIVKADE | DDNEETLKQR |
| --- | --- | --- | --- | --- | --- |
| 51 | LTNLEKKITN | VTTKFEQIEK | CCKRNDEVLF | RLENHAETLR | AAMISLAKKI |
| 101 | DVQTGRRPYE |  |  |  |  |

Reference sequence: A29L Asp2-Glu110 (provided by supplier)

Protein sequence coverage: 95%

| 1 | MDGTLFPGDD | DLAIPATEFF | STKAAKNPET | KREAIVKAYG | DDNEETLKQR |
| --- | --- | --- | --- | --- | --- |
| 51 | LTNLEKKITN | ITTKFEQIEK | CCKHNDEVLF | RLENHAETLR | AAMISLAKKI |
| 101 | DVQTGRRPYE |  |  |  |  |

Remarks/ Contamination: Large number of human proteins (expression host HEK293).

Protein: A33R

Reference sequence: P68616, Protein A33 OS=Vaccinia virus (strain Copenhagen)

Protein sequence coverage: 53%

| 1 | MMTPENDEEQ | TSVFSATVYG | DKIQGKNKRK | RVIGLCIRIS | MVISLLSMIT |
| --- | --- | --- | --- | --- | --- |
| 51 | MSAFLIVRLN | QCMSANEAAI | TDAAVAVAAA | SSTHRKVASS | TTQYDHKESC |
| 101 | NGLYYQGSCY | ILHSDYQLFS | DAKANCTAES | STLPNKSDVL | ITWLIDYVED |
| 151 | TWGSDGNPIT | KTTSDYQDSD | VSQEVRKYFC | VKTMN |  |

Reference sequence: A33R Arg58- Asn185 (provided by supplier)

Protein sequence coverage: 81%

| 1 | DPRLNQCMSA | NEAAITDAAV | AVAAASSTHR | KVASSTTQYD | HKESCNGLYY |
| --- | --- | --- | --- | --- | --- |
| 51 | QGSCYILHSD | YQLFSDAKAN | CTAESSTLPN | KSDVLITWLI | DYVEDTWGSD |
| 101 | GNPITKTTSD | YQDSDVSQEV | RKYFCVKTMN | HHHHHH |  |

Remarks/ Contamination: Highly pure protein, only minor contaminations

Protein: A35R

Reference sequence: P68616, Protein A33 OS=Vaccinia virus (strain Copenhagen)

Protein sequence coverage: 29%

| 1 | MMTPENDEEQ | TSVFSATVYG | DKIQGKNKRK | RVIGLCIRIS | MVISLLSMIT |
| --- | --- | --- | --- | --- | --- |
| 51 | MSAFLIVRLN | QCMSANEAAI | TDAAVAVAAA | SSTHRKVASS | TTQYDHKESC |
| 101 | NGLYYQGSCY | ILHSDYQLFS | DAKANCTAES | STLPNKSDVL | ITWLIDYVED |
| 151 | TWGSDGNPIT | KTTSDYQDSD | VSQEVRKYFC | VKTMN |  |

Reference sequence: A35R Val57-Thr181 (provided by supplier)

Protein sequence coverage: 67% (100% of expressed fragment)

| 1 | MMTPENDEEQ | TSVFSATVYG | DKIQGKNKRK | RVIGLCIRIS | MVISLLSMIT |
| --- | --- | --- | --- | --- | --- |
| 51 | MSAFLIVRQN | QCMSANEAAI | TDSAVAVAAA | SSTHRKVASS | TTQYDHKESC |
| 101 | NGLYYQGSCY | ILHSDYKSFE | DAKANCAAES | STLPNKSDVL | TTWLIDYVED |
| 151 | TWGSDGNPIT | KTTSDYQDSD | VSQEVRKYFC | T |  |

Remarks/ Contamination: Large number of human proteins (expression host HEK293).

Protein: ATI-C

Reference sequence: P16602, A-type inclusion protein A25 homolog OS=Cowpox virus

Protein sequence coverage: 28%

| 1 | MEVTNLIEKC | TKHSKDFATE | VEKLWNDELS | SESGLSRKTR | NVIRNILRDI |
| --- | --- | --- | --- | --- | --- |
| 51 | TKSLTTDKKS | KCFRILERST | INGEQIKDVY | KTIFNNGVDV | ESRINTTGKY |
| 101 | VLFTVMTYAA | AELRLIKSDE | IFALLSRFFN | MICDIHRKYG | CGNMFVGIPA |
| 151 | ALINLLEIDQ | INKLFSVFST | RYDAKTFIYT | EYFLFLNINH | YLLVSGSELF |
| 201 | INVAYGPASF | SSPISVPDYI | MEALTFKACD | HIMKSGDLKY | TYAFTKKVKD |
| 251 | LFNTKSDSVY | QYVRLHEMSY | DGVSEDTDDD | DEVFAILNLS | IDSSVDRYRN |
| 301 | RVLLLTPEVA | SLRKEYSDVE | PDYKYLMDEE | VPAYDKHLPK | PITNTGIEEP |
| 351 | HATGGDKEEQ | EQQPVKVVQS | KPDDGITPYN | PFEDPDYVPT | ITKTVLGIAD |
| 401 | YQLVINKLIE | WLDKCEEECG | NGGEYKTELE | EAKRKLTELN | LELSDKLSKI |
| 451 | RTLERDSVYK | TERIDRLTKE | IKELRDIQNG | TDDGSDSSEI | DKKTIRELRE |
| 501 | SLDREREMRT | ELERELDTIR | DGKVEGSCQR | ELELSRMWLK | QRDDDLRAEI |
| 551 | DKRRNVEWEL | SRLRRDIKEC | DKYKEDLDKA | KTTISNYVSR | ISTLESEIAK |
| 601 | YQQDRDTLSV | VRRELEEERR | RVRDLESRLD | ECTRNQEDTQ | EVDALRSRIR |
| 651 | ELENKLADCM | ESGGGNLTEI | SRLQSKISDL | ERQLRECRGN | ATEISRLQYR |
| 701 | ITDLERQLND | CRRNNENNAD | TEREMQRLRD | RITDLERQLS | DCRRNNESNA |
| 751 | DMEREMQRLR | DRIMDLDRQL | NECKRDGNGT | SSEEVNRLKT | RIRDLERSLE |
| 801 | ICSKDESELY | SAYKSELGRA | REQISNLQES | LRRERESDKT | DSYYRRELTR |
| 851 | ERNKIVELEK | ELNKCFDTNH | AKYIDEINSK | KTRISDLERQ | LAACKSNGGS |
| 901 | NGDMDQYKRE | IESLKRELAE | CRRGNNGSHS | DCKYYDEEAR | EEVKRLRQEL |
| 951 | TQLHEDLKRA | RESDKNDSYY | KRELERQRAK | VIEVEKELER | YFDDSRLAEC |
| 1001 | KRHGDEMLRK | IADLEKKLRD | GGNGNGGNGC | TSSCEFERKR | IAVLEVEVRK |
| 1051 | SMETIKSLEK | FMEFDRLQKD | CADKLDREKE | RRMKAERDLE | REIARKNCGG |
| 1101 | NPCERELESE | RSNVKRLEYQ | LDAEKEKVKF | YKRELERDRY | LSSRYLTSSS |
| 1151 | DPDEKPLPNY | TFPRIEVEPL | TTEDTEPKPV | EVVPPSSDVT | EPISSGVTPS |
| 1201 | VDAEPEHPQL | SEYQTSVSQV | AVTPPPKPET | PQISEYQDYS | ELYSASNNTE |
| 1251 | SKNVFSELAY | LDDLDKLDDI | DEYLLNNIMP | EKTV |  |

Reference sequence: Q80HU9, 27 kDa A-type inclusion protein OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 62%

| 1 | MKPMPKQREM | RRLRDRISDI | ERQLSDCRRN | NESNADMERE | MQRLRDRIMD |
| --- | --- | --- | --- | --- | --- |
| 51 | LDRQLNECKR | NGNGTSSEEV | NRLKTRIRNL | KRSLEICSKD | ESELYSAYKT |
| 101 | KLGRAREQIS | NLQESLRRER | ESDKTDSYYR | RELTRERNKI | VELEKELNKC |
| 151 | FDAKYIDEIN | SKKTRISDLE | RQLAACKSNG | GSNGNMDQYK | REIESLKREL |
| 201 | AECRRGNNGS | HSDCKYYDEE | ARDCVKS |  |  |

Reference sequence: Q80HV0, 17 kDa A-type inclusion protein OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 59%

| 1 | METIKALEKF | MEFDRLQKDC | SDKLDREKER | RMKAEREIAR | KNCGGNPCER |
| --- | --- | --- | --- | --- | --- |
| 51 | ELESERSNVK | RLEYQLDAEK | EKVKFYKREL | ERDRYLSSRY | LTSSSDPHEK |
| 101 | PLPNYTFPRI | KNVSPLTTEA | TGSVEVAPPS | TDVTEPISDV | TPSVDVEPEH |
| 151 | PPAF |  |  |  |  |

Reference sequence: Q0SZY6, 50S ribosomal protein L2 OS=Shigella flexneri serotype 5b (strain 8401)

Protein sequence coverage: 73%

| 1 | MAVVKCKPTS | PGRRHVVKVV | NPELHKGKPF | APLLEKNSKS | GGRNNNGRIT |
| --- | --- | --- | --- | --- | --- |
| 51 | TRHIGGGHKQ | AYRIVDFKRN | KDGIPAVVER | LEYDPNRSAN | IALVLYKDGE |
| 101 | RRYILAPKGL | KAGDQIQSGV | DAAIKPGNTL | PMRNIPVGST | VHNVEMKPGK |
| 151 | GGQLARSAGT | YVQIVARDGA | YVTLRLRSGE | MRKVEADCRA | TLGEVGNAEH |
| 201 | MLRVLGKAGA | ARWRGVRPTV | RGTAMNPVDH | PHGGGEGRNF | GKHPVTPWGV |
| 251 | QTKGKKTRSN | KRTDKFIVRR | RSK |  |  |

Reference sequence: P07240, Envelope protein H3 OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 31%

| 1 | MAAAKTPVIV | VPVIDRLPSE | TFPNVHEHIN | DQKFDDVKDN | EVMPEKRNVV |
| --- | --- | --- | --- | --- | --- |
| 51 | VVKDDPDHYK | DYAFIQWTGG | NIRNDDKYTH | FFSGFCNTMC | TEETKRNIAR |
| 101 | HLALWDSNFF | TELENKKVEY | VVIVENDNVI | EDITFLRPVL | KAMHDKKIDI |
| 151 | LQMREIITGN | KVKTELVMDK | NHAIFTYTGG | YDVSLSAYII | RVTTELNIVD |
| 201 | EIIKSGGLSS | GFYFEIARIE | NEMKINRQIL | DNAAKYVEHD | PRLVAEHRFE |
| 251 | NMKPNFWSRI | GTAATKRYPG | VMYAFTTPLI | SFFGLFDINV | IGLIVILFIM |
| 301 | FMLIFNVKSK | LLWFLTGTFV | TAFI |  |  |

Reference sequence: P0DOT7, Protein L1 OS=Variola virus (isolate Human/India/Ind3/1967)

Protein sequence coverage: 38%

| 1 | MGAAASIQTT | VNTLSERISS | KLEQEANASA | QTKCDIEIGN | FYIRQNHGCN |
| --- | --- | --- | --- | --- | --- |
| 51 | LTVKNMCSAD | ADAQLDAVLS | AATETYSGLT | PEQKAYVPAM | FTAALNIQTS |
| 101 | VNTVVRDFEN | YVKQTCNSSA | VVDNKLKIQN | VIIDECYGAP | GSPTNLEFIN |
| 151 | TGSSKGNCAI | KALMQLTTKA | TTQIAPRQVA | GTGVQFYMIV | IGVIILAALF |
| 201 | MYYAKRMLFT | STNDKIKLIL | ANKENVHWTT | YMDTFFRTSP | MVIATTDIQN |

Remarks/ Contamination: Slight contamination with other vaccinia virus proteins (possible cross-contamination during protein expression and purification), large number of other E. coli proteins and 50S ribosomal protein L2.

Protein: ATI-N 1-725HIS

Reference sequence: P16602, A-type inclusion protein A25 homolog OS=Cowpox virus

Protein sequence coverage: 49%

| 1 | MEVTNLIEKC | TKHSKDFATE | VEKLWNDELS | SESGLSRKTR | NVIRNILRDI |
| --- | --- | --- | --- | --- | --- |
| 51 | TKSLTTDKKS | KCFRILERST | INGEQIKDVY | KTIFNNGVDV | ESRINTTGKY |
| 101 | VLFTVMTYAA | AELRLIKSDE | IFALLSRFFN | MICDIHRKYG | CGNMFVGIPA |
| 151 | ALINLLEIDQ | INKLFSVFST | RYDAKTFIYT | EYFLFLNINH | YLLVSGSELF |
| 201 | INVAYGPASF | SSPISVPDYI | MEALTFKACD | HIMKSGDLKY | TYAFTKKVKD |
| 251 | LFNTKSDSVY | QYVRLHEMSY | DGVSEDTDDD | DEVFAILNLS | IDSSVDRYRN |
| 301 | RVLLLTPEVA | SLRKEYSDVE | PDYKYLMDEE | VPAYDKHLPK | PITNTGIEEP |
| 351 | HATGGDKEEQ | EQQPVKVVQS | KPDDGITPYN | PFEDPDYVPT | ITKTVLGIAD |
| 401 | YQLVINKLIE | WLDKCEEECG | NGGEYKTELE | EAKRKLTELN | LELSDKLSKI |
| 451 | RTLERDSVYK | TERIDRLTKE | IKELRDIQNG | TDDGSDSSEI | DKKTIRELRE |
| 501 | SLDREREMRT | ELERELDTIR | DGKVEGSCQR | ELELSRMWLK | QRDDDLRAEI |
| 551 | DKRRNVEWEL | SRLRRDIKEC | DKYKEDLDKA | KTTISNYVSR | ISTLESEIAK |
| 601 | YQQDRDTLSV | VRRELEEERR | RVRDLESRLD | ECTRNQEDTQ | EVDALRSRIR |
| 651 | ELENKLADCM | ESGGGNLTEI | SRLQSKISDL | ERQLRECRGN | ATEISRLQYR |
| 701 | ITDLERQLND | CRRNNENNAD | TEREMQRLRD | RITDLERQLS | DCRRNNESNA |
| 751 | DMEREMQRLR | DRIMDLDRQL | NECKRDGNGT | SSEEVNRLKT | RIRDLERSLE |
| 801 | ICSKDESELY | SAYKSELGRA | REQISNLQES | LRRERESDKT | DSYYRRELTR |
| 851 | ERNKIVELEK | ELNKCFDTNH | AKYIDEINSK | KTRISDLERQ | LAACKSNGGS |
| 901 | NGDMDQYKRE | IESLKRELAE | CRRGNNGSHS | DCKYYDEEAR | EEVKRLRQEL |
| 951 | TQLHEDLKRA | RESDKNDSYY | KRELERQRAK | VIEVEKELER | YFDDSRLAEC |
| 1001 | KRHGDEMLRK | IADLEKKLRD | GGNGNGGNGC | TSSCEFERKR | IAVLEVEVRK |
| 1051 | SMETIKSLEK | FMEFDRLQKD | CADKLDREKE | RRMKAERDLE | REIARKNCGG |
| 1101 | NPCERELESE | RSNVKRLEYQ | LDAEKEKVKF | YKRELERDRY | LSSRYLTSSS |
| 1151 | DPDEKPLPNY | TFPRIEVEPL | TTEDTEPKPV | EVVPPSSDVT | EPISSGVTPS |
| 1201 | VDAEPEHPQL | SEYQTSVSQV | AVTPPPKPET | PQISEYQDYS | ELYSASNNTE |
| 1251 | SKNVFSELAY | LDDLDKLDDI | DEYLLNNIMP | EKTV |  |

Remarks/ Contamination: Peptides after amino acid 725 due to carry-over from the column (very low signal intensity)

Reference sequence: P24759, A-type inclusion protein A25 OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 51%

| 1 | MEVTNLIEKC | TKHSKDFATE | VKKLWNDELS | SESGLSRKTR | NVIRNILRDI |
| --- | --- | --- | --- | --- | --- |
| 51 | TKSLTTDKKS | KCFRILERST | INGEQIKDVY | KTIFNNGVDV | ESRINTTGKY |
| 101 | VLFTVMTYVA | AELRLIKSDE | IFALLSRFFN | MICDIHRKYG | CGNMFVGIPA |
| 151 | ALIILLEIDH | INKLFSVFST | RYDAKAYLYT | EYFLFLNINH | YLLSGSDLFI |
| 201 | NVAYGAVSFS | SPISVPDYIM | EALTFKACDH | IMKSGDLKYT | YAFTKKVKDL |
| 251 | FNTKSDSIYQ | YVRLHEMSYD | GVSEDTDDDD | EVFAILNLSI | DSSVDRYRNR |
| 301 | VLLLTPEVAS | LRKEYSDVEP | DYKYLMDEEV | PAYDKHLPKP | ITNTGIEEPH |
| 351 | ATGGDEDQPI | KVVHPPNNDK | DDAIKPYNPL | EDPNYVPTIT | RTAIGIADYQ |
| 401 | LVINKLIEWL | DKCEEECGNS | GEFKTELEEA | KRKLTELNAE | LSDKLSKIRT |
| 451 | LERDSVYKTE | RIDRLTKEIK | EHRDIQNGTD | DGSDLLEIDK | KTIRELRESL |
| 501 | DREREMRSEL | EKELDTIRNG | KVDGSCQREL | ELSRMWLKQR | DDDLRAEIDK |
| 551 | RRNVEWELSR | LRRDIKECDK | YKEDLDKAKT | TISNYVSKIS | TLESEIAKYQ |
| 601 | QDRDTLSVVR | RELEEERRRV | RDLESRLDEC | TRNQEDTQEV | DALRSRIREL |
| 651 | ENKLTDCIES | GGGNLTEISR | LQSKISDLER | QLSECRENAT | EISRLQSRIS |
| 701 | DLERQLNDCR | RNNETNAETE | RDATS |  |  |

Remarks/ Contamination: Significant contamination with E. coli proteome.

Protein: B5R

Reference sequence: Q01227, Protein B5 OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 38%

| 1 | MKTISVVTLL | CVLPAVVYST | CTVPTMNNAK | LTSTETSFND | KQKVTFTCDQ |
| --- | --- | --- | --- | --- | --- |
| 51 | GYHSSDPNAV | CETDKWKYEN | PCKKMCTVSD | YISELYNKPL | YEVNSTMTLS |
| 101 | CNGETKYFRC | EEKNGNTSWN | DTVTCPNAEC | QPLQLEHGSC | QPVKEKYSFG |
| 151 | EYMTINCDVG | YEVIGASYIS | CTANSWNVIP | SCQQKCDMPS | LSNGLISGST |
| 201 | FSIGGVIHLS | CKSGFTLTGS | PSSTCIDGKW | NPVLPICVRT | NEEFDPVDDG |
| 251 | PDDETDLSKL | SKDVVQYEQE | IESLEATYHI | IIVALTIMGV | IFLISVIVLV |
| 301 | CSCDKNNDQY | KFHKLLP |  |  |  |

Reference sequence: B5R (provided by supplier)

Protein sequence coverage: 57%

| 1 | DLHHHHHHTC | TVPTMNNAKL | TSTETSFNDK | QKVTFTCDQG | YHSSDPNAVC |
| --- | --- | --- | --- | --- | --- |
| 51 | ETDKWKYENP | CKKMCTVSDY | ISELYNKPLY | EVNSTMTLSC | NGETKYFRCE |
| 101 | EKNGNTSWND | TVTCPNAECQ | PLQLEHGSCQ | PVKEKYSFGE | YMTINCDVGY |
| 151 | EVIGASYISC | TANSWNVIPS | CQQKCDMPSL | SNGLISGSTF | SIGGVIHLSC |
| 201 | KSGFTLTGSP | SSTCIDGKWN | PVLPICVRTN | EEFDPVDDGP | DDETDLSKLS |
| 251 | KDVVQYEQEI | ESLE |  |  |  |

Remarks/ Contamination: Significant contamination with baculovirus proteins

Protein: B6R

Reference sequence: P24084, Protein B5 OS=Vaccinia virus (strain LC16m0)

Protein sequence coverage: 27%

| 1 | MKTISVVTLL | CVLPAVVYST | CTVPTMNNAK | LTSTETSFND | KQKVTFTCDQ |
| --- | --- | --- | --- | --- | --- |
| 51 | GYHSLDPNAV | CETDKWKYEN | PCKKMCTVSD | YVSELYDKPL | YEVNSTMTLS |
| 101 | CNGETKYFRC | EEKNGNTSWN | DTVTCPNAEC | QPLQLEHGSC | QPVKEKYSFG |
| 151 | EYMTINCDVG | YEVIGASYIS | CTANSWNVIP | SCQQKCDMPS | LSNGLISGST |
| 201 | FSIGGVIHLS | CKSGFTLTGS | PSSTCIDGKW | NPILPTCVRS | NEKFDPVDDG |
| 251 | PDDETDLSKL | SKDVVQYEQE | IESLEATYHI | IIVALTIMGV | IFLISVIVLV |
| 301 | CSCDKNNDQY | KFHKLLP |  |  |  |

Reference sequence: B6R Thr20-His279 (provided by supplier)

Protein sequence coverage: 51%

| 1 | MKTISVVTLL | CVLPAVVYST | CTVPTMNNAK | LTSTETSFND | KQKVTFTCDS |
| --- | --- | --- | --- | --- | --- |
| 51 | GYHSLDPNAV | CETDKWKYEN | PCKKMCTVSD | YVSELYDKPL | YEVNSTMTLS |
| 101 | CNGETKYFRC | EEKNGNTSWN | DTVTCPNAEC | QPLQLEHGSC | QPVKEKYSFG |
| 151 | EYMTINCDVG | YEVIGVSYIS | CTANSWNVIP | SCQQKCDIPS | LSNGLISGST |
| 201 | FSIGGVIHLS | CKSGFTLTGS | PSSTCIDGKW | NPILPTCVRS | NEEFDPVDDG |
| 251 | PDDETDLSKL | SKDVVQYEQE | IESLEATYHI | IIMALTIMGV | IFLISIIVLV |
| 301 | CSCDKNNDQY | KFHKLLP |  |  |  |

Remarks/ Contamination: Significant contamination with human proteome and rat proteins.

Protein: D8L

Reference sequence: P04195, Cell surface-binding protein OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 67%

| 1 | MPQQLSPINI | ETKKAISNAR | LKPLDIHYNE | SKPTTIQNTG | KLVRINFKGG |
| --- | --- | --- | --- | --- | --- |
| 51 | YISGGFLPNE | YVLSSLHIYW | GKEDDYGSNH | LIDVYKYSGE | INLVHWNKKK |
| 101 | YSSYEEAKKH | DDGLIIISIF | LQVLDHKNVY | FQKIVNQLDS | IRSANTSAPF |
| 151 | DSVFYLDNLL | PSKLDYFTYL | GTTINHSADA | VWIIFPTPIN | IHSDQLSKFR |
| 201 | TLLSSSNHDG | KPHYITENYR | NPYKLNDDTQ | VYYSGEIIRA | ATTSPARENY |
| 251 | FMRWLSDLRE | TCFSYYQKYI | EENKTFAIIA | IVFVFILTAI | LFFMSRRYSR |
| 301 | EKQN |  |  |  |  |

Reference sequence: P0DOT7, Protein L1 OS=Variola virus (isolate Human/India/Ind3/1967)

Protein sequence coverage: 54%

| 1 | MGAAASIQTT | VNTLSERISS | KLEQEANASA | QTKCDIEIGN | FYIRQNHGCN |
| --- | --- | --- | --- | --- | --- |
| 51 | LTVKNMCSAD | ADAQLDAVLS | AATETYSGLT | PEQKAYVPAM | FTAALNIQTS |
| 101 | VNTVVRDFEN | YVKQTCNSSA | VVDNKLKIQN | VIIDECYGAP | GSPTNLEFIN |
| 151 | TGSSKGNCAI | KALMQLTTKA | TTQIAPRQVA | GTGVQFYMIV | IGVIILAALF |
| 201 | MYYAKRMLFT | STNDKIKLIL | ANKENVHWTT | YMDTFFRTSP | MVIATTDIQN |

Reference sequence: D8L 2-260HIS (provided by supplier)

Protein sequence coverage: 66%

| 1 | MPQQLSPINI | ETKKAISNAR | LKPLDIHYNE | SKPTTIQNTG | KLVRINFKGG |
| --- | --- | --- | --- | --- | --- |
| 51 | YISGGFLPNE | YVLSSLHIYW | GKEDDYGSNH | LIDVYKYSGE | INLVHWNKKK |
| 101 | YSSYEEAKKH | DDGLIIISIF | LQVSDHKNVY | FQKIVNQLDS | IRSANTSAPF |
| 151 | DSVFYLDNLL | PSTLDYFTYL | GTTIKHSADA | VWIIFPTPIN | IHSDQLSKFR |
| 201 | TLLSSSNHDG | KPYYITENYR | NPYKLNDDTQ | VYYSGEIIRA | ATTSPARENY |
| 251 | FMRWLSDLRE | TCFSYYQKYI | EGNKTFAIIA | IVFVFILTAI | LFLMSRRYSR |
| 301 | EKQN |  |  |  |  |

Remarks/ Contamination: Significant contamination with E. coli proteome.

Protein: E8L

Reference sequence: Q8V4Y0, Cell surface-binding protein OS=Monkeypox virus (strain Zaire-96-I-16)

Protein sequence coverage: 70%

| 1 | MPQQLSPINI | ETKKAISDTR | LKTLDIHYNE | SKPTTIQNTG | KLVRINFKGG |
| --- | --- | --- | --- | --- | --- |
| 51 | YISGGFLPNE | YVLSTIHIYW | GKEDDYGSNH | LIDVYKYSGE | INLVHWNKKK |
| 101 | YSSYEEAKKH | DDGIIIIAIF | LQVSDHKNVY | FQKIVNQLDS | IRSANMSAPF |
| 151 | DSVFYLDNLL | PSTLDYFTYL | GTTINHSADA | AWIIFPTPIN | IHSDQLSKFR |
| 201 | TLLSSSNHEG | KPHYITENYR | NPYKLNDDTQ | VYYSGEIIRA | ATTSPVRENY |
| 251 | FMKWLSDLRE | ACFSYYQKYI | EGNKTFAIIA | IVFVFILTAI | LFLMSQRYSR |
| 301 | EKQN |  |  |  |  |

Reference sequence: P68616, Protein A33 OS=Vaccinia virus (strain Copenhagen)

Protein sequence coverage: 29%

| 1 | MMTPENDEEQ | TSVFSATVYG | DKIQGKNKRK | RVIGLCIRIS | MVISLLSMIT |
| --- | --- | --- | --- | --- | --- |
| 51 | MSAFLIVRLN | QCMSANEAAI | TDAAVAVAAA | SSTHRKVASS | TTQYDHKESC |
| 101 | NGLYYQGSCY | ILHSDYQLFS | DAKANCTAES | STLPNKSDVL | ITWLIDYVED |
| 151 | TWGSDGNPIT | KTTSDYQDSD | VSQEVRKYFC | VKTMN |  |

Protein sequence: E8L_Pro2-Lys274 (provided by supplier)

Protein sequence coverage: 70%

| 1 | MPQQLSPINI | ETKKAISDTR | LKTLDIHYNE | SKPTTIQNTG | KLVRINFKGG |
| --- | --- | --- | --- | --- | --- |
| 51 | YISGGFLPNE | YVLSTIHIYW | GKEDDYGSNH | LIDVYKYSGE | INLVHWNKKK |
| 101 | YSSYEEAKKH | DDGIIIIAIF | LQVSDHKNVY | FQKIVNQLDS | IRSANMSAPF |
| 151 | DSVFYLDNLL | PSTLDYFTYL | GTTINHSADA | AWIIFPTPIN | IHSDQLSKFR |
| 201 | TLLSSSNHEG | KPHYITENYR | NPYKLNDDTQ | VYYSGEIIRA | ATTSPVRENY |
| 251 | FMKWLSDLRE | ACFSYYQKYI | EGNKTFAIIA | IVFVFILTAI | LFLMSQRYSR |
| 301 | EKQN |  |  |  |  |

Remarks/ Contamination: Significant contamination with human proteome.

Protein: H3L

Reference sequence: P07240, Envelope protein H3 OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 66%

| 1 | MAAAKTPVIV | VPVIDRLPSE | TFPNVHEHIN | DQKFDDVKDN | EVMPEKRNVV |
| --- | --- | --- | --- | --- | --- |
| 51 | VVKDDPDHYK | DYAFIQWTGG | NIRNDDKYTH | FFSGFCNTMC | TEETKRNIAR |
| 101 | HLALWDSNFF | TELENKKVEY | VVIVENDNVI | EDITFLRPVL | KAMHDKKIDI |
| 151 | LQMREIITGN | KVKTELVMDK | NHAIFTYTGG | YDVSLSAYII | RVTTELNIVD |
| 201 | EIIKSGGLSS | GFYFEIARIE | NEMKINRQIL | DNAAKYVEHD | PRLVAEHRFE |
| 251 | NMKPNFWSRI | GTAATKRYPG | VMYAFTTPLI | SFFGLFDINV | IGLIVILFIM |
| 301 | FMLIFNVKSK | LLWFLTGTFV | TAFI |  |  |

Reference sequence: P0DOT7, Protein L1 OS=Variola virus (isolate Human/India/Ind3/1967)

Protein sequence coverage: 58%

| 1 | MGAAASIQTT | VNTLSERISS | KLEQEANASA | QTKCDIEIGN | FYIRQNHGCN |
| --- | --- | --- | --- | --- | --- |
| 51 | LTVKNMCSAD | ADAQLDAVLS | AATETYSGLT | PEQKAYVPAM | FTAALNIQTS |
| 101 | VNTVVRDFEN | YVKQTCNSSA | VVDNKLKIQN | VIIDECYGAP | GSPTNLEFIN |
| 151 | TGSSKGNCAI | KALMQLTTKA | TTQIAPRQVA | GTGVQFYMIV | IGVIILAALF |
| 201 | MYYAKRMLFT | STNDKIKLIL | ANKENVHWTT | YMDTFFRTSP | MVIATTDIQN |

Reference sequence: H3L 21-270HIS (provided by supplier)

Protein sequence coverage: 62%

| 1 | MAAVKTPVIV | VPVIDRPPSE | TFPNVHEHIN | DQKFDDVKDN | EVMPEKRNVV |
| --- | --- | --- | --- | --- | --- |
| 51 | VVKDDPDHYK | DYAFIQWTGG | NIRNDDKYTH | FFSGFCNTMC | TEETKRNIAR |
| 101 | HLALWDSNFF | TELENKKVEY | VVIVENDNVI | EDITFLRPVL | KAMHDKKIDI |
| 151 | LQMREIITGN | KVKTELVMDK | NHTIFTYTGG | YDVSLSAYII | RVTTALNIVD |
| 201 | EIIKSGGLSS | GFYFEIARIE | NEMKINRQIL | DNAAKYVEHD | PRLVAEHRFE |
| 251 | NMKPNFWSRI | GTAAAKRYPG | VMYAFTTPLI | SFFGLFDINV | IGLIVILFIM |
| 301 | FMLIFNVKSK | LLWFLTGTFV | TAFI |  |  |

Remarks/ Contamination: Contamination with E. coli proteome.

Protein: L1R

Reference sequence: P07612, Protein L1 OS=Vaccinia virus (strain Western Reserve)

Protein sequence coverage: 70%

| 1 | MGAAASIQTT | VNTLSERISS | KLEQEANASA | QTKCDIEIGN | FYIRQNHGCN |
| --- | --- | --- | --- | --- | --- |
| 51 | LTVKNMCSAD | ADAQLDAVLS | AATETYSGLT | PEQKAYVPAM | FTAALNIQTS |
| 101 | VNTVVRDFEN | YVKQTCNSSA | VVDNKLKIQN | VIIDECYGAP | GSPTNLEFIN |
| 151 | TGSSKGNCAI | KALMQLTTKA | TTQIAPKQVA | GTGVQFYMIV | IGVIILAALF |
| 201 | MYYAKRMLFT | STNDKIKLIL | ANKENVHWTT | YMDTFFRTSP | MVIATTDMQN |

Reference sequence: L1R (provided by supplier)

Protein sequence coverage: 92%

| 1 | DPAMGAAASI | QTTVNTLSER | ISSKLEQEAN | ASAQTKCDIE | IGNFYIRQNH |
| --- | --- | --- | --- | --- | --- |
| 51 | GCNLTVKNMC | SADADAQLDA | VLSAATETYS | GLTPEQKAYV | PAMFTAALNI |
| 101 | QTSVNTVVRD | FENYVKQTCN | SSAVVDNKLK | IQNVIIDECY | GAPGSPTNLE |
| 151 | FINTGSSKGN | CAIKALMQLT | TKATTQIAPK | QVAGTGVQHH | HHHH |

Remarks/ Contamination: High purity.

Protein: M1R

Reference sequence: P0DOT7, Protein L1 OS=Variola virus (isolate Human/India/Ind3/1967)

Protein sequence coverage: 70%

| 1 | MGAAASIQTT | VNTLSERISS | KLEQEANASA | QTKCDIEIGN | FYIRQNHGCN |
| --- | --- | --- | --- | --- | --- |
| 51 | LTVKNMCSAD | ADAQLDAVLS | AATETYSGLT | PEQKAYVPAM | FTAALNIQTS |
| 101 | VNTVVRDFEN | YVKQTCNSSA | VVDNKLKIQN | VIIDECYGAP | GSPTNLEFIN |
| 151 | TGSSKGNCAI | KALMQLTTKA | TTQIAPRQVA | GTGVQFYMIV | IGVIILAALF |
| 201 | MYYAKRMLFT | STNDKIKLIL | ANKENVHWTT | YMDTFFRTSP | MVIATTDIQN |

Reference sequence: M1R Gly2-Gly183 (provided by supplier)

Protein sequence coverage: 70%

| 1 | MGAAASIQTT | VNTLSERISS | KLEQEANASA | QTKCDIEIGN | FYIRQNHGCN |
| --- | --- | --- | --- | --- | --- |
| 51 | ITVKNMCSAD | ADAQLDAVLS | AATETYSGLT | PEQKAYVPAM | FTAALNIQTS |
| 101 | VNTVVRDFEN | YVKQTCNSSA | VVDNKLKIQN | VIIDECYGAP | GSPTNLEFIN |
| 151 | TGSSKGNCAI | KALMQLTTKA | TTQIAPRQVA | GTGVQFYMIV | IGVIILAALF |
| 201 | MYYAKRMLFT | STNDKIKLIL | ANKENVHWTT | YMDTFFRTSP | MIIATTDMQN |

Remarks/ Contamination: Significant contamination with human proteome and rat proteins.

# Supporting references

1	Robert, X. & Gouet, P. Deciphering key features in protein structures with the new ENDscript server. Nucleic Acids Res 42, W320-324 (2014). https://doi.org/10.1093/nar/gku316

2	Antoine, G., Scheiflinger, F., Dorner, F. & Falkner, F. G. The complete genomic sequence of the modified vaccinia Ankara strain: comparison with other orthopoxviruses. Virology 244, 365-396 (1998). https://doi.org/10.1006/viro.1998.9123

3	Kurth, A. et al. Rat-to-elephant-to-human transmission of cowpox virus. Emerg Infect Dis 14, 670-671 (2008). https://doi.org/10.3201/eid1404.070817

4	Worbs, S. et al. Differentiation, Quantification and Identification of Abrin and Abrus precatorius Agglutinin. Toxins (Basel) 13 (2021). https://doi.org/10.3390/toxins13040284

5	UniProt, C. UniProt: the Universal Protein Knowledgebase in 2023. Nucleic Acids Res 51, D523-D531 (2023). https://doi.org/10.1093/nar/gkac1052