﻿The imaging protocol for head or face (T2WI): TE, 100.00 ms; field of view, 16.0×16.0; acquisition matrix, 181×164; slice thickness, 3.0 mm; spacing between slices, 3.3 mm.
The imaging protocol for head or face (CET1): TE, 8.47 ms; field of view, 16.0×16.0; acquisition matrix, 181×164; slice thickness, 3.0 mm; spacing between slices, 3.3 mm.
[bookmark: OLE_LINK7][bookmark: OLE_LINK8]The imaging protocol for neck (T2WI): TE, 84.70 ms; field of view, 19.0×19.0; acquisition matrix, 233×172; slice thickness, 3.0 mm; spacing between slices, 3.5 mm.
The imaging protocol for neck (CET1): TE, 8.79 ms; field of view, 19.0×19.0; acquisition matrix, 233×172; slice thickness, 3.0 mm; spacing between slices, 3.5 mm.
The imaging protocol for trunk (T2WI): TE, 70.00 ms; field of view, 30.0×30.0; acquisition matrix, 188×169; slice thickness, 5.0 mm; spacing between slices, 5.5 mm.
The imaging protocol for trunk (CET1): TE, 2.30 ms; field of view, 30.0×30.0; acquisition matrix, 188×169; slice thickness, 5.0 mm; spacing between slices, 5.5 mm.
The imaging protocol for upper extremity (T2WI): TE, 86.94 ms; field of view, 13.0×13.0; acquisition matrix, 132×105; slice thickness, 5.0 mm; spacing between slices, 6.0 mm.
The imaging protocol for upper extremity (CET1): TE, 8.41 ms; field of view, 13.0×13.0; acquisition matrix, 132×105; slice thickness, 5.0 mm; spacing between slices, 6.0 mm.
The imaging protocol for lower extremity (T2WI): TE, 85.38 ms; field of view, 28.0×28.0; acquisition matrix, 332×252; slice thickness, 8.0 mm; spacing between slices, 9.0 mm.
The imaging protocol for lower extremity (CET1): TE, 8.70 ms; field of view, 28.0×28.0; acquisition matrix, 332×252; slice thickness, 8.0 mm; spacing between slices, 9.0 mm.
